## Slide 1
NPRR 596
External Load Serving Entities
Discussions
Don Tucker
ERCOT
CSWG/WMS/COPS
2/26 & 3/5 & 3/17 - 2014
Notes: <number>

## Slide 2
February 21, 2014
Catalyst for NPRR Timing
Generation connections to CREZ lines
Conditions where back feed load needs transmission system support
Honor DSP certificated service areas
  Identified options
    PUCT service area exception process
    Registration of DSP in ERCOT to serve the load connected to the ERCOT Transmission System
NPRR 596
Notes: <number>

## Slide 3
February 21, 2014
ELSE Registration
Mimics NOIE registration process
  Registration as an LSE
  Submittal of an ELSE Meter Point Registration Form
NPRR 596
Notes: <number>

## Slide 4
February 21, 2014
  ELSE Settlements
Mimics competitive Load settlements
  Load included in AML for the LSE
    Assigned Transmission Losses
    Assigned UFE
    Included in 4CP calculations & matrix
    Included in ancillary service obligations
    Included in ERO fee allocation
ELSE Retail Sales for REC Program
Self reported, as applicable, using current defined processes
NPRR 596
Notes: <number>