## Slide 1
Discussion on SMOGRR 014 & Proof of Concept for Telemetry to EPS Meter Mapping
Don Tucker
ERCOT
COPS
3/17/2014
Notes: <number>

## Slide 2
SMOGRR 014
Communications Regarding EPS Meter Repairs, Related Notice Deadlines and Clarifications
March 17, 2014
Notes: <number>

## Slide 3
March 17, 2014
Appendix A:
  • Provides additional option for TDSP to use voice communications with the ERCOT Meter Data Acquisition System (MDAS) Group to provide confirmation of repairs that are external to an EPS meter
SMOGRR 014
Notes: <number>

## Slide 4
March 17, 2014
Appendix C:
  • Defines updated timeframe the MDAS Group will use for issuing notices.
  • Defines timeframes in which data is supplied to ERCOT by a Transmission and/or Distribution System Provider (TDSP) in the event of a prolonged communications failure.
SMOGRR 014
Notes: <number>

## Slide 5
March 17, 2014
Appendix C:
  • Adds additional notice type of “six-hour” notice to accommodate a shortened Settlement timeline to resolve communications issues with ERCOT-Polled Settlement (EPS) Meters in support of Real-Time Market (RTM) Settlements
  • Clarifies the conditions ERCOT will follow in cancelling notices
SMOGRR 014
Notes: <number>

## Slide 6
March 17, 2014
  March 6, 2014
    MWG reviewed SMOGRR 014 and provided comments.
March 20, 2014
  WEBEX scheduled for MWG review of impact analysis for SMOGRR 014
SMOGRR 014
Notes: <number>

## Slide 7
MWG Proof of Concept Efforts
Mapping of Telemetry points to EPS Meter Points to aid in the estimation process for missing EPS Meter data
March 17, 2014
Notes: <number>

## Slide 8
March 17, 2014
  Discussion on how data could be estimated if EPS Meter data is not available.
  Proof of Concept: Can EPS meters be mapped to a telemetry point for data estimation purposes?
    The telemetry data would not be used, except when EPS Meter data is unavailable.
    This mapping requires a direct one to one correlation to an EPS Meter
Telemetry to EPS Meter Proof of Concept
Notes: <number>

## Slide 9
March 17, 2014
  Mapping identification
  Site name, DP meter ID, DP Project number, EPS Meter RID
  Telemetry points examples:
    Power plant control rooms
    Relaying points
    Existing telemetry points submitted to ERCOT
      Requires TDSP name assigned to the telemetry point in the ERCOT Network Model
Telemetry to EPS Meter Proof of Concept
Notes: <number>

## Slide 10
March 17, 2014
  TDSP data provided thru mapping that is not telemetered to ERCOT
    Data will need to be in a 15 minute integrated format.
  As part of this proof of concept
    ERCOT will compare historical data from mapped telemetry points to EPS meter data to evaluate the accuracy of telemetry point data.
Telemetry to EPS Meter Proof of Concept
Notes: <number>

## Slide 11
March 17, 2014
  Use one or two points per TDSP participating in the proof of concept
There is not a one to one mapping for existing generation telemetry points to EPS meters for all locations.
  Initial effort is to identify points where a one to one mapping can be established.
Telemetry to EPS Meter Proof of Concept
Notes: <number>