Planning Working Group Meeting Agenda

March 26, 2014, 9:30 AM – 3:30 PM, ERCOT MET Center

- Antitrust Admonition								Moore

- Agenda Review 									Moore

- Update on ROS, TAC and Board Activity on PLWG Matters				Billo

  - Board activity:

    - Board directed PLWG consider questions related to their discussion at

March Board re: PGRR031 Implement 95% Facility Rating Limit

in the Planning Criteria

- PGRR028 – Evaluation of Compliance of Reactive Requirements			Flores

PGRR0228 defines ERCOT’s process for evaluation proposed Generation Resources’ ability

to provide reactive power.  Protocol Section 3.15, Voltage Support, defines reactive

capability requirements for Generation Resources.  Paragraph (3) of Protocol Section 16.5,

Registration of a Resource Entity requires ERCOT to opine upon the capability of the

proposed Generation Resource’s ability to meet these requirements.

  - ROS in Nov 14 Mtg referred PGRR028 back to PLWG to address issues with

language in Section 5.6.1 (3)

  - Request for greater clarity regarding defining what “future conditions” must be met

  - PLWG considered language at Nov meeting and tabled for consideration of

revised language to be offered at Dec PLWG Mtg from a small group led by ERCOT

  - ERCOT will present an update to proposed language at March PLWG Meeting.

- PGRR035 – DC Tie Interconnection Process					Moore

PGR035 defines process for ERCOT to administer requests from Stakeholders for

interconnection to ERCOT grid for DC Ties

  - Issue continues to be tabled to allow assessment of braod set of issues

raised by  ERCOT legal involving planning/market/operations.

- Constrained Generation								DeWitt

ROS directed PLWG to consider existing conditions where generation is constrained

from delivery to the grid. The question was raised whether system upgrades should be

identified to increase access to grid for constrained generation throughout ERCOT; and whether

decisions to upgrade be solely based on current reliability or economic criteria.

ERCOT’s work to assess potential system upgrades to relieve potential future congestion

in Panhandle (PREZ studies), while no similar assessment of existing constrained

generation in ERCOT, was offered as an inconsistency in addressing generation congestion

on the ERCOT Grid

  - An initial discussion to best define the concern will be held.

  - A review of current Planning Guide, Protocol, and PUC Substantive Rule language

is on-going within the PLWG to serve as a basis for identifying what is currently the

required planning responsibilities for ERCOT and TSPs.

  - ROS discussed the on-going working group activity at the March ROS Meeting

for the purpose of providing additional guidance to the PLWG and identified

a proposed plan for that Stakeholders to consider in the March PLWH Meeting and any

subsequent follow-on PLWG working group meeting.

The following is a proposed plan offered by ROS Chairman (Bill Hatfield) as a result of the March ROS Meeting discussion.

- Review ERCOTs August 2013 presentation titled 2017 Generation Deliverability Analysis. Review the process and methodology for performing the study, determine if changes in process or criteria should be applied, and make a recommendation as to the value of performing the study on an ongoing basis.

- Review the Interconnection Request Process document and identify any limitations with the process that could limit generation deliverability

- Document ideas for maximizing existing generation deliverability

- Provide periodic updates to ROS and document any simplifying assumptions

- Prioritize all recommendations and seek ROS review and direction

- Focus on recommendations that can be resolved by procedure modifications, PGRRs, NOGRRs, and NPRRs.

- Post all group meeting notices to the PLWG, RPG, and ROS listserv to maintain transparency in the review process.

- Additional items

- Next Meeting: April 3, 2014

- Adjourn