Meter Working Group Meeting Notes

March 20, 2014

2:00 PM – 2:30 PM

Meter Working Group via WebEx

- Reading of ERCOT Anti-Trust Rules and introductions –D. Sumbera

- Recap of MWG Report for SMOGGR014 and discussions – D. Tucker

  - Procedural history, MWG decision and summary of MWG discussions from 3/16/14

  - Impact analysis was conducted and concluded that there was no impact.

  - D. Sumbera polled MWG and a consensus was declared to endorse SMOGGR014 to WMS

  - SMOGGR014 will be presented to WMS at the April 9th meeting, if approved it will go to TAC for the April 24th meeting. If approved by TAC on April 24th it will go into effect May 1st 2014.

- Discussion of data estimation using telemetry point measuring same energy flows as the EPS metering point- D. Tucker, P. Vinton

  - Proof of concept has been conducted with positive results allowing ERCOT and TDSPs to identify points of data already provided to ERCOT that may be of aid in estimating meter data when EPS meter data cannot be obtained.

  - This method will only be used when information from the EPS meter itself cannot be accessed in time for settlement. While the population in the proof of concept was small, the margin of error between the identified telemetry ranged from approximately 0.5% to 2%.

  - The new spreadsheet shown during this MWG will be pre-populated by ERCOT and sent to TDSPs.  Target completion of delivery to TDSP is by March 28th. TDSP’s will  complete the template and return it to ERCOT.   The current blank version of the spreadsheet will be uploaded to the MWG page on ERCOT.com.

    - ERCOT will send the sheet to the main EPS Meter Design Proposal contact and copy other appropriate contacts for the TDSP (concurred by MWG).

- Escalation Email list for Six Hour Notifications- P. Vinton

  - After WMS has approved SMOGGR014 TDSPs will be contacted to provide  an email contact list for escalation of six hour notifications. This should allow adequate time for TDSPs to return the list prior to May 1st.

- New Business – D. Sumbera

  - There was no new business brought before MWG.

- Wrap up and adjournment – D. Sumbera

MWG WebEx Attendance Roster for March 20th 2014

- Darrell Sumbera (Chair)– Centerpoint

- Harvey Scheffler (Vice Chair) – CPS

- Dotty DiSanto – STEC

- Ted Holcombe– STEC

- Harika Basaran– Austin Energy

- Gabriel Godinez – AEP

- Mark Rollins – LCRA

- Don Tucker – ERCOT

- Kelly Landry - ERCOT

- Pat Vinton – ERCOT

- John Belew – EROCT

- Tony Davis – ERCOT

- Jose Amurao – ERCOT

- Donald Maul – ERCOT