## Slide 1
Progress Report on
Future Ancillary Services (AS) Team
Dan Woodfin
Director, System Operations
TAC
March 27, 2014
Notes: <number>

## Slide 2: History
ERCOT issued Concept Paper proposing the creation of a new Ancillary Services (AS) Framework and suggesting a set of Services to fit that Framework on 9/27/2013 and held a workshop on 10/24/13
After discussions with TAC, the Future AS Team (FAST) was set up
A series of FAST meetings were scheduled to facilitate stakeholder input on, and resolution of, the substantive issues prior to the development of an NPRR for the new Framework
  Working Sessions held weekly
  Workshops generally held monthly
Goal is to get substantive decisions made by May/June timeframe in order to meet EMS Project requirements
Notes: <number>

## Slide 3: Development Process
ERCOT Concept Paper
Identify and Resolve Substantive Issues
Draft NPRR
Normal NPRR Approval Process
More Info on Next Slide
Idea is to resolve all substantive Issues before drafting NPRR
ERCOT to draft based on resolutions to substantive issues
Normal NPRR approval process should be able to be more focused on “getting words right” than rehashing substantive issues
Notes: <number>

## Slide 4: Issue Resolution Process
ERCOT Concept Paper
Identify Issues
Develop Common Understanding of Issue
Attempt to Find Consensus
Develop Discrete Alternatives
Consensus?
TAC Decision
Y
N
Next Issue
Working Sessions
Workshops
Notes: <number>

## Slide 5: Requires Iteration
Common Understanding of Each Service
Understand How Services Fit Together
Understand System Technical Requirements
Will continue to iterate/refine, subject to May/June end date
Notes: <number>

## Slide 6: Originally Proposed New AS – Frequency Control
Regulation
Current Framework
Proposed Framework
Regulation
Responsive
Fast Frequency Response
Primary Frequency Response
Contingency Reserve
Non-Spin
Supplemental Reserve
Synchronous Inertial Reserve
<number>
Notes: <number>

## Slide 7: Revised Proposed New AS – Frequency Control
Regulation
Current Framework
Proposed Framework
Regulation
Responsive
FFR 1
Primary Frequency Response
CR 1
Non-Spin
Supplemental Reserve
Synchronous Inertial Reserve
<number>
FFR 2
CR 2
Notes: <number>

## Slide 8: Status
No substantive issue decisions for TAC today
So far, the intent has been generally to drive toward consensus as much as possible
  Will soon start to drive toward identifying non-consensus issues and structuring those issues into discrete viewpoints/options for TAC resolution
Notes: <number>