PROJECT NO. 27706

| REPORTS OF THE ELECTRIC RELIABILITY COUNCIL OF TEXAS | § § | # PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

ERCOT’S 2013 ANNUAL REPORT

ON EMERGENCY RESPONSE SERVICE

Electric Reliability Council of Texas, Inc. (ERCOT) hereby submits its report on the effectiveness and benefits of the Emergency Response Service (ERS) for the 2013 program year.  P.U.C. Subst. R. 25.507(g) requires ERCOT to report its findings to the Commission by April 15 of each calendar year and requires that the report “contain, at a minimum, the number of MW procured in each period, the total dollar amount spent, the number and level of EEA events, and the number and duration of deployments.”  ERCOT’s evaluation of ERS is contained in Attachment A to this filing, and the underlying data are included in Attachment B.

ERCOT notes that this report only addresses the standard ERS product (requiring a ten-minute ramp), and does not address either of the two ERS pilot projects—30-Minute ERS and Weather-Sensitive ERS—that ERCOT continued to conduct during the 2013 ERS program year.  Because both pilot projects have now concluded and have been incorporated into the ERCOT Protocols, ERCOT will include an analysis of those products as part of its annual ERS assessment starting next year.

Respectfully submitted,

___________________________________

Chad V. Seely

Assistant General Counsel

cseely@ercot.com

Texas Bar No. 24037466

(512) 225-7035 (Phone)

(512) 225-7079 (Fax)

ERCOT

7620 Metro Center Drive

Austin, Texas 78744

ATTORNEYS FOR ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

Attachment A

ERCOT Annual Report Pursuant to P.U.C. Subst. R. 25.507(g)

Regarding Emergency Response Service for the

Program Year February 1, 2013, through January 31, 2014

ERS History

On March 20, 2007, the Commission approved P.U.C. Subst. R. 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Interruptible Load Service (EILS), requiring ERCOT to develop and administer EILS.  Later that year, the Commission approved amendments to Rule 25.507 that eliminated the 500 MW procurement floor and increased the annual cost cap from $20 million to $50 million).

On March 22, 2012, the Commission adopted an order repealing the rule and replaced it with a new Rule 25.507 expanding the program to allow participation by generators and removing certain program restrictions.  To reflect the broader participation, the program was renamed “Emergency Response Service” (ERS).

Through the end of the program year covered by this report, ERCOT stakeholders had recommended and the ERCOT Board had approved the following Protocol Revision Requests (PRRs) or Nodal Protocol Revision Requests (NPRRs) related to ERS:

- PRR705	EILS (approved 4/18/07)

- PRR716	Self-Provision of EILS (approved 5/16/07)

- PRR717	EILS Disputes and Resettlements (approved 12/11/07)

- PRR723	Conform 5.6.6.1 EECP (approved 06/19/07)

- PRR725	EILS Formula & Standard Form Correction (approved 09/18/07)

- PRR746	Revisions to EILS Provisions to Conform to Amended P.U.C. Subst. R. 25.507 (approved 12/11/07)

- PRR757	EILS Formula Correction (approved 7/15/08)

- PRR760	EILS Availability Factor Clarification (approved 7/15/08)

- NPRR 107	Nodal EILS (approved 7/15/08)

- PRR 781	EILS Self-Provision Formula Correction and Clarifications (approved 1/20/09)

- PRR 786	Modifications to EILS Settlement (approved 3/17/09)

- NPRR 278	EILS Modifications to Correct Self-Provision Settlement Equations, to Accommodate Advanced Metering Infrastructure, and other Clarifications (approved 11/16/10; effective date 2/1/11)

- NPRR 379	EILS Dispatch Sequence and Performance Criteria Upgrades (approved 9/20/11; effective date 10/1/11)

- NPRR451	Implementation of New P.U.C. Subst. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS) (approved 4/17/12)

- NPRR475  	EPS Metering Exception for ERS Generation (approved 12/11/2012; effective date 1/1/13)

- NPRR501 	Correct ERS Self-Provision Settlement Calculation (approved 12/11/2012; effective date 12/12/12)

- NPRR519	Exemption of ERS-Only QSEs from Collateral and Capitalization Requirements (approved 09/17/2013; effective date upon system implementation).

- NPRR536  	ERS Time Obligation Certainty (approved 11/19/2013; effective date 12/1/2013).

- NPRR564	Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions (approved 11/19/2013; effective date 2/1/2014).

- NPRR571	ERS Weather-Sensitive Loads Requirements (approved 12/10/2013; effective date 6/1/2014).

Procurement History

Under current Protocols, ERCOT procures ERS three times annually for four-month Standard Contract Terms.  Attachment B to this report provides detailed results of ERCOT’s procurements of ERS for program year 2013, including:

- Descriptions of Standard Contract Terms and Time Periods

- Capacity procurements by Time Period and by Standard Contract Term, including the number of Megawatts (MW) procured and the total number of MW offered

- Number of procured ERS Resources

- Average size of procured ERS Resources

- Number of individual Sites submitted to ERCOT for resource identification

- Summary of final settlement costs of ERS, adjusted to account for ERS Resources that achieved availability factors of less than 95%, and settlement costs as a percentage of the originally contracted commitments

- Detailed tables with capacity procurements by Time Period and by Standard Contract Term, including average prices paid (in dollars per MW per hour).

Review of Effectiveness & Benefits

ERCOT Protocols authorize the deployment of ERS-10 in Level 2 of an Energy Emergency Alert (EEA).  During the 2013 ERS program year, there was one event deployment, which occurred on January 6, 2014. During that event, 495.72 MW of ERS-10 were deployed for just under 46 minutes, spanning one full 15-minute interval and parts of two other intervals. Event performance was determined by analyzing only the first partial interval, which was 12 ½ minutes long, and one full interval.  As per the ERCOT protocols, the last partial interval is not used to evaluate performance.  At the fleet level, the first partial interval performance factor was 1.35, and the performance factor for the full interval was 1.20, for a total time-weighted event performance factor of 1.27. The fleet therefore exceeded its aggregate obligation to perform during the event.

Availability

The ERCOT Protocols require each QSE to achieve a portfolio-level availability factor of at least 95% across committed Time Periods.  Portfolio-level availability factors are calculated by ERCOT Staff after the end of the Standard Contract Term by aggregating availability factors across resources in each QSE’s portfolio; resource-level availability factors are calculated using aggregated site-level interval meter data for each ERS Resource.  Any ERS Resource that achieves an availability factor of less than 85% and that is part of a portfolio that achieves an availability factor of less than 95% is subject to suspension for one Standard Contract Term.  Suspended ERS Resources may regain their eligibility to provide ERS only after submitting a corrective action plan to ERCOT and successfully completing a reinstatement test administered by ERCOT.

ERS Resources are also subject to annual unannounced Load-shed tests, and may be suspended for failing two consecutive Load-shed tests.  ERCOT Staff conducts this testing from the ERCOT Control Center by issuing a verbal dispatch instruction and also, as of June 2012, an XML instruction to each individual Qualified Scheduling Entity (QSE), just as ERCOT would do in an actual EEA event.

ERCOT maintains that this combination of performance metrics and penalties for non-compliance, which are among the most stringent for any demand response program in North America, provide substantial integrity to the ERS product.

Market Benefits

The Commission has previously recognized that a central purpose of ERS is to enable additional demand response participation in the ERCOT market:

The commission agrees . . . that one of the important values of this program is to establish the role of demand-response in providing reliability services in ERCOT by enlisting numerous customers as providers of demand-response, particularly customers in classes that have not participated in the [Load Resource] program. The commission also finds value in having resources that have not participated in demand response programs being enabled to do so by this program. The commission encourages ERCOT to make an effort to attract such customers to the program.

A number of facts and trends provide evidence that ERS is successfully meeting this Commission goal:

- Growth.  The number of ERS Resources and individual Sites participating in ERS, as illustrated in Slides 4 through 9 in Attachment B, continues to increase with each ERS Standard Contract Term.  The average size of each ERS Resource has steadily decreased from 26 MW for the initial procurement down to 1 MW for the most recent procurement.

- Suspensions.  A total of 39 ERS Resources with an approximate total capacity of 17.5 MW were suspended for availability failures, two consecutive load test failures, or event failures during program year 2013.

- Offer behavior.  ERCOT declined to accept some ERS offers in two of the three ERS Standard Contract Terms in 2013.  While some room remained under the annual $50 million ERS cost cap, ERCOT rejected these offers for economic reasons, consistent with the guidelines published in the document entitled “ERCOT Process for Determining Contract Period Cost Limits and Reasonableness of Offers for Emergency Response Service.”  ERCOT’s procurement decisions are summarized in slides 13 through 15 in Attachment B.

PUC Rulemaking Concerning a Demand-Response Program for ERCOT Emergency Conditions, Project No. 33457.

PUC Rulemaking to Amend ERCOT Emergency Interruptible Load Service, Project No. 34706.

See Protocols § 8.1.3.1.3.1(1)(a).

See Protocols § 6.5.9.4.2(2)(a)(ii).

See Protocols § 8.1.3.1.3.1(1)(a).

See Protocols § 8.1.3.3(5).

PUC Rulemaking to Amend ERCOT Emergency Interruptible Load Service, Project No. 34706, at. 4-5 (November  8, 2007).

See P.U. C. Subst. R. 25.507(b)(2).

See http://www.ercot.com/content/services/programs/load/eils/ERS_k/Process_for_Determining_Cost_Limits_&_Reasonableness_of_Offe.pdf