## Slide 1
Item 4: ROS Report
Bill Hatfield
2014 ROS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
March 27, 2014 TAC Meeting
Notes: <number>

## Slide 2: Summary of ROS Recommended Voting Items
Last ROS meeting
March 6, 2014
Next ROS meeting
April 3, 2014
Revision Requests Recommended for Approval (TAC Action required)
None
Other Items Recommending Approval (TAC Action Required)
None
March 27, 2014 TAC Meeting

## Slide 3: Summary of Other ROS Business
NPRR593 - Clarification of Generis Transmission Limit Posting Requirements
Referred from PRS
ROS unanimously recommended approval
Confirmation of 2014 WG/TF Leadership
ROS unanimously approved new leadership
NOGRR034 - Rescind Telemetry Performance Calculation Exclusion
Referred from PRS
NDSWG recommended no need for additional changes
Chair (Hatfield) communicated ROS’s continued support of NOGRR to PRS
STF (Synchrophasor Task Force) Name Change - Revised Name/Scope Document Change
Name conflicts with existing TF
New name – PMTF (Phasor Measurement Task Force) unanimously approved
New ROS Assignments
Review generation resources that are limited by transmission - Assigned to PLWG
Effort in early stages; undergoing scope development
March 27, 2014 TAC Meeting

## Slide 4: Summary of ROS Open Action Items to TAC
Evaluate the early release of HASL to SCED under ORDC and coordinate solutions with ERCOT & WMS
ROS Referred to PDCWG; ongoing agenda topic; open meetings have occurred
No further progress to report at this time
Coordinate with ERCOT the need to add/clarify resource temperature limits in RARF to improve forecasting of Wind Resources during icing and cold weather events
ROS Referred to RDWG; discussions underway
No further progress to report at this time
Evaluate concerns that ERCOT is having to bring RUC units earlier than required because of unit start-up failures; Need to review ERCOT Operating Procedures for RUCing units
Referred to OWG/CMWG
Joint Workshop – March 23, 2014
No further progress to report at this time
March 27, 2014 TAC Meeting