ERCOT System Protection Working Group (SPWG)

monthly report to

ERCOT Reliability Operation Subcommittee (ROS)

April 3, 2014

Current group activity and updates:

- SPWG met recently on March 17-18. Topics discussed included:

  - Updates from TRE, including misoperation summaries, FERC 754, and changes to the TRE Reporting template as a result of NOGRR 123 (removal of automatic reclosing misoperation tracking).

  - NERC and Standards Committee Updates

  - Member-led technical discussions on ground elements in line relaying, and pilot carrier equipment.

  - Discussion on current and future year’s short circuit case builds, RARF data, wind generator modeling, and updating the SPWG Case Build Procedure Manual.

- Current Year Short Circuit Case Build for ERCOT System posted by ERCOT on 3/28/14.

- Future Year (2015-2019) Short Circuit Case Build Cycle begins 4/11/14.

- Next meeting July 16 & 17.

Submitted by Andrew Mattei, SPWG 2014 Chair, 03/25/14