ERCOT Phasor Measurement Task Force (PMTF)

monthly report to

ERCOT Reliability Operation Subcommittee (ROS)

April 3, 2014

PMTF meetings since last ROS meeting:

The PMTF last met on 3/7/14.  At that meeting, Ken Martin w/Electric Power Group (EPG) was our guest speaker in the morning.  In the afternoon we discussed ERCOT PMU events and reviewed our Issues List.  The latest copy of our Issues List is attached to this document and posted here.  Draft meeting minutes for the March meeting have been circulated to the group.  The PMTF list-serv now has 38 subscribers.

Current group activity:

The 2014 meeting & WebEx schedule has been established and is posted.  The June meeting date has been revised to better accommodate schedules.  The group name, web page, list serv, etc has been transitioned from “STF” to “PMTF”.

An ERCOT PMU data specification & data storage survey has been developed and routed to the membership to gather baseline info on existing ERCOT PMU systems.

The group is working on draft language for a report w/recommendations that will be provided to ROS.

Several ERCOT PMTF members attended the NASPI meeting held in mid-March.  Bill Blevins presented on synchrophasor applications within ERCOT

Submitted by Kris Koellner, PMTF Chair, 4/3/14

ERCOT PMTF Issues List

“The PMTF should prepare a report of its findings and recommended Protocol and Guide changes for ROS.  The report shall recommend whether the PMTF should be continued as an on-going Working Group or be discontinued.  The PMTF should report its progress to ROS as required.”

AI – Target 3/31/14 for first draft of each section for final report.  Route to PMTF e-mail list; will plan on reviewing at April 9th meeting.  Updates to the issues list from the March PMTF meeting are in this color.

| # | Topic(s) | Lead(s) | Document(s) | Status |
| --- | --- | --- | --- | --- |
| 1 | - How will synchrophasor data be used in ERCOT (real-time monitoring, unit model validation, etc.)? - What are the current and planned uses by ERCOT? - What are current and planned uses by TSPs and generators? | Bill Blevins (ERCOT) Kris Koellner (TSPs and generators) | Section in final report. | ERCOT top three issues identified at 1/2014 meeting. - System oscillation detection - Generator model validation - Post-event analysis/reporting |
| 2 | - What kinds of locations of PMUs are needed to meet this use(s)? - How will these locations be determined? - What channels are needed (V only, I only, etc? Both V & I data is helpful, but will take what we can get. | Bill Blevins | Updated version of ERCOT paper. Plus NOG section 6 – DDR requirements Plus Section in final report. | Discussed at 1/2014 mtg. Function of item 1. Layered approach; communication requirements will vary by location/application. Impacted by PRC-002-2 R6 (“major transmission interfaces”, IROL, SOL). AI – re-run ERCOT PMU placement analysis focused solely on 3 key apps; also look at the two gen applications vs. post-event analysis application. Compare also to WECC and EI efforts/requirements. AI – Kris to request location algorithm/paper on PMU placement from M. Grady ERCOT re-ran analysis. Discussed making spreadsheet iterative based on placing PMUs to find “next best location”. Discussed testing list vs. quantifiable requirements. Discussed matching language similar to NOG 6.1.2.2. |
| 3 | - What are the data latency and quality requirements and other specifications, in order to meet the intended uses? - Should these vary depending on the kind of PMU location/use case? - Input sampling rate? - Output data rate? PRC-002: 30 samples/cycle, may need higher for model validation - Bandwidth? f(PMUs, phasors, sample rate) – Impacts data storage - Data format, time-stamping | David Mercado | NOG section 6 – DDR requirements Plus Section in final report. | Discussed at 1/2014 mtg. Function of item 1. NASPI DNMTT data classes (A/B/C/D) – need to add specifics – next 6 mos. Researching/data gathering phase. Focus on 3 ERCOT use cases; 2 of 3 are off-line applications. AI – Need current PMU specs from ERCOT TSPs. AI – David & Bill to develop PMU spec/storage survey. Alison: March NASPI – action item to firm up phasor data class definitions (e.g. A, B, C, D, etc) David: BW a byproduct of channels and data rate. 30 msg/second common. Oscillation detection is the only primary application with a firm latency requirement. |
| 4 | - Who should install and own the PMUs and synchrophasor system elements (e.g. GPS clock, PDC, etc)? - Who should be responsible for the communications from the PMUs? | Tabled David Bogen + Carlos Casablanca + ERCOT IT staff to be named (Wei Lu and/or Jamie Chisholm) (Communications aspect) | PMU Connectivity Guide: How to establish WAN connection to ERCOT and configure/start sending PMU data Plus section in final report. | Tabled, but the communications aspect will be researched. Carlos: expand ROS question to include other elements of the overall synchrophasor system. Bill: Documents are available that describer for new entities how to establish a WAN connection. |
| 5 | - How should synchrophasor data be treated in terms of confidentiality? - Leverage work in other interconnects | Alison Silverstein | ERCOT Market Participant agreement + WECC WISP data sharing agreement (merge) | Assigned at 1/2014 mtg. - Success in WECC w/WISP effort. 99 TOs, GOs, RCs signed. Will request language from V. Van Zandt. - EIDSN functioning in EI among RCs. RFP for stand-alone network. Legal doc still pending. AI – Bill to determine resource to speak with about ERCOT language governing this area. AI – Milton to distribute CCET NDA. Distributed to parties in February for signing via e-mail. |
| 6 | - What reporting should be established for synchrophasor data? ROS/DWG/SPWG/PDCWG etc. - OWG? BSWG? | Paul Rocha | Include as section in report (less prescriptive than formal language revisions) Modifications to Operations Report, PMU section? Event categories? - Df/dt - Oscillation - Angle deviation | Assigned at 1/2014 mtg. Focus on use cases; ERCOT top 3 apps are priority. - Gen Osc.  ROS as-needed basis as part of event; associated data goes to WG as needed per ROS assignment. - Model Val.  ERCOT dynamics modeling staff + DWG. Feedback to RARF; akin to generator testing findings. - Dist. Analysis  shared upon request w/any ROS working group, as assigned (e.g. SPWG). AI – Paul poll WG chairs/vice-chairs for potential PMU uses. AI – Bill bring ERCOT detailed PMU report(s) to March meeting (osc. event, fault event, system stress, etc). Paul: able to reach out to most ROS WGs. Individual WG members may use PMU data/apps, but not widely used at WG level. PDCWG, DWG – could potentially supplement other data sources. Analyzing osc. damping not yet an assigned task/function. No relative comparison of cost/value of PMU data vs. other (existing) data sources. Bill: ERCOT is working on modifying reports. Removing confidential pieces, adding value. Working on changing NDA via CCET process to allow reporting. ERCOT is required to follow Protocols regarding confidentiality. Can look at bringing to DWG, PDCWG, PMTF in near future. |
| 7 | - What data retention should be established for synchrophasor data? - Archive by exception? Events only? - Store locally vs. centrally? - Full sampling rate or down-sampled rate? - Off-line storage for older data? | Bill Blevins | Section in report: some minimum guidelines or requirements for storage duration/sampling rate/format/down-sampled data storage/tagging specific data sets (events, blue sky data)/channel specific data retention. | Discussed at 1/2014 mtg. Function of item 1. Implicated in part by PDC configuration work. ERCOT is currently storing two weeks of data in real-time system (RTDMS); 400 days in PGDA system. PRC-002 has a 10 day requirement. David: data retention captured in PMU survey as well. |
| 8 | - What are the CIP implications/requirements for the use of this data? | David Penney |  | Assigned at 1/2014 mtg. Version 5 coming soon. Criticality may depend on PMU use. AI – Kris to follow up with David. Alison: March 2014 NASPI meeting – Tony Johnson (SCE) presentation |
| 9 | - Phasor data/applications not previously identified that may yield grid reliability/market benefits. | All |  | Assigned at 1/2014 mtg. Black start path visibility? Line impedance derivation? Load model validation? |