## Slide 1
Critical Infrastructure Protection Update
Christine Hasha
CIP Compliance Lead Advisor, ERCOT
TAC
March 27, 2014

## Slide 2
CIP Version 5 Revisions
NERC Project 2014-02

## Slide 3: 2014 Key Dates
Date | First Occurrence
Apr 22-24 | SDT Meeting Atlanta, GA
May 12-14 | SDT Meeting Columbus, OH
Jun 2-17 | First 45-Day Comment Period & Ballot
Aug 29-13 | Second 45-Day Comment Period & Ballot
Oct 31- Nov10 | Final Ballot
Nov 13 | Presentation to NERC Board of Trustees for Adoption
Dec 31 | NERC Files Petition with the Applicable Governmental Authorities

## Slide 4: CIP v5 Revisions
Scope
Focused on four directives from FERC Order 791
  Identify, Assess, Correct (IAC) – one-year deadline for revisions
  Low Impact Assets – no deadline
  Communication Networks – one-year deadline for revisions
  Transient Devices – no deadline
Coordination
Coordinating with other NERC initiatives
  IAC alignment to Reliability Assurance Initiative (RAI)
  May address issues arising from transition study

## Slide 5: CIP v5 Revision Subteams
Identify, Assess, Correct
Leads: Greg Goodrich, Scott Saunders
Support: Maggy Powell, Ryan Stewart
Tuesday 1-3 pm (Eastern)
Low Impact Assets
Leads: Jay Cribb, Forrest Krigbaum
Support: Maggy Powell, Marisa Hecht
Thursday 1-3 pm (Eastern)
Communication Networks
Leads: David Revill, David Dockery
Support: Phil Huff, Marisa Hecht
Tuesday 3-5 pm (Eastern)
Transient Devices
Leads: Steve Brain, Christine Hasha
Support: Phil Huff, Ryan Stewart
Thursday 3-5 pm (Eastern)

## Slide 6
Physical Security: CIP-014-1
NERC Project 2014-04

## Slide 7: 2014 Key Dates
Date | First Occurrence
Apr 1 | Physical Security Technical Conference Atlanta, GA
Apr 2-3 | SDT Kickoff Meeting Atlanta, GA
April 2014 | 15-day Formal Comment Period with a 5-day Initial Ballot
May 2014 | 10-day Formal Comment Period with a 5-day Additional Ballot (if necessary)
May 2014 | Final Ballot
May 2014 | BOT Adoption
No later than June 5, 2014 | File with applicable Regulatory Authorities

## Slide 8: Applicability
Transmission Operator
Transmission Owner (TO) that owns any of the following Transmission Facilities (CIP-002-5 Medium Impact Criteria)
  Transmission Facilities operated at 500 kV or higher.
  Transmission Facilities that are operating between 200 kV and 499 kV and meeting the "aggregate weighted value" criteria (see table)
Voltage Value of a Line | Weight Value per Line
less than 200 kV (not applicable) | (not applicable)
200 kV to 299 kV | 700
300 kV to 499 kV | 1300
500 kV and above | 0

## Slide 9: Applicability
  Transmission Facilities critical to the derivation of Interconnection Reliability Operating Limits (IROLs) and their associated contingencies
  Transmission Facilities identified as essential to meeting Nuclear Plant Interface Requirements

## Slide 10: Overview of Order
One or more Reliability Standards addressing:
  Risk assessment
  Evaluate threats & vulnerabilities
  Develop & implement action plan
  Protect confidential information
  Verified by other entities such as NERC, the relevant Regional Entity, the Reliability Coordinator, or another entity with appropriate expertise
Due within 90 days of the date of the order
  Order posted to Federal Register on March 14, 2014

## Slide 11: Step 1: Risk Assessment
Owners or operators of the Bulk-Power System perform a risk assessment of their systems to identify their “critical facilities.”
  Based on objective analysis, technical expertise, and experienced judgment.
  Considers resilience of the grid when identifying critical facilities, and the elements that make up those facilities
    How the system is designed, operated, and maintained
    Sophistication of recovery plans and inventory management
    Equipment that typically requires significant time to repair or replace
A critical facility is one that, if rendered inoperable or damaged, could have a critical impact on the operation of the interconnection through instability, uncontrolled separation or cascading failures on the Bulk-Power System.

## Slide 12: Step 2: Evaluate Threats & Vulnerabilities
Owners or operators tailor their evaluation to the unique characteristics of the identified critical facilities and the type of attacks that can be realistically contemplated.
May vary from facility to facility based on factors such as the facility’s location, size, function, existing protections and attractiveness as a target.
May require owners and operators to consult with entities with appropriate expertise as part of this evaluation process.

## Slide 13: Step 3: Security Plan
Owners or operators of critical facilities develop and implement a security plan designed to protect against attacks to those identified critical facilities
Based on the assessment of the potential threats and vulnerabilities to their physical security.
Owners or operators of identified critical facilities have a plan that results in an adequate level of protection against the potential physical threats and vulnerabilities they face at the identified critical facilities.
Reliability Standards need not dictate specific steps an entity must take to protect against attacks on the identified facilities.

## Slide 14
CIP Version 5 Implementation

## Slide 15: Key Dates – Effective Dates
4/1/2016 High Impact BES Cyber Systems
4/1/2016 Medium Impact BES Cyber Systems
4/1/2017 Low Impact BES Cyber Systems

## Slide 16: Key Dates –Recurring Activities
Date | First Occurrence | Applicability
4/16/2016 | CIP-007 R4, Part 4.4 15-day log review | High Impact Medium Impact
5/16/2016 | CIP-010 R2, Part 2.1 35-day baseline review | High Impact
6/1/2016 | CIP-004 R4, Part 4.2 Quarterly cyber asset access review | High Impact Medium Impact
4/1/2017 | CIP-004 R2, Part 2.3 15-month cyber security training | High Impact Medium Impact
4/1/2017 | CIP-004 R4, Part 4.3 15-month cyber asset access review | High Impact Medium Impact

## Slide 17: Key Dates – Recurring Activities
Date | First Occurrence | Applicability
4/1/2017 | CIP-004 R4, Part 4.4 15-month information access review | High Impact Medium Impact
4/1/2017 | CIP-006 R3, Part 3.1 24-month physical security maintenance & testing | High Impact Medium Impact
4/1/2017 | CIP-008 R2, Part 2.1 15-month incident response plan test | High Impact Medium Impact
4/1/2017 | CIP-009 R2, Part 2.1 15-month recovery plan non-operational testing | High Impact Medium Impact

## Slide 18: Key Dates – Recurring Activities
Date | First Occurrence | Applicability
4/1/2017 | CIP-009 R2, Part 2.2 15-month backup media testing | High Impact Medium Impact
4/1/2017 | CIP-010 R3, Part 3.1 15-month vulnerability assessment | High Impact Medium Impact
4/1/2018 | CIP-009 R2, Part 2.3 36-month full recovery plan operational test | High Impact
4/1/2018 | CIP-010 R3, Part 3.2 36-month full active vulnerability assessment | High Impact

## Slide 19
QUESTIONS

## Slide 20: References
Project 2014-02 Critical Infrastructure Protection Standards Version 5 Revisions
  http://www.nerc.com/pa/Stand/Pages/Project-2014-XX-Critical-Infrastructure-Protection-Version-5-Revisions.aspx
Project 2014-04 Physical Security
  http://www.nerc.com/pa/Stand/Pages/Project-2014-04-Physical-Security.aspx