## Slide 1: ERCOT Frequency Control Report March 2014
Sydney Niemeyer NRG Energy
April 2, 2014

## Slide 2: Notes
Time error values from NRG True Time device can be slightly different from ERCOT’s Time Error but the daily delta times should be accurate.

## Slide 3: Ercot frequency control
BAL-001 CPS 1 & 2 Performance, RMS 1 and Frequency Profile

## Slide 6
CPS1 12 Month Rolling Average = 163.97

## Slide 11
60.015 <= HZ < 60.020

## Slide 13: ERCOT Time error and time correction
Time Error History

## Slide 14: Time Error Corrections
Seven slow Time Error Corrections were executed in March.
Other than the days with the TECs, only 4 days had positive time error.

## Slide 17
Time Correction History

## Slide 20: Ercot primary frequency response performance
BAL-003-1 Interconnection Frequency Response and Bias Measure.

## Slide 21
ERCOT Primary Frequency Response – BAL-003-1
2015 Bias and Frequency Response Measure

## Slide 22: Ercot total energy and wind production
October Total ERCOT Energy and Total Energy Production from Wind Resources.