## Slide 1: PLWG Report to ROS
April 3, 2014

## Slide 2: Potential Voting Item ROS Direction regarding review of constrained Generation Resources
ROS Directed PLWG to consider congestion issue discussed at January ROS Meeting
  The question was raised whether transmission system upgrades should be identified to increase access to grid for constrained generation throughout ERCOT
  PLWG reviewed the generation deliverability study process completed by ERCOT Staff in Summer 2013. Staff is considering releasing the results of the study to TSPs for review and will consider releasing constraints to a larger market participant audience.
  PLWG requests direction from ROS on next steps
    Should we expand ERCOT generation deliverability study? Seasonal Study?
    Should we consider extreme scenarios if constraints in generation deliverability study align with RTP study?

## Slide 3: Active PGRRs Under Consideration
    PGRR031 “Implement 95% Facility Rating Limit in the Planning Criteria”
  PLWG and ERCOT Staff discussed the PGRR as directed by the ERCOT Board.
PGRR035 “DC Tie Interconnection Process”
  Detail review of PGRR035 has been tabled to allow for expanded additional review as requested by ERCOT Legal and PUC Staff.
PGRR028 “Evaluation of Compliance of Reactive Requirements”
  ERCOT Staff is reviewing current procedures to determine if the PGRR is required. Staff requested the PGRR remained tabled for one month.