APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, January 9, 2014 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| Bern, Alan | Oncor Electric Delivery |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Evans, Doug | STEC | Alt. Rep. for J. Moore |
| Firestone, Joel | Topaz Power |  |
| Green, Bob | Garland Power and Light |  |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Horvath, Julius | Wind Energy Transmission Texas |  |
| John, Ebby | CenterPoint Energy |  |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Marsh, Tony | MAMO Enterprises |  |
| Morris, Sandy | Direct Energy | Alt. Rep. for M. Garrett |
| Reed, Cyrus | Sierra Club |  |
| Ryno, Randy | Brazos Electric |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Staples, Boone | Tenaska Power Services | Alt. Rep. for S. Helyer |
| Vo, Trieu | CPS Energy |  |
| Wagner, Marguerite | Edison Mission |  |

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Allen, Thresa | Iberdrola | Via Teleconference |
| Beckman, Dwight | Brazos Electric Cooperative | Via Teleconference |
| Bevill, Jennifer | AEP | Via Teleconference |
| Blackburn, Don | Luminant | Via Teleconference |
| Chessmore, Carol | Oncor |  |
| Clowe, Brian | CenterPoint Energy | Via Teleconference |
| Cook, Tim | CTT | Via Teleconference |
| Cruz-Montes, Michael | CenterPoint Energy | Via Teleconference |
| Donohoo, Ken | Oncor Electric Delivery |  |
| Ee, Danny | Austin Energy |  |
| Giffin, Blair | Lone Star Transmission | Via Teleconference |
| Henry, Jack | Siemens, PTI |  |
| Holloway, Harry | GDF Suez |  |
| Horvath, Julius | WETT |  |
| Jones, Liz | Oncor |  |
| Kee, David | CPS Energy | Via Teleconference |
| Koellner, Kris | LCRA |  |
| Krishnaswamy, Vikram | Constellation | Via Teleconference |
| Kroskey, Tony | Brazos Electric Cooperative | Via Teleconference |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Lane, Rob | Luminant |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Mattei, Andrew | Brazos Electric Cooperative | Via Teleconference |
| Moore, John A. | Stratus Energy |  |
| Nashawati, Eithar | Oncor |  |
| Owens, Frank | Cross Texas Transmission |  |
| Penney, David | Texas Reliability Entity |  |
| Pinamonti, Valerie | AEP | Via Teleconference |
| Reid, Walter | IEEE | Via Teleconference |
| Stanfield, Leonard | CPS Energy | Via Teleconference |
| Stephenson, Randa | Lone Star Transmission |  |
| Trout, Seth | CES | Via Teleconference |
| White, Laurie | AEP |  |
| Whitworth, Doug | Texas Reliability Entity | Via Teleconference |
| Woodruff, Taylor | Oncor |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Collard, Brad |  |  |
| Du, David |  | Via Teleconference |
| Frosch, Colleen |  |  |
| Landry, Kelly |  |  |
| Saathoff, Kent |  | Via Teleconference |
| Tindall, Sandra |  | Via Teleconference |
| Thompson, Chad |  |  |
| Trow, Lisa |  | Via Teleconference |
| Tucker, David |  |  |
| Warnken, Pete |  |  |
| White, Camden |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Brittney Albracht called the January 9, 2014 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Albracht directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Election 2014 ROS Chair and Vice Chair

Randy Jones nominated Bill Hatfield for 2014 ROS Chair, and Dana Showalter for 2014 ROS Vice Chair.  Mr. Hatfield and Ms. Showalter accepted the nominations and were named 2014 ROS Chair and Vice Chair, respectively, by acclamation.

Agenda Review

Mr. Hatfield noted that the North American Electric Reliability Corporation (NERC) Reliability Working Group (NRWG) scope would be considered at a future ROS meeting.

Approval of Minutes (see Key Documents)

November 14, 2013

December 12, 2013

Mr. R. Jones moved to approve the November 14, 2013 and December 12, 2013 ROS meeting minutes as posted.  Randy Ryno seconded the motion.  The motion carried with one abstention from the Independent Retail Electric Provider (IREP) Market Segment.

2014 ROS Goals (see Key Documents)

Mr. Hatfield invited comments to the draft 2014 ROS Goals and noted they would be considered after the Technical Advisory Committee (TAC) finalizes its 2014 goals.

Texas Reliability Entity (see Key Documents)

NERC Reliability Risks/Priorities/Performance Indicators

David Penney presented a review of reliability performance data.  Market Participants expressed appreciation for the information and requested the Texas Reliability Entity (Texas RE) Staff provide similar presentations to ROS twice annually, or more frequently at the discretion of Texas RE Staff.

ERCOT Updates (see Key Documents) December 2013 Operations Report Camden White presented the December 2013 Operations report. December 2013 System Planning Report Pete Warnken presented the December 2013 System Planning report. Market Participants suggested consideration be given to briefing ROS on recent Competitive Renewable Energy Zone (CREZ) activities. Operations Working Group (OWG) (see Key Documents) Frank Owens reviewed recent OWG activities. Nodal Operating Guide Revision Request (NOGRR) 123, Revisions to Misoperations Reporting Requirements NOGRR125, Minimum Notice for Coordinated Reactive Testing Mr. Ryno moved to recommend approval of NOGRR123 as recommended by OWG in the 12/17/13 OWG Report and as amended by the 1/7/14 Oncor comments; and to recommend approval of NOGRR125 as recommended by OWG in the 12/17/13 OWG Report. David DeTullio seconded the motion. Sherry Looney confirmed that Generation Resources, Transmission Service Providers (TSPs), and ERCOT would work together to coordinate reactive testing. The motion carried unanimously. Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents) Nodal Protocol Revision Request (NPRR) 576, Changing Non-Spin Service to an Off-Line Service ROS took no action on this item. Dynamics Working Group (DWG) (see Key Documents) Carol Chessmore reviewed recent DWG activities. Presentation re Planning Guide Revision Request (PGRR) 033, Dynamic Flat Start Cases Preparation (see Key Documents) Ms. Chessmore reviewed PGRR033 language; NERC roles and definitions; potential costs to TSPs should PGRR033 not be implemented; and opined that ERCOT is the appropriate Entity to serve as the coordinator for all flat start simulations. Items Tabled at ROS (see Key Documents) PGRR033 James Armke moved to recommend approval of PGRR033 as recommended by the Planning Working Group (PLWG) in the 11/22/13 PLWG report, with a proposed effective date of 1/1/15. Dennis Kunkel seconded the motion. The motion carried unanimously. PLWG (see Key Documents) John Moore reviewed recent PLWG activities. Marguerite Wagner expressed concern for asymmetrical treatment between types of Resources in transmission planning practices. Julius Horvath noted that a signed Interconnection Agreement, and not merely the existence of a study, is required to move a transmission project forward. Mr. Hatfield requested PLWG consider transmission planning as it relates to constrained generation, system-wide, and any impacts to reliability. Steady State Working Group (SSWG) (see Key Documents) There were no questions regarding the posted SSWG Report. Synchrophasor Task Force (see Key Documents) Kristian Koellner reviewed recent Synchrophasor Task Force activities. Market Participants discussed changing the name of the task force to Phasor Measurement Task Force (PMTF) to avoid confusion with the Seminar Task Force. System Protection Working Group (SPWG) (see Key Documents) Danny Ee reviewed recent SPWG activities. Voltage Reduction Task Force (VRTF) (see Key Documents) Eithar Nashawati reviewed recent VRTF activities and clarified that a draft report on voltage reduction testing would be available in February or March 2014. In response to Market Participant questions, Mr. Nashawati noted that two of the four testing Entities were able to implement voltage reduction during the January 6, 2014 Energy Emergency Alert (EEA) 2; that the two implementing Entities have remote capabilities and customarily implement voltage reduction; and that the EEA2 was brief and did not allow time for the other two Entities to implement voltage reduction. Mr. R. Jones asked that the purpose of the VRTF be restated, and asked if it is to make voltage reduction mandatory in EEA2, or to establish rules for voltage reduction. Mr. Nashawati offered that the task force’s purpose is to demonstrate the value of voltage reduction, given new measurement capabilities. No Reports Black Start Working Group (BSWG) Geomagnetic Disturbance Task Force (GMDTF) Network Data Support Working Group (NDSWG) NRWG Resource Data Working Group (RDWG) Other Business (see Key Documents) EEA2 – January 6, 2014 It was reported that the customary EEA report is being prepared regarding January 6, 2014. Market Participants requested that preliminary findings be made available at the January 28, 2014 TAC meeting. 2014 ROS Working Group/Task Force Leadership Mr. Hatfield reminded Market Participants that 2014 working group/task force leadership would be considered at the February 6, 2014 ROS meeting. Load Forecast Methodology Liz Jones encouraged Market Participants to review ERCOT’s proposed Load forecast methodology. Adjournment Mr. Hatfield adjourned the January 9, 2014 ROS meeting at 12:06 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2014/01/20140109-ROS