## Slide 1
MWG Update to WMS
Darrell Sumbera
MWG Chair
WMS
4/09/2014
Notes: <number>

## Slide 2
SMOGRR 014
Communications Regarding EPS Meter Repairs, Related Notice Deadlines and Clarifications
April 9, 2014
Notes: <number>

## Slide 3
April 9, 2014
Appendix A:
  • Provides additional option for TDSP to use voice communications with the ERCOT Meter Data Acquisition System (MDAS) Group to provide confirmation of repairs that are external to an EPS meter
SMOGRR 014
Notes: <number>

## Slide 4
April 9, 2014
Appendix C:
  • Defines updated timeframe the MDAS Group will use for issuing notices.
  • Defines timeframes in which data is supplied to ERCOT by a Transmission and/or Distribution System Provider (TDSP) in the event of a prolonged communications failure.
SMOGRR 014
Notes: <number>

## Slide 5
April 9, 2014
Appendix C:
  • Adds additional notice type of “six-hour” notice to accommodate a shortened Settlement timeline to resolve communications issues with ERCOT-Polled Settlement (EPS) Meters in support of Real-Time Market (RTM) Settlements
  • Clarifies the conditions ERCOT will follow in cancelling notices
SMOGRR 014
Notes: <number>

## Slide 6
April 9, 2014
  March 6, 2014
    MWG reviewed SMOGRR 014 and provided comments.
March 20, 2014
  Review of MWG recommendation report & impact analysis for SMOGRR 014
    Impact analysis shows no impacts
  MWG consensus to forward SMOGRR014 & impact analysis to WMS with request for WMS approval
SMOGRR 014
Notes: <number>

## Slide 7
April 9, 2014
  MWG Request to WMS
Approve SMOGRR014 and forward SMOGRR 014 & the associated impact analysis to TAC with recommendation for approval
SMOGRR 014
Notes: <number>

## Slide 8
MWG Proof of Concept
& Next Steps
Mapping of Telemetry points to EPS Meter Points to aid in the estimation process for missing EPS Meter data
April 9, 2014
Notes: <number>

## Slide 9
April 9, 2014
  MWG discussion on how data could be estimated if EPS Meter data is not available.
  Proof of Concept: Can a one to one relationship be mapped between EPS meters and a telemetry point for data estimation purposes?
    Limited scope of evaluation
    Refined process & decided to move forward with concept
Telemetry to EPS Meter Mapping - Proof of Concept
Notes: <number>

## Slide 10
April 9, 2014
  Mapping identification
    ERCOT to provide spreadsheets to each TDSP with EPS meters for compilation of data
      completed on March 27, 2014
    TDSP to complete information & return to ERCOT
  Telemetry point examples:
    Power plant control rooms
    Relaying points
    EPS Metering Points
Telemetry to EPS Meter Mapping – Next Steps
Notes: <number>

## Slide 11
April 9, 2014
  The mapping requires a direct one to one correlation between a telemetry point and an EPS Meter
  ERCOT will compare historical data from mapped telemetry points to EPS meter data to evaluate the accuracy of telemetry point data
  The telemetry data will only be used when EPS Meter data is unavailable
Telemetry to EPS Meter Mapping – Implementation
Notes: <number>

## Slide 12
April 9, 2014
  Telemetry points telemetered to ERCOT
  Requires TDSP ICCP name assigned to the telemetry point in the ERCOT Network Model
  ERCOT to translate the ICCP name to the SCADA point name in ERCOT systems
  ERCOT can pull data directly & create 15 minute integrated values
  TDSP data not telemetered to ERCOT
  Data will need to be in a 15 minute integrated format
Telemetry to EPS Meter Mapping - Implementation
Notes: <number>

## Slide 13
April 9, 2014
        Suggestions?
        Questions?
        Directions?
Notes: <number>