## Slide 1: Emerging Technologies Working Group Update to WMS
April 09, 2014
<number>
Contents
Update on NPRR 588
Solar Forecasting: Draft NPRR
Next ETWG Meeting

## Slide 2: I. Update on NPRR 588
On 12/17/13, NPRR588 was posted.
On 1/15/14, ERCOT comments were posted.
On 1/16/14, PRS considered NPRR588.
On 2/3/14, a second set of ERCOT comments were posted.
On 2/6/14, WMS comments were posted.
On 2/13/14, PRS again considered NPNRR588.
March 18th PRS Meeting
Agenda:
  http://www.ercot.com/calendar/2014/03/20140318-PRS
On 3/18/14, PRS voted to table NPRR588 for one month and asked ERCOT staff to consider whether cost saving implementation options were possible.
Will be back up for consideration at tomorrow’s PRS (10APR).
<number>

## Slide 3: II. Solar Forecasting: Draft NPRR
SEE DRAFT NPRR DOCUMENT
Short-Term PhotoVoltaic Power Forecast (STPPF)
PhotoVoltaic Generation Resource Production Potential (PVGRPP)
SECTION 3.13 Renewable Production Potential Forecasts
4.2.3 PV-Powered Generation Resource Production Potential
  (1) ERCOT shall produce and update hourly a Short-Term PhotoVoltaic Power Forecast (STPPF) that provides a rolling 48-hour hourly forecast of solar production potential for each PhotoVoltaic Generation Resource (PVGR).
5.7.4 RUC Make-Whole Charges
5.7.4.1.1 Capacity Shortfall Ratio Share
6.3.1 Activities for the Adjustment Period
<number>

## Slide 4: II. Next ETWG Meeting April 30
Updates on NPRR 588 and new NPRR
(possible) Presentation by PV Forecast vendors to discuss best practices and telemetry requirements
Other items, TBD
<number>

## Slide 5: APPENDICES
<number>

## Slide 6: Requested WMS Motion
Motion to direct ETWG to file draft NPRR on PVGR forecasting, as presented at 9APR2014 WMS meeting.
Motion does not convey any endorsement of the text, or merits of the draft NPRR.
<number>