## Slide 1: QMWG Report to WMS
S. Looney
April 9, 2014

## Slide 2: NPRRs Assigned to QMWG
NPRR595, RRS Load Treatment in ORDC
  Provides ORDC payment for non-controllable Load Resources providing RRS based on actual telemetry of the load
  Does not change AS settlement
  More reflective of the actual reserves on the system
  No consensus opinion at QMWG, recommendation should be based on cost benefit analysis of project cost

## Slide 3: Assignments from WMS
Review ways to better ensure capacity during cold weather events
  Do not want to restrict ERCOT’s ability to RUC Resources on early
  If a QSE buys out of an early RUC, ORDC does not help because it will be during offpeak hours when there is excess capacity on the system
  The current settlement for RUC make-whole of minimum energy cost forces Resources to lose money when RUC’d on early
  Recommendation is to revise the settlement of losses on minimum energy during offpeak hours for Resources on RUC. (This change may not be feasible due to system change cost.)

## Slide 4: Assignments from WMS
Issues related to early release of HASL to SCED – Deferred the discussion, ERCOT bringing a proposal to WMS
Definition of HSL on combined cycles with power augmentation providing RRS
  EDF will submit an NPRR
  Allowing a Resource to calculate and telemeter its HASL in these cases is a better solution
  NPRR524 and NPRR527 should fix this when implemented later in 2014. Allows a portion of the RRS to be non-frequency responsive and requires telemetry of the portion of RRS on a Resource that is not immediately frequency responsive.

## Slide 5: Assignments from WMS
Concerns with Interconnection Handbook and Commissioning Checklist
  No comments have been submitted
  Mike Noth, LCRA, will contact ERCOT to schedule Webex to discuss
Reactive Testing issues
  Changes to NDCRC testing forms in April system release, presentation on March 26 QMWG meeting page
  For other reactive testing questions, refer to June 14, 2013 presentation on QMWG meeting page

## Slide 6: Assignments from WMS
Review testing requirements for all resources including Load and ERS – Marguerite Wagner will take this assignment.
Concern about ORDC Bandwidth and price oscillation – Discuss at next meeting
Evaluate the root cause of reserve unavailable during EEA
  Errors in reporting HSL, ERCOT has unannounced testing to verify HSLs.
  Weather-related startup failure, ERCOT has weatherization plans and incident RFIs for generator trips.
  Should QMWG study either of these issues further?