Operations Working Group Meeting

Monday, 3/19/14

Austin - MET Center

In Attendance:

| Kelly Landry – ERCOT | Julius Horvath – WETT |
| --- | --- |
| Anthony Alford – Centerpoint Energy | Bob Temple – WETT |
| Sherry Looney – Luminant | Patrick Trevino - CPS Energy |
| Colleen Frosch – ERCOT | Robert Avila – Brownsville P.U.B |
| Agee Springer – ERCOT | Laura Zotter – Austin Energy |
| Chad Thompson – ERCOT | John Blackwell – Lone Star Transmission |
| Stephen Solis – ERCOT | John Warren – LCRA |
| Frank Owens – Cross Texas Transmission | Chris Forral - ERCOT |
| David Penney – Texas RE | Nitika Mago - ERCOT |
| Hugo Mena – Electric Power Engineers, Inc. | Nathan Bigbee - ERCOT |
| Fred Huang – ERCOT Laurie White – AEP Marguerite Wagner – EMMT Liz Jones – ONCOR | Walter Reid – Wind Coalition John Abel – ONCOR Rob Lane – Luminant |

Dial-In Attendees:

| Tip Tipton – Brazos Robert Bailey – NRG Matt Carter – Garland Henry Wood – STEC | Mike Jurick - ONCOR Linda Rodriguez – AEP Shirley Mathew – AEN Kris Dixit – EDF |
| --- | --- |

- Antitrust Admonition

Meeting scheduled to open at 9:00 but was delayed due to issues with conference call. Meeting opened at 9:15 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting

New assignment OWG to evaluate concerns that ERCOT has to bring RUC units earlier than required because of unit start-up failures; review need for ERCOT Operating procedures for RUCing units. Joint discussions with CMWG scheduled to start at 10:30, delayed until 11:00. Presentation given by ERCOT personnel and questions/comments were fielded.

- February OWG Meeting Notes

Reviewed notes, minor changes identified.

- NOGRR Reviews

- 124NOGRR Additional VRT Requirement for IRRs. This Nodal Operating Guide Revision Request (NOGRR) specifies new high Voltage Ride-Through (VRT) requirements for Intermittent Renewable Resources (IRRs) and prohibits IRRs from tripping for events that are less severe than the defined thresholds and occur for shorter time durations. (ERCOT) IA Review. Presentation given by ERCOT personnel. Comments/questions answered. Revised language from EDF and ERCOT considered. OWG consensus was to recommend approval of NOGRR124 as amended by 2/12/13 EDF comments as revised by OWG, with the exception of endorsing any grandfathering date.

- Urgent NOGRR Alignment with NPRR555 Language Review. NOGRR identified as NOGRR130. OWG recommended approval.

- Monthly Operations Report

Reviewed the report; comments/questions were answered by ERCOT personnel.

- Operations Task Force

No items on this month’s agenda.

- Texas RE Update Report

New NERC standard revisions focusing on SPSs. The proposed definition changes would introduce four categories with some exclusions that would be different from current definitions. Everyone should review and comment.

- System Operations Report

No report given this month.

- Seminar Task Force Report

No item this month.

- Other

ERCOT is currently in the process of updating the MIS-NDCRC Reactive Testing Forms. It is anticipated these changes will likely affect members of the Operations Working Group. Two phases of changes coming to Reactive Test form. First is formatting and updated help files. Second adds fields and VSS Validation module. ERCOT personnel gave a presentation and answered questions/comments.

For group discussion - John Warren brought up PRC values and the makeup of PRC.  The question on the table is do we need to look at what we procure or the change the levels of PRC associated with each level of EEA.  Current agenda items reviewed. No action taken pending further revisions to workshop agenda.

ROS directive - Voltage support requirement for all Generation Resources greater than 20 MVA. (See Protocol Section 3.15, paragraph 2) Update on offline discussions. Discussions reviewed. No action needed at this time.

- Future Meeting Date

Wednesday April 23rd, 2014

- Voltage Control Workshop

Meeting transitioned into voltage control workshop at 13:47.