## Cover Sheet
"NERC Standards Watch List" Disclaimer
This NERC Standards Watch List is intended for informational purposes only.
It is simply a tool for use in ERCOT's NERC Reliability Working Group (NRWG).
All of the information contained herein is available publically.
Although it is correct to the best of my knowledge, I cannot guarantee the accuracy of its contents.
If something seems incorrect to you, verify it.
If you know of any errors, please let me know so I can make any necessary corrections.
Lisa Martin
512-322-6457
lisa.martin@austinenergy.com

## Pending Regulatory Approval
NERC Standards Watch List |  |  |  | LEGEND: | Phase Complete
Updated: 4/15/14 |  |  |  |  | New Info
STANDARDS PENDING REGULATORY APPROVAL This list excludes standards that were not approved by FERC in Order 693. Refer to NERC's "pending regulatory approval standards" list.
Project | Standard | Title | Applicable Entities | SAR / Interpretation Request | Industry Stakeholder Process | NERC BOT Approval | NERC Petition for Approval | FERC NOPR | FERC Order | Implementation Plan Summary | Comment
2008-10 | CIP-006-3d or -4d | Cyber Security — Physical Security of Critical Cyber Assets | All | 2008-04-02 | 2011-12-19 | 2012-02-09 | 2012-05-23 | n/a | Remanded: 3/21/2013 |  | Interp re ESP wiring external to a PSP; RD12-3-000
2010-INT-05 | CIP-002-3a or -4a | Cyber Security — Critical Cyber Asset Identification | All | 2010-07-27 | 2012-04-30 | 2012-05-09 | 2012-08-01 | n/a | Remanded: 3/21/2013 |  | Interp re "essential to the op of a CA"; RD12-5-000
2009-19 | BAL-002-1a | Disturbance Control Performance | BA, Reserve Sharing Groups, RRO | 2009-09-02 | 2012-10-08 | 2012-11-07 | 2013-02-12 | NOPR proposing remand: 5/16/2013 |  |  | Interpretation of R4 & R5; RM13-6
2010-INT-01 | TOP-006-3 | Monitoring System Conditions | BA, GOP, TOP, RC | 2010-01-20 | 2012-09-21 | 2012-11-07 | 2013-04-04 | NOPR proposing approval: 11/21/2013 |  |  | RapidRev re reporting and tech info responsibilities; RM13-12
2006-06 | IRO-001-3 | Reliability Coordination – Responsibilities and Authorities | BA, DP, GOP, TOP, RC | 2007-05-01 | 2012-07-06 | 2012-08-16 | 2013-04-16 | NOPR proposing remand: 11/21/2013 |  |  | Reliability Coordination; includes retirement of IRO-001-1.1, IRO-002-2; IRO-005-3a, IRO-014-1, IRO-015-1 and IRO-016-1; requests simultaneous approval with TOP stds; RM13-15
2006-06 | IRO-002-3 | Reliability Coordination — Analysis Tools | RC | 2007-05-01 | 2011-07-25 | 2011-08-04 | 2013-04-16 | NOPR proposing remand: 11/21/2013 |  |  | see IRO-001-3 (above)
2006-06 | IRO-005-4 | Reliability Coordination — Current Day Operations | RC | 2007-05-01 | 2011-07-25 | 2011-08-04 | 2013-04-16 | NOPR proposing remand: 11/21/2013 |  |  | see IRO-001-3 (above)
2006-06 | IRO-014-2 | Coordination Among Reliability Coordinators | RC | 2007-05-01 | 2011-07-25 | 2011-08-04 | 2013-04-16 | NOPR proposing remand: 11/21/2013 |  |  | see IRO-001-3 (above)
2007-03 | TOP-001-2 | Transmission Operations | BA, DP, GOP, LSE, TOP | 2007-08-06 | 2012-05-06 | 2012-05-09 | 2013-04-16 | NOPR proposing remand: 11/21/2013 |  |  | RT Transmission Ops; includes retirement of TOP-001-1a, TOP-002-2.1b, TOP-003-1, TOP-004-2, TOP-005-2a, TOP-006-2, TOP-007-0, TOP-008-1, PER-001-0.2; requests simultaneous approval with IRO stds; RM13-14
2007-03 | TOP-002-3 | Operations Planning | TOP | 2007-08-06 | 2012-05-06 | 2012-05-09 | 2013-04-16 | NOPR proposing remand: 11/21/2013 |  |  | see TOP-001-2 (above)
2007-03 | TOP-003-2 | Operational Reliability Data | BA, DP, GO, GOP, IA, LSE, TO, TOP | 2007-08-06 | 2012-05-06 | 2012-05-09 | 2013-04-16 | NOPR proposing remand: 11/21/2013 |  |  | see TOP-001-2 (above)
2007-03 | PRC-001-2 | System Protection Coordination | BA, GOP, TOP | 2007-08-06 | 2012-05-06 | 2012-05-09 | 2013-04-16 | NOPR proposing remand: 11/21/2013 |  |  | see TOP-001-2 (above)
2013-03 | EOP-010-1 | Geomagnetic Disturbance Mitigation | RC, TOPs w/ a TOP Area incl pwr xfmr w/ a high side wye-grounded winding w/ terminal voltage >200kV | No date on SAR | 2013-11-04 | 2013-11-07 | 2013-11-14 | 2014-01-16 |  |  | Phase 1 of GMD; RM14-1-000
2010-13.2 | PRC-025-1 | Phase 2 Relay Loadability: Generation | GO, TO & DP, all that apply load-responsive protective relays at the terminals of Elements listed in 3.2 | 2010-11-01 | 2013-08-12 | 2013-08-15 | 2013-09-30 | 2014-03-20 |  |  | RM13-19, RM 14-3
2010-13.2 | PRC-023-3 | Phase 2 Relay Loadability: Generation | TO, GO & DP, all with load-responsive phase protection systems described in Attach. A, PC | 2012-11-30 | 2013-09-13 | 2013-11-07 | 2013-12-17 | 2014-03-20 |  |  | Filed as a supplement to the 9/30/2013 PRC-025-1 petition; RM13-19, RM 14-3
2012-05 | MOD-001-2 | Available Transmission System Capability | TO, TSP (entities operating in ERCOT are exempt) | 2013-09-25 | 2013-12-20 | 2014-02-06 | 2014-02-10 |  |  |  | MOD A; includes ERCOT exemption
2007-17.2 | PRC-005-3 | Protection System Maintenance and Testing - Phase 2 (Reclosing Relays) | DP, GO, TO | 2013-01-17 | 2013-10-25 | 2013-11-07 | 2014-02-14
2010-03 | MOD-032-1 | Modeling Data | BA, GO, LSE, PC, RP, TO, TP, TSP | 2012-12-12 | 2013-12-16 | 2014-02-06 | 2014-02-25 |  |  |  | MOD B
2010-03 | MOD-033-1 | Model Verification | PC, RC, TOP | 2012-12-12 | 2014-02-05 | 2014-02-06 | 2014-02-25 |  |  |  | MOD B
2008-12 | INT-004-3 | Dynamic Transfers | BA, PSE | 2008-12-01 | 2014-02-05 | 2014-02-06 | 2014-02-27 |  |  |  | Coordinate Interchange Standards
2008-12 | INT-006-4 | Evaluation of Interchange Transactions | BA, TSP | 2008-12-01 | 2013-12-20 | 2014-02-06 | 2014-02-27 |  |  |  | Coordinate Interchange Standards
2008-12 | INT-009-2 | Implementation of Interchange | BA | 2008-12-01 | 2013-12-20 | 2014-02-06 | 2014-02-27 |  |  |  | Coordinate Interchange Standards
2008-12 | INT-010-2 | Interchange Initiation and Modification for Reliability | BA | 2008-12-01 | 2014-02-05 | 2014-02-06 | 2014-02-27 |  |  |  | Coordinate Interchange Standards
2008-12 | INT-011-1 | Intra-Balancing Authority Transaction Identification | LSE | 2008-12-01 | 2013-12-20 | 2014-02-06 | 2014-02-27 |  |  |  | Coordinate Interchange Standards
2010-01 | PER-005-2 | Operations Personnel Training | BA, RC, TOP, TO (if applicable), GOP (if applicable) | 2008-12-01 | 2014-02-05 | 2014-02-06 | 2014-03-07 |  |  |  | Coordinate Interchange Standards
2010-14.1 | BAL-001-2 | Phase 1 Balancing Authority Reliability-Based Controls | BA, Regulation Reserve Sharing Group | originally part of Project 2007-05 & 2007-13 | 2013-07-25 | 2013-08-15 | 2014-04-02
2009-22 | COM-002-2a | Communications and Coordination | BA, GOP, TOP, RC | 2009-10-02 | 2011-12-23 | 2012-02-09 |  |  |  |  | Interp re "directives" for emergencies or normal ops
2006-06 | COM-001-2 | Communications | BA, DP, GOP, TOP, RC | 2007-05-01 | 2012-09-17 | 2012-11-07 |  |  |  |  | Reliability Coordination
2006-06 | COM-002-3 | Communication and Coordination | BA, DP, GOP, TOP, RC | 2007-05-01 | 2012-07-06 | 2012-11-07 |  |  |  |  | Reliability Coordination
2012-INT-05 | CIP-002-3b | Critical Cyber Asset Identification | All | 2011-02-24 | 2013-01-23 | 2013-02-07 |  |  |  |  | Interp re applicability of R1.2.5 to AMI systems
2012-INT-04 | CIP-007-3b | Interpretation of CIP-007-3 for ITC |  | 2011-12-28 | 2013-09-20 | 2013-11-07
2012-INT-06 | CIP-003-3a | Interpretation of CIP-003-3 for Consumers Energy |  | 2011-06-09 | 2013-09-20 | 2013-11-07
2013-04 | VAR-001-4 | Voltage and Reactive Control | TOP, GOPs within WECC | 2013-07-18 | 2013-12-23 | 2014-02-06 |  |  |  |  | Voltage and Reactive Control
2007-02 | COM-002-4 | Operating Personnel Communications Protocols | BA, DP, RC, TOP, GOP | 2007-06-08 | 2014-02-05 | 2014-04-07

## Future Enforcement
NERC Standards Watch List |  |  |  |  | LEGEND: | Phase Complete
Updated: 4/15/14 | [5 empty] | New Info
STANDARDS SUBJECT TO FUTURE ENFORCEMENT This list includes standards that have achieved FERC approval
Project | Standard | Title | Enforcement Date | Applicable Entities | SAR | Industry Stakeholder Process | NERC BOT Approval | NERC Petition for Approval | FERC NOPR | FERC Order | Implementation Plan Summary | Comment
2007-17 | PRC-001-1.1 | System Protection Coordination | [per NERC, the dates are still being established] | BA, GOP, TOP | n/a | n/a | Standards Committee approval: 4/11/2012 | informational filing: 9/9/2013 | n/a | n/a | effective immediately | RD11-13-000; errata change capitalizes all instances of "Protection System"
2007-17 | NUC-001-2.1 | Nuclear Plant Interface Coordination | [per NERC, the dates are still being established] | Nuclear Plant GOP, Transmission Entities | n/a | n/a | Standards Committee approval: 4/11/2012 | informational filing: 9/9/2013 | n/a | n/a | effective immediately | RD11-13-000; errata change capitalizes all instances of "Protection System"
2010-17 | Definition Revision | Proposed Definition of Bulk Electric System (Phase 2) | 2014-07-01 | All | 2011-12-02 | 2013-11-18 | 2013-11-21 | 2013-12-13 | n/a | Issued/Effective: 3/20/2014 | 1st day of 2nd cal qtr after FERC approval | RD 14-2-000
2010-17 Exception | BES | Rules of Procedure changes | 2014-07-01 | n/a | 2010-12-17 | 10/27/2011 (comments only) | 2012-01-18 | 2012-01-25 | 2012-06-22 | Issued 12/20/2012 Fed Reg 1/4/2013 Effective 3/5/2013 Issued 4/18/2013 ORDER GRANTING EXTENSION OF TIME Issued 6/13/2013 | 1st day of 2nd cal qtr after FERC approval | Exception Process; Order 773 and Order 773-A; RM12-6-001; RM12-7-001
2010-07 | FAC-003-3 | Transmission Vegetation Management | TOs: 7/1/2014 Applicable GOs: R3: 1/1/2015 R1, R2, R4-R7: 1/1/2016 | Applicable TOs, Applicable GOs | 2010-11-30 | 2012-05-03 | 2012-05-09 | 2012-07-30 | 2013-04-18 | Issued 9/19/2013 Fed Reg 9/24/2013 Effective 11/25/2013 | For TOs: the date FAC-003-2 was scheduled to become effective For applicable GOs: R3: 1st day of the 1st cal qtr 1 yr after FERC approval R1, R2, R4-R7: 1st day of the 1st cal qtr 2 yrs after FERC approval | Generator Req'mts at the Trans Interface
2010-13 | PRC-023-2 R1 (For supervisory elements, see Attachment A, Section 1.6) | Transmission Relay Loadability | 2014-07-01 | TO, GO, DP | 2010-08-12 | 2011-03-07 | 2011-03-10 | 2011-03-18 | 2011-09-15 | Issued 3/15/2012 Fed Reg 3/21/2012 Effective 5/7/2012 | 1st day of 1st cal qtr 24 mo after FERC approval | RM11-16-000; Order No. 759
2007-09 | MOD-026-1 | Verification of Models and Data for Generator Excitation Control System or Plant Volt/Var Control Functions | R1 & R3-R6: 7/1/2014 R2: 7/1/2018 (30%) 7/1/2020 (50%) 7/1/2024 (100%) | GO, TP | 2007-06-14 | 2012-12-21 | 2013-02-07 | 2013-05-30 | 2013-09-19 | Issued 3/20/2014 Fed Reg 3/27/2014 Effective 5/27/2014 | R1 & R3-R6: 1st day of 1st cal qtr after FERC approval R2: 1st day of 1st cal qtr x years after FERC approval (y% of its applicable unit gross MVA per Interconnection are compliant) if x = 4, y = 30% if x = 6, y = 50% if x = 10, y = 100% | Generator Verification; RM-13-16-000; Order 796
2007-09 | MOD-027-1 | Verification of Models and Data for Turbine/Governor and Load Control or Active Power/Frequency Control Functions | R1 & R3-R5: 7/1/2014 R2: 7/1/2018 (30%) 7/1/2020 (50%) 7/1/2024 (100%) | GO, TP | 2007-06-14 | 2012-12-21 | 2013-02-07 | 2013-05-30 | 2013-09-19 | Issued 3/20/2014 Fed Reg 3/27/2014 Effective 5/27/2014 | R1 & R3-R5: 1st day of 1st cal qtr after FERC approval R2: 1st day of 1st cal qtr x years after FERC approval (y% of its applicable unit gross MVA per Interconnection are compliant) if x = 4, y = 30% if x = 6, y = 50% if x = 10, y = 100% | Generator Verification; RM-13-16-000; Order 796
2010-07 | FAC-001-1 | Facility Connection Requirements | TOs: 11/25/2013 Applicable GOs: 1/1/2015 | TO, Applicable GOs | 2010-11-30 | 2011-12-23 | 2012-02-09 | 2012-07-30 | 2013-04-18 | Issued 9/19/2013 Fed Reg 9/24/2013 Effective 11/25/2013 | For TOs: upon FERC approval For applicable GOs: 1st day of the 1st cal qtr 1 yr after FERC approval | Generator Req'mts at the Trans Interface; RM12-16-000
2010-11 | TPL-001-4 | TPL Table 1, Footnote B | R1 & R7: 1/1/2015 R2-R6 & R8: 1/1/2016 | PC, TP | 2010-04-14 | 2013-01-31 | 2013-02-07 | 2013-02-28 | 2013-05-16 | Issued 10/17/2013 Fed Reg 10/23/2013 Effective 12/23/2013 | R1 & R7: 1st day of 1st cal qtr 12 mo after FERC approval R2-R6 & R8: 1st day of 1st cal qtr 24 mo after FERC approval See Implementation Plan for add'l details | Related to FERC Order 762; approved by NERC BOT as TPL-001-3 but discrepancy IDed and corrected; retires TPL-001-0.1, TPL-002-0b, TPL-003-0a, and TPL-004-0; Docket Nos. RM12-1, RM13-9; Order 786
2007-17 | PRC-005-2 | Protection System Maintenance | R1, R2 & R5: 4/1/2015 R3 & R4: staggered implementation ranging from 10/1/2015 to 4/1/2027 | DP, GO, TO | 1st SAR 5/7/2007 2nd SAR 8/4/2011 | 2012-10-24 | 2012-11-07 | 2013-02-26 | 2013-07-18 | Issued 12/19/2013 Fed Reg 12/24/2013 Effective 2/24/2014 | R1, R2 & R5: 1st day of 1st cal qtr 12 mo after FERC approval R3 & R4: Staggered as stated in the Implementation Plan | Combines PRC-008, -011, -017 with PRC-005; RM13-7; Order No. 793
2007-12 | BAL-003-1 | Frequency Response | R2, R3 & R4: 4/1/2015 R1: 4/1/2016 | BA | 2007-06-30 | 2012-12-21 | 2013-02-07 | 2013-03-29 | 2013-07-18 | Issued 1/16/2014 Fed Reg 1/23/2014 Effective 3/24/2014 | R2, R3 & R4: 1st day of 1st cal qtr 12 mo after FERC approval R1: 1st day of 1st cal qtr 24 mo after FERC approval | Frequency Response; RM13-11; Order No. 794
n/a | BAL-001-TRE-1 | Primary Frequency Response in the ERCOT Region | R1 & R8: 4/1/2015 R2 - R5: 10/1/2015 R6 & R7: 50% compliant by 4/1/2015, 100% compliant by 10/1/2015 R9 & R10: 50% compliant by 4/1/2016, 100% compliant by 10/1/2016 | BA, GO, GOP | n/a | TRE BOT approval: 4/23/2013 | 2013-08-15 | 2013-09-18 | n/a | Issued/Effective: 1/16/2014 | R1 & R8: 1st day of 1st cal qtr 12 mo after FERC approval R2 - R5: 1st day of 1st cal qtr 18 mo after FERC approval R6 & R7: 50% compliant by 1st day of 1st cal qtr 12 mo after FERC approval, 100% compliant by 1st day of 1st cal qtr 18 mo after FERC approval R9 & R10: 50% compliant by 1st day of 1st cal qtr 24 mo after FERC approval, 100% compliant by 1st day of 1st cal qtr 30 mo after FERC approval | RD13-12-000
2008-06 | CIP-002-5 through CIP-011-1 | Cyber Security | High & Med Impact BES Cyber Systems: 4/1/2016 Low Impact BES Cyber Systems: 4/1/2017 | All | 2008 | 2012-11-05 | 2012-11-26 | 2013-01-31 | 2013-04-18 | Issued 11/21/2013 Fed Reg 12/20/2013 Effective 2/3/2014 | Later of: July 1, 2015 -OR- 1st day of 9th cal qtr after FERC approval | CIP v5; RM13-5
2007-09 | MOD-025-2 | Verification and Data Reporting of Generator Real and Reactive Power Capability and Synchronous Condenser Reactive Power Capability | 7/1/2016 (40%) 7/1/2017 (60%) 7/1/2018 (80%) 7/1/2019 (100%) | GO, TOs w/ sync condenser(s) | 2007-06-14 | 2012-12-21 | 2013-02-07 | 2013-05-30 | 2013-09-19 | Issued 3/20/2014 Fed Reg 3/27/2014 Effective 5/27/2014 | 1st day of 1st cal qtr x cal years after FERC approval (y% verification of applicable facilities) if x = 2, y = 40% if x = 3, y = 60% if x = 4, y = 80% if x = 5, y = 100% | Generator Verification; RM-13-16-000; Order 796
2007-09 | PRC-019-1 | Coordination of Generating Unit or Plant Capabilities, Voltage Regulating Controls, and Protection | 7/1/2016 (40%) 7/1/2017 (60%) 7/1/2018 (80%) 7/1/2019 (100%) | GO, TOs w/ sync condenser(s) | 2007-06-14 | 2012-12-21 | 2013-02-07 | 2013-05-30 | 2013-09-19 | Issued 3/20/2014 Fed Reg 3/27/2014 Effective 5/27/2014 | 1st day of 1st cal qtr x cal years after FERC approval (y% verification of applicable facilities) if x = 2, y = 40% if x = 3, y = 60% if x = 4, y = 80% if x = 5, y = 100% | Generator Verification; RM-13-16-000; Order 796
2007-09 | PRC-024-1 | Generator Frequency and Voltage Protective Relay Settings | 7/1/2016 (40%) 7/1/2017 (60%) 7/1/2018 (80%) 7/1/2019 (100%) | GO | 2007-06-14 | 2013-03-27 | 2013-05-09 | 2013-05-30 | 2013-09-19 | Issued 3/20/2014 Fed Reg 3/27/2014 Effective 5/27/2014 | 1st day of 1st cal qtr x cal years after FERC approval (y% verification of applicable facilities) if x = 2, y = 40% if x = 3, y = 60% if x = 4, y = 80% if x = 5, y = 100% | Generator Verification; RM-13-16-000; Order 796
2010-13 | PRC-023-2 R1, R2, R3 (For circuits identified by the PC pursuant to R6) | Transmission Relay Loadability | Later of: 4/1/17 -OR- 1/1/XX | TO, GO, DP | 2010-08-12 | 2011-03-07 | 2011-03-10 | 2011-03-18 | 2011-09-15 | Issued 3/15/2012 Fed Reg 3/21/2012 Effective 5/7/2012 | Later of: 1st day of 1st cal qtr 39 mo after notification by PC of a circuit’s inclusion -OR- 1st day of 1st cal year in which any criterion in Attachment B applies, unless the PC removes the circuit from the list before the applicable effective date | RM11-16-000; Order No. 759
Note on K18: LMartin: originally published in the Federal Registry on 12/3/2013; corrected version published on 12/20/2013; no impact to Effective Date of FERC approval

## Archive
NERC Standards Watch List - ARCHIVE |  |  |  |  | LEGEND: | Phase Complete
Updated: 4/15/14 | [5 empty] | New Info
ARCHIVE INFORMATION - This tab contains standards that were removed from the other tabs for any reason (e.g., currently enforced, removed from process)
Project | Standard | Title | Enforcement Date | Applicable Entities | SAR | Industry Stakeholder Process | NERC BOT Approval | NERC Petition for Approval | FERC NOPR | FERC Order | Implementation Plan Summary | Comment
2010-10 | FAC-013-2 | Assessment of Transfer Capability for the Near-Term Transmission Planning Horizon | 2013-04-01 | PC | 2010-04-29 | 2011-01-23 | 2011-01-24 | 2011-01-28 | n/a | Issued 11/17/2011 Fed Reg 11/22/2011 Effective 1/23/2012 | LATER OF 1st day of 1st cal qtr 12 mo after FERC approval -OR- 1st day of 1st cal qtr 6 mo after MOD-001-1, MOD-028-1, MOD-029-1, MOD-030-2 become effective | retires FAC-012-1 and FAC-013-1
2006-01 | PER-005-1 R1, R2 & subs | System Personnel Training | 2013-04-01 | BA, RC, TOP | 2006-04-12 | 2008-12-22 | 2009-02-10 | 2009-09-30 | 2010-06-17 | Issued 11/18/2010 Fed Reg 11/26/2010 Effective 1/25/2011 | 1st day of 1st cal qtr 24 mo after FERC approval | RM09-25-000; Order 742
2007-17 | Definition Revision | Protection System | 2013-04-01 | n/a | 2010 directive from Standards Committee | 2010-11-11 | 2010-11-19 | 2011-03-30 | n/a | 2012-02-03 | 1st day of 1st cal qtr 12 mo after FERC approval | RD11-13-000
2006-06 | IRO-001-2 | Reliability Coordination — Responsibilities and Authorities |  | BA, GOP, LSE, PSE, TOP, TSP, RC, RRO | 2007-05-01 | 2011-07-25 | 2011-08-04 | n/a | n/a | n/a | n/a | Removes IRO-001-1.1 R7 (coordinates with IRO-014-2); subsequently replaced with IRO-001-3; believe it goes to inactive list; never enforceable
2012-INT-02 | TPL-003-0b and TPL-004-0a | System Performance Following Loss of Two or More BES Elements (Category C) System Performance Following Extreme Events Resulting in the Loss of Two or More BES Elements (Category D) | 2013-06-20 | PA, TP | 2011-12-12 | 2013-01-31 | 2013-02-07 | 2013-04-12 | n/a | Issued/Effective 6/20/2013 | effective upon FERC approval | Interpretation related to FERC Order 754; coordinated with petition for approval of TPL-001-4; RD13-8
2006-03 | EOP-001-2.1b | Emergency Operations Planning | 2013-07-01 | BA, TOP | 2006-10-26 | 2009-05-18 | 2009-08-05 | 2009-12-31 | 2010-11-17 | Issued 3/17/2011 Fed Reg 3/23/2011 Effective 5/23/2011 | 1st day of 1st cal qtr 24 mo after FERC approval | Order 749 & Letter Order for errata
2006-03 | EOP-005-2 | System Restoration from Blackstart Resources | 2013-07-01 | GOP, TOP & DP,TO IDed in a TOP restoration plan | 2006-10-26 | 2009-05-18 | 2009-08-05 | 2009-12-31 | 2010-11-17 | Issued 3/17/2011 Fed Reg 3/23/2011 Effective 5/23/2011 | 1st day of 1st cal qtr 24 mo after FERC approval | Order 749
2006-03 | EOP-006-2 | System Restoration Coordination | 2013-07-01 | RC | 2006-10-26 | 2009-05-18 | 2009-08-05 | 2009-12-31 | 2010-11-17 | Issued 3/17/2011 Fed Reg 3/23/2011 Effective 5/23/2011 | 1st day of 1st cal qtr 24 mo after FERC approval | Order 749
2006-04 | EOP-008-1 | Loss of Control Center Functionality | 2013-07-01 | BA, RC, TOP | 2006-10-26 | 2010-07-26 | 2010-08-05 | 2011-02-11 | n/a | Issued 4/21/2011 Fed Reg 4/28/2011 Effective 6/27/2011 | 1st day of 1st cal qtr 24 mo after FERC approval | RD11-4-000
2011-INT-02 | VAR-002-2b | Generator Operation for Maintaining Network Voltage Schedules | 2013-07-01 | GO, GOP | 2011-01-28 | 2012-07-27 | 2012-08-16 | 2012-11-21 | n/a | Issued/Effective 4/16/2013 | 1st day of the 1st cal qtr following the date of this order | RapidRev re AVR notification during start up/shut down; RD13-2-000
2010-13 | PRC-023-2 R1 (For criterion 10.1 … see cell comment) | Transmission Relay Loadability | 2013-07-01 | TO, GO, DP | 2010-08-12 | 2011-03-07 | 2011-03-10 | 2011-03-18 | 2011-09-15 | Issued 3/15/2012 Fed Reg 3/21/2012 Effective 5/7/2012 | 1st day of 1st cal qtr 12 mo after FERC approval | RM11-16-000; Order No. 759
2012-08.1 Phase 1 | Definition revision | “Bulk-Power System,” “Reliability Standard” and “Reliable Operation” | 2013-07-09 | n/a | 2012-05-10 | 2013-04-29 | 2013-05-09 | 2013-05-10 | n/a | Issued/Effective 7/9/2013 | Effective upon FERC approval | Statutory definitions to NERC Glossary of Terms; RD13-10-000
2011-INT-01 | MOD-028-2 | Area Interchange Methodology | 2013-10-01 | TOPs & TSPs that use Area Interchange Methodology to calc TTC & ATC, respectively | 2011-08-30 | 2011-12-22 | 2012-02-09 | 2012-08-24 | 2013-03-21 | Issued 7/18/2013 Fed Reg 7/29/2013 Effective 9/27/2013 | 1st day of 1st cal qtr after FERC approval | RapidRev re timing/freq of TTC calcs for ATC calc; RM12-19-000
2007-01 | EOP-003-2 | Load Shedding Plans | 2013-10-01 | BA, TOP | 2007-03-28 | 2010-10-28 | 2010-11-04 | 3/31/2011 amended 5/17/2011 | 2011-10-20 | Issued 5/7/2012 Fed Reg 5/11/2012 Effective 7/10/2012 | 1 year following the 1st day of the 1st cal qtr after FERC approval | RM11-20-000; Order No. 763 retires PRC-007-0, PRC-009-0, EOP-003-1, and PRC-006-0 (never enforceable)
2007-01 | PRC-006-1 | Automatic Underfrequency Load Shedding | 2013-10-01 | PC, UFLS entities (DP, TO) | 2007-03-28 | 2010-10-28 | 2010-11-04 | 3/31/2011 amended 5/17/2011 | 2011-10-20 | Issued 5/7/2012 Fed Reg 5/11/2012 Effective 7/10/2012 | 1st day of 1st cal qtr 1 year after FERC approval (except for R4.1 - R4.6) R4.1-R4.6: one year following the receipt of gen data as required in PRC-024-1, but no sooner than effective date for rest of the std | RM11-20-000; Order No. 763 retires PRC-007-0, PRC-009-0, EOP-003-1, and PRC-006-0 (never enforceable)
2010-13 | PRC-023-2 R1 (For switch-on-to-fault schemes as described in Attachment A, Section 1.3) | Transmission Relay Loadability | 2013-10-01 | TO, GO, DP | 2010-08-12 | 2011-03-07 | 2011-03-10 | 2011-03-18 | 2011-09-15 | Issued 3/15/2012 Fed Reg 3/21/2012 Effective 5/7/2012 | Later of: 1st day of 1st cal qtr after FERC approval of PRC-023-2 (7/1/2012) -OR- 1st day of 1st cal qtr 39 mo after FERC approval of PRC-023-1 (10/1/2013) | RM11-16-000; Order No. 759
2007-07 | FAC-003-2 | Transmission Vegetation Management | 2014-07-01 | TO | 2007-04-02 | 2011-10-13 | 2011-11-03 | 2011-12-21 | 2012-10-18 | Issued 3/21/2013 Fed Reg 3/28/2013 Effective 5/27/2013 | 1st day of 1st cal qtr 1 yr after FERC approval | Superseded by FAC-003-3 as of 11/25/2013; never enforceable
2006-02 | TPL-001-2 | Transmission System Planning Performance Requirements |  | PC, TP | 2006-04-30 | 2011-07-22 | 2011-08-04 | 2011-10-19 | NOPR proposing remand: 4/19/2012 supplemental NOPR: 5/16/2013 (see TPL-001-4 below) |  |  | Superseded by TPL-001-4
2008-06 | CIP-002-4 CIP-003-4 CIP-004-4a CIP-005-4a CIP-006-4c CIP-007-4 CIP-008-4 CIP-009-4 | Cyber Security — Critical Cyber Asset Identification | 10/1/2014 4/1/2014 | All | 2008-07-10 | 2010-12-30 | 2011-01-24 | 2011-02-10 | 2011-09-15 | Issued 4/19/2012 Fed Reg 4/25/2012 Effective 6/25/2012 ORDER GRANTING EXTENSION OF TIME 8/12/2013 | Existing CAs: 1st day of 8th cal qtr after FERC approval; Newly IDed CAs: see implementation plan | RM11-11-000 Order 761; Superseded by CIP v5 per Order 791 paragraph 171
2010-07 | FAC-001-1 | Facility Connection Requirements | TOs: 11/25/2013 Applicable GOs: 1/1/2015 | TO, Applicable GOs | 2010-11-30 | 2011-12-23 | 2012-02-09 | 2012-07-30 | 2013-04-18 | Issued 9/19/2013 Fed Reg 9/24/2013 Effective 11/25/2013 | For TOs: upon FERC approval For applicable GOs: 1st day of the 1st cal qtr 1 yr after FERC approval | Generator Req'mts at the Trans Interface; RM12-16-000
2010-07 | PRC-004-2.1a | Analysis and Mitigation of Transmission and Generation Protection System Misoperations | 2013-11-25 | GO, TO, DPs that own trans Protection Sys | 2010-11-30 | 2011-12-23 | 2012-02-09 | 2012-07-30 | 2013-04-18 | Issued 9/19/2013 Fed Reg 9/24/2013 Effective 11/25/2013 | Upon FERC approval | Generator Req'mts at the Trans Interface
2010-07 | PRC-005-1.1b | Transmission and Generation Protection System Maintenance and Testing | 2013-11-25 | GO, TO, DPs that own trans Protection Sys | 2010-11-30 | 2012-05-03 | 2012-05-09 | 2012-07-30 | 2013-04-18 | Issued 9/19/2013 Fed Reg 9/24/2013 Effective 11/25/2013 | Upon FERC approval | Generator Req'mts at the Trans Interface
2008-06 | CIP-002-5.1 | Cyber Security — BES Cyber System Categorization |  | All | n/a | n/a | Standards Committee approval: 9/27/2013 | 2013-09-30 | integrated into CIP v5 package | n/a |  | Errata approved by Standards Committee on 9/27/2013; Revises defs for Electronic Access Control or Monitoring Systems (EACMS) and Interactive Remote Access to use the term “Intermediate Systems” instead of “Intermediate Device”; CIP-002 uses the term EACMS
2008-06 | CIP-004-5.1 | Cyber Security — Personnel & Training |  | All | n/a | n/a | Standards Committee approval: 9/27/2013 | 2013-09-30 | integrated into CIP v5 package | n/a |  | Errata approved by Standards Committee on 9/27/2013; Revises the VSL for R4 Part 4.2 which had an identical VSL for Moderate and High
2010-13 | PRC-023-2 R6 | Transmission Relay Loadability | 2014-01-01 | PC | 2010-08-12 | 2011-03-07 | 2011-03-10 | 2011-03-18 | 2011-09-15 | Issued 3/15/2012 Fed Reg 3/21/2012 Effective 5/7/2012 | 1st day of 1st cal qtr 18 mo after FERC approval | RM11-16-000; Order No. 759
2009-01 | EOP-004-2 | Event Reporting | 2014-01-01 | BA, DP, GO, GOP, TO, TOP, RC | 2009-04-15 | 2012-11-05 | 2012-11-07 | 12/31/2012 amended: 1/4/2013 | n/a | Issued/Effective 6/20/2013 | 1st day of 1st cal qtr 6 mo after FERC approval | Combines CIP-001-1 and EOP-004-1; RD13-3-000
n/a | VAR-001-3 | Voltage and Reactive Control | 2014-01-01 | LSE, PSE, TOP and GOPs in Western Interconnect | WECC Regional Process | 2011-12-05 | 2012-05-09 | 2013-02-25 | n/a | Issued/Effective 6/20/2013 | 1st day of 1st cal qtr 6 mo after FERC approval | WECC Regional Variance; RD13-6-000
2013-02 | Paragraph 81 | Paragraph 81 | 1/21/2014 Note: Standards will not be updated or upversioned but requirements will be officially retired | various | 2012-09-12 | 2013-01-17 | 2013-02-07 | 2013-02-28 | 2013-06-20 | Issued 11/21/2013 Fed Reg 12/6/2013 Effective 1/21/2014 | immediately upon FERC approval | Removes 34 requirements from 19 standards; RM13-8; Order 788
2006-01 | PER-005-1 R3.1 | System Personnel Training | 2014-04-01 | BA, RC, TOP | 2006-04-12 | 2008-12-22 | 2009-02-10 | 2009-09-30 | 2010-06-17 | Issued 11/18/2010 Fed Reg 11/26/2010 Effective 1/25/2011 | 1st day of 1st cal qtr 36 mo after FERC approval | RM09-25-000; Order 742
n/a | BAL-001-1 | Real Power Balancing Control Performance | 2014-04-01 | BA | n/a | n/a | 2012-12-19 | 2013-08-20 | n/a | Issued/Effective 10/16/2013 | 1st day of 2nd cal qtr after FERC approval | WECC Regional Variance; Joint filing with WECC for BAL-004-WECC-02; RD13-11-000
2010-17 Phase 1 | Definition Revision | Bulk Electric System (BES) | 2014-07-01 | n/a | 2010-12-17 | 2011-11-21 | 2012-01-18 | 2012-01-25 | 2012-06-22 | Issued 12/20/2012 Fed Reg 1/4/2013 Effective 3/5/2013 Issued 4/18/2013 ORDER GRANTING EXTENSION OF TIME Issued 6/13/2013 | 1st day of the 2nd cal qtr after FERC approval | Order 773 and Order 773-A; RM12-6-001; RM12-7-001
Note on B15: For R1, criterion 10.1, to set transformer fault protection relays on transmission lines terminated only with a transformer such that the protection settings do not expose the transformer to fault level and duration that exceeds its mechanical withstand capability