## Slide 1
ROS Report
Bill Hatfield
2014 ROS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
April 24, 2014 TAC Meeting
Notes: <number>

## Slide 2: Summary of ROS Recommended Voting Items
Last ROS meeting
April 3, 2014
Next ROS meeting
May 8, 2014
Revision Requests Recommended for Approval (TAC Action required)
NOGRR130 – Alignment with NPRR555 and NPRR434
  URGENCY: APPROVED UNANIMOUSLY
  MOTION TO APPROVE PER OWG: PASSED UNANIMOUSLY
NOGRR124 – ADDITIONAL VRT REQUIREMENTTS FOR IRRS
  MOTION TO APPROVE PER OWG W/ JAN 16, 2014 EFFECTIVE DATE: PASSED (ONE ABSTENTION)
  MOTION INCLUDES COMMENT ABOUT HOW UNDESIRABLE IT IS TO HAVE RETROACTIVE EFFECTIVE DATES
Other Items Recommending Approval (TAC Action Required)
None
April 24, 2014 TAC Meeting

## Slide 3: Summary of ROS Open Action Items to TAC
Evaluate the early release of HASL to SCED under ORDC and coordinate solutions with ERCOT & WMS
ROS Referred to PDCWG; open meetings have occurred
April 8th: ERCOT provided Non-Spinning Service Deployment Procedures - Releasing HASL DRAFT Procedure to facilitate review and resolution
Bill Blevins & John Dumas discussing at WMS and ROS.
Coordinate with ERCOT the need to add/clarify resource temperature limits in RARF to improve forecasting of Wind Resources during icing and cold weather events
ROS Referred to RDWG; ERCOT discussions underway
Evaluate concerns that ERCOT is having to bring RUC units earlier than required because of unit start-up failures; Need to review ERCOT Operating Procedures for RUCing units
Referred to OWG/CMWG
Joint Workshop – March 23, 2014; ERCOT fielded questions
More discussion at next CMWG meeting (Joint meeting w/ OWG)
April 24, 2014 TAC Meeting