## Slide 1
Future Ancillary Services Team (FAST) Update
April 24, 2014 TAC Meeting

## Slide 2: Recap
Original Concept Paper provided 9-27-13
Concept Paper version 1.1 provided 11-1-13 and incorporated written comments and info received at the October 2013 Workshop.
Weekly work sessions began in January 2014. (13 meetings so far in 2014)
7 Working Documents have been prepared. (See the next slide for list of Working Documents)
A preliminary PFR and FFR assessment was performed and discussed.
At this time, no decision points for TAC.

## Slide 3: List of Working Documents
Synchronous Inertial Response (SIR)**
Fast Frequency Reserve (FFR)
Primary Frequency Reserve (PFR)
Regulating Reserve (RR)
Contingency Reserve (CR)
Supplemental Reserve (SR)
Procurement and Pricing of the Proposed Future Set of Ancillary Services
** Still in progress

## Slide 4: Next Steps
“Black-line” the Working Documents and ask for written comments. (Send to TAC, ROS and WMS exploders and give 10 days)
Once the written comments are received --- categorize them and discuss at a FAST Work Session. (Late May)
Revise Working Documents as appropriate
Draft NPRR based on “final” Working Documents (The target is to post the draft NPRR by the end of June 2014)
Review the draft NPRR (with no number) at a FAST Work Session
Revise the draft NPRR as necessary and post with a number and have the NPRR proceed as normal.
Impact Analysis to be performed after the NPRR language is reviewed by PRS

## Slide 5: Questions Not Yet Addressed
What services can be provided through the DC-ties?
Should there be “AS Deliverability Zones”?
Should there be a Real-Time Market with energy and AS co-optimization?
How should AS obligations be determined?
Several questions on Synthetic/Emulated Inertia.

## Slide 6: Appendix
Additional information is provided in the following Appendix.
May be best to attend the FAST Workshop in May to get more details.

## Slide 7: Fast Frequency Response (FFR)
A response from a resource that is automatically self-deployed and provides a full response within 30 cycles after frequency meets or drops below a preset threshold. FFR may also be manually deployed and full response must be provided within 10 minutes. FFR Resources based on their sustainability and ability to restore may participate in sub-group FFR1 or FFR2.
A resource providing FFR1 must be able to sustain a full response for maximum of 10 minutes and should fully restore within 10 minutes of receiving ERCOT’s recall instruction or continuous 10 minutes of deployment, whichever comes first.
A resource providing FFR2 must be able to sustain a full response until ERCOT issues a recall instruction or the resource no longer has a responsibility to provide the service, whichever comes first. The resource must be able to fully restore its FFR2 responsibility within 90 minutes after receiving ERCOT’s recall instruction.
Combination of PFR and FFR must be sufficient to avoid Under Frequency Load Shed for instantaneous loss of 2750 MW
For FFR, there are two subgroups (FFR1 and FFR2) that have different trigger points, duration requirements and reset requirements.
Resources providing FFR have the potential to receive manual deployments.
A QSE shall fully restore its FFR1 responsibility within 10 minutes after receiving ERCOT’s recall instruction. A QSE shall fully restore its FFR2 responsibility within 90 minutes after receiving ERCOT’s recall instruction.
Parameters/concepts in red are still open for debate.

## Slide 8: Primary Frequency Response (PFR)
The immediate proportional increase or decrease in real power output provided by a Resource and the natural real power dampening response provided by Load in response to system frequency deviations. This response is in the direction that stabilizes frequency.
Combination of PFR and FFR must be sufficient to avoid Under Frequency Load Shed for instantaneous loss of 2750 MW
Performance will be measured using the BAL-TRE-001 Regional Standard
Performance will set the limit on how much individual Resource can provide PFR Service
PFR to be a market that is cleared and the PFR MWs are reserved.
ERCOT will require that Resources connected to the ERCOT Transmission System and capable of providing PFR governor actions as part of their inherent design to have their governor control systems in operation at all times when they are online.
It was also recommended that Resources that are without any PFR responsibility can widen their Governor Dead-band up to 0.036 HZ.
There will not be any compensation for providing governor response outside of DAM or RT Market award.
ERCOT may only require specific PFR performance criteria from those Resources that are providing PFR Service as the result of QSE self-arrangement or a DAM or RT Market award.

## Slide 9: Regulating Reserve Service (RR)
An Ancillary Service that consists of either Regulation Down Service (Reg-Down) or Regulation Up Service (Reg-Up).
Regulation is made up of “Conventional” Regulation and Fast Responding Regulation ---- similar to today. Future method to deliver instructions will remain similar to today’s approach (with QSE instructions and participation factors).
The idea of SCED execution every 3 minutes should be examined to reduce the effect of net load variability on regulation procurement.
Pay for Performance likely but details to be provided after initial draft of NPRR.
Need for tighter performance metric
Resource limits to be established per practice
Single Generation Resource be not allowed to carry more than 25% of total regulation requirement for that particular hour
Resources shall be limited to provide Regulation Service up to the amount successfully tested during the qualification test
Criteria for determining maximum allowed FRRS participation, to be part of the AS Methodology document.

## Slide 10: Contingency Reserve (CR)
An Ancillary Service provided by Generation Resources that can be synchronized and ramped to a specified output level within 10 minutes and Load Resources that can provide demand response within 10 minutes, and that can sustain the specified response (CR responsibility) for at least one hour.
CR1 – Contingency Reserve provided by Resources available for deployment in SCED, e.g. Generation Resources and Controllable Load Resources (CLR);
CR2 – Contingency Reserve provided by Resources not available for deployment in SCED, e.g. non-controllable “blocky” Load Resources;
For CR, there are two subgroups (CR1 and CR2). CR1 is provided by Resources that can be dispatched by SCED and CR2 is provided by blocky Load Resources
Manual deployment of CR may be needed during scarcity hours and severe weather events to resolve capacity insufficiency.
Contingency Reserve is needed to restore frequency within defined limits following a large generator trip event and restore the Fast Frequency Response (FFR) and Primary Frequency Response (PFR).
Once recalled, Resource providing CR2 should be capable of restoring its CR2 responsibility, within 180 minutes for it to be qualified as CR2.
NERC Standard BAL-002-1 Disturbance Control Standard (DCS) requires ERCOT to carry enough reserve to recover its Area Control Error (ACE) to pre-disturbance level within 15 minutes, after a Reportable Disturbance.

## Slide 11: Supplemental Reserve (SR)
An Ancillary Service that is provided through use of Off-Line Generation Resources that can be synchronized and ramped to a specified output level within 30 minutes, or Load Resources that can provide demand response within 30 minutes, and that can sustain the specified response for at least one hour.
Supplemental Reserve (SR) Service is provided by using:
Generation Resources (SR1) that are Off-Line and capable of:
  Being synchronized and ramped to a specified output level within 30 minutes; and
  Running at a specified output level for at least one hour; or
Controllable Load Resources (SR1) qualified for Dispatch by Security-Constrained Economic Dispatch (SCED) and capable of:
  Ramping to an ERCOT-instructed consumption level within 30 minutes; and
  Consuming at the ERCOT-instructed level for at least one hour.
Non-Controllable Load Resources (SR2) which are manually deployed and are capable of:
  Delivering their demand response within 30 minutes; and
  Sustaining the response for at least one hour.
  Once recalled, Resource providing SR2 should be capable of restoring its SR2 responsibility, within 180 minutes for it to be qualified as SR2.
SR service is the reserve that will be used to compensate for net load forecast error, abnormal number of unit unavailability and/or net load ramps.
ERCOT may also procure additional SR capacity in anticipation of severe weather conditions.
While ERCOT believes that SR Service may not ultimately be required in the long term, it may be needed during the transition. ERCOT also believes there is a value in defining the product and creating a placeholder within the ERCOT applications.

## Slide 12: Other “Key Decisions”
Expecting ERCOT RATF (Resource Adequacy Task Force) to develop appropriate approaches to mitigate the impact of Reliability Deployments on RT market prices.
MCPC’s for FFR (FFR1 & FFR2), CR2, SR2 should reflect opportunity costs for energy and other ancillary services.
EEA triggers and deployments will need to be reviewed