Examples for the DAM procurement and pricing of

PFR, FFR1, FFR2, CR1 & CR2

4/25/2014

Revision Description:

4/25/2014:

- Corrected the label for the ratio of FFR/PFR ratio to PFR/FFR i.e. this ratio defines how many MW of PFR is equivalent to 1 MW of FFR

- Included in Scenarios 1,2,3,4, a Generation Resource G5 offering FFR1 only (e.g. Battery)

- Changed the percentage contribution of FFR2 toward CR down to zero – based on answer to question 2 in list of consensus items

  - In Scenarios 1, 2, 3, & 4, LR3 Maximum Power consumption (MPC) changed from 500 MW to 600 MW to keep the resulting energy and AS prices the same as was presented on 4/18/2014 FAST Work Session Meeting

- Modified Scenarios 3, & 4 by increasing the Energy Bid amount from 40,000 to 40,001 to remove any ambiguity on power balance shadow price – this will show that the power balance shadow price is 9,000 $/MWh and is set by the Energy Bid. Does not change any of the resulting energy and AS prices

- Crossed out all MCPC price options except for Option 1 for FFR1, FFR2,  & CR2 – based on answer to question 1 in list of consensus items

- Added statement to indicate the input data shown in this document are for illustrative purpose only.

Case Setup :

- Five Generation Resources : G1, G2, G3, G4, & G5

- Three Load Resources (AS offer exclusivity modeled by market participant bidding): LR1, LR2, & LR3

- No congestion

- Only Dispatch (procurement) and pricing part of DAM considered (no commitment, i.e. all Resources ONLINE)

- All data shown in this document are for illustrative purpose ONLY. These numbers should NOT be taken as an indication of outcome of any study on the ERCOT system (e.g. the numbers in the AS plan have no relationship to the actual numbers that ERCOT will post – they are for illustrative purposes only).

AS Plan:

| PFR Requirement (MW) | FFR Requirement (MW) | FFR Max Requirement (MW) | FFR1 Max Requirement (MW) | PFR/FFR Ratio | CR Requirement (MW) | CR1 Min Requirement (MW) | % of FFR2 contribution to CR (KFFR2) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1,400 | 800 | 800 | 100 | 2 | 700 | 200 | 0 % |

Energy Bid:

| Demand Bid (MWh) | Bid Price ($/MWh) |
| --- | --- |
| 40,000 | 9,000 |

Generation Resource Limits, Energy Offer, AS Offer:

| Generation Resource | LSL (MW) | HSL (MW) | EOC ($/MWh) | PFR ($/MW) | CR ($/MW) | FFR1 ($/MW) |
| --- | --- | --- | --- | --- | --- | --- |
| G1 | 0 | 5,000 | 7,000 | 20 | 19 | - |
| G2 | 0 | 15,000 | 50 | 15 | 14 | - |
| G3 | 0 | 20,000 | 20 | 10 | 9 | - |
| G4 | 0 | 10,000 | 10 | - | - | - |
| G5 | 0 | 20 | - | - | - | 2 |

Load Resource Limits, AS Offer:

| Load Resource | Type | LPC (MW) | MPC (MW) | FFR ($/MW) | CR ($/MW) |
| --- | --- | --- | --- | --- | --- |
| LR1 | FFR1 | 0 | 200 | 3 | - |
| LR2 | FFR2 | 0 | 1,000 | 6 | - |
| LR3 | CR | 0 | 600 | - | 4 |

Scenarios:

- Base Case

  - Lots of capacity

  - No opportunity costs in clearing prices for energy and AS

- Reduce G2 capacity (from Base Case) to 11,500 MW to force procurement of CR from more expensive G1.

  - Opportunity cost of CR impacts prices

- Reduce G2 capacity (from Base Case) to 6,600 MW to force procurement of energy, PFR, CR from more expensive G1.

  - Opportunity prices of energy impacts prices

- Reduce G2 capacity (from Base Case) to 6,600 MW to force procurement of energy, PFR, CR from more expensive G1. Also reduce Energy Offer price of G1 from 7000 to 100 (still the most expensive energy offer)

  - Opportunity prices of energy impacts price

  - Demonstrates MCPC for FFR (depending on option) can exceed VOLL

Observations:

- MCPC pricing Option 2 for FFR2 is not appropriate as it can lead to Load Resources being paid less than their FFR Offer price

- Only MCPC pricing Option 1 for FFR1 and Option 1 and Option 3 for FFR2, allows opportunity costs for energy and other Gen side AS opportunity costs to be incorporated into MCPC for FFR1 and FFR2

- Only MCPC pricing Option 1 for CR2, allows opportunity costs for energy and other Gen side AS opportunity costs to be incorporated into MCPC for CR.

- MCPC Option 1 for FFR1 and Option 1 and Option 3 for FFR2 needs to be limited to VOLL  as it can lead to excessive values of FFR1 and FFR2 MCPC . This occurs in some scenarios due to the multiplication of the shadow price SPPFR+FFR  by the equivalencing ratio of FFR to PFR.

Scenario 1: Base Case

Yellow highlights are results/outputs of DAM

AS Plan:

| PFR Requirement (MW) | FFR Requirement (MW) | FFR Max Requirement (MW) | FFR1 Max Requirement (MW) | PFR/FFR Ratio | CR Requirement (MW) | CR1 Min Requirement (MW) | % of FFR2 contribution to CR (KFFR2) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1,400 | 800 | 800 | 100 | 2 | 700 | 200 | 0 % |

Energy Bid:

| Demand Bid (MWh) | Bid Price ($/MWh) | Bid Award (MW) |
| --- | --- | --- |
| 40,000 | 9,000 | 40,000 |

Generation Resource Limits, Energy Offer, AS Offer:

| Generation Resource | LSL (MW) | HSL (MW) | EOC ($/MWh) | PFR ($/MW) | CR ($/MW) | FFR1 ($/MW) | Energy Award (MW) | PFR Award (MW) | CR Award (MW) | FFR1 Award (MW) | HSL Capacity Utilization (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| G1 | 0 | 5,000 | 7,000 | 20 | 19 | - | 0 | 0 | 0 |  | 0 % |
| G2 | 0 | 15,000 | 50 | 15 | 14 | - | 10,000 | 1,400 | 200 |  | 77 % |
| G3 | 0 | 20,000 | 20 | 10 | 9 | - | 20,000 | 0 | 0 |  | 100 % |
| G4 | 0 | 10,000 | 10 | - | - | - | 10,000 | - |  |  | 100 % |
| G5 | 0 | 20 | - | - | - | 2 |  |  |  | 20 | 100% |

Load Resource Limits, AS Offer:

| Load Resource | Type | LPC (MW) | MPC (MW) | FFR ($/MW) | CR ($/MW) | FFR Award (MW) | CR Award (MW) | MPC Capacity Utilization (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LR1 | FFR1 | 0 | 200 | 3 | - | 80 | - | 40 % |
| LR2 | FFR2 | 0 | 1,000 | 6 | - | 700 | - | 70 % |
| LR3 | CR | 0 | 600 | - | 4 | - | 500 | 83 % |

Constraints:

| Constraints | Equation | Shadow Price ($/MW) | Comments |
| --- | --- | --- | --- |
| Power Balance | EnergySupply - EnergyDemand = 0 | 50 | - G2 EOC is marginal and sets energy price - The Energy bid is fully awarded |
| Combined PFR/FFR Procurement | PFR Award + Ratio *( FFR1+FFR2) Award >= PFR Req. + Ratio * FFR Req. | 15 | - Ratio=2 - The right hand side of the equation is 1400 + 2*800 = 3000 - G2 PFR Offer is marginal - G2 capacity is not fully utilized. There is no opportunity cost for energy or other AS incorporated into this constraint’s shadow price |
| Max FFR Procurement | ( FFR1+FFR2) Award <= FFR Max Req. | -26 | - Shadow price is negative - The right had side of the equation is 800 |
| Max FFR1 Procurement | FFR1 Award <= FFR1 Max Req. | -1 | - Shadow price is negative - The right had side of the equation is 100 |
| CR Procurement | CR1 Award + CR2 Award + KFFR2*FFR2 Award >= CR Req. | 4 | - KFFR2 = 0.5 (50%) - The right had side of the equation is 700 - LR3 CR Offer is marginal |
| Min CR1 Procurement | CR1 Award >= CR1 Req. | 10 | - The right had side of the equation is 200 - G2 CR Offer is marginal - G2 capacity is not fully utilized. There is no opportunity cost for energy incorporated into this constraint’s shadow price |

MCPCs:

| AS MCPC | Equation |  | $/MW |
| --- | --- | --- | --- |
| PFR | SPPFR+FFR |  | 15 $/MW Note: This is the marginal Offer price for PFR from Gen |
| FFR1 | Option 1 | R*SPPFR+FFR | 2*15 = 30 $/MW |
|  | Option 2 | R*SPPFR+FFR + SPFFR-MAX Note: SPFFR-MAX <= 0 | 2*15 – 26 = 4 $/MW |
|  | Option 3 | R*SPPFR+FFR + SPFFR-MAX + SPFFR1-MAX Note: SPFFR1-MAX , SPFFR-MAX <= 0 | 2*15 - 26 – 1 = 3 $/MW Note: This is the marginal Offer price for FFR1 |
| FFR2 | Option 1 | R*SPPFR+FFR | 2*15 = 30 $/MW |
|  | Option 2 | R*SPPFR+FFR + SPFFR-MAX | 2*15 – 26 = 4 $/MW LR2 takes a loss as its FFR offer is 6 $/MW |
|  | Option 3 | R*SPPFR+FFR + KFFR2* SPCR | 2*15 + 0.5*4 = 32 $/MW |
|  | Option 4 | R*SPPFR+FFR + SPFFR-MAX+ KFFR2* SPCR Note: SPFFR-MAX <= 0 | 2*15 – 26 + 0.5*4 = 6 $/MW Note: This is the marginal Offer price for FFR2 |
| CR1 | SPCR+ SPCR1 |  | 4 + 10 = 14 $/MW Note: This is the marginal Offer price for CR from Gen |
| CR2 | Option 1 | SPCR+ SPCR1 | 4 + 10 = 14 $/MW |
|  | Option 2 | SPCR | 4 $/MW Note: This is the marginal Offer price for CR from LR |

Scenario 2:  Base Case changed - G2 HSL = 11,500 MW

Red highlights are changes to input from Base Case

Yellow highlights are results/outputs of DAM

AS Plan:

| PFR Requirement (MW) | FFR Requirement (MW) | FFR Max Requirement (MW) | FFR1 Max Requirement (MW) | PFR/FFR Ratio | CR Requirement (MW) | CR1 Min Requirement (MW) | % of FFR2 contribution to CR (KFFR2) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1,400 | 800 | 800 | 100 | 2 | 700 | 200 | 0 % |

Energy Bid:

| Demand Bid (MWh) | Bid Price ($/MWh) | Bid Award (MW) |
| --- | --- | --- |
| 40,000 | 9,000 | 40,000 |

Generation Resource Limits, Energy Offer, AS Offer:

| Generation Resource | LSL (MW) | HSL (MW) | EOC ($/MWh) | PFR ($/MW) | CR ($/MW) | FFR1 ($/MW) | Energy Award (MW) | PFR Award (MW) | CR Award (MW) | FFR1 Award (MW) | HSL Capacity Utilization (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| G1 | 0 | 5,000 | 7,000 | 20 | 19 | - | 0 | 0 | 100 |  | 2 % |
| G2 | 0 | 11,500 | 50 | 15 | 14 | - | 10,000 | 1,400 | 100 |  | 100 % |
| G3 | 0 | 20,000 | 20 | 10 | 9 | - | 20,000 | 0 | 0 |  | 100 % |
| G4 | 0 | 10,000 | 10 | - | - | - | 10,000 | - |  |  | 100 % |
| G5 | 0 | 20 | - | - | - | 2 |  |  |  | 20 | 100% |

Load Resource Limits, AS Offer:

| Load Resource | Type | LPC (MW) | MPC (MW) | FFR ($/MW) | CR ($/MW) | FFR Award (MW) | CR Award (MW) | MPC Capacity Utilization (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LR1 | FFR1 | 0 | 200 | 3 | - | 80 | - | 40 % |
| LR2 | FFR2 | 0 | 1,000 | 6 | - | 700 | - | 70 % |
| LR3 | CR | 0 | 600 | - | 4 | - | 500 | 83 % |

Constraints:

| Constraints | Equation | Shadow Price ($/MW) | Comments |
| --- | --- | --- | --- |
| Power Balance | EnergySupply - EnergyDemand = 0 | 55 | - G2 EOC is marginal for energy - Energy price set by combination of energy offer price of G2 and opportunity cost of CR (between G1 & G2) - The Energy bid is fully awarded |
| Combined PFR/FFR Procurement | PFR Award + Ratio *( FFR1+FFR2) Award >= PFR Req. + Ratio * FFR Req. | 20 | - Ratio=2 - The right hand side of the equation is 1400 + 2*800 = 3000 - G2 PFR Offer is marginal - G2 capacity is fully utilized. There is opportunity cost for CR (between G1 & G2) incorporated into this constraint’s shadow price |
| Max FFR Procurement | ( FFR1+FFR2) Award <= FFR Max Req. | -36 | - Shadow price is negative - The right had side of the equation is 800 |
| Max FFR1 Procurement | FFR1 Award <= FFR1 Max Req. | -1 | - Shadow price is negative - The right had side of the equation is 100 |
| CR Procurement | CR1 Award + CR2 Award + KFFR2*FFR2 Award >= CR Req. | 4 | - KFFR2 = 0.5 (50%) - The right had side of the equation is 700 - LR3 CR Offer is marginal |
| Min CR1 Procurement | CR1 Award >= CR1 Req. | 15 | - The right had side of the equation is 200 - G1 CR Offer is marginal - G1 capacity is not fully utilized. There is no opportunity cost for energy incorporated into this constraint’s shadow price |

MCPCs:

| AS MCPC | Equation |  | $/MW |
| --- | --- | --- | --- |
| PFR | SPPFR+FFR |  | 20 $/MW Note: This is the marginal Offer price for PFR from Gen plus opportunity cost of CR |
| FFR1 | Option 1 | R*SPPFR+FFR | 2*20 = 40 $/MW |
|  | Option 2 | R*SPPFR+FFR + SPFFR-MAX Note: SPFFR-MAX <= 0 | 2*20 – 36 = 4 $/MW |
|  | Option 3 | R*SPPFR+FFR + SPFFR-MAX + SPFFR1-MAX Note: SPFFR1-MAX , SPFFR-MAX <= 0 | 2*20 - 36 – 1 = 3 $/MW Note: This is the marginal Offer price for FFR1 |
| FFR2 | Option 1 | R*SPPFR+FFR | 2*20 = 40 $/MW |
|  | Option 2 | R*SPPFR+FFR + SPFFR-MAX | 2*20 – 36 = 4 $/MW LR2 takes a loss as its FFR offer is 6 $/MW |
|  | Option 3 | R*SPPFR+FFR + KFFR2* SPCR | 2*20 + 0.5*4 = 42 $/MW |
|  | Option 4 | R*SPPFR+FFR + SPFFR-MAX+ KFFR2* SPCR Note: SPFFR-MAX <= 0 | 2*20 – 36 + 0.5*4 = 6 $/MW Note: This is the marginal Offer price for FFR2 |
| CR1 | SPCR+ SPCR1 |  | 4 + 15 = 19 $/MW Note: This is the Offer price for CR from Gen |
| CR2 | Option 1 | SPCR+ SPCR1 | 4 + 15 = 19 $/MW |
|  | Option 2 | SPCR | 4 $/MW Note: This is the marginal Offer price for CR from LR |

Scenario 3:  Base Case changed - G2 HSL = 6,600 MW

Red highlights are changes to input from Base Case

Yellow highlights are results/outputs of DAM

AS Plan:

| PFR Requirement (MW) | FFR Requirement (MW) | FFR Max Requirement (MW) | FFR1 Max Requirement (MW) | PFR/FFR Ratio | CR Requirement (MW) | CR1 Min Requirement (MW) | % of FFR2 contribution to CR (KFFR2) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1,400 | 800 | 800 | 100 | 2 | 700 | 200 | 0 % |

Energy Bid:

| Demand Bid (MWh) | Bid Price ($/MWh) | Bid Award (MW) |
| --- | --- | --- |
| 40,001 | 9,000 | 40,000 |

Generation Resource Limits, Energy Offer, AS Offer:

| Generation Resource | LSL (MW) | HSL (MW) | EOC ($/MWh) | PFR ($/MW) | CR ($/MW) | FFR1 ($/MW) | Energy Award (MW) | PFR Award (MW) | CR Award (MW) | FFR1 Award (MW) | HSL Capacity Utilization (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| G1 | 0 | 5,000 | 7,000 | 20 | 19 | - | 3,400 | 1,400 | 200 |  | 100 % |
| G2 | 0 | 6,600 | 50 | 15 | 14 | - | 6,600 | 0 | 0 |  | 100 % |
| G3 | 0 | 20,000 | 20 | 10 | 9 | - | 20,000 | 0 | 0 |  | 100 % |
| G4 | 0 | 10,000 | 10 | - | - | - | 10,000 | - |  |  | 100 % |
| G5 | 0 | 20 | - | - | - | 2 |  |  |  | 20 | 100% |

Load Resource Limits, AS Offer:

| Load Resource | Type | LPC (MW) | MPC (MW) | FFR ($/MW) | CR ($/MW) | FFR Award (MW) | CR Award (MW) | MPC Capacity Utilization (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LR1 | FFR1 | 0 | 200 | 3 | - | 80 | - | 40 % |
| LR2 | FFR2 | 0 | 1,000 | 6 | - | 700 | - | 70 % |
| LR3 | CR | 0 | 600 | - | 4 | - | 500 | 83 % |

Constraints:

| Constraints | Equation | Shadow Price ($/MW) | Comments |
| --- | --- | --- | --- |
| Power Balance | EnergySupply - EnergyDemand = 0 | 9,000 | - Energy Bid is marginal and sets energy price - Energy Bid partially awarded (40,000 MWh) |
| Combined PFR/FFR Procurement | PFR Award + Ratio *( FFR1+FFR2) Award >= PFR Req. + Ratio * FFR Req. | 2,020 | - Ratio=2 - The right hand side of the equation is 1400 + 2*800 = 3000 - G1 PFR Offer is marginal - G1 capacity is fully utilized. Opportunity cost for energy incorporated into this constraint’s shadow price |
| Max FFR Procurement | ( FFR1+FFR2) Award <= FFR Max Req. | -4,036 | - Shadow price is negative - The right had side of the equation is 800 |
| Max FFR1 Procurement | FFR1 Award <= FFR1 Max Req. | -1 | - Shadow price is negative - The right had side of the equation is 100 |
| CR Procurement | CR1 Award + CR2 Award + KFFR2*FFR2 Award >= CR Req. | 4 | - KFFR2 = 0.5 (50%) - The right had side of the equation is 700 - LR3 CR Offer is marginal |
| Min CR1 Procurement | CR1 Award >= CR1 Req. | 2,015 | - The right had side of the equation is 200 - G1 CR Offer is marginal - G1 capacity is fully utilized. Opportunity cost for energy incorporated into this constraint’s shadow price |

MCPCs:

| AS MCPC | Equation |  | $/MW |
| --- | --- | --- | --- |
| PFR | SPPFR+FFR |  | 2,020 $/MW Note: This is the marginal Offer price for PFR from Gen plus opportunity cost of energy |
| FFR1 | Option 1 | R*SPPFR+FFR | 2*2020 = 4,040 $/MW |
|  | Option 2 | R*SPPFR+FFR + SPFFR-MAX Note: SPFFR-MAX <= 0 | 2*2020 – 4036 = 4 $/MW |
|  | Option 3 | R*SPPFR+FFR + SPFFR-MAX + SPFFR1-MAX Note: SPFFR1-MAX , SPFFR-MAX <= 0 | 2*2020 - 4036 – 1 = 3 $/MW Note: This is the marginal Offer price for FFR1 |
| FFR2 | Option 1 | R*SPPFR+FFR | 2*2020 = 4,040 $/MW |
|  | Option 2 | R*SPPFR+FFR + SPFFR-MAX | 2*2020 – 4036 = 4 $/MW LR2 takes a loss as its FFR offer is 6 $/MW |
|  | Option 3 | R*SPPFR+FFR + KFFR2* SPCR | 2*2020 + 0.5*4 = 4,042 $/MW |
|  | Option 4 | R*SPPFR+FFR + SPFFR-MAX+ KFFR2* SPCR Note: SPFFR-MAX <= 0 | 2*2020 – 4036 + 0.5*4 = 6 $/MW Note: This is the marginal Offer price for FFR2 |
| CR1 | SPCR+ SPCR1 |  | 4 + 2015 = 2,019 $/MW Note: This is the marginal Offer price for CR from Gen plus opportunity cost of energy |
| CR2 | Option 1 | SPCR+ SPCR1 | 4 + 2015 = 2,019 $/MW |
|  | Option 2 | SPCR | 4 $/MW Note: This is the marginal Offer price for CR from LR |

Scenario 4:  Base Case changed - G2 HSL = 6,600 MW, G1 Energy Offer = 100 $/MWh

Red highlights are changes to input from Base Case

Yellow highlights are results/outputs of DAM

AS Plan:

| PFR Requirement (MW) | FFR Requirement (MW) | FFR Max Requirement (MW) | FFR1 Max Requirement (MW) | PFR/FFR Ratio | CR Requirement (MW) | CR1 Min Requirement (MW) | % of FFR2 contribution to CR (KFFR2) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1,400 | 800 | 800 | 100 | 2 | 700 | 200 | 0 % |

Energy Bid:

| Demand Bid (MWh) | Bid Price ($/MWh) | Bid Award (MW) |
| --- | --- | --- |
| 40,001 | 9,000 | 40,000 |

Generation Resource Limits, Energy Offer, AS Offer:

| Generation Resource | LSL (MW) | HSL (MW) | EOC ($/MWh) | PFR ($/MW) | CR ($/MW) | FFR1 ($/MW) | Energy Award (MW) | PFR Award (MW) | CR Award (MW) | FFR1 Award (MW) | HSL Capacity Utilization (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| G1 | 0 | 5,000 | 100 | 20 | 19 | - | 3,400 | 1,400 | 200 |  | 100 % |
| G2 | 0 | 6,600 | 50 | 15 | 14 | - | 6,600 | 0 | 0 |  | 100 % |
| G3 | 0 | 20,000 | 20 | 10 | 9 | - | 20,000 | 0 | 0 |  | 100 % |
| G4 | 0 | 10,000 | 10 | - | - | - | 10,000 | - |  |  | 100 % |
| G5 | 0 | 20 | - | - | - | 2 |  |  |  | 20 | 100% |

Load Resource Limits, AS Offer:

| Load Resource | Type | LPC (MW) | MPC (MW) | FFR ($/MW) | CR ($/MW) | FFR Award (MW) | CR Award (MW) | MPC Capacity Utilization (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LR1 | FFR1 | 0 | 200 | 3 | - | 80 | - | 40 % |
| LR2 | FFR2 | 0 | 1,000 | 6 | - | 700 | - | 70 % |
| LR3 | CR | 0 | 600 | - | 4 | - | 500 | 83 % |

Constraints:

| Constraints | Equation | Shadow Price ($/MW) | Comments |
| --- | --- | --- | --- |
| Power Balance | EnergySupply - EnergyDemand = 0 | 9,000 | - Energy Bid is marginal and sets energy price - Energy Bid partially awarded (40,000 MWh) |
| Combined PFR/FFR Procurement | PFR Award + Ratio *( FFR1+FFR2) Award >= PFR Req. + Ratio * FFR Req. | 8,920 | - Ratio=2 - The right hand side of the equation is 1400 + 2*800 = 3000 - G1 PFR Offer is marginal - G1 capacity is fully utilized. Opportunity cost for energy incorporated into this constraint’s shadow price |
| Max FFR Procurement | ( FFR1+FFR2) Award <= FFR Max Req. | -17,836 | - Shadow price is negative - The right had side of the equation is 800 |
| Max FFR1 Procurement | FFR1 Award <= FFR1 Max Req. | -1 | - Shadow price is negative - The right had side of the equation is 100 |
| CR Procurement | CR1 Award + CR2 Award + KFFR2*FFR2 Award >= CR Req. | 4 | - KFFR2 = 0.5 (50%) - The right had side of the equation is 700 - LR3 CR Offer is marginal |
| Min CR1 Procurement | CR1 Award >= CR1 Req. | 8,915 | - The right had side of the equation is 200 - G1 CR Offer is marginal - G1 capacity is fully utilized. Opportunity cost for energy incorporated into this constraint’s shadow price |

MCPCs:

| AS MCPC | Equation |  | $/MW |
| --- | --- | --- | --- |
| PFR | SPPFR+FFR |  | 8,920 $/MW Note: This is the marginal Offer price for PFR from Gen plus opportunity cost of energy |
| FFR1 | Option 1 | R*SPPFR+FFR | 2*8920 = 17,840 $/MW Note: Exceeds VOLL |
|  | Option 2 | R*SPPFR+FFR + SPFFR-MAX Note: SPFFR-MAX <= 0 | 2*8920 – 17836 = 4 $/MW |
|  | Option 3 | R*SPPFR+FFR + SPFFR-MAX + SPFFR1-MAX Note: SPFFR1-MAX , SPFFR-MAX <= 0 | 2*8920 - 17836 – 1 = 3 $/MW Note: This is the marginal Offer price for FFR1 |
| FFR2 | Option 1 | R*SPPFR+FFR | 2*8920 = 17,840 $/MW Note: Exceeds VOLL |
|  | Option 2 | R*SPPFR+FFR + SPFFR-MAX | 2*8920 – 17836 = 4 $/MW LR2 takes a loss as its FFR offer is 6 $/MW |
|  | Option 3 | R*SPPFR+FFR + KFFR2* SPCR | 2*8920 + 0.5*4 = 17,842 $/MW Note: Exceeds VOLL |
|  | Option 4 | R*SPPFR+FFR + SPFFR-MAX+ KFFR2* SPCR Note: SPFFR-MAX <= 0 | 2*8920 – 17836 + 0.5*4 = 6 $/MW Note: This is the marginal Offer price for FFR2 |
| CR1 | SPCR+ SPCR1 |  | 4 + 8915 = 8919 $/MW Note: This is the marginal Offer price for CR from Gen plus opportunity cost of energy |
| CR2 | Option 1 | SPCR+ SPCR1 | 4 + 8915 = 8919 $/MW |
|  | Option 2 | SPCR | 4 $/MW Note: This is the marginal Offer price for CR from LR |