- Summary of Settlement Metering Operating Guide Revisions

- Effective:  May 1, 2014

- Section 11:

SMOGRR014 – Communications Regarding EPS Meter Repairs, and Related Notice Deadlines and Clarifications

This Settlement Metering Operating Guide (SMOGRR) provides additional option of using voice communications with the ERCOT Meter Data Acquisition System (MDAS) Group to provide confirmation of repairs after site access; defines updated timeframe the MDAS Group will use for issuing notices; defines timeframes in which data is supplied to ERCOT by a Transmission and/or Distribution System Provider (TDSP) in the event of a prolonged communications failure; adds additional notice type of “six-hour” notice to accommodate a shortened Settlement timeline to resolve communications issues with ERCOT-Polled Settlement (EPS) Meters on the day the Real-Time Market (RTM) Settlement run occurs; and clarifies the conditions ERCOT will follow in cancelling notices.

Revised Appendices:  A, C