## Summary
Release Date: May 1, 2014
Preliminary
Seasonal Assessment of Resource Adequacy for the ERCOT Region
Fall 2014
SUMMARY
The ERCOT region is expected to have sufficient installed generating capacity to serve forecasted peak demands with a historically typical amount of generation outages. It is unlikely that ERCOT will need to declare an Energy Emergency Alert (EEA) during the fall of 2014. Based on the results of this study, even an extreme higher-than-normal number of forced generation outages occurring during a period of unusually high demand would not be expected to result in insufficient resources available to serve those demands.
Wind generation resources continue to count at 8.7 percent of nameplate capacity in this assessment. As noted in the CDR report released on February 28, 2014, ERCOT stakeholder committees are considering alternative methods of estimating the capacity availability of wind, such as using historical operational availability. Capacity ratings for other generation resources are lower in the summer due to the effects of higher ambient temperatures.
ERCOT continues to monitor the persistent drought conditions throughout Texas. While reservoir levels are not expected to drop below power plant physical intake limits during Fall 2014, ERCOT continues to assess potential risks to generation operations.

## Scenarios
2014 Seasonal Assessment of Resource Adequacy for the ERCOT Region (SARA)
Fall - Preliminary
Release Date: May 1, 2014
Forecasted Resources and Demand
|  | Installed Capacity, MW | 64132.525 | Based on current Seasonal Maximum Sustainable Limits reported through the unit registration process
|  | Capacity from Private Networks, MW | 4661 | Based on actual historical net PUN output
|  | Effective Load-Carrying Capability (ELCC) of Wind Resources, MW | 962.7333 | Based on 8.7% of installed capacity (Effective Load Carrying Capability) of wind per ERCOT Nodal Protocols Section 3.2.6.2.2
|  | RMR Resources to be under Contract, MW | -0.001 | No RMR Resources currently under contract.
|  | Capacity Contribution of Non-Synchronous Ties, MW | 643.3 | Average maximum capability of the top 20 hours for the past three years
|  | Switchable Capacity, MW | 3178 | Installed capacity of units that can switch to other Regions
|  | less Switchable Capacity Unavailable to ERCOT, MW | -330 | Based on survey responses of Switchable Unit owners
|  | Planned Resources (not wind) with Signed IA and Air Permit, MW | 2438.4 | Based on in-service dates provided by developers of generation resources
|  | ELCC of Planned Wind with Signed IA, MW | 121.713 | Based on in-service dates provided by developers of generation resources; based on 8.7% of projected capacity
a | Total Resources, MW |  | 75807.6703
b | Peak Demand, MW |  | 48653 | Fall peak forecast based on normal weather conditions for 2002 - 2013
c | Reserve Capacity (a - b), MW |  | 27154.6703
Range of Potential Risks
|  |  | Fall Peak Forecast Based on Normal Weather Conditions for 2002 – 2013 (August) | Extreme Load/Typical Gen Outages | Extreme Load/Extreme Generation Outages
|  | Seasonal Load Adjustment |  | 8434 | 8434 | Based on a normal September-like peak occuring in early October
|  | Typical Maintenance Outages | 8697 | 8697 | 8697 | Based on historical (August 2010 to April 17, 2014) average of planned outages for October through November weekdays
|  | Typical Forced Outages | 3466 | 3466 | 3466 | Based on historical (August 2010 to April 17, 2014) average of planned outages for October through November weekdays
|  | 90th Percentile Forced Outages |  | 0 | 3289
d | Total Uses of Reserve Capacity |  | 12163 | 20597 | 23886
e | Capacity Available for Operating Reserves (c-d), MW |  | 14991.6703 | 6557.6703 | 3268.6703
Less than 2,300 MW indicates risk of EEA1

## Inputs for Sensitivities
2014 Seasonal Assessment of Resource Adequacy for the ERCOT Region (SARA)
Fall - Preliminary
Release Date: May 1, 2014
Scenario Inputs
| Forecasted Peak Load for Fall 2014 | 48653 | Fall peak forecast based on normal weather conditions for 2002 – 2013
| Load Adjustment for September - October Peak | 8434 | Fall extreme forecast (57,089 MW)
| Typical Maintenance Outages | 8697 | Based on historical (August 2010 to April 17, 2014) average of planned outages for October through November weekdays
| Typical Forced Outages | 3466 | Based on historical (August 2010 to April 17, 2014) average of planned outages for October through November weekdays
| 90th Percentile Forced Outages | 3289

## Capacity
UNIT NAME | GINR_NUM | UNIT CODE | COUNTY | FUEL | ZONE | START DATE | FALL RATING | STATUS
COMANCHE PEAK 1 |  | CPSES_UNIT1 | SOMERVELL | NUCLEAR | NORTH | 1990-08-13 | 1222 | OPERATIONAL
COMANCHE PEAK 2 |  | CPSES_UNIT2 | SOMERVELL | NUCLEAR | NORTH | 1993-08-03 | 1209 | OPERATIONAL
SOUTH TEXAS 1 |  | STP_STP_G1 | MATAGORDA | NUCLEAR | SOUTH | 1988-03-22 | 1318 | OPERATIONAL
SOUTH TEXAS 2 |  | STP_STP_G2 | MATAGORDA | NUCLEAR | SOUTH | 1989-03-28 | 1325 | OPERATIONAL
BIG BROWN 1 |  | BBSES_UNIT1 | FREESTONE | COAL | NORTH | 1971-12-23 | 606 | OPERATIONAL
BIG BROWN 2 |  | BBSES_UNIT2 | FREESTONE | COAL | NORTH | 1972-12-06 | 602 | OPERATIONAL
COLETO CREEK |  | COLETO_COLETOG1 | GOLIAD | COAL | SOUTH | 1980-01-01 | 660 | OPERATIONAL
FAYETTE POWER PROJECT 1 |  | FPPYD1_FPP_G1 | FAYETTE | COAL | SOUTH | 1979-06-16 | 603 | OPERATIONAL
FAYETTE POWER PROJECT 2 |  | FPPYD1_FPP_G2 | FAYETTE | COAL | SOUTH | 1980-05-20 | 603 | OPERATIONAL
FAYETTE POWER PROJECT 3 |  | FPPYD2_FPP_G3 | FAYETTE | COAL | SOUTH | 1988-04-29 | 444 | OPERATIONAL
GIBBONS CREEK 1 |  | GIBCRK_GIB_CRG1 | GRIMES | COAL | NORTH | 1983-03-15 | 470 | OPERATIONAL
J K SPRUCE 1 |  | CALAVERS_JKS1 | BEXAR | COAL | SOUTH | 1992-01-01 | 562 | OPERATIONAL
J K SPRUCE 2 |  | CALAVERS_JKS2 | BEXAR | COAL | SOUTH | 2010-05-28 | 775 | OPERATIONAL
J T DEELY 1 |  | CALAVERS_JTD1 | BEXAR | COAL | SOUTH | 1977-01-01 | 430 | OPERATIONAL
J T DEELY 2 |  | CALAVERS_JTD2 | BEXAR | COAL | SOUTH | 1978-01-01 | 420 | OPERATIONAL
LIMESTONE 1 |  | LEG_LEG_G1 | LIMESTONE | COAL | NORTH | 1985-12-01 | 831 | OPERATIONAL
LIMESTONE 2 |  | LEG_LEG_G2 | LIMESTONE | COAL | NORTH | 1986-12-01 | 858 | OPERATIONAL
MARTIN LAKE 1 |  | MLSES_UNIT1 | RUSK | COAL | NORTH | 1977-05-16 | 815 | OPERATIONAL
MARTIN LAKE 2 |  | MLSES_UNIT2 | RUSK | COAL | NORTH | 1978-05-23 | 820 | OPERATIONAL
MONTICELLO 3 |  | MNSES_UNIT3 | TITUS | COAL | NORTH | 1978-08-01 | 795 | OPERATIONAL
OAK GROVE SES UNIT 1 | 09INR0006 | OGSES_UNIT1A | ROBERTSON | COAL | NORTH | 2010-04-14 | 840 | OPERATIONAL
OAK GROVE SES UNIT 2 | 09INR0006 | OGSES_UNIT2 | ROBERTSON | COAL | NORTH | 2011-04-19 | 825 | OPERATIONAL
OKLAUNION 1 |  | OKLA_OKLA_G1 | WILBARGER | COAL | WEST | 1986-12-24 | 650 | OPERATIONAL
SAN MIGUEL 1 |  | SANMIGL_SANMIGG1 | ATASCOSA | COAL | SOUTH | 1982-02-07 | 391 | OPERATIONAL
SANDOW 5 | 08INR003 | SD5SES_UNIT5 | MILAM | COAL | SOUTH | 2010-01-06 | 570 | OPERATIONAL
SANDY CREEK 1 |  | SCES_UNIT1 | MCLENNAN | COAL | NORTH | 2013-07-17 | 970 | OPERATIONAL
TWIN OAKS 1 |  | TNP_ONE_TNP_O_1 | ROBERTSON | COAL | NORTH | 1990-06-08 | 158 | OPERATIONAL
TWIN OAKS 2 |  | TNP_ONE_TNP_O_2 | ROBERTSON | COAL | NORTH | 1991-05-31 | 158 | OPERATIONAL
W A PARISH 5 |  | WAP_WAP_G5 | FT. BEND | COAL | HOUSTON | 1977-12-27 | 659 | OPERATIONAL
W A PARISH 6 |  | WAP_WAP_G6 | FT. BEND | COAL | HOUSTON | 1978-12-27 | 658 | OPERATIONAL
W A PARISH 7 |  | WAP_WAP_G7 | FT. BEND | COAL | HOUSTON | 1980-06-02 | 577 | OPERATIONAL
W A PARISH 8 |  | WAP_WAP_G8 | FT. BEND | COAL | HOUSTON | 1982-12-01 | 610 | OPERATIONAL
A VON ROSENBERG 1-CT1 |  | BRAUNIG_AVR1_CT1 | BEXAR | GAS | SOUTH | 2000-01-01 | 155 | OPERATIONAL
A VON ROSENBERG 1-CT2 |  | BRAUNIG_AVR1_CT2 | BEXAR | GAS | SOUTH | 2000-01-01 | 155 | OPERATIONAL
A VON ROSENBERG 1-ST1 |  | BRAUNIG_AVR1_ST | BEXAR | GAS | SOUTH | 2000-01-01 | 180 | OPERATIONAL
B M DAVIS STG 2 |  | B_DAVIS_B_DAVIG2 | NUECES | GAS | SOUTH | 1976-03-01 | 322 | OPERATIONAL
B M DAVIS CTG 3 |  | B_DAVIS_B_DAVIG3 | NUECES | GAS | SOUTH | 2010-03-26 | 161 | OPERATIONAL
B M DAVIS CTG 4 |  | B_DAVIS_B_DAVIG4 | NUECES | GAS | SOUTH | 2010-03-26 | 161 | OPERATIONAL
BASTROP ENERGY CENTER CTG 1 |  | BASTEN_GTG1100 | BASTROP | GAS | SOUTH | 2002-03-13 | 157 | OPERATIONAL
BASTROP ENERGY CENTER CTG 2 |  | BASTEN_GTG2100 | BASTROP | GAS | SOUTH | 2002-03-13 | 157 | OPERATIONAL
BASTROP ENERGY CENTER STG 3 |  | BASTEN_ST0100 | BASTROP | GAS | SOUTH | 2002-03-13 | 236 | OPERATIONAL
BOSQUE COUNTY PEAKING CTG 1 |  | BOSQUESW_BSQSU_1 | BOSQUE | GAS | NORTH | 2000-06-01 | 157.2 | OPERATIONAL
BOSQUE COUNTY PEAKING CTG 2 |  | BOSQUESW_BSQSU_2 | BOSQUE | GAS | NORTH | 2000-06-01 | 157.2 | OPERATIONAL
BOSQUE COUNTY PEAKING CTG 3 |  | BOSQUESW_BSQSU_3 | BOSQUE | GAS | NORTH | 2001-06-01 | 159.5 | OPERATIONAL
BOSQUE COUNTY PEAKING STG 4 |  | BOSQUESW_BSQSU_4 | BOSQUE | GAS | NORTH | 2001-06-01 | 83.3 | OPERATIONAL
BOSQUE COUNTY PEAKING STG 5 |  | BOSQUESW_BSQSU_5 | BOSQUE | GAS | NORTH | 2009-03-01 | 196.6 | OPERATIONAL
BRAZOS VALLEY CTG 1 |  | BVE_UNIT1 | FORT BEND | GAS | HOUSTON | 2003-01-21 | 168 | OPERATIONAL
BRAZOS VALLEY CTG 2 |  | BVE_UNIT2 | FORT BEND | GAS | HOUSTON | 2003-01-21 | 168 | OPERATIONAL
BRAZOS VALLEY STG 3 |  | BVE_UNIT3 | FORT BEND | GAS | HOUSTON | 2003-01-21 | 270 | OPERATIONAL
CALENERGY (FALCON SEABOARD) CTG 1 |  | FLCNS_UNIT1 | HOWARD | GAS | WEST | 1987-07-20 | 77 | OPERATIONAL
CALENERGY (FALCON SEABOARD) CTG 2 |  | FLCNS_UNIT2 | HOWARD | GAS | WEST | 1987-07-21 | 77 | OPERATIONAL
CALENERGY (FALCON SEABOARD) STG 3 |  | FLCNS_UNIT3 | HOWARD | GAS | WEST | 1988-02-18 | 71 | OPERATIONAL
CEDAR BAYOU CTG 4 | 08INR0035 | CBY4_CT41 | CHAMBERS | GAS | HOUSTON | 2009-03-09 | 168 | OPERATIONAL
CEDAR BAYOU CTG 5 | 08INR0035 | CBY4_CT42 | CHAMBERS | GAS | HOUSTON | 2009-03-09 | 168 | OPERATIONAL
CEDAR BAYOU STG 6 | 08INR0035 | CBY4_ST04 | CHAMBERS | GAS | HOUSTON | 2009-03-09 | 182 | OPERATIONAL
COLORADO BEND ENERGY CENTER CTG 1 |  | CBEC_GT1 | WHARTON | GAS | HOUSTON | 2007-04-04 | 84 | OPERATIONAL
COLORADO BEND ENERGY CENTER CTG 2 |  | CBEC_GT2 | WHARTON | GAS | HOUSTON | 2007-04-04 | 76 | OPERATIONAL
COLORADO BEND ENERGY CENTER CTG 3 |  | CBEC_GT3 | WHARTON | GAS | HOUSTON | 2008-06-01 | 75 | OPERATIONAL
COLORADO BEND ENERGY CENTER CTG 4 |  | CBEC_GT4 | WHARTON | GAS | HOUSTON | 2008-06-01 | 75 | OPERATIONAL
COLORADO BEND ENERGY CENTER STG 1 |  | CBEC_STG1 | WHARTON | GAS | HOUSTON | 2007-04-04 | 103 | OPERATIONAL
COLORADO BEND ENERGY CENTER STG 2 |  | CBEC_STG2 | WHARTON | GAS | HOUSTON | 2008-06-01 | 108 | OPERATIONAL
CVC CHANNELVIEW CTG 1 |  | CVC_CVC_G1 | HARRIS | GAS | HOUSTON | 2008-07-01 | 157.8 | OPERATIONAL
CVC CHANNELVIEW CTG 2 |  | CVC_CVC_G2 | HARRIS | GAS | HOUSTON | 2008-07-01 | 166.5 | OPERATIONAL
CVC CHANNELVIEW CTG 3 |  | CVC_CVC_G3 | HARRIS | GAS | HOUSTON | 2008-07-01 | 165.8 | OPERATIONAL
CVC CHANNELVIEW STG 5 |  | CVC_CVC_G5 | HARRIS | GAS | HOUSTON | 2008-07-01 | 132.9 | OPERATIONAL
DEER PARK ENERGY CENTER CTG 1 |  | DDPEC_GT1 | HARRIS | GAS | HOUSTON | 2002-11-10 | 194 | OPERATIONAL
DEER PARK ENERGY CENTER CTG 2 |  | DDPEC_GT2 | HARRIS | GAS | HOUSTON | 2002-11-10 | 206 | OPERATIONAL
DEER PARK ENERGY CENTER CTG 3 |  | DDPEC_GT3 | HARRIS | GAS | HOUSTON | 2002-11-10 | 194 | OPERATIONAL
DEER PARK ENERGY CENTER CTG 4 |  | DDPEC_GT4 | HARRIS | GAS | HOUSTON | 2002-11-10 | 206 | OPERATIONAL
DEER PARK ENERGY CENTER STG |  | DDPEC_ST1 | HARRIS | GAS | HOUSTON | 2002-11-10 | 290 | OPERATIONAL
ENNIS POWER STATION STG 1 |  | ETCCS_UNIT1 | ELLIS | GAS | NORTH | 2002-01-01 | 127 | OPERATIONAL
ENNIS POWER STATION CTG 2 |  | ETCCS_CT1 | ELLIS | GAS | NORTH | 2002-01-01 | 231 | OPERATIONAL
FORNEY ENERGY CENTER CTG 11 |  | FRNYPP_GT11 | KAUFMAN | GAS | NORTH | 2003-02-01 | 176.8 | OPERATIONAL
FORNEY ENERGY CENTER CTG 12 |  | FRNYPP_GT12 | KAUFMAN | GAS | NORTH | 2003-02-01 | 176.8 | OPERATIONAL
FORNEY ENERGY CENTER CTG 13 |  | FRNYPP_GT13 | KAUFMAN | GAS | NORTH | 2003-02-01 | 176.8 | OPERATIONAL
FORNEY ENERGY CENTER CTG 21 |  | FRNYPP_GT21 | KAUFMAN | GAS | NORTH | 2003-02-01 | 176.8 | OPERATIONAL
FORNEY ENERGY CENTER CTG 22 |  | FRNYPP_GT22 | KAUFMAN | GAS | NORTH | 2003-02-01 | 176.8 | OPERATIONAL
FORNEY ENERGY CENTER CTG 23 |  | FRNYPP_GT23 | KAUFMAN | GAS | NORTH | 2003-02-01 | 176.8 | OPERATIONAL
FORNEY ENERGY CENTER STG 10 |  | FRNYPP_ST10 | KAUFMAN | GAS | NORTH | 2003-02-01 | 401.2 | OPERATIONAL
FORNEY ENERGY CENTER STG 20 |  | FRNYPP_ST20 | KAUFMAN | GAS | NORTH | 2003-02-01 | 401.2 | OPERATIONAL
FREESTONE ENERGY CENTER CTG 1 |  | FREC_GT1 | FREESTONE | GAS | NORTH | 2002-06-01 | 155.2 | OPERATIONAL
FREESTONE ENERGY CENTER CTG 2 |  | FREC_GT2 | FREESTONE | GAS | NORTH | 2002-06-01 | 155.2 | OPERATIONAL
FREESTONE ENERGY CENTER STG 3 |  | FREC_ST3 | FREESTONE | GAS | NORTH | 2002-06-01 | 177.6 | OPERATIONAL
FREESTONE ENERGY CENTER CTG 4 |  | FREC_GT4 | FREESTONE | GAS | NORTH | 2002-04-01 | 155.4 | OPERATIONAL
FREESTONE ENERGY CENTER CTG 5 |  | FREC_GT5 | FREESTONE | GAS | NORTH | 2002-04-01 | 155.4 | OPERATIONAL
FREESTONE ENERGY CENTER STG 6 |  | FREC_ST6 | FREESTONE | GAS | NORTH | 2002-04-01 | 176.5 | OPERATIONAL
FRONTERA GENERATION CTG 1 |  | FRONTERA_FRONTEG1 | HIDALGO | GAS | SOUTH | 1999-06-30 | 170 | OPERATIONAL
FRONTERA GENERATION CTG 2 |  | FRONTERA_FRONTEG2 | HIDALGO | GAS | SOUTH | 1999-07-22 | 170 | OPERATIONAL
FRONTERA GENERATION STG |  | FRONTERA_FRONTEG3 | HIDALGO | GAS | SOUTH | 2000-05-15 | 184 | OPERATIONAL
GUADALUPE GEN STN CTG 1 |  | GUADG_GAS1 | GUADALUPE | GAS | SOUTH | 2000-12-01 | 158 | OPERATIONAL
GUADALUPE GEN STN CTG 2 |  | GUADG_GAS2 | GUADALUPE | GAS | SOUTH | 2000-12-01 | 158 | OPERATIONAL
GUADALUPE GEN STN CTG 3 |  | GUADG_GAS3 | GUADALUPE | GAS | SOUTH | 2000-12-01 | 158 | OPERATIONAL
GUADALUPE GEN STN CTG 4 |  | GUADG_GAS4 | GUADALUPE | GAS | SOUTH | 2000-12-01 | 158 | OPERATIONAL
GUADALUPE GEN STN STG 5 |  | GUADG_STM5 | GUADALUPE | GAS | SOUTH | 2000-12-01 | 200 | OPERATIONAL
GUADALUPE GEN STN STG 6 |  | GUADG_STM6 | GUADALUPE | GAS | SOUTH | 2000-12-01 | 200 | OPERATIONAL
HAYS ENERGY FACILITY CSG 1 |  | HAYSEN_HAYSENG1 | HAYS | GAS | SOUTH | 2002-05-28 | 220 | OPERATIONAL
HAYS ENERGY FACILITY CSG 2 |  | HAYSEN_HAYSENG2 | HAYS | GAS | SOUTH | 2002-04-19 | 220 | OPERATIONAL
HAYS ENERGY FACILITY CSG 3 |  | HAYSEN_HAYSENG3 | HAYS | GAS | SOUTH | 2002-08-16 | 225 | OPERATIONAL
HAYS ENERGY FACILITY CSG 4 |  | HAYSEN_HAYSENG4 | HAYS | GAS | SOUTH | 2002-08-15 | 225 | OPERATIONAL
HIDALGO CTG 1 |  | DUKE_DUKE_GT1 | HIDALGO | GAS | SOUTH | 2000-01-01 | 145 | OPERATIONAL
HIDALGO CTG 2 |  | DUKE_DUKE_GT2 | HIDALGO | GAS | SOUTH | 2000-01-01 | 145 | OPERATIONAL
HIDALGO STG |  | DUKE_DUKE_ST1 | HIDALGO | GAS | SOUTH | 2000-01-01 | 173 | OPERATIONAL
JACK COUNTY GEN FACILITY CTG 1 |  | JACKCNTY_CT1 | JACK | GAS | NORTH | 2005-07-01 | 150 | OPERATIONAL
JACK COUNTY GEN FACILITY CTG 2 |  | JACKCNTY_CT2 | JACK | GAS | NORTH | 2005-07-01 | 150 | OPERATIONAL
JACK COUNTY GEN FACILITY STG 1 |  | JACKCNTY_STG | JACK | GAS | NORTH | 2005-07-01 | 285 | OPERATIONAL
JACK COUNTY GEN FACILITY CTG 3 |  | JCKCNTY2_CT3 | JACK | GAS | NORTH | 2011-08-05 | 150 | OPERATIONAL
JACK COUNTY GEN FACILITY CTG 4 |  | JCKCNTY2_CT4 | JACK | GAS | NORTH | 2011-08-05 | 150 | OPERATIONAL
JACK COUNTY GEN FACILITY STG 2 |  | JCKCNTY2_ST2 | JACK | GAS | NORTH | 2011-08-05 | 285 | OPERATIONAL
JOHNSON COUNTY GEN FACILITY CTG |  | TEN_CT1 | JOHNSON | GAS | NORTH | 1997-01-02 | 163 | OPERATIONAL
JOHNSON COUNTY GEN FACILITY STG |  | TEN_STG | JOHNSON | GAS | NORTH | 1997-01-02 | 106 | OPERATIONAL
LAMAR POWER PROJECT CT11 |  | LPCCS_CT11 | LAMAR | GAS | NORTH | 2000-07-04 | 161.5 | OPERATIONAL
LAMAR POWER PROJECT CT12 |  | LPCCS_CT12 | LAMAR | GAS | NORTH | 2000-07-04 | 161.5 | OPERATIONAL
LAMAR POWER PROJECT CT21 |  | LPCCS_CT21 | LAMAR | GAS | NORTH | 2000-07-04 | 161.5 | OPERATIONAL
LAMAR POWER PROJECT CT22 |  | LPCCS_CT22 | LAMAR | GAS | NORTH | 2000-07-04 | 161.5 | OPERATIONAL
LAMAR POWER PROJECT STG1 |  | LPCCS_UNIT1 | LAMAR | GAS | NORTH | 2000-07-04 | 195 | OPERATIONAL
LAMAR POWER PROJECT STG2 |  | LPCCS_UNIT2 | LAMAR | GAS | NORTH | 2000-07-04 | 195 | OPERATIONAL
LOST PINES CTG 1 |  | LOSTPI_LOSTPGT1 | BASTROP | GAS | SOUTH | 2001-05-27 | 178 | OPERATIONAL
LOST PINES CTG 2 |  | LOSTPI_LOSTPGT2 | BASTROP | GAS | SOUTH | 2001-05-27 | 172 | OPERATIONAL
LOST PINES STG |  | LOSTPI_LOSTPST1 | BASTROP | GAS | SOUTH | 2001-05-27 | 188 | OPERATIONAL
MAGIC VALLEY CTG 1 |  | NEDIN_NEDIN_G1 | HIDALGO | GAS | SOUTH | 2001-07-11 | 212.5 | OPERATIONAL
MAGIC VALLEY CTG 2 |  | NEDIN_NEDIN_G2 | HIDALGO | GAS | SOUTH | 2001-07-11 | 212.5 | OPERATIONAL
MAGIC VALLEY STG |  | NEDIN_NEDIN_G3 | HIDALGO | GAS | SOUTH | 2001-07-11 | 254.9 | OPERATIONAL
MIDLOTHIAN CS 1 |  | MDANP_CT1 | ELLIS | GAS | NORTH | 2001-03-18 | 235 | OPERATIONAL
MIDLOTHIAN CS 2 |  | MDANP_CT2 | ELLIS | GAS | NORTH | 2001-03-15 | 235 | OPERATIONAL
MIDLOTHIAN CS 3 |  | MDANP_CT3 | ELLIS | GAS | NORTH | 2001-01-22 | 235 | OPERATIONAL
MIDLOTHIAN CS 4 |  | MDANP_CT4 | ELLIS | GAS | NORTH | 2001-02-08 | 235 | OPERATIONAL
MIDLOTHIAN CS 5 |  | MDANP_CT5 | ELLIS | GAS | NORTH | 2002-06-28 | 252 | OPERATIONAL
MIDLOTHIAN CS 6 |  | MDANP_CT6 | ELLIS | GAS | NORTH | 2002-06-07 | 252 | OPERATIONAL
NUECES BAY STG 7 |  | NUECES_B_NUECESG7 | NUECES | GAS | SOUTH | 1972-01-01 | 322 | OPERATIONAL
NUECES BAY CTG 8 |  | NUECES_B_NUECESG8 | NUECES | GAS | SOUTH | 2010-03-20 | 161 | OPERATIONAL
NUECES BAY CTG 9 |  | NUECES_B_NUECESG9 | NUECES | GAS | SOUTH | 2010-03-20 | 161 | OPERATIONAL
ODESSA-ECTOR GEN STN CTG 11 |  | OECCS_CT11 | ECTOR | GAS | WEST | 2001-06-01 | 156.4 | OPERATIONAL
ODESSA-ECTOR GEN STN CTG 12 |  | OECCS_CT12 | ECTOR | GAS | WEST | 2001-06-01 | 145.4 | OPERATIONAL
ODESSA-ECTOR GEN STN CTG 21 |  | OECCS_CT21 | ECTOR | GAS | WEST | 2001-06-01 | 149.9 | OPERATIONAL
ODESSA-ECTOR GEN STN CTG 22 |  | OECCS_CT22 | ECTOR | GAS | WEST | 2001-06-01 | 147.5 | OPERATIONAL
ODESSA-ECTOR GEN STN STG 1 |  | OECCS_UNIT1 | ECTOR | GAS | WEST | 2001-06-01 | 216 | OPERATIONAL
ODESSA-ECTOR GEN STN STG 2 |  | OECCS_UNIT2 | ECTOR | GAS | WEST | 2001-06-01 | 216 | OPERATIONAL
PARIS ENERGY CENTER CTG 1 |  | TNSKA_GT1 | LAMAR | GAS | NORTH | 1989-06-01 | 86 | OPERATIONAL
PARIS ENERGY CENTER CTG 2 |  | TNSKA_GT2 | LAMAR | GAS | NORTH | 1989-06-01 | 86 | OPERATIONAL
PARIS ENERGY CENTER STG |  | TNSKA_STG | LAMAR | GAS | NORTH | 1990-02-01 | 87 | OPERATIONAL
PASGEN CTG 2 |  | PSG_PSG_GT2 | HARRIS | GAS | HOUSTON | 2000-06-02 | 168 | OPERATIONAL
PASGEN CTG 3 |  | PSG_PSG_GT3 | HARRIS | GAS | HOUSTON | 2000-06-02 | 168 | OPERATIONAL
PASGEN STG 2 |  | PSG_PSG_ST2 | HARRIS | GAS | HOUSTON | 2000-06-02 | 168 | OPERATIONAL
QUAIL RUN ENERGY CTG 1 |  | QALSW_GT2 | ECTOR | GAS | WEST | 2007-04-12 | 81 | OPERATIONAL
QUAIL RUN ENERGY CTG 2 |  | QALSW_GT3 | ECTOR | GAS | WEST | 2008-05-03 | 80 | OPERATIONAL
QUAIL RUN ENERGY CTG 3 |  | QALSW_STG1 | ECTOR | GAS | WEST | 2007-04-12 | 98 | OPERATIONAL
QUAIL RUN ENERGY CTG 4 |  | QALSW_STG2 | ECTOR | GAS | WEST | 2008-05-03 | 98 | OPERATIONAL
QUAIL RUN ENERGY STG 1 |  | QALSW_GT1 | ECTOR | GAS | WEST | 2007-04-12 | 81 | OPERATIONAL
QUAIL RUN ENERGY STG 2 |  | QALSW_GT4 | ECTOR | GAS | WEST | 2008-05-03 | 80 | OPERATIONAL
RAYBURN CTG 7 |  | RAYBURN_RAYBURG7 | VICTORIA | GAS | SOUTH | 2003-06-24 | 50 | OPERATIONAL
RAYBURN CTG 8 |  | RAYBURN_RAYBURG8 | VICTORIA | GAS | SOUTH | 2003-06-26 | 51 | OPERATIONAL
RAYBURN CTG 9 |  | RAYBURN_RAYBURG9 | VICTORIA | GAS | SOUTH | 2003-06-26 | 50 | OPERATIONAL
RAYBURN STG 10 |  | RAYBURN_RAYBURG10 | VICTORIA | GAS | SOUTH | 2003-06-26 | 40 | OPERATIONAL
RIO NOGALES CTG 1 |  | RIONOG_CT1 | GUADALUPE | GAS | SOUTH | 2002-06-01 | 162 | OPERATIONAL
RIO NOGALES CTG 2 |  | RIONOG_CT2 | GUADALUPE | GAS | SOUTH | 2002-06-01 | 162 | OPERATIONAL
RIO NOGALES CTG 3 |  | RIONOG_CT3 | GUADALUPE | GAS | SOUTH | 2002-06-01 | 162 | OPERATIONAL
RIO NOGALES STG 4 |  | RIONOG_ST1 | GUADALUPE | GAS | SOUTH | 2002-06-01 | 323 | OPERATIONAL
SANDHILL ENERGY CENTER CTG 5A | 03INR0033 | SANDHSYD_SH_5A | TRAVIS | GAS | SOUTH | 2004-09-01 | 161 | OPERATIONAL
SANDHILL ENERGY CENTER STG 5C | 03INR0033 | SANDHSYD_SH_5C | TRAVIS | GAS | SOUTH | 2004-09-01 | 150 | OPERATIONAL
SILAS RAY STG 6 |  | SILASRAY_SILAS_6 | CAMERON | GAS | SOUTH | 1962-03-02 | 20 | OPERATIONAL
SILAS RAY CTG 9 |  | SILASRAY_SILAS_9 | CAMERON | GAS | SOUTH | 1996-01-01 | 38 | OPERATIONAL
T H WHARTON STG 3 |  | THW_THWST_3 | HARRIS | GAS | HOUSTON | 1974-08-16 | 104 | OPERATIONAL
T H WHARTON CTG 31 |  | THW_THWGT31 | HARRIS | GAS | HOUSTON | 1972-07-31 | 57 | OPERATIONAL
T H WHARTON CTG 32 |  | THW_THWGT32 | HARRIS | GAS | HOUSTON | 1972-07-31 | 57 | OPERATIONAL
T H WHARTON CTG 33 |  | THW_THWGT33 | HARRIS | GAS | HOUSTON | 1972-07-31 | 57 | OPERATIONAL
T H WHARTON CTG 34 |  | THW_THWGT34 | HARRIS | GAS | HOUSTON | 1972-07-31 | 57 | OPERATIONAL
T H WHARTON STG 4 |  | THW_THWST_4 | HARRIS | GAS | HOUSTON | 1974-08-16 | 104 | OPERATIONAL
T H WHARTON CTG 41 |  | THW_THWGT41 | HARRIS | GAS | HOUSTON | 1972-07-31 | 57 | OPERATIONAL
T H WHARTON CTG 42 |  | THW_THWGT42 | HARRIS | GAS | HOUSTON | 1972-07-31 | 57 | OPERATIONAL
T H WHARTON CTG 43 |  | THW_THWGT43 | HARRIS | GAS | HOUSTON | 1974-08-16 | 57 | OPERATIONAL
T H WHARTON CTG 44 |  | THW_THWGT44 | HARRIS | GAS | HOUSTON | 1974-08-16 | 57 | OPERATIONAL
TEXAS CITY CTG A |  | TXCTY_CTA | GALVESTON | GAS | HOUSTON | 2000-01-01 | 99.1 | OPERATIONAL
TEXAS CITY CTG B |  | TXCTY_CTB | GALVESTON | GAS | HOUSTON | 2000-01-01 | 99.1 | OPERATIONAL
TEXAS CITY CTG C |  | TXCTY_CTC | GALVESTON | GAS | HOUSTON | 2000-01-01 | 99.1 | OPERATIONAL
TEXAS CITY STG |  | TXCTY_ST | GALVESTON | GAS | HOUSTON | 2000-01-01 | 131.5 | OPERATIONAL
VICTORIA POWER STATION STG 5 | 08INR0050 | VICTORIA_VICTORG5 | VICTORIA | GAS | SOUTH | 2009-10-15 | 125 | OPERATIONAL
VICTORIA POWER STATION STG 6 | 08INR0050 | VICTORIA_VICTORG6 | VICTORIA | GAS | SOUTH | 2009-10-15 | 160 | OPERATIONAL
WICHITA FALLS CTG 1 |  | WFCOGEN_UNIT1 | WICHITA | GAS | WEST | 1987-06-19 | 20 | OPERATIONAL
WICHITA FALLS CTG 2 |  | WFCOGEN_UNIT2 | WICHITA | GAS | WEST | 1987-06-19 | 20 | OPERATIONAL
WICHITA FALLS CTG 3 |  | WFCOGEN_UNIT3 | WICHITA | GAS | WEST | 1987-06-19 | 20 | OPERATIONAL
WICHITA FALLS STG 4 |  | WFCOGEN_UNIT4 | WICHITA | GAS | WEST | 1987-06-19 | 17 | OPERATIONAL
WISE-TRACTEBEL POWER CTG 1 |  | WCPP_CT1 | WISE | GAS | NORTH | 2004-01-03 | 275 | OPERATIONAL
WISE-TRACTEBEL POWER CTG 2 |  | WCPP_CT2 | WISE | GAS | NORTH | 2004-01-03 | 275 | OPERATIONAL
WISE-TRACTEBEL POWER STG 1 |  | WCPP_ST1 | WISE | GAS | NORTH | 2004-01-03 | 290 | OPERATIONAL
WOLF HOLLOW POWER CTG 1 |  | WHCCS_CT1 | HOOD | GAS | NORTH | 2002-07-24 | 227 | OPERATIONAL
WOLF HOLLOW POWER CTG 2 |  | WHCCS_CT2 | HOOD | GAS | NORTH | 2002-07-24 | 227 | OPERATIONAL
WOLF HOLLOW POWER STG |  | WHCCS_STG | HOOD | GAS | NORTH | 2002-07-24 | 286 | OPERATIONAL
ATKINS 7 |  | ATKINS_ATKINSG7 | BRAZOS | GAS | NORTH | 1973-01-01 | 20 | OPERATIONAL
DANSBY 2 |  | DANSBY_DANSBYG2 | BRAZOS | GAS | NORTH | 2004-02-01 | 48 | OPERATIONAL
DANSBY 3 |  | DANSBY_DANSBYG3 | BRAZOS | GAS | NORTH | 2010-01-11 | 50 | OPERATIONAL
DECKER CREEK G1 |  | DECKER_DPGT_1 | TRAVIS | GAS | SOUTH | 1989-01-30 | 49 | OPERATIONAL
DECKER CREEK G2 |  | DECKER_DPGT_2 | TRAVIS | GAS | SOUTH | 1989-01-30 | 49 | OPERATIONAL
DECKER CREEK G3 |  | DECKER_DPGT_3 | TRAVIS | GAS | SOUTH | 1989-01-30 | 49 | OPERATIONAL
DECKER CREEK G4 |  | DECKER_DPGT_4 | TRAVIS | GAS | SOUTH | 1989-01-30 | 49 | OPERATIONAL
DECORDOVA A |  | DCSES_CT10 | HOOD | GAS | NORTH | 2010-06-01 | 74 | OPERATIONAL
DECORDOVA B |  | DCSES_CT20 | HOOD | GAS | NORTH | 2010-06-01 | 73 | OPERATIONAL
DECORDOVA C |  | DCSES_CT30 | HOOD | GAS | NORTH | 2010-06-01 | 72 | OPERATIONAL
DECORDOVA D |  | DCSES_CT40 | HOOD | GAS | NORTH | 2010-06-01 | 71 | OPERATIONAL
EXTEX LA PORTE PWR STN (AIRPRO) 1 |  | AZ_AZ_G1 | HARRIS | GAS | HOUSTON | 2009-11-30 | 42 | OPERATIONAL
EXTEX LA PORTE PWR STN (AIRPRO) 2 |  | AZ_AZ_G2 | HARRIS | GAS | HOUSTON | 2009-11-30 | 42 | OPERATIONAL
EXTEX LA PORTE PWR STN (AIRPRO) 3 |  | AZ_AZ_G3 | HARRIS | GAS | HOUSTON | 2009-11-30 | 42 | OPERATIONAL
EXTEX LA PORTE PWR STN (AIRPRO) 4 |  | AZ_AZ_G4 | HARRIS | GAS | HOUSTON | 2009-11-30 | 42 | OPERATIONAL
GREENS BAYOU 73 |  | GBY_GBYGT73 | HARRIS | GAS | HOUSTON | 1976-12-16 | 54 | OPERATIONAL
GREENS BAYOU 74 |  | GBY_GBYGT74 | HARRIS | GAS | HOUSTON | 1976-12-16 | 54 | OPERATIONAL
GREENS BAYOU 81 |  | GBY_GBYGT81 | HARRIS | GAS | HOUSTON | 1976-12-16 | 54 | OPERATIONAL
GREENS BAYOU 83 |  | GBY_GBYGT83 | HARRIS | GAS | HOUSTON | 1976-12-16 | 64 | OPERATIONAL
GREENS BAYOU 84 |  | GBY_GBYGT84 | HARRIS | GAS | HOUSTON | 1976-12-16 | 58 | OPERATIONAL
GREENVILLE ENGINE PLANT |  | STEAM_ENGINE_1 | HUNT | GAS | NORTH | 2010-06-01 | 8.4 | OPERATIONAL
GREENVILLE ENGINE PLANT |  | STEAM_ENGINE_2 | HUNT | GAS | NORTH | 2010-06-01 | 8.4 | OPERATIONAL
GREENVILLE ENGINE PLANT |  | STEAM_ENGINE_3 | HUNT | GAS | NORTH | 2010-06-01 | 8.4 | OPERATIONAL
LAREDO PEAKING 4 |  | LARDVFTN_G4 | WEBB | GAS | SOUTH | 2008-07-27 | 94.2 | OPERATIONAL
LAREDO PEAKING 5 |  | LARDVFTN_G5 | WEBB | GAS | SOUTH | 2008-08-20 | 94.2 | OPERATIONAL
LEON CREEK PEAKING 1 |  | LEON_CRK_LCPCT1 | BEXAR | GAS | SOUTH | 2004-03-26 | 48 | OPERATIONAL
LEON CREEK PEAKING 2 |  | LEON_CRK_LCPCT2 | BEXAR | GAS | SOUTH | 2004-04-08 | 48 | OPERATIONAL
LEON CREEK PEAKING 3 |  | LEON_CRK_LCPCT3 | BEXAR | GAS | SOUTH | 2004-04-15 | 48 | OPERATIONAL
LEON CREEK PEAKING 4 |  | LEON_CRK_LCPCT4 | BEXAR | GAS | SOUTH | 2004-04-22 | 48 | OPERATIONAL
MORGAN CREEK A |  | MGSES_CT1 | MITCHELL | GAS | WEST | 1988-07-01 | 77 | OPERATIONAL
MORGAN CREEK B |  | MGSES_CT2 | MITCHELL | GAS | WEST | 1988-07-01 | 77 | OPERATIONAL
MORGAN CREEK C |  | MGSES_CT3 | MITCHELL | GAS | WEST | 1988-07-01 | 77 | OPERATIONAL
MORGAN CREEK D |  | MGSES_CT4 | MITCHELL | GAS | WEST | 1988-07-01 | 77 | OPERATIONAL
MORGAN CREEK E |  | MGSES_CT5 | MITCHELL | GAS | WEST | 1988-07-01 | 77 | OPERATIONAL
MORGAN CREEK F |  | MGSES_CT6 | MITCHELL | GAS | WEST | 1988-07-01 | 77 | OPERATIONAL
PEARSALL ENGINE PLANT | 09INR0079a | PEARSAL2_AGR_A | FRIO | GAS | SOUTH | 2012-06-29 | 50.6 | OPERATIONAL
PEARSALL ENGINE PLANT | 09INR0079a | PEARSAL2_AGR_B | FRIO | GAS | SOUTH | 2012-06-29 | 50.6 | OPERATIONAL
PEARSALL ENGINE PLANT | 09INR0079b | PEARSAL2_AGR_C | FRIO | GAS | SOUTH | 2012-06-29 | 50.6 | OPERATIONAL
PEARSALL ENGINE PLANT | 09INR0079b | PEARSAL2_AGR_D | FRIO | GAS | SOUTH | 2012-06-29 | 50.6 | OPERATIONAL
PERMIAN BASIN A |  | PB2SES_CT1 | WARD | GAS | WEST | 1988-05-01 | 71 | OPERATIONAL
PERMIAN BASIN B |  | PB2SES_CT2 | WARD | GAS | WEST | 1988-05-01 | 70 | OPERATIONAL
PERMIAN BASIN C |  | PB2SES_CT3 | WARD | GAS | WEST | 1988-05-01 | 73 | OPERATIONAL
PERMIAN BASIN D |  | PB2SES_CT4 | WARD | GAS | WEST | 1990-02-01 | 74 | OPERATIONAL
PERMIAN BASIN E |  | PB2SES_CT5 | WARD | GAS | WEST | 1990-02-01 | 74 | OPERATIONAL
R W MILLER 4 |  | MIL_MILLERG4 | PALO PINTO | GAS | NORTH | 2000-01-01 | 104 | OPERATIONAL
R W MILLER 5 |  | MIL_MILLERG5 | PALO PINTO | GAS | NORTH | 2000-01-01 | 104 | OPERATIONAL
RAY OLINGER 4 |  | OLINGR_OLING_4 | COLLIN | GAS | NORTH | 2001-06-01 | 75 | OPERATIONAL
RAYBURN 1 |  | RAYBURN_RAYBURG1 | VICTORIA | GAS | SOUTH | 1963-03-08 | 13.5 | OPERATIONAL
RAYBURN 2 |  | RAYBURN_RAYBURG2 | VICTORIA | GAS | SOUTH | 1963-03-01 | 13.5 | OPERATIONAL
SAN JACINTO SES 1 |  | SJS_SJS_G1 | HARRIS | GAS | HOUSTON | 1995-04-21 | 81 | OPERATIONAL
SAN JACINTO SES 2 |  | SJS_SJS_G2 | HARRIS | GAS | HOUSTON | 1995-04-21 | 81 | OPERATIONAL
SANDHILL ENERGY CENTER 1 | 01INR0041 | SANDHSYD_SH1 | TRAVIS | GAS | SOUTH | 2001-06-20 | 47 | OPERATIONAL
SANDHILL ENERGY CENTER 2 | 01INR0041 | SANDHSYD_SH2 | TRAVIS | GAS | SOUTH | 2001-06-20 | 47 | OPERATIONAL
SANDHILL ENERGY CENTER 3 | 01INR0041 | SANDHSYD_SH3 | TRAVIS | GAS | SOUTH | 2001-06-20 | 47 | OPERATIONAL
SANDHILL ENERGY CENTER 4 | 01INR0041 | SANDHSYD_SH4 | TRAVIS | GAS | SOUTH | 2001-06-20 | 47 | OPERATIONAL
SANDHILL ENERGY CENTER 6 | 09INR0045 | SANDHSYD_SH6 | TRAVIS | GAS | SOUTH | 2010-03-22 | 47 | OPERATIONAL
SANDHILL ENERGY CENTER 7 | 09INR0045 | SANDHSYD_SH7 | TRAVIS | GAS | SOUTH | 2010-04-09 | 47 | OPERATIONAL
SILAS RAY 10 | 04INR0014 | SILASRAY_SILAS_10 | CAMERON | GAS | SOUTH | 2004-01-01 | 46 | OPERATIONAL
T H WHARTON 51 |  | THW_THWGT51 | HARRIS | GAS | HOUSTON | 1975-11-21 | 57 | OPERATIONAL
T H WHARTON 52 |  | THW_THWGT52 | HARRIS | GAS | HOUSTON | 1975-11-21 | 57 | OPERATIONAL
T H WHARTON 53 |  | THW_THWGT53 | HARRIS | GAS | HOUSTON | 1975-11-21 | 57 | OPERATIONAL
T H WHARTON 54 |  | THW_THWGT54 | HARRIS | GAS | HOUSTON | 1975-11-21 | 57 | OPERATIONAL
T H WHARTON 55 |  | THW_THWGT55 | HARRIS | GAS | HOUSTON | 1975-11-21 | 57 | OPERATIONAL
T H WHARTON 56 |  | THW_THWGT56 | HARRIS | GAS | HOUSTON | 1975-11-21 | 57 | OPERATIONAL
T H WHARTON G1 |  | THW_THWGT_1 | HARRIS | GAS | HOUSTON | 1967-07-31 | 13 | OPERATIONAL
TEXAS GULF SULPHUR |  | TGF_TGFGT_1 | WHARTON | GAS | HOUSTON | 1985-04-25 | 89 | OPERATIONAL
V H BRAUNIG 5 |  | BRAUNIG_VHB6CT5 | BEXAR | GAS | SOUTH | 2009-10-02 | 48 | OPERATIONAL
V H BRAUNIG 6 |  | BRAUNIG_VHB6CT6 | BEXAR | GAS | SOUTH | 2009-10-02 | 48 | OPERATIONAL
V H BRAUNIG 7 |  | BRAUNIG_VHB6CT7 | BEXAR | GAS | SOUTH | 2009-10-02 | 48 | OPERATIONAL
V H BRAUNIG 8 |  | BRAUNIG_VHB6CT8 | BEXAR | GAS | SOUTH | 2009-10-02 | 48 | OPERATIONAL
W A PARISH T1 |  | WAP_WAPGT_1 | FT. BEND | GAS | HOUSTON | 1967-07-31 | 13 | OPERATIONAL
W A PARISH - PETRO NOVA | 12INR0086 | PNPI_GT2 | FORT BEND | GAS | HOUSTON | 2013-06-15 | 83 | OPERATIONAL
WINCHESTER POWER PARK 1 | 09INR0027 | WIPOPA_WPP_G1 | FAYETTE | GAS | SOUTH | 2009-05-31 | 44 | OPERATIONAL
WINCHESTER POWER PARK 2 | 09INR0027 | WIPOPA_WPP_G2 | FAYETTE | GAS | SOUTH | 2009-05-31 | 44 | OPERATIONAL
WINCHESTER POWER PARK 3 | 09INR0027 | WIPOPA_WPP_G3 | FAYETTE | GAS | SOUTH | 2009-05-31 | 44 | OPERATIONAL
WINCHESTER POWER PARK 4 | 09INR0027 | WIPOPA_WPP_G4 | FAYETTE | GAS | SOUTH | 2009-05-31 | 44 | OPERATIONAL
B M DAVIS 1 |  | B_DAVIS_B_DAVIG1 | NUECES | GAS | SOUTH | 1974-04-15 | 335 | OPERATIONAL
CEDAR BAYOU 1 |  | CBY_CBY_G1 | CHAMBERS | GAS | HOUSTON | 1970-12-11 | 745 | OPERATIONAL
CEDAR BAYOU 2 |  | CBY_CBY_G2 | CHAMBERS | GAS | HOUSTON | 1972-03-15 | 749 | OPERATIONAL
DANSBY 1 |  | DANSBY_DANSBYG1 | BRAZOS | GAS | NORTH | 1978-09-01 | 110 | OPERATIONAL
DECKER CREEK 1 |  | DECKER_DPG1 | TRAVIS | GAS | SOUTH | 1971-07-01 | 320 | OPERATIONAL
DECKER CREEK 2 |  | DECKER_DPG2 | TRAVIS | GAS | SOUTH | 1978-01-12 | 420 | OPERATIONAL
GRAHAM 1 |  | GRSES_UNIT1 | YOUNG | GAS | WEST | 1960-12-19 | 225 | OPERATIONAL
GRAHAM 2 |  | GRSES_UNIT2 | YOUNG | GAS | WEST | 1969-06-05 | 390 | OPERATIONAL
GREENS BAYOU 5 |  | GBY_GBY_5 | HARRIS | GAS | HOUSTON | 1973-06-16 | 406 | OPERATIONAL
HANDLEY 3 |  | HLSES_UNIT3 | TARRANT | GAS | NORTH | 1963-01-01 | 395 | OPERATIONAL
HANDLEY 4 |  | HLSES_UNIT4 | TARRANT | GAS | NORTH | 1976-01-01 | 435 | OPERATIONAL
HANDLEY 5 |  | HLSES_UNIT5 | TARRANT | GAS | NORTH | 1977-01-01 | 435 | OPERATIONAL
LAKE HUBBARD 1 |  | LHSES_UNIT1 | DALLAS | GAS | NORTH | 1970-06-18 | 392 | OPERATIONAL
LAKE HUBBARD 2 |  | LH2SES_UNIT2 | DALLAS | GAS | NORTH | 1973-11-20 | 515 | OPERATIONAL
MOUNTAIN CREEK 6 |  | MCSES_UNIT6 | DALLAS | GAS | NORTH | 1956-01-01 | 121 | OPERATIONAL
MOUNTAIN CREEK 7 |  | MCSES_UNIT7 | DALLAS | GAS | NORTH | 1958-01-01 | 117 | OPERATIONAL
MOUNTAIN CREEK 8 |  | MCSES_UNIT8 | DALLAS | GAS | NORTH | 1967-01-01 | 567 | OPERATIONAL
O W SOMMERS 1 |  | CALAVERS_OWS1 | BEXAR | GAS | SOUTH | 1972-01-01 | 420 | OPERATIONAL
O W SOMMERS 2 |  | CALAVERS_OWS2 | BEXAR | GAS | SOUTH | 1974-01-01 | 420 | OPERATIONAL
PEARSALL 1 |  | PEARSALL_PEARS_1 | FRIO | GAS | SOUTH | 1961-06-01 | 25 | OPERATIONAL
PEARSALL 2 |  | PEARSALL_PEARS_2 | FRIO | GAS | SOUTH | 1961-07-01 | 25 | OPERATIONAL
PEARSALL 3 |  | PEARSALL_PEARS_3 | FRIO | GAS | SOUTH | 1961-09-01 | 25 | OPERATIONAL
POWERLANE PLANT 1 |  | STEAM1A_STEAM_1 | HUNT | GAS | NORTH | 1966-01-01 | 20 | OPERATIONAL
POWERLANE PLANT 2 |  | STEAM_STEAM_2 | HUNT | GAS | NORTH | 1967-01-01 | 26 | OPERATIONAL
POWERLANE PLANT 3 |  | STEAM_STEAM_3 | HUNT | GAS | NORTH | 1978-01-01 | 41 | OPERATIONAL
R W MILLER 1 |  | MIL_MILLERG1 | PALO PINTO | GAS | NORTH | 2000-01-01 | 75 | OPERATIONAL
R W MILLER 2 |  | MIL_MILLERG2 | PALO PINTO | GAS | NORTH | 2000-01-01 | 120 | OPERATIONAL
R W MILLER 3 |  | MIL_MILLERG3 | PALO PINTO | GAS | NORTH | 2000-01-01 | 208 | OPERATIONAL
RAY OLINGER 1 |  | OLINGR_OLING_1 | COLLIN | GAS | NORTH | 1967-07-01 | 78 | OPERATIONAL
RAY OLINGER 2 |  | OLINGR_OLING_2 | COLLIN | GAS | NORTH | 1971-05-01 | 107 | OPERATIONAL
RAY OLINGER 3 |  | OLINGR_OLING_3 | COLLIN | GAS | NORTH | 1975-12-01 | 146 | OPERATIONAL
SIM GIDEON 1 |  | GIDEON_GIDEONG1 | BASTROP | GAS | SOUTH | 1965-05-15 | 130 | OPERATIONAL
SIM GIDEON 2 |  | GIDEON_GIDEONG2 | BASTROP | GAS | SOUTH | 1968-03-01 | 135 | OPERATIONAL
SIM GIDEON 3 |  | GIDEON_GIDEONG3 | BASTROP | GAS | SOUTH | 1972-05-01 | 336 | OPERATIONAL
SPENCER 4 |  | SPNCER_SPNCE_4 | DENTON | GAS | NORTH | 1966-08-18 | 61 | OPERATIONAL
SPENCER 5 |  | SPNCER_SPNCE_5 | DENTON | GAS | NORTH | 1973-05-30 | 61 | OPERATIONAL
STRYKER CREEK 1 |  | SCSES_UNIT1A | CHEROKEE | GAS | NORTH | 1958-06-26 | 167 | OPERATIONAL
STRYKER CREEK 2 |  | SCSES_UNIT2 | CHEROKEE | GAS | NORTH | 1965-12-21 | 502 | OPERATIONAL
TRINIDAD 6 |  | TRSES_UNIT6 | HENDERSON | GAS | NORTH | 1965-05-26 | 226 | OPERATIONAL
V H BRAUNIG 1 |  | BRAUNIG_VHB1 | BEXAR | GAS | SOUTH | 1966-01-01 | 220 | OPERATIONAL
V H BRAUNIG 2 |  | BRAUNIG_VHB2 | BEXAR | GAS | SOUTH | 1968-01-01 | 230 | OPERATIONAL
V H BRAUNIG 3 |  | BRAUNIG_VHB3 | BEXAR | GAS | SOUTH | 1970-01-01 | 412 | OPERATIONAL
W A PARISH 1 |  | WAP_WAP_G1 | FT. BEND | GAS | HOUSTON | 1958-06-01 | 169 | OPERATIONAL
W A PARISH 2 |  | WAP_WAP_G2 | FT. BEND | GAS | HOUSTON | 1958-12-20 | 169 | OPERATIONAL
W A PARISH 3 |  | WAP_WAP_G3 | FT. BEND | GAS | HOUSTON | 1961-03-15 | 258 | OPERATIONAL
W A PARISH 4 |  | WAP_WAP_G4 | FT. BEND | GAS | HOUSTON | 1968-06-01 | 552 | OPERATIONAL
NOTREES BATTERY | 12INR0076 | NWF_NBS | WINKLER/ECTOR | STORAGE | WEST | 2012-10-01 | 33.7 | OPERATIONAL
ACACIA SOLAR |  | ACACIA_UNIT_1 | PRESIDIO | SOLAR | WEST | 2012-12-30 | 10 | OPERATIONAL
OCI ALAMO 1 | 13INR0058 | OCI_ALM1_UNIT1 | BEXAR | SOLAR | SOUTH | 2013-12-13 | 39.2 | OPERATIONAL
WEBBERVILLE | 10INR0082 | WEBBER_S_WSP1 | TRAVIS | SOLAR | SOUTH | 2011-11-23 | 28.5 | OPERATIONAL
BLUE WING 1 |  | DG_BROOK_1UNIT | BEXAR | SOLAR | SOUTH | 2010-08-17 | 7.6 | NON-MODEL
BLUE WING 2 |  | DG_ELMEN_1UNIT | BEXAR | SOLAR | SOUTH | 2010-09-15 | 7.3 | NON-MODEL
SOMERSET 1 |  | DG_SOME1_1UNIT | BEXAR | SOLAR | SOUTH | 2012-04-01 | 5.6 | NON-MODEL
SOMERSET 2 |  | DG_SOME2_1UNIT | BEXAR | SOLAR | SOUTH | 2012-04-01 | 5 | NON-MODEL
SUNEDISON RABEL ROAD |  | DG_VALL1_1UNIT | BEXAR | SOLAR | SOUTH | 2012-02-15 | 9.9 | NON-MODEL
SUNEDISON VALLEY ROAD |  | DG_VALL2_1UNIT | BEXAR | SOLAR | SOUTH | 2012-02-15 | 9.9 | NON-MODEL
NACOGDOCHES POWER | 09INR0007 | NACPW_UNIT1 | NACOGDOCHES | BIOMASS | NORTH | 2012-06-22 | 105 | OPERATIONAL
LUFKIN BIOMASS | 08INR0033 | LFBIO_UNIT1 | ANGELINA | BIOMASS | NORTH | 2012-03-01 | 45 | OPERATIONAL
ALVIN |  | AV_DG1 | GALVESTON | BIOMASS | HOUSTON | 2002-10-01 | 6.7 | NON-MODEL
AUSTIN LANDFILL GAS |  | DG_SPRIN_4UNITS | TRAVIS | BIOMASS | SOUTH | 2007-11-21 | 6.4 | NON-MODEL
COVEL GARDENS POWER STATION |  | DG_MEDIN_1UNIT | BEXAR | BIOMASS | SOUTH | 2005-12-01 | 9.6 | NON-MODEL
DFW GAS RECOVERY |  | DG_BIO2_4UNITS | DENTON | BIOMASS | NORTH | 2009-07-31 | 6.4 | NON-MODEL
DG_BIOENERGY PARTNERS |  | DG_BIOE_2UNITS | DENTON | BIOMASS | NORTH | 1988-01-01 | 6.2 | NON-MODEL
FW REGION GEN FACILITY |  | DG_RDLML_1UNIT | TARRANT | BIOMASS | NORTH | 2011-06-14 | 1.6 | NON-MODEL
HUMBLE |  | HB_DG1 | HARRIS | BIOMASS | HOUSTON | 2002-12-01 | 10 | NON-MODEL
LIBERTY |  | LB_DG1 | HARRIS | BIOMASS | HOUSTON | 2002-11-01 | 3.9 | NON-MODEL
MCKINNEY LANDFILL |  | DG_MKNSW_2UNITS | COLLIN | BIOMASS | NORTH | 2011-05-05 | 3.2 | NON-MODEL
MESQUITE CREEK ENERGY |  | DG_FREIH_2UNITS | COMAL | BIOMASS | SOUTH | 2011-08-01 | 3.2 | NON-MODEL
SKYLINE LANDFILL GAS |  | DG_FERIS_4_UNITS | DALLAS | BIOMASS | NORTH | 2007-03-31 | 6.4 | NON-MODEL
TRINITY BAY |  | TRN_DG1 | CHAMBERS | BIOMASS | HOUSTON | 2002-11-01 | 3.9 | NON-MODEL
TRINITY OAKS LFG |  | DG_KLBRG_1UNIT | DALLAS | BIOMASS | NORTH | 2011-06-14 | 3.2 | NON-MODEL
WALZEM ROAD |  | DG_WALZE_4UNITS | BEXAR | BIOMASS | SOUTH | 2002-10-10 | 9.8 | NON-MODEL
WESTSIDE |  | DG_WSTHL_3UNITS | PARKER | BIOMASS | NORTH | 2010-02-05 | 4.8 | NON-MODEL
KMAYBTO |  | DG_KMASB_1UNIT | WICHITA | BIOMASS | WEST | 2011-04-27 | 0.125 | NON-MODEL
TOTAL EXISTING RESOURCES | [6 empty] | 63686.325
AMISTAD HYDRO 1 |  | AMISTAD_AMISTAG1 | VAL VERDE |  | SOUTH | 1983-06-01 | 37.9 | OPERATIONAL
AMISTAD HYDRO 2 |  | AMISTAD_AMISTAG2 | VAL VERDE |  | SOUTH | 1983-10-01 | 37.9 | OPERATIONAL
AUSTIN 1 |  | AUSTPL_AUSTING1 | TRAVIS |  | SOUTH | 1940-04-01 | 8 | OPERATIONAL
AUSTIN 2 |  | AUSTPL_AUSTING2 | TRAVIS |  | SOUTH | 1940-04-01 | 9 | OPERATIONAL
BUCHANAN 1 |  | BUCHAN_BUCHANG1 | LLANO |  | SOUTH | 1938-01-01 | 16 | OPERATIONAL
BUCHANAN 2 |  | BUCHAN_BUCHANG2 | LLANO |  | SOUTH | 1938-01-01 | 16 | OPERATIONAL
BUCHANAN 3 |  | BUCHAN_BUCHANG3 | LLANO |  | SOUTH | 1950-05-19 | 17 | OPERATIONAL
DENISON DAM 1 |  | DNDAM_DENISOG1 | GRAYSON |  | NORTH | 1944-03-01 | 40 | OPERATIONAL
DENISON DAM 2 |  | DNDAM_DENISOG2 | GRAYSON |  | NORTH | 1948-03-04 | 40 | OPERATIONAL
FALCON HYDRO 1 |  | FALCON_FALCONG1 | STARR |  | SOUTH | 1954-10-11 | 12 | OPERATIONAL
FALCON HYDRO 2 |  | FALCON_FALCONG2 | STARR |  | SOUTH | 1954-10-11 | 12 | OPERATIONAL
FALCON HYDRO 3 |  | FALCON_FALCONG3 | STARR |  | SOUTH | 1954-10-11 | 12 | OPERATIONAL
GRANITE SHOALS 1 |  | WIRTZ_WIRTZ_G1 | BURNET |  | SOUTH | 1951-06-28 | 29 | OPERATIONAL
GRANITE SHOALS 2 |  | WIRTZ_WIRTZ_G2 | BURNET |  | SOUTH | 1951-08-03 | 29 | OPERATIONAL
INKS 1 |  | INKSDA_INKS_G1 | LLANO |  | SOUTH | 1938-01-01 | 14 | OPERATIONAL
MARBLE FALLS 1 |  | MARBFA_MARBFAG1 | BURNET |  | SOUTH | 1951-10-10 | 21 | OPERATIONAL
MARBLE FALLS 2 |  | MARBFA_MARBFAG2 | BURNET |  | SOUTH | 1951-09-25 | 20 | OPERATIONAL
MARSHALL FORD 1 |  | MARSFO_MARSFOG1 | TRAVIS |  | SOUTH | 1941-01-01 | 36 | OPERATIONAL
MARSHALL FORD 2 |  | MARSFO_MARSFOG2 | TRAVIS |  | SOUTH | 1941-01-01 | 36 | OPERATIONAL
MARSHALL FORD 3 |  | MARSFO_MARSFOG3 | TRAVIS |  | SOUTH | 1941-01-01 | 29 | OPERATIONAL
WHITNEY DAM |  | WND_WHITNEY1 | BOSQUE |  | NORTH | 1953-01-01 | 20 | OPERATIONAL
WHITNEY 2 |  | WND_WHITNEY2 | BOSQUE |  | NORTH | 1953-01-01 | 15 | OPERATIONAL
CANYON |  | CANYHY_CANYHYG1 | COMAL |  | SOUTH | 1989-01-01 | 6 | NON-MODEL
EAGLE PASS HYDRO |  | EAGLE_HY_EAGLE_HY1 | MAVERICK |  | SOUTH | 2005-12-22 | 9.6 | NON-MODEL
LAKEWOOD TAP |  | DG_LKWDT_2UNITS | GONZALES |  | SOUTH | 1931-01-01 | 4.8 | NON-MODEL
LEWISVILLE |  | DG_LWSVL_1UNIT | DENTON |  | NORTH | 1991-01-01 | 2.2 | NON-MODEL
MCQUEENEY |  | DG_MCQUE_5UNITS | GUADALUPE |  | SOUTH | 1928-01-01 | 7.7 | NON-MODEL
SCHUMANSVILLE |  | DG_SCHUM_2UNITS | GUADALUPE |  | SOUTH | 1928-01-01 | 3.6 | NON-MODEL
TOTAL HYDRO RESOURCES | [6 empty] | 540.7
HYDRO CAPACITY CONTRIBUTION (AVERAGE MAXIMIM CAPABILITY FOR TOP 20 HOURS) |  | HYDRO_CAP_CONT |  | HYDRO |  |  | 446.2
TOTAL PRIVATE USE NETWORK | [6 empty] | 4661
ANACACHO WINDFARM | 12INR0072 | ANACACHO_ANA | KINNEY | WIND | SOUTH | 2012-12-01 | 101 | OPERATIONAL
BARTON CHAPEL WIND | 06INR0021 | BRTSW_BCW1 | JACK | WIND | WEST | 2007-12-01 | 120 | OPERATIONAL
BOBCAT WIND | 08INR0049 | BCATWIND_WIND_1 | ARCHER | WIND | NORTH | 2012-12-19 | 150 | OPERATIONAL
BLUE SUMMIT WIND 5 | 12INR0075 | BLSUMMIT_BLSMT1_5 | WILBARGER | WIND | WEST | 2012-12-31 | 9 | OPERATIONAL
BLUE SUMMIT WIND 6 | 12INR0075 | BLSUMMIT_BLSMT1_6 | WILBARGER | WIND | WEST | 2012-12-31 | 126.4 | OPERATIONAL
BUFFALO GAP WIND FARM 1 |  | BUFF_GAP_UNIT1 | TAYLOR | WIND | WEST | 2006-04-21 | 120.6 | OPERATIONAL
BUFFALO GAP WIND FARM 2 |  | BUFF_GAP_UNIT2_1 | TAYLOR | WIND | WEST | 2007-07-01 | 115.5 | OPERATIONAL
BUFFALO GAP WIND FARM 2 |  | BUFF_GAP_UNIT2_2 | TAYLOR | WIND | WEST | 2007-07-01 | 117 | OPERATIONAL
BUFFALO GAP WIND FARM 3 |  | BUFF_GAP_UNIT3 | TAYLOR | WIND | WEST | 2008-07-30 | 170.2 | OPERATIONAL
BULL CREEK WIND PLANT |  | BULLCRK_WND1 | BORDEN | WIND | WEST | 2009-05-14 | 88 | OPERATIONAL
BULL CREEK WIND PLANT |  | BULLCRK_WND2 | BORDEN | WIND | WEST | 2009-05-14 | 90 | OPERATIONAL
CALLAHAN WIND |  | CALLAHAN_WND1 | CALLAHAN | WIND | WEST | 2004-12-15 | 114 | OPERATIONAL
CAMP SPRINGS 1 WIND |  | CSEC_CSECG1 | SCURRY | WIND | WEST | 2007-05-26 | 130.5 | OPERATIONAL
CAMP SPRINGS 2 WIND |  | CSEC_CSECG2 | SCURRY | WIND | WEST | 2007-11-15 | 120 | OPERATIONAL
CAPRICORN RIDGE WIND 1 |  | CAPRIDGE_CR1 | STERLING | WIND | WEST | 2007-08-01 | 214.5 | OPERATIONAL
CAPRICORN RIDGE WIND 2 |  | CAPRIDGE_CR3 | STERLING | WIND | WEST | 2008-02-15 | 186 | OPERATIONAL
CAPRICORN RIDGE WIND 3 |  | CAPRIDGE_CR2 | STERLING | WIND | WEST | 2007-08-01 | 149.5 | OPERATIONAL
CAPRICORN RIDGE WIND 4 |  | CAPRIDG4_CR4 | COKE/STERLING | WIND | WEST | 2008-04-15 | 112.5 | OPERATIONAL
CEDRO HILL WIND | 09INR0082 | CEDROHIL_CHW1 | WEBB | WIND | SOUTH | 2010-11-23 | 150 | OPERATIONAL
CHAMPION WIND FARM |  | CHAMPION_UNIT1 | NOLAN AND MITCHELL | WIND | WEST | 2008-01-28 | 126.5 | OPERATIONAL
DELAWARE MOUNTAIN WIND FARM |  | KUNITZ_WIND_NWP | CULBERSON COUNTY | WIND | WEST | 1999-06-01 | 28.5 | OPERATIONAL
DESERT SKY WIND FARM 1 |  | INDNENR_INDNENR | PECOS | WIND | WEST | 2002-01-01 | 84 | OPERATIONAL
DESERT SKY WIND FARM 2 |  | INDNENR_INDNENR_2 | PECOS | WIND | WEST | 2002-01-01 | 76.5 | OPERATIONAL
ELBOW CREEK WIND PROJECT | GIR 08INR0053 | ELB_ELBCREEK | HOWARD | WIND | WEST | 2008-11-21 | 118.7 | OPERATIONAL
FOREST CREEK WIND FARM |  | MCDLD_FCW1 | GLASSCOCK | WIND | WEST | 2007-03-01 | 124.2 | OPERATIONAL
GOAT WIND |  | GOAT_GOATWIND | STERLING | WIND | WEST | 2008-02-21 | 80 | OPERATIONAL
GOAT WIND 2 |  | GOAT_GOATWIN2 | STERLING | WIND | WEST | 2010-04-14 | 69.6 | OPERATIONAL
GREEN MOUNTAIN ENERGY 1 |  | BRAZ_WND_WND1 | SCURRY/BORDEN | WIND | WEST | 2003-12-24 | 99 | OPERATIONAL
GREEN MOUNTAIN ENERGY 2 |  | BRAZ_WND_WND2 | SCURRY/BORDEN | WIND | WEST | 2003-12-24 | 61 | OPERATIONAL
HACKBERRY WIND FARM |  | HWF_HWFG1 | SHACKELFORD | WIND | WEST | 2008-12-21 | 163.5 | OPERATIONAL
HORSE HOLLOW WIND 1 |  | H_HOLLOW_WND1 | TAYLOR | WIND | WEST | 2005-06-27 | 213 | OPERATIONAL
HORSE HOLLOW WIND 2 |  | HHOLLOW2_WIND1 | TAYLOR | WIND | WEST | 2006-06-01 | 184 | OPERATIONAL
HORSE HOLLOW WIND 3 |  | HHOLLOW3_WND_1 | TAYLOR | WIND | WEST | 2006-06-01 | 223.5 | OPERATIONAL
HORSE HOLLOW WIND 4 |  | HHOLLOW4_WND1 | TAYLOR | WIND | WEST | 2006-06-01 | 115 | OPERATIONAL
INADALE WIND | 09INR0017 | INDL_INADALE1 | NOLAN | WIND | WEST | 2008-12-18 | 196.6 | OPERATIONAL
INDIAN MESA WIND FARM |  | INDNNWP_INDNNWP | PECOS COUNTY | WIND | WEST | 2001-06-01 | 82.5 | OPERATIONAL
KING MOUNTAIN NE |  | KING_NE_KINGNE | UPTON | WIND | WEST | 2001-11-08 | 79.3 | OPERATIONAL
KING MOUNTAIN NW | 00INR0025 | KING_NW_KINGNW | UPTON | WIND | WEST | 2001-09-21 | 79.3 | OPERATIONAL
KING MOUNTAIN SE |  | KING_SE_KINGSE | UPTON | WIND | WEST | 2001-12-01 | 40.3 | OPERATIONAL
KING MOUNTAIN SW |  | KING_SW_KINGSW | UPTON | WIND | WEST | 2001-08-12 | 79.3 | OPERATIONAL
KUNITZ WIND |  | KUNITZ_WIND_LGE | CULBERSON COUNTY | WIND | WEST | 1995-09-01 | 39.8 | OPERATIONAL
LANGFORD WIND POWER | 10INR0026 | LGD_LANGFORD | TOM GREEN | WIND | WEST | 2009-10-31 | 155 | OPERATIONAL
LORAINE WINDPARK I | 09INR0047 | LONEWOLF_G1 | MITCHELL | WIND | WEST | 2009-10-15 | 49.5 | OPERATIONAL
LORAINE WINDPARK II | 09INR0047 | LONEWOLF_G2 | MITCHELL | WIND | WEST | 2009-10-15 | 51 | OPERATIONAL
LORAINE WINDPARK III | 09INR0047 | LONEWOLF_G3 | MITCHELL | WIND | WEST | 2011-02-01 | 25.5 | OPERATIONAL
LORAINE WINDPARK IV | 09INR0047 | LONEWOLF_G4 | MITCHELL | WIND | WEST | 2011-02-01 | 24 | OPERATIONAL
MCADOO WIND FARM |  | MWEC_G1 | DICKENS | WIND | WEST | 2008-07-31 | 150 | OPERATIONAL
MESQUITE WIND |  | LNCRK_G83 | SHACKELFORD | WIND | WEST | 2006-11-21 | 200 | OPERATIONAL
NOTREES WIND 1 | 07INR0005 | NWF_NWF1 | WINKLER/ECTOR | WIND | WEST | 2009-04-01 | 92.6 | OPERATIONAL
NOTREES WIND 2 | 07INR0005 | NWF_NWF2 | WINKLER/ECTOR | WIND | WEST | 2009-04-01 | 60 | OPERATIONAL
OCOTILLO WIND FARM | 04INR0017 | OWF_OWF | HOWARD | WIND | WEST | 2008-11-01 | 58.8 | OPERATIONAL
PANTHER CREEK 1 |  | PC_NORTH_PANTHER1 | HOWARD | WIND | WEST | 2008-07-18 | 142.5 | OPERATIONAL
PANTHER CREEK 2 | 08INR0037 | PC_SOUTH_PANTHER2 | HOWARD | WIND | WEST | 2008-12-12 | 115.5 | OPERATIONAL
PANTHER CREEK 3 | 11INR0015 | PC_SOUTH_PANTHER3 | HOWARD | WIND | WEST | 2009-07-09 | 199.5 | OPERATIONAL
PECOS WIND (WOODWARD 1) |  | WOODWRD1_WOODWRD1 | PECOS | WIND | WEST | 2001-07-31 | 82.5 | OPERATIONAL
PECOS WIND (WOODWARD 2) |  | WOODWRD2_WOODWRD2 | PECOS | WIND | WEST | 2001-07-31 | 77.2 | OPERATIONAL
POST OAK WIND 1 |  | LNCRK2_G871 | SHACKELFORD | WIND | WEST | 2007-09-15 | 100 | OPERATIONAL
POST OAK WIND 2 |  | LNCRK2_G872 | SHACKELFORD | WIND | WEST | 2007-09-15 | 100 | OPERATIONAL
PYRON WIND FARM | 09INR0017 | PYR_PYRON1 | SCURRY AND FISHER | WIND | WEST | 2008-12-23 | 249 | OPERATIONAL
RED CANYON WIND |  | RDCANYON_RDCNY1 | BORDEN | WIND | WEST | 2006-04-15 | 84 | OPERATIONAL
ROSCOE WIND FARM |  | TKWSW1_ROSCOE | NOLAN | WIND | WEST | 2008-02-20 | 209 | OPERATIONAL
SAND BLUFF WIND FARM |  | MCDLD_SBW1 | GLASSCOCK | WIND | WEST | 2008-01-01 | 90 | OPERATIONAL
SENATE WIND PROJECT | GIR#08INR0011 | SENATEWD_UNIT1 | JACK | WIND | WEST | 2012-12-01 | 150 | OPERATIONAL
SHERBINO I WIND | 06INR0012 | KEO_KEO_SM1 | PECOS | WIND | WEST | 2008-10-15 | 150 | OPERATIONAL
SHERBINO 2 WIND | 06INR0012 | KEO_SHRBINO2 | PECOS | WIND | WEST | 2011-12-21 | 150 | OPERATIONAL
SILVER STAR WIND | 03INR0034 | FLTCK_SSI | EASTLAND | WIND | NORTH | 2008-09-26 | 60 | OPERATIONAL
SNYDER WIND FARM |  | ENAS_ENA1 | SCURRY | WIND | WEST | 2007-10-31 | 63 | OPERATIONAL
SOUTH TRENT WIND FARM | 07INR0029 | STWF_T1 | NOLAN & TAYLOR | WIND | WEST | 2008-10-29 | 101.2 | OPERATIONAL
STANTON WIND ENERGY |  | SWEC_G1 | MARTIN | WIND | WEST | 2008-01-28 | 120 | OPERATIONAL
SWEETWATER WIND 1 |  | SWEETWND_WND1 | NOLAN | WIND | WEST | 2003-11-20 | 36.6 | OPERATIONAL
SWEETWATER WIND 2 |  | SWEETWN2_WND24 | NOLAN | WIND | WEST | 2006-03-21 | 15.9 | OPERATIONAL
SWEETWATER WIND 3 |  | SWEETWN2_WND2 | NOLAN | WIND | WEST | 2004-11-22 | 97.5 | OPERATIONAL
SWEETWATER WIND 4 |  | SWEETWN3_WND3A | NOLAN | WIND | WEST | 2011-08-02 | 28.5 | OPERATIONAL
SWEETWATER WIND 4 |  | SWEETWN3_WND3B | NOLAN | WIND | WEST | 2011-08-02 | 100.5 | OPERATIONAL
SWEETWATER WIND 5 |  | SWEETWN4_WND5 | NOLAN | WIND | WEST | 2007-11-01 | 79.2 | OPERATIONAL
SWEETWATER WIND 6 |  | SWEETWN4_WND4B | NOLAN | WIND | WEST | 2007-03-21 | 103.7 | OPERATIONAL
SWEETWATER WIND 7 |  | SWEETWN4_WND4A | NOLAN | WIND | WEST | 2007-03-21 | 117.8 | OPERATIONAL
TEXAS BIG SPRING WIND |  | SGMTN_SIGNALMT | HOWARD | WIND | WEST | 1999-05-27 | 34.3 | OPERATIONAL
TRENT WIND FARM |  | TRENT_TRENT | NOLAN | WIND | WEST | 2001-07-09 | 150 | OPERATIONAL
TRINITY HILLS WIND 1 | 08INR0062 | TRINITY_TH1_BUS1 | YOUNG | WIND | NORTH | 2012-02-03 | 117.5 | OPERATIONAL
TRINITY HILLS WIND 2 | 08INR0062 | TRINITY_TH1_BUS2 | YOUNG | WIND | NORTH | 2012-02-03 | 107.5 | OPERATIONAL
TURKEY TRACK WIND ENERGY CENTER |  | TTWEC_G1 | NOLAN | WIND | WEST | 2008-11-06 | 169.5 | OPERATIONAL
WEST TEXAS WIND ENERGY |  | SW_MESA_SW_MESA | UPTON/CROCKETT COUNTIES | WIND | WEST | 1999-06-01 | 74.2 | OPERATIONAL
WHIRLWIND ENERGY |  | WEC_WECG1 | FLOYD | WIND | NORTH | 2007-11-09 | 57 | OPERATIONAL
WHITETAIL WIND ENERGY PROJECT | 11INR0091 | EXGNWTL_WIND_1 | WEBB AND DUVAL | WIND | SOUTH | 2012-12-21 | 90 | OPERATIONAL
WKN MOZART WIND | 09INR0061 | MOZART_WIND_1 | KENT & STONEWALL COUNTY | WIND | WEST | 2012-12-21 | 30 | OPERATIONAL
WOLFE RIDGE WIND |  | WHTTAIL_WR1 | COOKE | WIND | NORTH | 2008-10-02 | 112.5 | OPERATIONAL
TSTC WEST TEXAS WIND |  | DG_ROSC2_1UNIT | NOLAN | WIND | WEST | 2008-01-01 | 2 | NON-MODEL
GULF WIND I | 05INR0015a | TGW_T1 | KENEDY | WIND | SOUTH | 2010-03-19 | 141.6 | OPERATIONAL
GULF WIND II | 05INR0015a | TGW_T2 | KENEDY | WIND | SOUTH | 2010-03-19 | 141.6 | OPERATIONAL
LOS VIENTOS WIND I | 11INR0033 | LV1_LV1A | WILLACY/CAMERON | WIND | SOUTH | 2013-08-30 | 200.1 | OPERATIONAL
LOS VIENTOS WIND II | 11INR0033 | LV1_LV1B | WILLACY/CAMERON | WIND | SOUTH | 2013-09-13 | 201.6 | OPERATIONAL
MAGIC VALLEY WIND | 10INR0060 | REDFISH_MV1A | WILLACY | WIND | SOUTH | 2012-09-18 | 103 | OPERATIONAL
MAGIC VALLEY WIND | 10INR0060 | REDFISH_MV1B | WILLACY | WIND | SOUTH | 2012-09-18 | 103 | OPERATIONAL
PAPALOTE CREEK WIND FARM | 08INR0012 | PAP1_PAP1 | SAN PATRICIO | WIND | SOUTH | 2009-09-04 | 179.9 | OPERATIONAL
PAPALOTE CREEK WIND FARM II | 08INR0012b | COTTON_PAP2 | SAN PATRICIO | WIND | SOUTH | 2010-06-01 | 200.1 | OPERATIONAL
PENASCAL WIND 1 |  | PENA_UNIT1 | KENEDY | WIND | SOUTH | 2009-04-22 | 160.8 | OPERATIONAL
PENASCAL WIND 2 |  | PENA_UNIT2 | KENEDY | WIND | SOUTH | 2009-04-22 | 141.6 | OPERATIONAL
PENASCAL WIND 3 |  | PENA3_UNIT3 | KENEDY | WIND | SOUTH | 2011-08-02 | 100.8 | OPERATIONAL
HARBOR WIND |  | DG_NUECE_6UNITS | NUECES | WIND | SOUTH | 2012-02-17 | 9 | NON-MODEL
TOTAL EXISTING WIND RESOURCES | [6 empty] | 11065.9
RMR CAPACITY UNDER CONTRACT |  | RMR_CAP_CONT |  | GAS |  |  | -0.001
CAPACITY CONTRIBUTION OF NON-SYNCHRONOUS TIES |  | DCTIE_CAP_CONT |  | OTHER |  |  | 643.3
KIAMICHI ENERGY FACILITY 1CT101 |  | KMCHI_1CT101 | PITTSBURG | GAS | NORTH | 2003-04-01 | 178 | SWITCHABLE
KIAMICHI ENERGY FACILITY 1CT201 |  | KMCHI_1CT201 | PITTSBURG | GAS | NORTH | 2003-04-01 | 180 | SWITCHABLE
KIAMICHI ENERGY FACILITY 1ST |  | KMCHI_1ST | PITTSBURG | GAS | NORTH | 2003-04-01 | 307 | SWITCHABLE
KIAMICHI ENERGY FACILITY 2CT101 |  | KMCHI_2CT101 | PITTSBURG | GAS | NORTH | 2003-04-01 | 178 | SWITCHABLE
KIAMICHI ENERGY FACILITY 2CT201 |  | KMCHI_2CT201 | PITTSBURG | GAS | NORTH | 2003-04-01 | 180 | SWITCHABLE
KIAMICHI ENERGY FACILITY 2ST |  | KMCHI_2ST | PITTSBURG | GAS | NORTH | 2003-04-01 | 307 | SWITCHABLE
TENASKA-FRONTIER CTG 1 |  | FTR_FTR_G1 | GRIMES | GAS | HOUSTON | 2000-09-17 | 180 | SWITCHABLE
TENASKA-FRONTIER CTG 2 |  | FTR_FTR_G2 | GRIMES | GAS | HOUSTON | 2000-09-17 | 180 | SWITCHABLE
TENASKA-FRONTIER CTG 3 |  | FTR_FTR_G3 | GRIMES | GAS | HOUSTON | 2000-09-17 | 180 | SWITCHABLE
TENASKA-FRONTIER STG 4 |  | FTR_FTR_G4 | GRIMES | GAS | HOUSTON | 2000-09-17 | 400 | SWITCHABLE
TENASKA-GATEWAY CTG 1 |  | TGCCS_CT1 | RUSK | GAS | NORTH | 2001-07-21 | 162 | SWITCHABLE
TENASKA-GATEWAY CTG 2 |  | TGCCS_CT2 | RUSK | GAS | NORTH | 2001-07-21 | 179 | SWITCHABLE
TENASKA-GATEWAY CTG 3 |  | TGCCS_CT3 | RUSK | GAS | NORTH | 2001-07-21 | 178 | SWITCHABLE
TENASKA-GATEWAY STG 4 |  | TGCCS_UNIT4 | RUSK | GAS | NORTH | 2001-07-21 | 389 | SWITCHABLE
TOTAL SWITCHABLE RESOURCES | [6 empty] | 3178
SWITCHABLE CAPACITY NOT AVAILABLE |  | SWITCH_UNAVAIL |  | GAS |  |  | 330
FERGUSON REPLACEMENT CTG1 | 13INR0021 | FERGCC_FERGGT1 | LLANO | GAS | SOUTH | 2014-06-30 | 175.9 | PLANNED
FERGUSON REPLACEMENT CTG2 | 13INR0021 | FERGCC_FERGGT2 | LLANO | GAS | SOUTH | 2014-06-30 | 175.9 | PLANNED
FERGUSON REPLACEMENT STG | 13INR0021 | FERGCC_FERGST1 | LLANO | GAS | SOUTH | 2014-06-30 | 196.9 | PLANNED
DEER PARK ENERGY CENTER | 14INR0015 |  | HARRIS | GAS | HOUSTON | 2014-07-01 | 190 | PLANNED
PANDA SHERMAN CTG1 | 10INR0021 | PANDA_S_SHER1CT1 | GRAYSON | GAS | NORTH | 2014-08-01 | 202 | PLANNED
PANDA SHERMAN CTG2 | 10INR0021 | PANDA_S_SHER1CT2 | GRAYSON | GAS | NORTH | 2014-08-01 | 202 | PLANNED
PANDA SHERMAN STG | 10INR0021 | PANDA_S_SHER1ST1 | GRAYSON | GAS | NORTH | 2014-08-01 | 336 | PLANNED
PANDA TEMPLE CTG1 | 10INR0020a | PANDA_T1_TMPL1CT1 | BELL | GAS | NORTH | 2014-08-01 | 218.5 | PLANNED
PANDA TEMPLE CTG2 | 10INR0020a | PANDA_T1_TMPL1CT2 | BELL | GAS | NORTH | 2014-08-01 | 218.5 | PLANNED
PANDA TEMPLE STG | 10INR0020a | PANDA_T1_TMPL1ST1 | BELL | GAS | NORTH | 2014-08-01 | 353.1 | PLANNED
RENTECH PROJECT | 13INR0040 |  | HARRIS | GAS | HOUSTON | 2014-08-01 | 15 | PLANNED
FORNEY POWER UPGRADE GT11-13 | 14INR0059-A |  | KAUFMAN | GAS | NORTH | 2014-08-01 | 17 | PLANNED
WHITE CAMP SOLAR | 11INR0094 | WCSOLAR1_100PV | KENT | SOLAR | WEST | 2014-04-30 | 100 | PLANNED
BRACKETVILLE SOLAR - OCI ALAMO 4 | 14INR0024 | ECLIPSE_UNIT1 | KINNEY | SOLAR | SOUTH | 2014-08-15 | 37.6 | PLANNED
TOTAL NEW NON-WIND RESOURCES | [6 empty] | 2438.4
SPINNING SPUR WIND TWO | 13INR0048 | SSPURTWO_WIND_1 | OLDHAM | WIND | WEST | 2014-06-01 | 161 | PLANNED
GOLDTHWAITE WIND 1 | 11INR0013 |  | MILLS | WIND | NORTH | 2014-03-31 | 149 | PLANNED
PANHANDLE WIND 1 U1 | 14INR0030a_2 | PH1_UNIT1 | CARSON | WIND | WEST | 2014-07-30 | 109.2 | PLANNED
PANHANDLE WIND 1 U2 | 14INR0030a_2 | PH1_UNIT2 | CARSON | WIND | WEST | 2014-07-30 | 109.2 | PLANNED
MIAMI WIND 1a G1 | 14INR0012a | MIAM1_G1 | GRAY, WHEELER, ROBERTS, AND HEMPHILL | WIND | NORTH | 2014-07-31 | 144.3 | PLANNED
MIAMI WIND 1a G2 | 14INR0012a | MIAM1_G2 | GRAY, WHEELER, ROBERTS, AND HEMPHILL | WIND | NORTH | 2014-07-31 | 144.3 | PLANNED
MOORE WIND 1 | 11INR0050 |  | CROSBY | WIND | WEST | 2015-06-01 | 149 | PLANNED
STEPHENS RANCH WIND a | 12INR0034a |  | BORDEN | WIND | WEST | 2014-10-05 | 201 | PLANNED
MARIAH WIND a | 13INR0010a |  | PARMER | WIND | PANHANDLE | 2014-10-30 | 232 | PLANNED
TOTAL NEW WIND RESOURCES | [6 empty] | 1399

## Background
Seasonal Assessment of Resource Adequacy for the ERCOT Region
Background
The Seasonal Assessment of Resource Adequacy (SARA) report is a deterministic approach to considering the impact of potential variables that may affect the sufficiency of installed resources to meet the peak electrical demand on the ERCOT System during a particular season.
The standard approach to assessing resource adequacy for one or more years into the future is to account for projected load and resources on a normalized basis and to require sufficient reserves (resources in excess of peak demand, on this normalized basis) to cover the uncertainty in peak demand and resource availability to meet a one-in-ten-years loss-of-load event criteria on a probabilistic basis.
For seasonal assessments that look ahead less than a year, specific information may be available (such as seasonal climate forecasts or anticipated common-mode events such as drought) which can be used to consider the range of resource adequacy in a more deterministic manner.
The SARA report is intended to illustrate the range of resource adequacy outcomes that might occur, and thus help fulfill the reporting requirement per Public Utility Commission of Texas rule 25.362(i)(2)(H). Several sensitivity analyses are developed by varying the value of certain parameters that affect resource adequacy. The variation in these parameters is either based on historic values of these parameters, adjusted by any known or expected change.