[image: image65.png]




[image: image66.png]‘SERIES DEVICE DATA

2hr
DESCRIPTION OF Ercot Station Code Continuous | Emergency

CHANGE Series Device Name | Mnemonic D Code Voltage Level Resistance Reactance Rating Rating | 15-min Rating |

st enter all caps enter all caps Automatic kv p.u. p.u. MVA MVA MVA_[en

‘ADD N1 [TesT [TeST TesT (N 1 69.00 0.00480 0.02510 167.00 185.00 18500 |DS!

ADD N 2 [TesT [TEsT TesT (N 2 6.00 0.00110 0.00540 167.00 185.00 18500 |Ds!





Resource Asset Registration Guide
v5.2 12/11/2013
Revision History
	Date
	Version
	Description
	Author

	10/10/2007
	0.03
	Draft for Internal Review
	D. Showalter

	10/10/2007
	0.04
	Second draft for Internal Review
	D. Showalter

	10/10/2007
	0.05
	Draft for Posting
	D. Showalter

	10/11/2007
	0.06
	Revised Draft for Posting
	D. Showalter

	10/16/2007
	0.07
	Revised with Market Comments
	D. Showalter

	12/13/2007
	0.08
	Revised for Planning Submittal
	D. Showalter

	4/01/2008
	3.99
	Draft –Reorganized and reformatted for RARF Ver 4
	D. Showalter

	4/08/2008
	4.00
	Released with RARF Ver 4 (Official RARF)
	D. Showalter

	12/16/08
	4.01
	Updated RARF Guide V4.01
	A. Moy

	2/4/2009
	4.02
	Updated and re-wrote transmission and load data tabs
	S. Middleton

	3/10/2009
	4.03
	Corrected / Modified business rules for transformer tab
	S. Middleton

	6/5/2009
	4.04
	Added Business Rules for Planning / Protection
	S. Middleton

	6/10/2009
	4.05
	Added Business Rules for Planning / Protection
	P. Nellutla

	6/23/2009
	4.06
	Added Business Rules for Planning / Protection
	P. Nellutla

	07/06/09
	4.07
	Updated Business Rules for Planning, Line Data, Transformer  tab and updated the definition of unit  commercial date in section 4, Date effective field is included in section 12-18
	P. Nellutla

	07/24/09
	4.08
	Updated Business Rules for Line Data, Transformer, Breaker/Switch, Series Device, Load Data, Capacitor Reactor, Static Var Compensator, Planning, Protection. Updated Section 7.4
	P. Nellutla

	09/01/09
	4.09
	Updated Section 7.3 and updated Business Rules for Transformer/Line/Breaker-Switch/Series Device Data/Capacitor or Reactor/Load Data.

	P. Nellutla

	11/2/2009
	4.10
	Updated Business Rules for Capacitor/Reactor and Transformer tabs.
	P. Nellutla

	11/18/2009
	4.11
	Updated section 6.5 with Business Rules for Operational Parameters-GEN, CC, and Wind. Updated Business Rules for Capacitor- Reactor Tab
	P. Nellutla

	2/8/2010
	4.12
	Updated Business Rules for Operational/Transmission tabs 
	P. Nellutla

	12/10/10
	4.13
	Added Protocol Disclaimer
	A. Deller

	6/16/2011
	4.14
	Removed TML and added MIS link
	G.Schroeder

	10/26/11
	5.00
	Updated Guide for RARF v5.0
	A. Deller

	12/08/11
	5.00
	Updated Guide for RARF v5.0
	A. Moy

	3/20/12
	5.00
	Updated Guide for RARF v5.0
	A. Moy

	06/18/2012
	5.1
	Updated Guide for RARF v5.1
	G. Schroeder

	12/09/2013
	5.2
	Updated Guide for RARF v5.2 Wind Form for NPRR425
	G. Schroeder


Table of Contents
61.0
Summary of Resource Registration Guide


82.0
Summary of Resource Asset Registration Forms


82.1
Tabs


102.2
Glossary


113.0
Instructions


113.1
Process for Official Submittal


123.2
Process for Embedding documents in the RARF


134.0
General Information and ESIID Information RARF Workbook


134.1
Instructions


134.2
General and Site Information


144.3
Generation Load Split Information


154.4
Private Network - Site


165.0
Generation


165.1
Instructions


165.2
Unit Info - GEN


165.3
Unit Info – AGR


175.4
Ownership - GEN


175.5
Parameters - GEN


175.6
Operational Parameters - GEN


175.7
Operational Parameters - NRRC


185.8
Operational Parameters - ERRC


185.9
Private Network - Unit


185.10
Reactive Capability - GEN


195.11
Planning - GEN


195.12
Protection - GEN


195.13
Subsync - GEN


205.14
Stability Study Model


205.15
PSCAD Model


205.16
Dynamic Data


206.0
Combined Cycle RARF Workbook


206.1
Instructions


206.2
Unit Info - TRAIN


216.3
Unit Info - CC


216.4
Ownership - CC


216.5
Parameters - CC


226.6
CC Configuration


226.7
CC Transitions


236.8
Parameters - CFG


236.9
Operational Parameters - CFG


246.10
Operational Parameters - NRRC


246.11
Operational Parameters - ERRC


246.12
Private Network - Unit


256.13
Reactive Capability - CC


256.14
Planning - CC


256.15
Protection - CC


266.16
Subsync - CC


266.17
Stability Study Model


266.18
PSCAD Model


266.19
Dynamic Data


267.0
Wind RARF Workbook


267.1
Instructions


267.2
Unit Info - WIND


277.3
 Turbine Details


277.4
Ownership - WIND


277.5
Parameters - WIND


287.6
Operational Parameters - WIND


287.7
Operational Parameters - NRRC


287.8
Operational Parameters - ERRC


297.9
Private Network - Unit


297.10
Reactive Capability - WIND


307.11
Planning - WIND


307.12
Protection - WIND


307.13
Collector System - WIND


317.14
Collector System – WIND Segment data


317.15
Stability Study Model


317.16
PSCAD Model


317.17
Dynamic Data


328.0
LaaR RARF Workbook


328.1
Instructions


328.2
General Information - ALL


328.3
Load Resource Information


338.4
Load Resource Parameters


338.5
One Line


339.0
Transmission RARF Workbook


339.1
Instructions


339.2
Line Data


349.3
Line Temperature


349.4
Breaker Switch Data


349.5
Capacitor and Reactor Data


359.6
Transformer Data


359.7
Transformer Tap settings


359.8
Static Var Compensator Data


369.9
Series Device Data


369.10
Load Data


379.11
PUN Load Data


379.12
One Line


379.13
Transformer Test Data


3810.0
Non Modeled


3810.1
Instructions


3810.2
Unit Info – DG




PROTOCOL DISCLAIMER
This Guide describes ERCOT processes and is not intended to be a substitute for the ERCOT Nodal Protocols (available at http://www.ercot.com/mktrules/nprotocols/ ), as amended from time to time. If any conflict exists between this document and the ERCOT Nodal Protocols, the ERCOT Nodal Protocols shall control in all respects.
1.0 Summary of Resource Registration Guide
This document is a guide to completing Resource Asset Registration Form (RARF) with ERCOT in accordance with Section 16 of the ERCOT Nodal Protocols.  Upon obtaining the forms from Resource Entities, ERCOT will keep the RARFs in a central repository hub so the files can be tracked and easily accessed by all ERCOT systems, as well as communicated back to the Resource Entity through audits (Figure 1 below illustrates the process flow of receiving and loading RARF data). 
Data from the RARF package is used to provide input to the Network Model used by Operations in dispatch of Resources.  RARF data also feeds the Planning group to support system studies.  Data also flows to the Registration systems as well as the Settlement and Aggregation systems to ensure proper settlement of Resource dispatches and operation.
[image: image1.png]



Figure 1

2.0 Summary of Resource Asset Registration Forms
2.1 Tabs
The RARF is a collection of workbooks that focus on specific Resource types. The goal is to get this as close to web-interface entry as possible. There are 7 major workbooks, as follows:
· General Site ESIID Information

· Generation
· Combined Cycle
· Wind
· LaaR
· Transmission
· Non Modeled Gen Form Pivoted
Each of the workbooks has multiple tabs for organizing and collecting data as follows:
· General Site ESIID Information
· Instructions

· General and Site Information

· GEN Load Split – ESIID

· Private Network - Site
· Generation
· Instructions
· Unit Info – GEN
· Unit Info - AGR

· Ownership – GEN
· Parameters – GEN
· Operational Parameters – Gen
· Operational Parameters – NRRC
· Operational Parameters – ERRC
· Private Network – Unit
· Reactive Capability – GEN
· Planning – GEN
· Protection – GEN
· SubSync – GEN
· Stability Study Model
· PSCAD Model
· Dynamic Data
· Wind
· Instructions
· Unit Info – WIND
· Turbine DetailsOwnership – WIND
· Parameters – WIND
· Operational Parameters – WIND
· Operational Parameters – NRRC
· Operational Parameters – ERRC
· Private Network - Unit
· Reactive Capability – WIND
· Planning – WIND
· Protection – WIND
· Collector System - WIND
· Collector System – Wind Segment Data
· Stability Study Model
· PSCAD Model
· Dynamic Data

· Combined Cycle
· Instructions
· Unit Info – TRAIN
· Unit Info - CC
· Ownership – CC
· Parameters – CC
· CC Configurations
· CC Transitions
· Parameters – CFG
· Operational Parameters – CFG
· Operational Parameters – NRRC
· Operational Parameters – ERRC
· Private Network - Unit
· Reactive Capability – CC
· Planning – CC
· Protection – C
· Subsync - CC
· Stability Study Model
· PSCAD Model
· Dynamic Data
· LaaR
· RARF Form
· General Information – LAAR
· Load Resource Information
· Load resource Parameters
· CLR-NRRC

· CLR-ERRC

· Transmission
· Instructions
· Line Data
· Line Temperature
· Breaker Switch Data
· Capacitor and Reactor Data
· Transformer Data
· Transformer Tap Settings

· Static Var Compensator Data
· Series Device Data
· Load Data
· PUN Load
· One Line
· Transformer Test Data

· Non Modeled
· Instructions

· Unit Info - DG
2.2 Glossary
A glossary has been created and is included at the end of this document. The glossary is the source for the definition of each field requested in the RARF.
[image: image2.png]162 Reactive Capability
163_Reactive Capabilty | GEN, CC, WIND [T ] [Reactive Capabiliy curve - poin on curve of MV output for this urit, W1
164| _Reactive Capability VAR |Laguing MVAR imit associated with M1 output Unit's Lagging reactive power output capabiliy assosiated with its M1 out
VAR |Leading MVAR limit associated with M output Units Leading reactive power output capabilly associated with its M1 out
Reactive Capabiliy
165 negative nurber
165 Reactive Capabiliy WA [z e ctive Capabilly cuve - point on curve of MY OUTpUEfor this Uni, W2
167|_Reactive Capabiliy WVAR | Lagoing WVAR il a550ciated wilh W2 output Units Lagging reactive power output capabilty associated with_its M2 out
VAR |Leading MVAR limit associated with M2 output Units Leading reactive power output capabilly associated with its M2 out
Reactive Capabiliy
168 negative nurber
193] _Reactive Capabilly WA [ [Rective Capabilly cuve - point o curve of MY OUTpULfor his Uni, W3
170 _Reactive Capabiliy WVAR | Lagoing WVAR i a5s0ciated wilh W3 output Units Lagging reactive power output capabilty associated with_its M3 out
VAR |Leading MVAR limit associated with M3 output Units Leading reactive power output capabilly associated with its M3 out
Reactive Capabiliy
171 negative nurber
172|_Reactive Capabiliy DT [} [FReactive Capabilly cUve - point on curve of MY OUTpULfor his Uni, W4
173]_Reactive Capabiliy WVAR | Laguing WVAR i 5s0ciated wilh MW output Units Lagging reactive power output capabilty associated with its M out
VAR |Leading MVAR limit associated with M4 output Units Leading reactive power output capabilly associated with its MV out
Reactive Capabiliy
174 negative nurber
175|_Reactive Capabilly WA [MVS - Unity Power Factor From the Reactive Capabilly curve - the MW outout at Unity Power Factor G
Reactve Capabilly GEN, CC ST |Ifyarogen cooled, indicate fiyarogen pressure (ns) associated |From manufacturer Reactive Capability Curve or data sheet
178 P Jwith your Reactive Curve submitted for ERCOT studies
GEN, CC, WIND MVAR |Net Maxmum Leading Operating Capabilty (WVAR) Enter the maximurm (agoing MVARS that can be produced. Obtained from m
Reactive Capabiliy
177 Capabilty Curve or data sheet, input as negative nurnber
178]_Reactive Capabilly WVAR___|Net Maximurn Lagging Operafing Capabiliy (MVAR) From manufacturer Reactive Capability Curve or data sheet
173]_Reactive Capabiliy YIN___[Manufacturer’s Capabiliy Curve submitied? Has a recent cuve heen subrmitted to ERCOT? fnof, please submit
180 Reactive Capability WIND YN |Reactive Standard? Does the Wind unit meet the reactive standard?





3.0 Instructions
A RARF package should be submitted for each generation resource site that contains data for all generation at the site. A separate RARF should also be submitted for each Resource Entity covering all load resources represented by that entity. A RARF is to be completed for all active and mothballed generation resources inside ERCOT. Organizations must submit a market participant application as a Resource Entity prior to submission of this form, if not eligible for Federal Hydro waiver (Section 16.5). If questions arise related to the completion of this form, please contact your designated ERCOT Account Manager or email Model Administration at resourcereg@ercot.com  with the subject "Resource/Asset Registration Form".
Please bear in mind the following for the completion of this form:
· A single, complete Generation RARF package, consisting of (General Site ESIID Information, Generation, Combined Cycle, Wind and Non Modeled) plus one form for Transmission assets, must be submitted for each resource site. The General Site ESIID Information form will accommodate the General Information tab, Site Load Split ESIID Infor tab and Private Network Site tab for Resources located at a common site.  In each form on the second tab in cell B5 is a cell that references the Site Code, this MUST be completed on all 5 of the (Gen, CC, Wind, Non Modeled and Transmission) forms.
· A single RARF must be submitted for each load resources represented by a common Resource Entity. 
3.1 Process for Official Submittal
Each submittal must have all four workbooks, the Resource workbooks (General Site ESIID Information, Generation, Combined Cycle, Wind, Non Modeled ) and the Transmission workbook. Even if the submission is to alter a generator parameter, the General Site ESIID Information, Combined Cycle, Wind Non Modeled and Transmission book must be included. The LAAR will have a single workbook.
There are two methods of submitting the RARF, as follows:
PRIMARY:  RARFs are to be submitted through the Market Information System (MIS) located at https://mis.ercot.com. Submission through the MIS link requires a valid Authorized Representative’s digital certificate.
ALTERNATE:  An alternate email signature document is available upon request from your ERCOT Account Manager for those who have technical problems submitting via MIS. The RARF must be emailed in Microsoft Excel spreadsheet (xls) format, along with the signature document to: resourcereg@ercot.com mpappl@ercot.com and  . (Please allow at least 2 additional days for processing)
The following are instructions for submitting the RARF through MIS:
· Access to ERCOT MIS requires a user digital certificate with a minimal role of “MP_ASSESTS’ this allows access to "Create Service Request" on the "Applications" page.  The "user digital certificate" is authorized by the Market Participant's User Security Administrator.
· Upon accessing MIS, click on "Applications" then select "Service Request".  Be advised that the Service Request will display in a new window as a pop-up, which may be restricted by browser settings.
· Complete the required fields on the "Service Request" screen annotated by red asterisks.  
· The following Request Type and Sub-Type are essential to a proper submittal:
· Request Type:  Select "MP Registration" from the drop-down list
· Request Sub-Type:  Select "Resource/Asset Registration" from the drop-down list
· Short Description: Brief description of change and Sitecode.
· Long Description: List of changes that are being made to the RARF. 
Example:  Parameters, Operational Parameters, Reactive Capabilities, Breaker Switch, etc.
· Click "Submit"  (you will add the RARF file on the next screen)
· From the "Activities and Attachments" screen, under the Attachments heading of the Service Request click the ‘Add’ button. Please make sure that your Attachment is a .ZIP file and all RARF forms that are included are in .XLS format.  
· Click "Submit"  (you will add the RARF Zip file on the next screen)
· Click "Submit"  (comments are optional)
ERCOT will verify the RARF is sent from the Authorized Representative of the registered Resource Entity via digital certificate.  ERCOT may request additional authentication as deemed necessary.
3.2 Process for Embedding documents in the RARF
1. While on the tab needing to embed a document within, click on INSERT, then click on OBJECT

2. From the popup screen click on Adobe Acrobat Document in the list and also check the ‘display as icon’ button, then OK.
[image: image3.png]oot | Gt ranre |

Object type:

dobe Acobat POFRIL Document

dobe Acrcat Secunty Settings Documert

inep Insge

eda clp

Merooft Equston 3.0

Mctosft Gragh Chat )

icrosoft Office PowerPeint 57-2003 Presentation x| W By asicen
st

Inserts a new Adabe Actobat Document

EB objsct into your document s an icon.

|





3. A new popup screen will appear to select the file you want to embed, and then click the ‘Open’ button.

[image: image4.png]Open 21|

Lookin |55 Oneines Ao eE

Resource Entiy Oneines

Flegare  [oreLne_doing 5 =
L —

T~ Open as read-only

Y





NOTE: the one-line pdf file will Open into a new screen. Just close it down and the file will be embedded in the One Line tab.

4.0 General Information and ESIID Information RARF Workbook
4.1 Instructions
Detailed instructions for the RARF submittal process through the Market Information System (MIS) are contained in section 3.1 of this document.
4.2 General and Site Information

The General and Site Information tab identifies information about the Resource Entity. The contact information is essential, as it provides ERCOT with additional contacts in case of questions regarding the RARF. The Resource Entity Name does not allow any special characters except spaces and dashes. The Data Universal Numbering System (DUNS) number is a nine digit identifier, some companies are give additional digits by or 13 digits by ERCOT to uniquely identify their entity. The Resource site name and site code are unique for each site and the code is jointly coordinated with ERCOT.
[image: image5.png]ERCOT Confidential

General Information - All Resource Entities,
This workenest s contains information on the Resourcs Enity responsisle forsuomicting this form.
Please complecethis section

This submittal s for

~Oc/etionscre accepiea as ntentions Tnisform Gossnot supersese the otice o Suspension of Operotions recuremenis.

Submittal Information
Dste Form Completed:
Resource EntitySubmiting Form:

esource Enity DUNS %

Site Information
Resource Site Name: ]
Resource St Code:
Strset Adaress:
ciry:
State
Zpcode
County
Site in-Servics Dte
Site Stop Senvice Date:
Congestion Managemen Zone or 2003
Resource ownad by NOIE?
1= Rzource benind s NOIE Settiamant Mstar Paint?
Number of 75 Primary meters:
1s Resource caiming status 3  Nor-Modeled
Gensrator a2 dsfined in ERCOT Protocol Section2,
Resource?

< Rezource 10T i

PrimaryContactname ofperzon ERCOT can contact vt questions egardingthisform)
Printea ame:

Tioe:

Phons Number
Emai Agrese
e
7T —
Secondry Contactf vailble]

Printea ame:

Tioe:

Phons Number

Emai Agrese

e





4.3 Generation Load Split Information
This section must be completed for the Electric Service Identifier assigned to a service delivery point. Or to note if the facility has or does not have a Gen Site Load split among multiple competitive retailers or among multiple TDSPs or has multiple Electric Service Identifiers.
With Split Load Resources

[image: image6.png]ERCOT Conjidential

Encor conient

GENERATION SITE LOAD SPLITTING DETAILS
Complete this section for ESI ID information and Gen Site Load Details

‘GENERATION SITE LOAD DETAILS

. ]

‘Generation | ERCOT Read Load Serving
Load spiit? | _Meter? ESIID: TDSP Providing Service To Resource: | TDSP DUNS Number: | Fixed Load splitting Load Serving Entity. Entity DUNS #
YN YN List Automatic List Automatic
111111111999 [Tose one 123456789 05 L5 one 999999993|
Miii11111888 [rospTwo. 123456788 0.5 lseTwo 999999990





Without Split Load Resources

[image: image7.png]= £ = = o
|ERCOT Conjidential

£l
GENERATION SITE LOAD SPLITTING DETAILS
Complete this section for ESI ID information and Gen Site Load Details

‘GENERATION SITE LOAD DETAILS
‘Generation | ERCOT Read T | T Load serving
Load Spit? | _ Meter? ESIID: TDSP Providing Service To Resource: | TDSP DUNS Number: | _Fixed Load Spiitting Load Serving Entity. Entity DUNS #
YN YN st ‘Automatic st Automatic
N N Tii1111111009 123456789 1





4.4 Private Network - Site
The Private Network Site tab identifies whether the site is part of a private use network (PUN) which typically contains load that is not directly metered by ERCOT. If the site is part of a PUN then the data is required for the site Load characteristics for the MW load and the MVAR load percentages. If the site is not part of a PUN, then no other data need be filled out on this tab and additional fields are blacked out. 

With Private Network Site Info

[image: image8.png]SITE DETAILS PRIVATE NETWORK - SITE INFORMATION Load Characteristics Fe
Expected Typical
Average Amount | Average Amount | Expected Typical | Private Network | Private Network | Private Network | Large Motor, small Motor, | Resistive (hea
Private [Of Self-serve Private Of Self-serve Private| Private Network | NetReactive GrossUnit | Gross Unit Reactive| PercentOf Total | PercentOfTotal | Load, Percent
Network? Load Reactiveload | Netinterchange | _Interchange Capability Capability MW Load MW Load Total MW Lo
YN MW MVAR MW MVAR MW MVAR % % %
v 50.00 10.00 75.00 40,00 90.00 42.00 75.00% 20.00% 200%





Without Private Network Site Info

[image: image9.png]= = = = = = — . L = = = L e M =
[Ercor Conpaenid

private Netuor- fite Information
s worksheet ta applis o ail Private Use Networks.
[ Must compiete aifcets i his section fthis i Private Network Sice.

SITE DETAILS ERIVATE NETVORK - SITE INFORMATION Toad Charssteriztios For MV Load s For MVAR Load
erage | Espected T Expected Fesistive Tischarge:
Average | AmountOF | Typical | Tepical Private | Large | Small | (heating) | Disoharge Lighting, | Other,
Amount OF | Self.serve | Private | Private | Private | Nework | Motor. | Motor, | Load | Lighting, | Other, [PercentOF | Percent Of | Percent Of | Percent oF
Self-serve | Private | Network | Network | Network | Gross Unit | Percent OF | Percent OF | Percent 0f | Peroent OF | PercentOf [ Total | Total | Total | Total
Private | Private | Reactive |  Net Net | GrossUnit | Reastive | Total | Totsl | ToaMV | Total |TotaiMv [ MYAR | MVAR | Mvan | mvaR
Network? | Load Load _|interchange | Reactive | Capability | Capabiity | M Load | MVLoad | Load | MVioad | Load Load Load Load Load
i (T T {3 T (T v

—




5.0 Generation
5.1 Instructions
Detailed instructions for the RARF submittal process through the Market Information System (MIS) are contained in section 3.1 of this document.
5.2 Unit Info - GEN

This section must be completed for each unit that is part of the generation resource site. It includes the Generator details, site and unit dates, point of interconnection information, fuel information, ratings and design information and geographic location data. (Fields include: Non Modeled, Transmission POI date, SGIA date, Model Ready date, POI substation, POI voltage, POI bus number, Primary fuel, Secondary fuel, Resource category, Physical unit type, Governor droop, Governor dead-band, Design Max ambient temp, Design Min ambient temp, Latitude of plant & Longitude of plant) Cell B5 (Resource Site Code) must be completed on all forms.
[image: image10.png]= o
|ERCOT Conj Edzn tial

= ial
Unit Information
This worksheet tab provides generator Unit ihformation for Generation resources.
Must complete all applicable cells in this sectfon.
Resource Site Code: |
‘GENERATOR DETAILS
. < - -
Resource Name Non_Modeled | PUCRegistration | ERCOT Interconnection Project Qualifying | Transmission Only | Standard Generation Int
UNIT NAME (Unit Code/Mnemonic) | _Generator Number Number - Only New Units. NERC Number Facility Date (POI) Agreement (SGIA) Sigr
‘Al caps ‘Automatic YN YN ‘mm/da/yyyy ‘mm/dd/yyy






5.3 Unit Info – AGR
This section must be completed for each unit that is part of the generation with an Aggregated Unit . It includes the Resource Name Unit Code/Mnemonic, Aggregated Generation Resource Manufacturer Model, MW Rating for this Aggregated Generation Resource and Number of this type of Aggregated Generation Resource
[image: image11.png]Eal = ~
ERCOT Confidential

Aggregated Generation Resourcd Information

This worksheet tab provides Aggregated Generation Resources information for generation resources.
Must complete all applicable cells jn this section.

| AGR DETAILS
MW Rating for this Number of this type of
Femmre s Aggregated Generation Aggregated Generation | Aggregated Generation
(Unit Code/Mnemonic) Resource(Manufacturer/Model) Resource Resource
Automatic. all caps MW #





5.4 Ownership - GEN
The Ownership tab must be completed for each unit that is part of the generation resource site. It includes the Generator details, ownership information and percentages. (Fields include: Unit Name, Resource Name, Ownership start date & Ownership stop date)
[image: image12.png]=
'ERCDT Canﬁde;_ ial

Representation of Facility Output

This worksheet tab applies to all Genera

Must complete all applicable cells in this

ection.

ion Resources. This tab identifies the Resource Entities that represent the output of the facility to ERCOT.

GENERATOR DETAILS

'OWNERSHIP PERCENTAGES'

Resource Name

Fixed Master | Ownership
Unit Name | (Unit Code/Mnemonic) | Joint Ownership? Resource Entity Name Resource Duns Number | Ownership | Owner | Start Date
List List Y/N 9-13 digits. Y/N mm/dd/yyyy





5.5 Parameters - GEN
The Parameters tab must be completed for each unit that is part of the generation resource site. It includes the Generator details, reasonability limits, seasonal ratings and unit de-rating values for temperature changes. (Fields include: Unit Name, Resource Name & Unit De-rating values)
[image: image13.png]'GENERATOR DETAILS

REASONABILITY LIMITS

SEASONAL RATINGS - SPRING

High low [seasonalNetMax| SeasonalNet | SeasonalNet | SeasonalNet

ResourceName | High Reasonability | Low Reasonability | Reasonability | Reasonability | Sustainable |Min Sustainable | Max Emergency | Min Emergency

UNITNAME | (Unit Code/Mnemonic) Limit Limit Ramp Rate Limit | Ramp Rate Limit| Rating -Spring | Rating - Spring | Rating - Spring | Rating - Spring
st Automatic MW MW MW/min MW/min MW MW MW MW

UNTA [TesT_uniTa 10000 2000) 5.00] 100 75.00) 50.00) 10000 2000





5.6 Operational Parameters - GEN
The Operational Parameters tab must be completed for each unit that is part of the generation resource site. It includes the Generator details and the resource parameters including minimum on-line and off-line times, hot, cold, intermediate, hot to intermediate and intermediate to cold start times and daily and weekly start data.

[image: image14.png]_GENERATOR DETAILS 1

RESOURCE PARAMETERS

Resource Name um Off Line Intermediate | Cold Start | MaxWeekly | MaxOnline | MaxDaily | MaxWeekly
UnitName _| (Unit Code/Mnemonic)| _Line Time Time. Hot Start Time | _Start Time Time starts Time starts Energy
List Automatic hours hours hours hours hours hours Mwh

UNTA [TesT_uniTa 2000) 100 200] 00| 500] 2| 2000) 1000





5.7 Operational Parameters - NRRC
The Operational Parameters Normal Ramp Rate Curve data must be completed for each unit that is part of the generation resource site. Note that only 1 MW value and the corresponding normal upward and normal downward ramp rate are required, additional MW’s are optional.

[image: image15.png]GENERATOR DETAILS

NORMAL RAMP RATE CURVE

Resource Name Downward
Unit Name _| (Unit Code/Mnemonic) | MW Number NRRC Code NRRC MW Upward Ramprate Ramprate
List Automatic List Automatic MW MW/min MW/min
UNITL [TesT_unim Mw1 TEST_UNITL_MW1_NRRC 50.00 5.00 5.00
UNITL [TesT_unm Mw2 TEST_UNITL_MW2_NRRC 70.00 7.00 5.00
UNITL [TesT_unm Mw3 TEST_UNITL_MW3_NRRC 100.00 10.00 5.00





5.8 Operational Parameters - ERRC
The Operational Parameters Emergency Ramp Rate Curve data must be completed for each unit that is part of the generation resource site. Note that only 1 MW value and the corresponding normal upward and normal downward ramp rate are required, additional MW’s are optional.

[image: image16.png](GENERATOR DETAILS J EMERGENCY RAMP RATE CURVE

Resource Name Downward
Unit Name _| (Unit Code/Mnemonic) | MW Number ERRC Code ERRC MW Upward Ramprate Ramprate
List Automatic List Automatic MW MW/min MW/min
uNITL [TesT_unm Mw1 TEST_UNITL_MW1_ERRC 50.00 7.00 5.00
UNITL [TesT_unm Mw2 TEST_UNIT1_MW2_ERRC 75.00 10.00 7.00
uNITL [TesT_unm Mw3 TEST_UNIT1_MW3_ERRC 110.00 15.00 7.00





5.9 Private Network - Unit
The Private Network Unit tab is to be completed only if the site has completed the site information as a PUN site, then the data must be completed for each unit that is part of the private network resource site, Which includes the MW and MVAR load, net interchange and gross unit capabilities. If the site is not part of a PUN, then no unit data need be filled out on this tab and all fields will be blacked out. (Fields include: Unit Name, Site Code & Resource Name)
[image: image17.png]_GENERATOR DETAILS

PRIVATE NETWORK - UNIT INFORMATION_

“Expected Typical
Average Amount Of | Average Amount Of|  Expected Typical | Private Network Net. Private Network IYes, Approximate
ResourceMame | SelfservePrivate | SelfservePrivate |Private Networktet | Reactive Private Network | Gross UnitResctive | fUnitTrips, | Percentage OfLoad
Unittame | STECODE | (UnitCode/Mnemonic) Losd Reactiveload. Interchange interchange | Gross Unit Capabitiy| _Capabiiey DoesloadTrip? | ThatwilTeip?
et Sutomstic Suromstic . AR . AR T AR N £3
UniTa [rest [resT_unima, S0.00 1000 7500 2000 5000 4200 N





5.10 Reactive Capability - GEN
The Reactive Capability must be completed for each unit that is part of the generation resource site. It includes the generator details and the reactive capability curve data which are 5 increasing MW values of Operating Real Power and 9 points of MVAR reactive power information.  The lagging MVAR amounts should be listed as positive numbers and the leading MVAR amounts should be listed as negative. MW5 is the unity power factor amount or maximum value of real power MW at 1.0 PF, the reactive power which crosses the x-axis on the curve is zero. (Fields include: Unit Name, Resource Name, Gross/Net values, NDCRC test & Test date)
[image: image18.png]GENERATOR DETAILS RE/
Reactive IfReactive Capability
Capability Data | Reactive Capability | Data Provided Is From

Providedis | DataProvidedis | NDCRCtestDataThen ging MVAR Limit | Leading MVAR Limit ing MVAR Limit | Leading MVAR Li

Resource Name Gross/Net | from NDCRCTest |Enter The Date On Which Associated With | Associated With Associated With | Associated With

UnitName | (Unit Code/Mnemonic) | _ Values? Data? The Test Was performed.| Mw1 Mw1 Output MwiOutput | Mw2 |  Mw2Output Mw2 Output
List ‘Automatic List YN mm/dd/yyyy’ MW MVAR MVAR MW MVAR MVAR
UNTA [TesT_uniTa [Gross Y 01/01/2011] 5000 70.00) 200 7500 72.00) &





5.11 Planning - GEN
The Planning tab must be completed for each unit that is part of the generation resource site. It includes the generator details, planning details, generator auxiliary load information, generation auxiliary MW load characteristics and generation auxiliary MVAR load characteristics. (Fields include: Unit Name, Resource Name, Direct Axis Sub transient reactance unsaturated, Direct Axis Transient reactance unsaturated, Positive Sequence Z – R unsaturated, Positive Sequence Z – X unsaturated, Negative Sequence Z – R unsaturated, Negative Sequence Z – X unsaturated, Zero Sequence exist, Zero Sequence Z – R unsaturated, Zero Sequence Z – X unsaturated, Zero Sequence Grounding Resistance, Zero Sequence Grounding Reactance, Zero Sequence Resistance, Zero Sequence Reactance & Aux Load power factor)
[image: image19.png]GENERATOR DETAILS

What s The
Mva Base That Direct Ais. Direct A
The Following |What Is The Kv Base| Subtransient | Transient Does Zero
ResourceName | DatalsBased | That The Following |Reactance, X"di| Reactance, X'di Positive Sequence Z Negative SequenceZ | SequenceZ Zero sec
UnitName | (Unit Code/Mnemonic) on? Data Is Based On? | (unsaturated) | (unsaturated) (unsaturated) (unsaturated) exist? (unsaty
st ‘Automatic MVA kv pu pu Rinp.u. Xinp.u. Rinp.u. Xinp.u. YN Rinp.u.
UNTA [TesT_uniTa 10000 1800 015000 020000 000250 021000 001500 018500 Y 000150)





5.12 Protection - GEN
The Protection tab must be completed for each unit that is part of the generation resource site. It includes the generator details, plant under and over voltage protection and plant under and over frequency protection information. (Fields include: Unit Name & Resource Name)
[image: image20.png]GENERATOR DETAILS

Breaker
Resource Name Interruption Instantaneous
Unit Name (Unit Code/Mnemonic) Time. Undervoltage Trip | Undervoltage 1 Time 1 Undervoltage 2 Time 2 Undervoltage 3
ist Automa cycles pou. p.u. sec p.u. sec p.u.
[uniTa 3 7.10000 2.10 5.50000 150

%. ST_UNITA





5.13 Subsync - GEN
The Subsync tab should be completed for each unit that may require subsynchronous resonance studies as part of the interconnection process or for additional planning studies to maintain the reliability of the ERCOT System by meeting all NERC Reliability Standards, ERCOT Protocols and Operating Guides that would be affected by the interconnection and operation of the generation site. (Fields include: Unit Name, Resource Name, Mass # & Mass Code)
[image: image21.png]GENERATOR DETAILS

SUBSYNCHRONOUS RESONANCE

Resource Name Associated | Damping
Unit Name (Unit Code/Mnemonic) Mass # Mass Code Name Mass Inertia | Inertia Units | Damping Units
List Automatic List Automatic
UNITA [TesT_unita MASS1 [TEST_UNITA_MASS1 _[Turbine 6546654000 Io-ft 6.000 seconds
UNITA [TesT_unima mAss2 [TEST_UNITA_MASS2 _|exciter 321654.000 Io-ft 5.000 seconds





5.14 Stability Study Model
Embed the stability study model to this tab. See section 3.2 for process.
5.15 PSCAD Model
Embed PSCAD model to this tab. See section 3.2 for process.
5.16 Dynamic Data

Embed Dynamic Data model to this tab. See section 3.2 for process.

6.0 Combined Cycle RARF Workbook
6.1 Instructions
Detailed instructions for the RARF submittal process through the Market Information System (MIS) are contained in section 3.1 of this document.

6.2 Unit Info - TRAIN
This section must be completed for each combined cycle train that is part of the generation resource site. A Train is defined as : The combinations of gas turbines and steam turbines in an electric generation plant that employs more than one thermodynamic cycle.  It includes the CC Train details, site and train unit dates, fuel information, power augmentation and geographic location data. (Fields include: Non Modeled, Resource category, Latitude of plant & Longitude of plant).  Each train code is made up of the Site Code appended with a train code (e.g. CC1, CC2 etc.) Cell B5 (Resource Site Code) must be completed on all forms.
[image: image22.png]A

LBy

D E G H
[ERCOT Confidential
Unit Information
This worksheet tab applies to all Combinkd Cycle Train generation resources.
Must complete all applicable cells in this section.
Resource Site Code:
Fesource ste |_CCTRAIN DETAILS SITE AND UNIT DATES Il FUEL INi
Code must be T T T
al Caps,
Fuel
Non_Modeled | PUC Registration Train Unit | Train Unit End| Transportation
Train Name Code Generator Number NERC Number Commercial Date Date Type
List Automatic YN mm/dd/yyyy | mm/dd/yyyy List






6.3 Unit Info - CC
This section must be completed for each unit that is part of the generation resource site. It includes the generator details, site and unit dates, point of interconnection information, fuel information and ratings and design information. (Fields include: Site Code, Train Code, Non Modeled, Transmission POI date, SGIA date, Model Ready date, POI Substation, POI voltage, POI bus number, Primary fuel, Secondary fuel, Physical unit type, Governor droop, Governor dead-band, Design Max ambient temp & Design Min ambient temp) 
[image: image23.png]_ GENERATOR DETAILS SITE AND UNIT DATES
Standard Generation Unit start Date
UNIT Resource Name Non_Modeled | ERCOT Interconnection Project | Transmission | Interconnection Agreement (SGIA) |  (Model Ready
NAME | SITE_ CODE | (Unit Code/Mnemonic) Train Name Generator Number - Only New Units | Only Date (POI) signature Date Date)
allcaps | Automatic Automatic List YN mm/dd/yyyy. mm/dd/yyyy. mm/dd/yyyy.
UnTT[rest [TesT_unims Joct N 05/01/2000 05/01/2000 08/01/2000
N Jrest [TesT_unma Joct N 05/01/2000 05/01/2000 08/01/2000
1 [rest [Test_s1 Joct N 05/01/2000 05/01/2000 08/01/2000






6.4 Ownership - CC
The Ownership tab must be completed for each train that is part of the generation resource site. It includes the train details and ownership details for each train. (Fields include: Train Name, Train Code, Ownership Start date & Ownership Stop date).  Ownership for CC Trains is restricted to one owner each.
[image: image24.png]=
'ERCDT Canﬁde;_ ial

Representation of Facility Output

This worksheet tab applies to all Genera

Must complete all applicable cells in this

ection.

ion Resources. This tab identifies the Resource Entities that represent the output of the facility to ERCOT.

GENERATOR DETAILS

'OWNERSHIP PERCENTAGES'

Resource Name

Fixed Master | Ownership
Unit Name | (Unit Code/Mnemonic) | Joint Ownership? Resource Entity Name Resource Duns Number | Ownership | Owner | Start Date
List List Y/N 9-13 digits. Y/N mm/dd/yyyy





6.5 Parameters - CC
The Parameters CC tab must be completed for each unit that is part of the generation resource site. It includes the Generator details, reasonability limits, seasonal ratings and unit de-rating values for temperature changes. (Fields include: Unit Name, Resource Name & Unit de-rating values)
[image: image25.png]'GENERATOR DETAILS REASONABILITY LIMITS 1 'SEASONAL RATINGS - SPRING

) ) ) ) ‘Seasonal Net

High Low seasonal Net | Seasonal Net | Seasonal Net Max
Low Reasonability | Reasonability Max i Max seasonal Net | sustainable

ResourceName | High Reasonability | Reasonability | RampRate | RampRate | Sustainable | Sustainable | Emergency |MinEmergency| —Rating-

Unit Name. (Unit Code/Mnemonic) Limit Limit Limit Limit___| Rating - Spring | Rating - Spring | Rating - Spring | Rating -Spring [ _summer

st Automatic MW MW MW/min MW/min MW MW MW MW MW

UL [TesT_unims 16000 10000 1200] 200] 157,00 105,00 157,00 105,00 1540
N2 [TesT_unm2 17600 10000 1200] 200] 157,00 105,00 157,00 105,00 1530
511 [Test st 20000] 10000 1000] 200] 18000 10000 20000] 10000 1800





6.6 CC Configuration
The Combined Cycle Configurations tab must be completed for each train that is part of the generation resource site. It includes the Train and Generator details and the operational configurations for each operationally unique train. (Fields include: Train Code, Site Code Resource Name, Configuration # & Configuration Code).  Configurations are identified by number.  The configuration code is automatically generated by concatenating the Train Code and the Configuration Code. “x” indicates a primary units for the configuration, “A” indicates an alternate unit for a configuration.
[image: image26.png]'GENERATOR DETAILS

CONFIGURATION DETAILS

Resource Name

TRAIN CODE SITE CODE (Unit Code/Mnemonic) Configuration # Configuration Code. Configuration Type.
t Automa List B Automatic
TEST_CC1 [Test [TesT_unim 1 [TesT_cc1 1 X
TEST_CCL [Test [TesT_unima 1 [Test_cc1 1 A
TEST_cC1 [Test [TesT_unmy 2 [Test_cc1 2 X
TEST_CCL [Test [TesT_unima 2 [Test_cc1 2 A
TEST_cC1 [Test [TesT_st1 2 [Test_cc1 2 X





Note Regarding Alternate Units in CC Configurations:
If the units G1, G2, G3 all have the same unit characteristics such that the three configurations CC1_2, CC1_3, CC1_4 all have the same resource capabilities and would be offered exactly the same way, the ‘A’ CT can be the alternate for any of the 3 CTs, and there would not be a need to register CC1_3 or CC1_4 in the example below.  That is to say, if CC1_2 was the only registered 2x1 configuration, it could be used to represent any combination of 2 CTs running with the CA unit.  For example, if one of the G1, G2, or G3 units were in outage, you could use CC1_2 to run the remaining 2 non-outaged CTs running with the CA.  

[image: image27.png]Resource Name (Unit Code) Unit Type  TEST_CC1.1 IESLEEL TEST_CC1.3 TEST_CC1.4 TEST_CC1_5 TEST_CC1_6
TEST Gt cr X X X A X X
TEST_G2 cT X X A X X X
TEST_G3 cT X A X X X a
TEST_G5 CA X X X X





6.7 CC Transitions
The Combined Cycle Transitions tab must be completed for each train that is part of the generation resource site. It includes the Train details and transitions for each train. The transitions are a map that, for each operating state/configuration that you are in, it identifies what states/configurations you can go to next – whether it is adding a unit or removing a unit. Note you must complete the configurations tab before data can be entered on this tab. (Fields include: Site Code, Train Code,  Configuration Code To & Configuration Code From).  Each configuration must be able to transition from a configuration of “OFFLINE” to at least one valid configuration and from at least one valid configuration to “OFFLINE”.
[image: image28.png]TRAIN DETAILS TRANSITIONS
Mnemonic for
Combined Cycle Train Configuration Code From
List List

TesT [TesT_cct (GFFLINE [TesT_cci 1
TesT [Test_cc1 [Test_cc1 1 [Test_cc1 2
TesT [Test_cc1 [Test_cc1 2 [Test_cc1 1
TesT [Test_cc1 [Test_cc1 1 [OFFLINE





6.8 Parameters - CFG
The Parameters CFG tab must be completed for each configuration that is part of a train. It includes the Generator details, reasonability limits, seasonal ratings and unit de-rating values for temperature changes for each configuration. (Fields include: Site Code, Train Code, Configuration Code & Unit de-rating values)
[image: image29.png]TRAIN DETAILS REASONABILITY LIMITS ! SEASONAL RATINGS - SPRING !
Low High Low seasonalNet | SeasonalNet | SeasonalNet | SeasonalNet | Sea
Configuration | High Reasonability | Reasonability | Reasonability | Reasonability |Max Sustainable|Min Sustainable | Max Emergency | Min Emergency [Max
SITECODE Train Code Code Limit Limit___|Ramp Rate Limit | Ramp Rate Limit | Rating - Spring | Rating - Spring | Rating - Spring | Rating -Spring |Ratin
List List List MW MW MW/min MW/min MW MW MW MW
TesT [TesT co1 [TesT co1 1 16000 10000 1200] 200 157,00 105,00 157,00 105,00
TesT [TesT_cc1 [TesT_ce1 2 360.00] 20000] 20 200] 537.00] 205.00] 357.00] 205.00]





6.9 Operational Parameters - CFG
The Operational Parameters CFG tab must be completed for each configuration that is part of a train. It includes the Generator details and the resource parameters including minimum on-line and off-line times, hot, cold, intermediate, hot to intermediate and intermediate to cold start times and daily and weekly start data. Note you must complete the configurations tab before data can be entered on this tab. (Fields include: Site Code, Train Code & Configuration Code)
[image: image30.png]“TRAIN DETAILS

RESOURCE PARAMETERS

Hot-to-
Configuration | Minimum On Line |Minimum Off| Hot Start |Intermediate| Cold Start | MaxWeekly | MaxOn Line | MaxDaily |MaxWeekly | intermediate
SITECODE Train Code Code Time. lineTime | Time | StartTime | Time starts Time starts Energy Time
ust ust ust hours hours hours hours hours Mwh hours
TEST [TesT co1 [TesT co1 1 200 200 500 400 500 7 6000.00 1 25200 100
TesT [TesT_cc1 [TesT_ce1 2 500 200 300 200 500 7 500000 1 39000 100





6.10 Operational Parameters - NRRC
The Operational Parameters Normal Ramp Rate Curve data must be completed for each configuration that is part of a train. Only 1 MW value and the corresponding normal upward and normal downward ramp rate are required, additional MW’s are optional. Note you must complete the configurations tab before data can be entered on this tab. (Fields include: Train Code, Configuration Code & MW number)
[image: image31.png]NORMAL RAMP RATE CURVE

Downward
Train Code Configuration Code MW Number NRRC Code NRRC MW Upward Ramprate Ramprate
List List List Automatic MW MW/min MW/min
TEST_CC1 [TEsT cca 1 MW1 TEST_CC1_1_MW1_NRRC 100.00 20.00 10.00
TEST_cC1 [TEsT cca 1 Mw2 TEST_CC1_1_MW2_NRRC 150.00 25.00 10.00
TEST_CC1 [TEST cca 1 MW3 TEST_CC1_1_MW3_NRRC 200.00 40.00 10.00





6.11 Operational Parameters - ERRC
The Operational Parameters Emergency Ramp Rate Curve data must be completed for each configuration that is part of a train. Only 1 MW value and the corresponding normal upward and normal downward ramp rate are required, additional MW’s are optional. Note you must complete the configurations tab before data can be entered on this tab. (Fields include: Train Code, Configuration Code & MW number)
[image: image32.png]EMERGENCY RAMP RATE CURVE

¥

Downward
Train Code Configuration Code MW Number ERRC Code ERRC MW Upward Ramprate Ramprate
st st List Automatic MW MW/min MW/min
TEST_CC1 [TEsT cca1 1 MW1 TEST_CC1_1_MW1_ERRC 100.00 20.00 15.00
TEST_CC1 [TEsT cca 1 Mw2 TEST_CC1_1_MW2_ERRC 150.00 25.00 15.00
TEST_CC1 [TEST cca 1 MW3 TEST_CC1_1_MW3_ERRC 200.00 40.00 15.00





6.12 Private Network - Unit
The Private Network Unit tab is to be completed only if the site has completed the site information as a PUN site, then the data must be completed for each unit that is part of the private network resource site, Which includes the MW and MVAR load, net interchange and gross unit capabilities. If the site is not part of a PUN, then no unit data need be filled out on this tab and all fields will be blacked out. (Fields include: Unit Name, Site Code & Resource Name)
[image: image33.png]PRIVATE NETWORK - UNIT INFORMATION

GENERATOR DETAILS
Expected Typical
Average Amount | Average Amount | Expected Typical | Private Network | Private Network | Private Network
ResourceName |0f Self-serve Private of self-serve Private| Private Network | Net Reactive GrossUnit | Gross Unit Reactive|  If Unit Trips,
UnitName | SITECODE | (Unit Code/Mnemonic) Load Reactiveload | Netinterchange | _Interchange Capability Capability Does Load Trip?
st ‘Automatic ‘Automatic MW MVAR MW MVAR MW MVAR YN

UNITL [TesT [TesT_uniTL 40.00 10.00 40.00 10.00 160.00 50.00 Y
UNIT2 [TesT [TEsT N2 40.00 10.00 40.00 10.00 176.00 50.00 Y
STL [TesT [TesT sT1 20.00 20.00 20.00 20.00 200.00 40.00 N





6.13 Reactive Capability - CC
The Reactive Capability must be completed for each unit that is part of the generation resource site. It includes the generator details and the reactive capability curve data which are 5 increasing MW values of Operating Real Power and 9 points of MVAR reactive power information.  The lagging MVAR amounts should be listed as positive numbers and the leading MVAR amounts should be listed as negative. MW5 is the unity power factor amount or maximum value of real power MW at 1.0 PF, the reactive power which crosses the x-axis on the curve is zero. (Fields include: Unit Name, Resource Name, Gross/Net values, NDCRC test & Test date)
[image: image34.png]GENERATOR DETAILS

Reactive IfReactive Capability
Capability Data | Reactive Capability | Data Provided Is From
Providedis | DataProvidedis | NDCRCtestDataThen ing MVAR Limit | Leading MVAR Limit ging MVAR Limit
Resource Name Gross/Net | from NDCRCTest |Enter The Date On Which Associated With | Associated With Associated With
UnitName | SITE CODE | (Unit Code/mnemonic) | Values? Data? The Test Was performed.| Mw1 Mw1 Output MwiOutput | Mw2 |  Mw2Output
List Automatic Automatic List YN mm/dd/yyyy’ MW MVAR MVAR MW MVAR
UNITL [TesT [TesT_uniTL NET Y 12/12/1993 100.00 50.00 50.00 135.00 50.00
UNIT2 [TesT [TEsT N2 NET Y 12/12/1999 100.00 50.00 -50.00 135.00 50.00
STL [TesT [TesT sT1 NET Y 12/12/1953 100.00 50.00 -40.00 135.00 40.00





6.14 Planning - CC
The Planning tab must be completed for each unit that is part of the generation resource site. It includes the generator details, planning details, generator auxiliary load information, generation auxiliary MW load characteristics and generation auxiliary MVAR load characteristics. (Fields include: Unit Name, Site Code, Resource Name, Direct Axis Sub transient reactance unsaturated, Direct Axis Transient reactance unsaturated, Positive Sequence Z – R unsaturated, Positive Sequence Z – X unsaturated, Negative Sequence Z – R unsaturated, Negative Sequence Z – X unsaturated, Zero Sequence exist, Zero Sequence Z – R unsaturated, Zero Sequence Z – X unsaturated, Zero Sequence Grounding Resistance, Zero Sequence Grounding Reactance, Zero Sequence Resistance, Zero Sequence Reactance & Aux Load power factor)
[image: image35.png]GENERATOR DETAILS
< ~ . .
What Is The Mva Direct Axis Direct Axis
BaseThatThe | WhatlsTheKvBase | Subtransient Transient

Resource Name  |Following Data Is| That The Following | Reactance, X"di | Reactance, X'di Positive Sequence Z Negative s
UnitName | SITE_CODE | (Unit Code/mnemonic) | BasedOn? | DatalsBasedOn? | (unsaturated) | (unsaturated) (unsaturated) (unsat

List ‘Automatic ‘Automatic MVA kv pu pu Rinp.u. Xinp.u. Rinp.u.

uNITL [Test [TesT_unimy 100.00 18.00 0.15000 0.20000 0.01800 0.18000 0.01700

UNIT2 [Test [TesT_unima 100.00 1800 015000 021000 0.01800 018500 001700
STL [Test [TesT_sT1 200.00 24.00 019000 0.18000 0.01500 0.15600 001400 |





6.15 Protection - CC
The Protection tab must be completed for each unit that is part of the generation resource site. It includes the generator details, plant under and over voltage protection and plant under and over frequency protection information. (Fields include: Unit Name, Site Code & Resource Name)
[image: image36.png]'GENERATOR DETAILS

Resource Name. Instantaneous
UnitName | SITE_CODE | (Unit Code/mnemonic) Undervoltage Trip_| Undervoltage 1 Time 1 Undervoltage 2 Time 2 Undervoltage 3
List ‘Automatic ‘Automatic p.u. p.u. sec p.u. sec p.u.
uNITL [Test [TesT_unimy 0.70000 4.00
UNIT2 [Test [TesT_unima 0.70000 4.00
st [Test [TesT_sT1 0.90000 1.00





6.16 Subsync - CC
The Subsync tab should be completed for each unit that may require subsynchronous resonance studies as part of the interconnection process or for additional planning studies to maintain the reliability of the ERCOT System by meeting all NERC Reliability Standards, ERCOT Protocols and Operating Guides that would be affected by the interconnection and operation of the generation site. (Fields include: Unit Name, Resource Name, Mass # & Mass Code)
[image: image37.png]GENERATOR DETAILS ] 'SUBSYNCHRONOUS RESONANCE

stiffness Between
Resource Name. Masses Previous
UnitName | SITE_CODE | (Unit Code/mnemonic) | Mass# Mass Code Mass Name Mass Inertia Damping Units | And Current Mass
List ‘Automatic ‘Automatic List Automatic
UNITL [Test [TesT_unimy MASS1 |TEST_UNIT1 MASS1 _|Generator Body. 2563.000_|lom-ft 2 NA___|126470000.000 NA

uNIT2 [Test [TesT_unima MASS1 _|TEST UNIT2 MASS1 _|Generator Body. 2563.000 _|lom-ft2 NA__[126470000.000 NA





6.17 Stability Study Model
Embed the stability study model to this tab. See section 3.2 for process.
6.18 PSCAD Model
Embed PSCAD model to this tab. See section 3.2 for process.
6.19 Dynamic Data

Embed Dynamic Data model to this tab. See section 3.2 for process.

7.0 Wind RARF Workbook
7.1 Instructions
Detailed instructions for the RARF submittal process through the Market Information System (MIS) are contained in section 3.1 of this document.
7.2 Unit Info - WIND
This section must be completed for each unit that is part of the wind resource site. It includes the Generator details, site and unit dates, point of interconnection information, fuel information, ratings and design information and geographic location data. (Fields include: Non Modeled, Transmission POI date, SGIA date, Model Ready date, POI substation, POI voltage, POI bus number, Primary fuel, Secondary fuel, Resource category, Physical unit type, Governor droop, Governor dead-band, Design Max ambient temp, Design Min ambient temp, Height of Instrumentation, Latitude of plant & Longitude of plant). Cell B5 (Resource Site Code) must be completed on all forms.
[image: image38.png]GENERATOR DETAILS SITE AND UNIT DATES
) ) ) T standard T
ERCOT Generation
Interconnection Interconnection | Unit Start Date
ResourceName | Non_Modeled | PUCRegistration | Project Number - Qualifying [ Transmission Only | Agreement (sG1A) | (Model Ready | U
UNITNAME | (Unit Code/Mnemonic) | _Generator Number onlynewunits | NERCNumber | Facilty Date(POl) | Signature Date Date)

AllCaps ‘Automated YN YN mm/dd/yyyy. mm/dd/yyyy. m/dd/yyyy

UNTL [TEsT UniTL N 123456789654123 [AAAB52963 Y 05/05/2010 06/06/2010

UNT2 [TesT_UniT2 N 123456789654123 [AAABS2963 Y 05/05/2010 06/06/2010






7.3 Turbine Details
· This section must be completed for each unit and turbine type that makes up the wind resource site.  It includes the Wind Generator Group details, Turbine Details, Planning Details and Turbine Step-Up Transformer Data.  Fields include: WGR Group #, Turbine Type, Instantaneous Controlled Fault Current Magnitude (Multiple of full load current) for Turbine Types 3 & 4, Controlled Fault Current Magnitude at 2 to 3 cycles after fault (Multiple  of full load current) for Turbine Types 3 & 4 and Controlled Fault Current Magnitude at 4 plus cycles after fault (Multiple of full load current) for Turbine Types 3 & 4)
· A Resource Entity may aggregate wind turbines together to form a WGR subject to provisions of Protocol Section 3.10.7.2 (9). 
· A Resource Entity may also group WGRs into a WGR Group. The group is a collection of two or more WGRs whose performance in responding to SCED Dispatch Instructions will be assessed as an aggregate for Generation Resource Energy Deployment Performance (GREDP).  A WGR Group cannot contain any WGRs that are Split Generation Resources.  Additionally, only WGRs that have the same Resource Node can be mapped to a WGR Group.
Example: Non-Grouped WGRs

For Non_Grouped WGRs do not complete the WGR Group #.
[image: image39.png]WIND GENERATION GROUP DETAILS TURBINE DETAILS
Resource Name Group Code Turbine MW Rating for this model| Number of Turbine
(Unit Code/Mnemonic) WGR Group (Hidden Field on Form) SITE_GROUP Manufacturer/Model of Turbine Manufacturer/Model | Turbine Type
List # Automatic Automatic MW # 1,2,345
SITE_UNIT1. [SITE_UNIT1_VESTAS NM72 [VESTAS NM72 165 25
SITE UNIT2 [SITE UNIT2 VESTAS V80 IVESTAS V80 18 25




Example: Grouped WGRs

Grouped WGRs must complete the WGR Group #.

[image: image40.png]- WIND GENERATION GROUP DETAILS TURBINE DETAILS
Resource Name Group Code Turbine MW Rating for this model| Number of Turbine
(Unit Code/Mnemonic) WGR Group (Hidden Field on Form) SITE_GROUP Manufacturer/Model of Turbine Manufacturer/Model
List # Automatic Automatic [ #
SITE_UNIT3 1 [SITE_UNIT3_GAMESA G80_1 [STe_1 |GAMESA G80 2 25 B
SITE_UNIT3 1 [SITE_UNIT3_GAMESA G83_1 [SiITE_1 |GAMESA G83 2 25 B
SITE_UNIT3 1 [SITE_UNIT3_GAMESA G80_1 [sime_1 |GAMESA 80 2 25 B
SITE_UNIT3A 1 [SITE_UNIT3A_GAMESA G87_1 [SiITE_1 |GAMESA G87. 2 25 B
SITE_UNIT3B 1 [SITE_UNIT3B_GAMESA G87_1 [sime_1 |GAMESA G87. 2 25 B
SITE_UNITA. 2 [SITE_UNIT4_SIEMENS_2 [siTe_2 [SIEMENS 23 25 2
SITE_UNITA. 2 [SITE_UNIT4_SIEMENS_2 [sime_2 [SIEMENS' 23 25 [
SITE_UNIT4 2 [SITE_UNIT4_SIEMENS_2 [SITE_2 [SIEMENS 2.3 25 la





7.4 Ownership - WIND
The Ownership tab must be completed for each unit that is part of the wind resource site. It includes the Generator details, ownership information and percentages. (Fields include: Unit Name, Resource Name, Ownership start date & Ownership stop date)
 [image: image41.png]A B c D E
ERCOT Confidential

Representation of Facility Output
This worksheet tab applies to all WIND Generation Resol

irces. This tab identifies the Resource Entities that represent the output of the facility to ERCOT.
Must complete all applicable cells in this section.

"GENERATOR DETAILS OWNERSHIP PERCENTAGES _ _
Resource Name Joint
Unit Name (Unit Code/Mnemonic) Ovmership? Resource Entity Name Resource Duns Number| _Fixed Ownership Master Owner
List Automatic YN YN





7.5 Parameters - WIND
The Parameters tab must be completed for each unit that is part of the wind resource site. It includes the Generator details, reasonability limits, seasonal ratings and unit de-rating values for temperature changes. (Fields include: Unit Name, Resource Name & Unit De-rating values).  Unit De-Rating Values For Different Temperatures are the Net Max. MW rating at that temperature.
[image: image42.png]GENERATOR DETAILS REASONABILITY LIMITS 'SEASONAL RATINGS - SPRING 1
) ) ) ‘Seasonal Net
High Low seasonal Net | Seasonal Net Max
High Reasonability | Reasonability Max i seasonal Net | Seasonal Net | Sustainable
Resource Name (Unit | Reasonability | Low Reasonability | RampRate | RampRate | Sustainable able | Max Emergency | Min Emergency|  Rating -
Unit Name Code/Mnemonic) Limit Limit Limit Limit Rating - Spring | Rating - Spring | Rating - Spring | Rating -Spring | _Summer
List Automatic MW MW MW/min MW/min MW MW MW MW MW
UNITL [TesT Tt 75.00 0.00 15.00 1.00 75.00 0.00 75.00 0.00 75.00
UNIT2 [TesT uniT2 40.00 0.00 5.00 100 40.00 0.00 40.00 0.00 40.00





7.6 Operational Parameters - WIND
The Operational Parameters tab must be completed for each unit that is part of the wind resource site. It includes the Generator details and the resource parameters including minimum on-line and off-line times, hot, cold, intermediate, hot to intermediate and intermediate to cold start times and daily and weekly start data. (Fields include: Unit Name & Resource Name)
[image: image43.png]GENERATOR DETAILS

RESOURCE PARAMETERS
Y =

Resource Name (Unit HotStart (Intermediate| Cold Start | Max Weekly |Max On Line | Max Daily |Max
UNIT NAME Code/Mnemonic) Time Start Time Time Starts Starts En
List. Automatic Hours Hours Hours Hours Hours Hours M

UNITL [TEST_UNIT1 0.50 1.00 0.10 0.10 0.10 85 4000.00 12 3C
UNIT2 [TEST_UNIT2 0.50 1.00 0.10 0.10 0.10 85 4000.00 12 1€





7.7 Operational Parameters - NRRC
The Operational Parameters Normal Ramp Rate Curve data must be completed for each unit that is part of the wind resource site. Note that only 1 MW value and the corresponding normal upward and normal downward ramp rate are required, additional MW’s are optional. (Fields include: Unit Name, Resource Name & MW number)
[image: image44.png]'GENERATOR DETAILS 1 l NORMAL RAMP RATE CURVE l

Resource Name Downward

Unit Name (Unit Code/Mnemonic) MW Number NRRC Code NRRCMW | Upward Ramprate | _ Ramprate

List Automatic List Automatic MW MW/min MW/min
UNITL [TesT_uniTL w1 TEST_UNITL MW1_NRRC 100 100 100
UNITL [TesT Tt w2 TEST_UNITL_ MW2_NRRC 2000 500 500
UNIT2 [TesT uniT2 w1 TEST_UNIT2_ MW1_NRRC 100 100 100
UNIT2 [TesT_ unim2 w2 TEST_UNIT2_MW2_NRRC %00 500 500





7.8 Operational Parameters - ERRC
The Operational Parameters Emergency Ramp Rate Curve data must be completed for each unit that is part of the wind resource site. Note that only 1 MW value and the corresponding normal upward and normal downward ramp rate are required, additional MW’s are optional. (Fields include: Unit Name, Resource Name & MW number)
[image: image45.png]GENERATOR DETAILS 1 EMERGENCY RAMP RATE CURVE _

Resource Name Downward

Unit Name (Unit Code/Mnemonic) MW Number ERRC Code ERRCMW | Upward Ramprate | Ramprate

List Automatic List Automatic MW MW/min MW/min
UNITL [TesT_uniTL MWL TEST_UNITL MW1_ERRC 1.00 1.00 1.00
UNITL [TesT Tt Mw2 TEST_UNIT1_MW2_ERRC 20.00 10.00 10.00
UNIT2 [TesT uniT2 MWL TEST_UNIT2_ MW1_ERRC 100 100 100

UNIT2 [TEST_UNIT2 Mw2 TEST_UNIT2_MW2_ERRC 25.00 10.00 10.00





7.9 Private Network - Unit
The Private Network Unit tab is to be completed only if the site has completed the site information as a PUN site, then the data must be completed for each unit that is part of the private network resource site, Which includes the MW and MVAR load, net interchange and gross unit capabilities. If the site is not part of a PUN, then no unit data need be filled out on this tab and all fields will be blacked out. (Fields include: Unit Name, Site Code & Resource Name)
[image: image46.png]GENERATOR DETAILS PRIVATE NETWORK - UNIT INFORMATION

Expected Typical
Average Amount | Average Amount | Expected Typical | Private Network ate Network

Resource Name Of Self-serve Private |Of Self-serve Private| Private Network Net Reactive Gross Unit
SITE CODE Unit Code/Mnemonic) Load Reactive Load Net Interchange Interchange Capability

war 1 vw v L vw ]





7.10 Reactive Capability - WIND
The Reactive Capability must be completed for each unit that is part of the wind resource site. It includes the generator details and the reactive capability curve data which are 5 increasing MW values of Operating Real Power and 9 points of MVAR reactive power information.  The lagging MVAR amounts should be listed as positive numbers and the leading MVAR amounts should be listed as negative. MW5 is the unity power factor amount or maximum value of real power MW at 1.0 PF, the reactive power which crosses the x-axis on the curve is zero. (Fields include: Unit Name, Resource Name, Gross/Net values, NDCRC test & Test date)
[image: image47.png]‘GENERATOR DETAILS |

If Reactive Capability Data

REACTIVE CAPABILITY CURV

Leading ing | Leading
Reactive Capability | Provided Is From NDCRC MVAR Limit | MVAR Limit MVAR Limit | MVAR Limit
Reactive Capability | Data Provided s | test Data Then Enter The Associated | Associated Associated | Associated
Resource Name Data Providedis | from NDCRCTest | Date On Which The Test With Mwi | With Mw1 With Mw2 | With Mw2
(Unit Code/Mnemonic) | Gross/Net Values? Data? Was Performed. Mw Output | output M2 Output | output
Automatic List YN mm/da/yyyy MW MVAR MVAR MW MVAR MVAR
TEST_UNITL NET Y 01/01/2011 0.50 051 051 5.50 2.40 .80
TEST UNIT2 NET Y 01/01/2011 100 0.20 0.1 2.50 110 100





7.11 Planning - WIND
The Planning tab must be completed for each unit that is part of the wind resource site. It includes the generator auxiliary load information, generation auxiliary MW load characteristics and generation auxiliary MVAR load characteristics. 
 [image: image48.png]ERCOT Confidential
Planning Information

This worksheet tab provides aggf
Must complete all applicable cel

regated planning information for WIND generation resources (WGR) as listed in Unit Info - Wind tab using turbine type and number from Unit Info - Wind Turbine tab and parameters fi
s in this section.

GENERATOR AUXILIARY LOAD

GENERATION AUXILIARY LOAD CHARACTERISTICS FOR MW LOAD

GENERATION AUXILIARY LOAD CHARACTERISTICS FOR MVAR LOAD

Average Average Resistive Discharge Discharge
Amountof | Amount Of Large Motor, | Small Motor, | (heating) Load, | Lighting, | Other, Percent| Large Motor, | Small Motor, | Lighting, | Other, Percent
Resource Name Awiliary Real | Auxiiary | Awiliary Load [Percent Of Total|Percent Of Total |Percent Of Total |Percent Of Total | Of Total Mw |Percent Of Total |Percent Of Total |Percent Of Total | Of Total MVAR
(Unit Code/Mnemonic) Power | Reactive Power | PowerFactor | Mwload Mw Load Mw Load Mw Load Load MVARLoad | MVARLoad | MVARLoad Load
List MW MVAR





7.12 Protection - WIND
The Protection tab must be completed for each unit that is part of the wind resource site. It includes the generator details, plant under and over voltage protection and plant under and over frequency protection information. (Fields include: Unit Name, Site Code & Resource Name)
[image: image49.png]GENERATOR DETAILS

Breaker
Resource Name Interruption |  Instantaneous
Unit Name site Code (unit Code/mnemonic) Time Undervoltage Trip | Undervoltage1 |  Time1 | Undervoltage2 |  Time2 | undervoltage3
List ‘Automatic ‘Automatic cycles pu- pu- sec pu- sec pu-
UNITL [TesT [TesT_uniTL 1 1.10000 074 0.20000 0.69 0.10000
UNIT2 [TesT [TesT uniT2 1 0.20000 0.01 0.20000 0.69 010000





7.13 Collector System - WIND
The Collector System tab must be completed for each unit that is part of the wind resource site. It includes the system details for cable types, the positive sequence data and zero sequence data. Also attach either the collection system one-line or cable segment model data in fields provided. (all are new fields) See section 3.2 for process to embed files.
[image: image50.png][cOLLECTION SYSTEM ONE LINE DIAGRAM (Embed a PDF One Line Diagram)

T

Adobe Acrobat
Document

COLLECTION SYSTEM DETAILED MODEL (Embed a PSS/e Raw Data or Powerwold Model)

COLLECTION SYSTEM DETAILED MODEL POSITIVE SEQUENCE DATA 2ERO SEQUENCE DATA
Cable Type Voltage Level kv Rkt X/kft Charging Be/kft RO/kft Xo/kft

kv (p.u. 0n 100 MVA base) | (p.u. on 100 MVA base) |[(p.u. on 100 MVA base)| (p.u. on 100 MVA base) | (p.u. on 100 MVA ba
GELS 35.00 3.50000 0.35000 0.03500 0.35000 0.03500
GELS 35.00 3.50000 035000 0.03500 035000 0.03500
V90 25.00 2.50000 0.25000 0.02500 0.25000 0.02500
V90 25.00 2.50000 0.25000 0.02500 0.25000 0.02500





7.14 Collector System – WIND Segment data
The Collector System tab segment data must be completed for each cable type that is part of the wind resource site. It includes the cable type and the segment details. (all are new fields)
[image: image51.png]Cable Type WIND SEGAMENT DETAILS
Circuit | Voltage | Cable Segment | Number of Turbines On
Cable Type From To Number | Level Length Cable Segment.
List Integer | Integer | Integer kv in kft Integer
GELS 5.00 10.00 5.00 34.50 2.00 5.00
GELS 5.00 10.00 5.00 3450 2.00 5.00
GELS 5.00 10.00 5.00 34.50 5.00 10.00
GELS 20.00 50.00 5.00 3450 5.00 10.00
GELS 20.00 50.00 5.00 34.50 5.00 20.00
GELS 20.00 50.00 5.00 3450 5.00 20.00
Va0 1.00 10.00 10.00 34.50 1.00 2.00
Va0 100 10.00 10.00 3450 100 2.00
Va0 5.00 20.00 10.00 34.50 2.00 8.00
Va0 5.00 20.00 10.00 3450 2.00 8.00
Va0 10.00 50.00 10.00 34.50 2.00 10.00
Va0 10.00 50.00 10.00 34.50 4.00 10.00





7.15 Stability Study Model
Embed the stability study model to this tab. See section 3.2 for process.
7.16 PSCAD Model
Embed PSCAD model to this tab. See section 3.2 for process.
7.17 Dynamic Data

Embed Dynamic Data model to this tab. See section 3.2 for process.

8.0 LaaR RARF Workbook
8.1 Instructions
Detailed instructions for the RARF submittal process through the Market Information System (MIS) are contained in section 3.1 of this document.
8.2 General Information - ALL
The General Information tab identifies information about the Resource Entity. The contact information is essential, as it provides ERCOT with additional contacts in case of questions regarding the RARF. Enter the Resource Entity Name that matches the name ERCOT has on record, note that it does not allow any special characters except spaces and dashes. The Data Universal Numbering System (DUNS) number is a 9 or 13 digit number listed with ERCOT to uniquely identify an entity. 
[image: image52.png]This submittal is for: Revisions

- Delefigns are acoepied as infenfigns. This form does not supersede the Notice of Suspension of Qperations requiremens,
Submittal Information

Date Form Completed: Jo5/05/2010
Resource Entity Submitiing Form: RE NAMEE HERE
Resource Entity DUNS # 1234567891000

e ——————————————————————————
Primary Contact (name of person ERCOT can contact with questions regarding this form)

Printed Name: [JOHN DOE

Title: IMGR OPERATIONS
Phone Number: 555-123-4567
E-mail Address: idoe@email.com

Fax Number [

Secondary Contact (if available)

Printed Name: [SAM WORKER

Title: [SUPERVISOR OPERATIONS
Phone Number. [512-123-9876

E-mail Address: |sworker@email.com

Fax Number:




8.3 Load Resource Information
The Load Resource information tab includes the unit details for each of the loads acting as a resource. There are two types of load resources, controllable load resource and non-controllable load resource. Each load resource must be individually registered with ERCOT by ESI-ID and are subject to qualification testing. 
[image: image53.png]Name of City for | Is Load Netted From|  Is Load Behind a WCLR,
Common Name Dispatch AssetCode | Physical Street Address for Pointof | Pointof Delivery |Generation at ERCOT| NOIE Settiement | Load Resource Type Dy
for Load Resource (provided by ERCOT) Delivery (POD) (PoD) Read Gensite? MeterPoint? | (CLRIUFRInterruptible) | _ Sch
yn yn
My Load Resource #1 MY D1 123 First stree] Township| N N URR
My Load Resource #2 MY_1D2 123 First street] Township| N N URR





8.4 Load Resource Parameters
This section must be completed for each dispatch code that is part of a load resource. It includes the Non-CLR resource parameters, the CLR resource parameters, CLR normal ramp rate curve data and CLR emergency ramp rate curve data.
[image: image54.png]Non-CLR Resource Parameters CLRF
Minimum
Interruption Minimum Max WEEKLY [Max Interruption| ~ Max DAILY Max Weekly | Minimum Notice | Max Depl
Time. Restoration Deployments Time. Deployments Energy Time.
Dispatch Asset Code hours hours hours MWh minutes hou
MY_LD1 4| 15.00] 10
MY_LD2 4 15.00] 10





8.5 One Line
Embed the one line diagram(s) in pdf or cad to this tab. See section 3.2 for process.
9.0 Transmission RARF Workbook
9.1 Instructions
Detailed instructions for the RARF submittal process through the Market Information System (MIS) are contained in section 3.1 of this document.
9.2 Line Data
The Line data tab is to be completed for each line that is located at the resource site and consists of the Line details, the to connected station and devices and the from connected station and devices.  (Fields include: Zero Sequence Line Resistance, Zero Sequence Line Reactance, Zero Sequence Charging Susceptance & Line Code) Cell B5 (Resource Site Code) must be completed on all forms.
[image: image55.png]ERCOT Confidential
Line Data

Please submit all Station's one-lines which are

ffected by the line submittal.

Resource Site Code: |
e LINE (ANY LENGTH) DETAILS
;7‘;;“5“““ Zero Sequen
i Charging Zero Sequence | Zero Sequence Charging
Susceptance In | Line Resistance In | Line Reactance In | Susceptance
Line Voltage | Resistance In P.u. | Reactance In P.u. | P.u.(100 Mva P.u. (100mva P.u. (100mva P.u. (100mv
DESCRIPTION OF CHANGE Line Name Level (100 Mva Base) (100 Mva Base) Base) Base) Base) Base)
List enter all caps kv p.u. p.u. p.u. p.u. p.u. p.u.






9.3 Line Temperature
The Line temperature tab is to be completed for each line that is located at the resource site and consists of the Line details noting whether the line is static or dynamic in nature. If static then only the Nominal ratings would be completed, if dynamic then all the ratings including temperatures from 20 to 115 degrees need to be completed. (Fields include: Line Code & Planning Rate C ratings)
[image: image56.png]Nominal 20 °F
T T
Continuous | Emergency | 15-min | Planning | Continuous | Emergency | 15-min | Planning
Line Name Line Rating Rating | Rating | Rating | FRateC | Rating | Rating | Rating | RateC
Automatic Static/Dynamic VA VA VA Mua MVA MVA MVA uA
TEST_LINE [TEST_TEST_TEST_LINE Static 96800 | 107600 | 107600 | 96800
TEST_TIE [TEST_TEST_TEST TIE [Static 15900 | 15900 | 17300 | 15900





9.4 Breaker Switch Data
The Breaker Switch data tab is to be completed for each breaker or switch that is located at the resource site. It consists of the breaker or switch details, the static ratings and up to 10 connected devices for side 1 and 10 connected devices for side 2. (Fields include: Switch Code & Static ratings)
[image: image57.png]- - CEE Static Ratings for Planning -
leThisAFault | Normsl Operating
DESCRIPTION OF Ercot tation Code. Isolting Device status 200 Connected | Connected.
cHanGE Suitchtiame. Mnemonic Suitchcode | fe:g.CircuitBreaker)| fuheninservice) | Voltage Level | continuous Rating | Emergency Rating | 15 MinRating | Device1 | Device2
Lt enterdlloaps entrdlloaps Fuomate K] CpeniClosed ] [T v, v, entr 3l oaps | emeralloaps
Eo) == =3 [FesT_Test_pscy v CLosep 5900 Se00 W70 Wreas [vest une [osc
20D ER [resT [TesT Test_ca1 [ CLosep 6900 = w0 waon[restune[ce1
20D [ce2 [rest [TesT_Test_cez N CLosep 6900 00 00 o [restune [ce2
20D pscio [resT [resT Test_psci0 v CLosep 6900 w00 w00 waon[restie Joscin
20D sc1 [resT [resT Test_pscis v CLosep 6900 00 00 wan__[restie[oscio





9.5 Capacitor and Reactor Data
The Capacitor and Reactor data tab is to be completed for each capacitor and reactor that is located at the resource site. It consists of the capacitor and reactor details and up to 10 connected devices. (Fields include: Device Code & Zero Sequence Reactance)
[image: image58.png]Voltage

Level Of
BusNumber | Automatic | Busbar | Desired | Minimum
DESCRIPTION OF Ercot Station Code Capacitor Voltage (PTIBus Voltage | Being | Regulating | Regulating
CHANGE Device Name Mnemonic Device Code | OrReactor | Mvar | levelkv | Number) | Regulation | Regulated | Voltage | voltage
st enter all caps. enter all caps Automatic List MVAR kv # YN kv kv kv
‘ADD 1 [TesT [TesT Test o1 c 17.50 34.50 8523 Y 69.00 69.00 66.00
ADD 2 [TesT [TesT TesT co c 17.50 34.50 9632 Y 6.00 6.00 66.00





9.6 Transformer Data
The Transformer data tab is to be completed for each transformer that is located at the resource site. It consists of the transformer details, units associated if it is a generator step up transformer, high side voltage information, low side voltage information, voltage regulation, low tap settings and high tap settings. (Fields include: Transformer Code, Zero Sequence Data, Zero Sequence Grounding Resistance, Zero Sequence Grounding Reactance, Zero Sequence Resistance, Zero Sequence Reactance, Positive Sequence Resistance & Positive Sequence Reactance) 

[image: image59.png]Transformer

Ina Master- Zero Sequence
follower MasterName | Follower Name | Generator | Data-Winding
DESCRIPTION OF Ercot Station Code Transformer Test | Current Balancing | (can Be Same As | (can Be Same As | StepUp | Connection Code
CHANGE Transformer Name | Mnemonic | Transformer Code | Report Attached? | Configuration? | this transformer) | this transformer) | Transformer?| (18
st enter all caps enter all caps Automatic YN YN enterallcaps | _enterall caps YN X
‘ADD FVRL [TesT [TEST TesT_FMiR Y N Y 2.00000
ADD [xe2 [TesT [TesT Test xe2 Y N Y 2.00000






9.7 Transformer Tap settings

The Transformer Tap Settings tab is to be completed for each transformer that is located at the resource site. It consists of the Description of Change Transformer Name, ERCOT Station Code Mnemonic, Transformer Code High or Low side connection flag and the Tap Setting positions and voltage levels.
[image: image60.png]e —— = = = =
ERCOT Confidential
Transformer Data
Please submit one-line diagram together with this Transformer data request form.
Must complete all applicable cells in this section.
~ T <
Tap Position At Total

DESCRIPTION OF |  Transformer | Ercot Station Manufactured | Number Of | Nao

CHANGE Name Code Mnemonic Transformer Code High-Low Flag Nominal Voltage |Tap Positions|  F

List List List Automatic List # #





9.8 Static Var Compensator Data
The Static Var Compensator data tab is to be completed for each svc that is located at the resource site. It consists of the svc details and up to 10 connected devices. (Fields include: SVC Code, Fixed MVAR, Minimum Admittance Limits, Maximum Admittance Limits, Minimum Threshold, Maximum Threshold, Minimum Voltage Threshold & Maximum Voltage Threshold)
[image: image61.png]imum Maximum Maximum
Fixed Mvar Admittance | Admittance | Steady State |Steady State
DESCRIPTION OF Ercot Station Code SvcBase Voltage | (var Injection At Limits. Limits. Reactive | Reactive
CHANGE SVCName Mnemonic SvCCode Level Nominal Voltage) | (100 Mva Base) | (100 Mva Base) | Power Limits | Power Limits
st enter all caps enter all caps Automatic kv MVAR p.u. p.u. MVAR MVAR
‘ADD DsT1 [TesT [TesT Test_pstL 34.50 7.50 7.50000 7.50000 7.50 7.50
ADD DsT2 [TesT [TesT TesT_ost2 34.50 7.50 7.50000 7.50000 7.50 7.00






9.9 Series Device Data
The Series Device data tab is to be completed for each series device that is located at the resource site. It consists of the series device details and up to 10 connected devices for side 1 and 10 connected devices for side 2. Series devices are impedance element which may be series reactors and capacitors or may be short lines within a station. (Fields include: SD Code)


9.10 Load Data
The Load data tab is to be completed for each load that is located at the resource site. It consists of the load details and up to 10 connected devices. For the transmission grid (greater than 60kV) and for the kV grids modeled for output paths of generators (less than 60kV), all auxillary, station service and/or power transformers are modeled in ERCOT as a load point at the high side of these types of transformers.  (FieldsFields include: Load Code)
[image: image62.png]LOAD DATA

Average Load | Average Mvar | Directly Direct
DESCRIPTION OF | Ercot Station Code PtiBus | Under Normal | Under Normal | Connected | Connedt
CHANGE Mnemonic Load Name Load Code LoadVoltage Level | Number | Operations | Operations | Device1 | Device
List enter all caps enter all caps ‘Automatic kv B MW MVAR | enterall caps | enterall
ADD [TesT o1 [TesT_TesT 101 34.00 1235 14.00 1000 |psci23 [cB100
ADD [Test [auxy [TEsT_TesT_auxy 32.00 1236 800 600 |pscizs |cB200





9.11 PUN Load Data
The PUN Load data tab is to be completed for each load that is located at Private Use Network (PUN) resource site. It consists of the station details for each load and the 168 hour (24 hours and 7 days) MW data for each load. This tab must be manually populated for the 5.1 version 
[image: image63.png]tation Code

ation Details

Losd Code

168 HR Data

M e





9.12 One Line
Embed the one line diagram(s) in pdf or cad to this tab. See section 3.2 for process.
9.13 Transformer Test Data
All One Lines will have to be Reembeded 
Embed the transformer test data to this tab. See section 3.2 for process.
10.0 Non Modeled
10.1 Instructions
Detailed instructions for the RARF submittal process through the Market Information System (MIS) are contained in section 3.1 of this document.
10.2 Unit Info – DG
This section must be completed for each Non Modeled unit. It includes the Generator Details, Unit Dates, Fuel Information, Private Network Info, Generic Info and Resource Owner. Cell B5 (Resource Site Code) must be completed on all forms.

[image: image64.png]Ea
ERCOT Confidential

Unit Information - Non
This worksheet tab provides g
Please complete this section.

Resource Site Code:

Generation

[PRIVATE NETWORK INFO

GENERIC INFO

Resource Owner Data
¥

Private
Network Net | Private Network| Private Network |  Generic Fuel Generic Start-up / |  Resource Entity | Resource Entity Owner
Unit Name Interchange | Gross Unit (MW) | Gross Unit (MVAR) Category Operating Category Name Owner Duns Number
allcaps MW MW MVAR List List allcaps





Please note that if the Type and Sub-Type values above are not used, the RARF will not be received or processed by ERCOT Client Services.








Please note that the RARF Forms must keep version 5.0 naming convention when being submitted (Wind_Form_Pivoted.xls, Gen_Form_Pivoted.xls, Combined_Cycle_Form_Pivoted.xls and Transmission_Form_Pivoted.xls).��The LAAR Form must keep the naming convention LAAR_Form_Pivoted.xls.








Note: Prior to your next RARF submission, remove all unit(s) that are no longer active and were stopped in a prior submission.





Note: Prior to your next RARF submission, remove all Train(s) that are no longer active and were stopped in a prior submission.





Note: Prior to your next RARF submission, remove all unit(s) that are no longer active and were stopped in a prior submission.





Note: Prior to your next RARF submission, remove all unit(s) that are no longer active and were stopped in a prior submission.





Note: Prior to your next RARF submission, remove “Add” or “Change” from the Description of Change column for all equipment that is not being updated on this submission. Only use “Add” or “Change” for new updates on this submission. If equipment was “Deleted” on prior submission, remove all data from that row before the next submission.








Note: Prior to your next RARF submission, remove “Add” or “Change” from the Description of Change column for all equipment that is not being updated on this submission. Only use “Add” or “Change” for new updates on this submission. If equipment was “Deleted” on prior submission, remove all data from that row before the next submission.








Note: Prior to your next RARF submission, remove “Add” or “Change” from the Description of Change column for all equipment that is not being updated on this submission. Only use “Add” or “Change” for new updates on this submission. If equipment was “Deleted” on prior submission, remove all data from that row before the next submission.








Note: Prior to your next RARF submission, remove “Add” or “Change” from the Description of Change column for all equipment that is not being updated on this submission. Only use “Add” or “Change” for new updates on this submission. If equipment was “Deleted” on prior submission, remove all data from that row before the next submission.





Note: Prior to your next RARF submission, remove “Add” or “Change” from the Description of Change column for all equipment that is not being updated on this submission. Only use “Add” or “Change” for new updates on this submission. If equipment was “Deleted” on prior submission, remove all data from that row before the next submission.








Note: Prior to your next RARF submission, remove “Add” or “Change” from the Description of Change column for all equipment that is not being updated on this submission. Only use “Add” or “Change” for new updates on this submission. If equipment was “Deleted” on prior submission, remove all data from that row before the next submission.








Note: Prior to your next RARF submission, remove “Add” or “Change” from the Description of Change column for all equipment that is not being updated on this submission. Only use “Add” or “Change” for new updates on this submission. If equipment was “Deleted” on prior submission, remove all data from that row before the next submission.











PAGE  
ERCOT Public
Resource Asset Registration Guide v5.2

Page 1 of 38 


