## Instructions
Step
1 | If Solver command is not available in the Analysis group on the Data tab, then follow these steps to add it
1. Click the File tab, and then click Options.
2. Click Add-Ins, and then in the Manage box, select Excel Add-ins.
3. Click Go.
4. In the Add-Ins available box, select the Solver Add-in check box, and then click OK.
1. Tip If Solver Add-in is not listed in the Add-Ins available box, click Browse to locate the add-in.
2. If you get prompted that the Solver add-in is not currently installed on your computer, click Yes to install it.
5. After you load the Solver add-in, the Solver command is available in the Analysis group on the Data tab.
2 | In Windows Explorer double click on the excel spreadsheet "ExampleDAM_FutureAS_05062014.xlsx"
3 | Go to "Example DAM Clearing" tab
4 | Blue fields are what the user can change
5 | Yellow fields are the output of the optimization
6 | Make changes to only the blue fields to setup the required scenario
7 | Place the cursor on cell $b$3 and then click on Solver in the Analysis group on the Data tab
8 | In the pop-up Solver parameter dialog box - click on solve button at the bottom
9 | In the Solver Results pop-up, click on the radio button "Keep Solver results" and also click on Senstivities in Reports and then press OK
10 | The yellow fields in "Example DAM Clearing" contain the outputs of the optimization and a new tab created called Sensitivity Report X contains (in the constraints section) the shadow prices for all the constraints

## Example DAM clearing
Objective= | -359065640
AS Plan
RegUp ReqMW | FRRS-Up MaxMW | PFR ReqMW | FFR ReqMW | FFR MaxMW | PFR/FFR Ratio | FFR1 MaxMW | CR ReqMW | CR1 MinReqMW | SR ReqMW | SR1 MinReqMW | RegDn ReqMW | FRRS-Dn MaxMW
200 | 50 | 1400 | 800 | 800 | 2 | 100 | 700 | 200 | 100 | 50 | 100 | 30
Energy Bid
Bid Price $/MWh | Bid MW | Cleared MW
9000 | 40000 | 40000
GenResourceOffer
Name | LSL MW | HSL MW | Energy $/MWh | RegUp $/MW | PFR $/MW | CR1 $/MW | SR1 $/MW | RegDn $/MW | FFR1 $/MW | FRRS-Up $/MW
G1 | 0 | 5000 | 7000 | 22 | 20 | 19 | 16
G2 | 0 | 15000 | 50 | 15 | 15 | 13 | 10 | 12
G3 | 0 | 25000 | 20 | 12 | 10 | 7 | 4 | 8
G4 | 0 | 10000 | 15
G5 (Offers FRRS-Up, FFR1) | 0 | 20 | [6 empty] | 8 | 8
LoadResourceOffer
Name | LPC MW | MPC MW | FFR1 $/MW | FFR2 $/MW | CR2 $/MW | SR2 $/MW | FRRS-Dn $/MW
LR1 (Offers FFR1 ) | 0 | 200 | 3
LR2 (Offers FFR2) | 0 | 1000 |  | 6
LR3 (Offers CR2) | 0 | 600 |  |  | 4
LR4 (Offers SR2) | 0 | 700 |  |  |  | 2
CLR-1 (Offers FRRS-Dn ) | 0 | 20 |  |  |  |  | 8
GenResourceAward
Name | EneAwdMW | RegUpAwdMW | PFRAwdMW | CRAwdMW | SRAwdMW | RegDnAwdMW | FFR1AwdMW | FRRS-UpAwdMW | CapacityUsedMW
G1 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
G2 | 5000 | 180 | 1400 | 200 | 50 | 0 |  |  | 6830
G3 | 25000 | 0 | 0 | 0 | 0 | 80 |  |  | 25000
G4 | 10000 |  | 0 | [5 empty] | 10000
G5 | 0 | [5 empty] | 0 | 20 | 20
LoadResourceAward
Name | FFR1AwdMW | FFR2AwdMW | CR2AwdMW | SR2AwdMW | FRRS-DnAwdMW | CapacityUsedMW
LR1 | 100 |  |  |  |  | 100
LR2 |  | 700 |  |  |  | 700
LR3 |  |  | 500 |  |  | 500
LR4 |  |  |  | 50 |  | 50
CLR-1 |  |  |  |  | 20 | 20
GenResourceConstraints
| G1-HSL-Limit | <=G1-HSL | G2-HSL-Limit | <=G2-HSL | G3-HSL-Limit | <=G3-HSL | G4-HSL-Limit | <=G4-HSL | G5-HSL-Limit | <=G5-HSL
| 0 | 5000 | 6830 | 15000 | 25000 | 25000 | 10000 | 10000 | 20 | 20
|  |  | G2-LSL-Limit | >= G2-LSL | G3-LSL-Limit | >= G3-LSL
|  |  | 5000 | 0 | 24920 | 0
LoadResourceConstraint
| LR1-MPC-Limit | <=LR1-MPC | LR2-MPC-Limit | <=LR2-MPC | LR3-MPC-Limit | <=LR3-MPC | LR4-MPC-Limit | <=LR4-MPC | CLR-1-MPC-Limit | <=CLR-1-MPC
| 100 | 200 | 700 | 1000 | 500 | 600 | 50 | 700 | 20 | 20
PwrBal | equal to PwrBalLimit |  | EneBidLimit | <=EneBidMW |  | RegUp | >=RegUpReq | FRRS-Up Max | <= FRRS-Up Max Limit
0 | 0 |  | 40000 | 40000 |  | 200 | 200 | 20 | 50
RegDn | >=RegDnReq | FRRS-Dn Max | <= FRRS-Dn Max Limit |  | PFR+Ratio*FFR | >= PFR+Ratio*FFRLimit | FFR-Max | <= FFR-MaxLimit | FFR1-Max | <= FFR1-MaxLimit
100 | 100 | 20 | 30 |  | 3000 | 3000 | 800 | 800 | 100 | 100
CR | >=CRReq | CR1 | >=CR1Req |  | SR | >=SRReq | SR1 | >=SR1Req
700 | 700 | 200 | 200 |  | 100 | 100 | 50 | 50