## Slide 1: QMWG Update to WMS
S. Looney
May 7, 2014

## Slide 2: NPRRs Assigned to QMWG
NPRR595, RRS Load Treatment in ORDC
  Allows loads to be paid ORDC adder for actual reserves based on telemetered AS Schedule
  95% under-performance factor will be based on the greater of the Ancillary Service Responsibility or telemetered Ancillary Service Schedule
  150% over-performance factor will be compared to the lesser of the Ancillary Service Responsibility or telemetered Ancillary Service Schedule
  This revision addresses compliance concerns

## Slide 3: NPRRs Assigned to QMWG
NPRR605, Ancillary Service Make-Whole Payments Under a Watch
  CPS Comments dated May 1
  Sunsets the NPRR June 1, 2015
  Creates settlement terms to define un-deployed Ancillary Service per Ancillary Service type
  Allocates each QSEs cost of the net total costs for AS procured by HLRS including Watch assigned quantities
NPRR605 addresses the concerns regarding AS RUC process
ERCOT has added language to Operations procedures for AS assignment, no specificity for choosing Resources

## Slide 4: Assignments from WMS
Extreme cold weather capacity concerns
  Consensus of QMWG, ERCOT should only RUC for capacity for hours that are actually capacity short.
  Market signals are already in place to incent generators to be sure of adequate start up times.
  Early RUCs will be a disincentive to rational market behavior.

## Slide 5: Assignments from WMS
Clarify HSL treatment for CCGRs providing RRS using power augmentation
  NPRR614 allows Resources to submit a lower HSL to be used for calculation of HASL as instructed by ERCOT Operations.
  Longer term solution should allow for correct reporting of HSL.
  After NPRR527 implementation later in 2014, ERCOT should be able to calculate HASL correctly. HASL would equal HSL minus RRS and telemetered quantity not Primary Frequency Responsive.

## Slide 6: Assignments from WMS
Review the impact of releasing HASL on price
  Have requested information from ERCOT on aggregate offer curves during scarcity events
  How will ERCOT monitor quantity of RRS which is PFR if HASL is released early?
Review SASM Methodology – Have asked ERCOT if the procedural portion of NPRR589 could be implemented this summer. Should increase liquidity in the SASM.
Consideration of bandwidth when RTOFFCAP is set to zero – Appears that a number around PRC > 2500 would be appropriate. ERCOT will make a recommendation.

## Slide 7: General Update
ERCOT is proposing additional data on the RARF for WGRs regarding icing shut down set points. Working this issue through RDWG
Working on Generation Commissioning Handbook – ERCOT scheduled a workshop for new Resources on May 28-29 in Taylor.
Working on Resource testing issues
Next meeting May 21