Nodal Protocol Revision Request


	NPRR Number
	626
	NPRR Title
	ORDC Price Reversal Mitigation Enhancements

	Date Posted
	May 16, 2014

	
	

	Requested Resolution 
	Urgent. Luminant Energy, LLC requests Urgent status to ensure appropriate price formation during scarcity events as soon as practicable.

	Nodal Protocol Sections Requiring Revision 
	2.1, Definitions

3.5.2.1, North 345 kV Hub (North 345)
3.5.2.2, South 345 kV Hub (South 345)

3.5.2.3, Houston 345 kV Hub (Houston 345)

3.5.2.4, West 345 kV Hub (West 345)

3.5.2.5, ERCOT Hub Average 345 kV Hub (ERCOT 345)

3.5.2.6, ERCOT Bus Average 345 kV Hub (ERCOT 345 Bus)

6.3, Adjustment Period and Real-Time Operations Timeline

6.3.2, Activities for Real-Time Operations

6.5.7.3, Security Constrained Economic Dispatch

6.5.7.3.1, Determination of Real-Time On-Line Reliability Deployment Price Adder (new)
6.5.9.2, Failure of the SCED Process

6.6.1, Real-Time Settlement Point Prices

6.6.1.1, Real-Time Settlement Point Price for a Resource Node

6.6.1.2, Real-Time Settlement Point Price for a Load Zone

6.6.3.1, Real-Time Energy Imbalance Payment or Charge at a Resource Node

6.7.4, Real-Time Ancillary Service Imbalance Payment or Charge

	Other Binding Documents Requiring Revision or Related Revision Requests
	None.

	Revision Description
	This Nodal Protocol Revision Request (NPRR) is intended to mitigate the price reversal/suppression associated with the deployment of Load Resources and/or other out-of-market reliability deployments that may inappropriately reduce the total Real-Time price in times of scarcity.

	Reason for Revision
	[image: image1.wmf]

X

  Addresses current operational issues.

[image: image2.wmf]

  Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board).

[image: image3.wmf]

X

  Market efficiencies or enhancements

[image: image4.wmf]

  Administrative

[image: image5.wmf]

  Regulatory requirements

[image: image6.wmf]

  Other:  (explain)

(please select all that apply)

	
	


	Business Case

	Qualitative Benefits
	This NPRR will address the price-reversal impacts of deployment of the following resources, which do not currently set price:
· Emergency Response Service (ERS)
· Reliability Must-Run (RMR) committed units (zero – Low Sustained Limit (LSL)
· Reliability Unit Commitment (RUC) Committed Units (zero – LSL)
· Firm Load Shed
· Deployed MW from Load Resources.
As proposed in this NPRR, the Operating Reserve Demand Curve (ORDC) quantity of available reserves will be adjusted to reflect the deployment of any of these Resources, which are either committed by an out of market action or deployed in response to an emergency.  This NPRR is responsive to the Public Utility Commission of Texas’s (PUCT’s) request to address price formation for Load Resources, ERS and RUC.  

	Quantitative Benefits
	Quantifiable benefits of this NPRR include but are not limited to:  
· More accurate price signals in times of scarcity
· Increased peaker net margin / positive impact on resource adequacy.  

	Impact to Market Segments
	· All Market Segments will benefit from accurate valuation of remaining reserves.  

	Credit Implications
	

	Other
	 


	Sponsor

	Name
	Gregory Thurnher

	E-mail Address
	sthm@txu.com

	Company
	Luminant Energy Company, LLC

	Phone Number
	512-349-6414

	Cell Number
	512-593-9424

	Market Segment
	Investor Owned Utility (IOU)


	Market Rules Staff Contact

	Name
	Brian Manning

	E-Mail Address
	Brian.manning@ercot.com

	Phone Number
	512-248-3937


	Comments


Please note that the following NPRRs also propose revisions to the following sections:

· NPRR588, Clarifications for PV Generations Resources

· Section 6.5.7.3
· NPRR595, RRS Load Resource Treatment In ORDC

· Section 6.7.4
	Proposed Protocol Language Revision


2.1 DEFINITIONS

Definitions are supplied for terms used in more than one Section of the Protocols.  If a term is used in only one Section, it is defined there at its earliest usage.

Real-Time On-Line Reliability Deployment Price Adder

A Real-Time price adder that captures the impact of reliability deployments on energy prices for each SCED process as detailed in Section 6.5.7.3.1 and Section 6.7.4. 

Real-Time On-Line Reliability Deployment Price
A Real-Time price for each 15-minute Settlement Interval reflecting the impact of reliability deployments on energy prices that is calculated from the Real-time On-Line Reliability Deployment Price Adder.
3.5.2.1
North 345 kV Hub (North 345)

(1)
The North 345 kV Hub is composed of the following Hub Buses:

	
	ERCOT Operations
	

	No.
	Hub Bus
	kV
	Hub

	1
	ANASW
	345
	NORTH

	2
	CN345
	345
	NORTH

	3
	WLSH
	345
	NORTH

	4
	FMRVL
	345
	NORTH

	5
	LPCCS
	345
	NORTH

	6
	MNSES
	345
	NORTH

	7
	PRSSW
	345
	NORTH

	8
	SSPSW
	345
	NORTH

	9
	VLSES
	345
	NORTH

	10
	ALNSW
	345
	NORTH

	11
	ALLNC
	345
	NORTH

	12
	BNDVS
	345
	NORTH

	13
	BNBSW
	345
	NORTH

	14
	BBSES
	345
	NORTH

	15
	BOSQUESW
	345
	NORTH

	16
	CDHSW
	345
	NORTH

	17
	CNTRY
	345
	NORTH

	18
	CRLNW
	345
	NORTH

	19
	CMNSW
	345
	NORTH

	20
	CNRSW
	345
	NORTH

	21
	CRTLD
	345
	NORTH

	22
	DCSES
	345
	NORTH

	23
	EMSES
	345
	NORTH

	24
	ELKTN
	345
	NORTH

	25
	ELMOT
	345
	NORTH

	26
	EVRSW
	345
	NORTH

	27
	KWASS
	345
	NORTH

	28
	FGRSW
	345
	NORTH

	29
	FORSW
	345
	NORTH

	30
	FRNYPP
	345
	NORTH

	31
	GIBCRK
	345
	NORTH

	32
	HKBRY
	345
	NORTH

	33
	VLYRN
	345
	NORTH

	34
	JEWET
	345
	NORTH

	35
	KNEDL
	345
	NORTH

	36
	KLNSW
	345
	NORTH

	37
	LCSES
	345
	NORTH

	38
	LIGSW
	345
	NORTH

	39
	LEG 
	345
	NORTH

	40
	LFKSW
	345
	NORTH

	41
	LWSSW
	345
	NORTH

	42
	MLSES
	345
	NORTH

	43
	MCCREE
	345
	NORTH

	44
	MDANP
	345
	NORTH

	45
	ENTPR
	345
	NORTH

	46
	NCDSE
	345
	NORTH

	47
	NORSW
	345
	NORTH

	48
	NUCOR
	345
	NORTH

	49
	PKRSW
	345
	NORTH

	50
	KMCHI
	345
	NORTH

	51
	PTENN
	345
	NORTH

	52
	RENSW
	345
	NORTH

	53
	RCHBR
	345
	NORTH

	54
	RNKSW
	345
	NORTH

	55
	RKCRK
	345
	NORTH

	56
	RYSSW
	345
	NORTH

	57
	SGVSW
	345
	NORTH

	58
	SHBSW
	345
	NORTH

	59
	SHRSW
	345
	NORTH

	60
	SCSES
	345
	NORTH

	61
	SYCRK
	345
	NORTH

	62
	THSES
	345
	NORTH

	63
	TMPSW
	345
	NORTH

	64
	TNP_ONE
	345
	NORTH

	65
	TRCNR
	345
	NORTH

	66
	TRSES
	345
	NORTH

	67
	TOKSW
	345
	NORTH

	68
	VENSW
	345
	NORTH

	69
	WLVEE
	345
	NORTH

	70
	W_DENT
	345
	NORTH

	71
	WTRML
	345
	NORTH

	72
	WCSWS
	345
	NORTH

	73
	WEBB
	345
	NORTH

	74
	WHTNY
	345
	NORTH

	75
	WCPP
	345
	NORTH


(2)
The North 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the Day-Ahead Market (DAM) in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)
The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows: 

DASPP North345
=

[image: image7.wmf]hb

S

(HUBDF hb, North345 * DAHBP hb, North345), if HB North345≠0

DASPP North345
=
DASPPERCOT345Bus, if HB North345=0

Where:

DAHBP hb, North345
=

[image: image8.wmf]b

S

(HBDF b, hb, North345 * DALMP b, hb, North345)
HUBDF hb, North345
=
IF(HB North345=0, 0, 1 / HB North345)

HBDF b, hb, North345
=
IF(B hb, North345=0, 0, 1 / B hb, North345)

The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP North345
	$/MWh
	Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour.

	DAHBP hb, North345
	$/MWh
	Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour.

	DALMP b, hb, North345
	$/MWh
	Day-Ahead Locational Marginal Price (LMP) at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour.

	HUBDF hb, North345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, North345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, North345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB North345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP North345
=

[image: image9.wmf]hb

S

(HUBDF hb, North345 * (
[image: image10.wmf]y

S

(RTHBP hb, North345, y * TLMP y) / (
[image: image11.wmf]y

S

TLMP y))), if HB North345≠0

RTSPP North345
=
RTSPPERCOT345Bus, if HB North345=0

Where:

RTHBP hb, North345, y
=

[image: image12.wmf]b

S

(HBDF b, hb, North345 * RTLMP b, hb, North345, y)

HUBDF hb, North345
=
IF(HB North345=0, 0, 1 / HB North345)

HBDF b, hb, North345
=
IF(B hb, North345=0, 0, 1 / B hb, North345)

The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP North345
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

	RTHBP hb, North345, y
	$/MWh
	Real-Time Hub Bus Price at Hub Bus per Security-Constrained Economic Dispatch (SCED) interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.

	RTLMP b, hb, North345, y
	$/MWh
	Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval

	HUBDF hb, North345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, North345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, North345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB North345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


	[NPRR568: Replace paragraph (4) above with the following upon system implementation:]
(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP North345
=
Max [-$251, (RTRSVPOR + RTRDP + 
[image: image13.wmf]hb

S

(HUBDF hb, North345 * (
[image: image14.wmf]y

S

(RTHBP hb, North345, y * TLMP y) / (
[image: image15.wmf]y

S

TLMP y))))], if HB North345≠0

RTSPP North345
=
RTSPPERCOT345Bus, if HB North345=0

Where:

RTRSVPOR 

=

[image: image16.wmf]y

S

(RNWF  y * RTORPA y) 
RTRDP                       =           
[image: image17.wmf]y

S

(RNWFy  * RTORDPAy)
RNWF y

=
TLMP y / 
[image: image18.wmf]y

S

TLMP y
RTHBP hb, North345, y
=

[image: image19.wmf]b

S

(HBDF b, hb, North345 * RTLMP b, hb, North345, y)

HUBDF hb, North345
=
IF(HB North345=0, 0, 1 / HB North345)

HBDF b, hb, North345
=
IF(B hb, North345=0, 0, 1 / B hb, North345)

The above variables are defined as follows:

Variable

Unit

Description

RTSPP North345
$/MWh

Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

RTHBP hb, North345, y
$/MWh

Real-Time Hub Bus Price at Hub Bus per Security-Constrained Economic Dispatch (SCED) interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.
RTRSVPOR

$/MWh

Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
RTORPA y
$/MWh

Real-Time On-Line Reserve Price Adder per interval(The Real-Time Price Adder for On-Line Reserves for the SCED interval y.
RTRDP
$/MWh
Real-Time On-Line Reliability Deployment Price----The Real-Time price for the 15-minute Settlement Interval, reflecting the impact of reliability deployments on energy prices that are calculated from the Real-Time On-Line Reliability Deployment Price Adder.  
RTORDPAy
$/MWh
Real-Time On-Line Reliability Deployment Price Adder –The Real-Time Price Adder that captures the impact of reliability deployments on energy prices for the SCED interval y. 
RNWF y
none

Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the Settlement Interval.
RTLMP b, hb, North345, y
$/MWh

Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

TLMP y
second
Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval
HUBDF hb, North345
none

Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

HBDF b, hb, North345
none

Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

y

none

A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

b

none

An energized Electrical Bus that is a component of a Hub Bus.

B hb, North345
none

The total number of energized Electrical Buses in Hub Bus hb.

hb

none

A Hub Bus that is a component of the Hub.

HB North345
none

The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.




3.5.2.2
South 345 kV Hub (South 345)

(1)
The South 345 kV Hub is composed of the following Hub Buses:

	
	ERCOT Operations
	

	No.
	Hub Bus
	kV
	Hub

	1
	AUSTRO
	345
	SOUTH

	2
	BLESSING
	345
	SOUTH

	3
	CAGNON
	345
	SOUTH

	4
	COLETO
	345
	SOUTH

	5
	CLEASP
	345
	SOUTH

	6
	NEDIN
	345
	SOUTH

	7
	FAYETT
	345
	SOUTH

	8
	FPPYD1
	345
	SOUTH

	9
	FPPYD2
	345
	SOUTH

	10
	GARFIE
	345
	SOUTH

	11
	GUADG
	345
	SOUTH

	12
	HAYSEN
	345
	SOUTH

	13
	HILLCTRY
	345
	SOUTH

	14
	HOLMAN
	345
	SOUTH

	15
	KENDAL
	345
	SOUTH

	16
	LA_PALMA
	345
	SOUTH

	17
	LON_HILL
	345
	SOUTH

	18
	LOSTPI
	345
	SOUTH

	19
	LYTTON_S
	345
	SOUTH

	20
	MARION
	345
	SOUTH

	21
	PAWNEE
	345
	SOUTH

	22
	RIOHONDO
	345
	SOUTH

	23
	RIONOG
	345
	SOUTH

	24
	SALEM
	345
	SOUTH

	25
	SANMIGL
	345
	SOUTH

	26
	SKYLINE
	345
	SOUTH

	27
	STP
	345
	SOUTH

	28
	CALAVERS
	345
	SOUTH

	29
	BRAUNIG
	345
	SOUTH

	30
	WHITE_PT
	345
	SOUTH

	31
	ZORN
	345
	SOUTH


(2)
The South 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)
The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows: 

DASPP South345
=

[image: image20.wmf]hb

S

(HUBDF hb, South345 * DAHBP hb, South345) , if HB South345≠0

DASPP South345
=
DASPPERCOT345Bus, if HB South345=0

Where:

DAHBP hb, South345
=

[image: image21.wmf]b

S

(HBDF b, hb, South345 * DALMP b, hb, South345)
HUBDF hb, South345
=
IF(HB South345=0, 0, 1 / HB South345)

HBDF b, hb, South345
=
IF(B hb, South345=0, 0, 1 / B hb, South345)

The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP South345
	$/MWh
	Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour.

	DAHBP hb, South345
	$/MWh
	Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour.

	DALMP b, hb, South345
	$/MWh
	Day-Ahead Locational Marginal Price at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour.

	HUBDF hb, South345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, South345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, South345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB South345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP South345
=

[image: image22.wmf]hb

S

(HUBDF hb, South345 * (
[image: image23.wmf]y

S

(RTHBP hb, South345, y * TLMP y) / (
[image: image24.wmf]y

S

TLMP y))), if HB South345≠0

RTSPP South345
=
RTSPPERCOT345Bus, if HB South345=0

Where:

RTHBP hb, South345, y
=

[image: image25.wmf]b

S

(HBDF b, hb, South345 * RTLMP b, hb, South345, y)

HUBDF hb, South345
=
IF(HB South345=0, 0, 1 / HB South345)

HBDF b, hb, South345
=
IF(B hb, South345=0, 0, 1 / B hb, South345)

The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP South345
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

	RTHBP hb, South345, y
	$/MWh
	Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.

	RTLMP b, hb, South345, y
	$/MWh
	Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval

	HUBDF hb, South345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, South345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, South345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB South345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


	[NPRR568: Replace paragraph (4) above with the following upon system implementation:]
(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP South345
=
Max [-$251, (RTRSVPOR + RTRDP + 
[image: image26.wmf]hb

S

(HUBDF hb, South345 * (
[image: image27.wmf]y

S

(RTHBP hb, South345, y * TLMP y) / (
[image: image28.wmf]y

S

TLMP y))))], if HB South345≠0

RTSPP South345
=
RTSPPERCOT345Bus, if HB South345=0

Where:

RTRSVPOR 

=

[image: image29.wmf]y

S

(RNWF  y * RTORPA y)
RTRDP                                =              
[image: image30.wmf]y

S

( RNWFy  * RTORDPAy)
RNWF y

=
TLMP y / 
[image: image31.wmf]y

S

TLMP y 

RTHBP hb, South345, y
=

[image: image32.wmf]b

S

(HBDF b, hb, South345 * RTLMP b, hb, South345, y)

HUBDF hb, South345
=
IF(HB South345=0, 0, 1 / HB South345)

HBDF b, hb, South345
=
IF(B hb, South345=0, 0, 1 / B hb, South345)

The above variables are defined as follows:

Variable

Unit

Description

RTSPP South345
$/MWh

Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

RTHBP hb, South345, y
$/MWh

Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.
RTRSVPOR

$/MWh

Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
RTORPA y
$/MWh

Real-Time On-Line Reserve Price Adder per interval(The Real-Time On-Line Reserve Price Adder for the SCED interval y.
RTRDP

$/MWh

Real-Time On-Line Reliability Deployment Price----The Real-Time price for the 15-minute Settlement Interval, reflecting the impact of reliability deployments on energy prices that are calculated from the Real-Time On-Line Reliability Deployment Price Adder.  

RTORDPAy
$/MWh
Real-Time On-Line Reliability Deployment Price Adder –The Real-Time Price Adder that captures the impact of reliability deployments on energy prices for the SCED interval y. 
RNWF y
none

Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the Settlement Interval.
RTLMP b, hb, South345, y
$/MWh

Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

TLMP y
second
Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval
HUBDF hb, South345
none

Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

HBDF b, hb, South345
none

Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

y

none

A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

b

none

An energized Electrical Bus that is a component of a Hub Bus.

B hb, South345
none

The total number of energized Electrical Buses in Hub Bus hb.

hb

none

A Hub Bus that is a component of the Hub.

HB South345
none

The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.




3.5.2.3
Houston 345 kV Hub (Houston 345)

(1)
The Houston 345 kV Hub is composed of the following listed Hub Buses:

	
	ERCOT Operations
	

	No.
	Hub Bus
	kV
	Hub

	1
	ADK
	345
	HOUSTON

	2
	_BI
	345
	HOUSTON

	3
	CBY
	345
	HOUSTON

	4
	CTR
	345
	HOUSTON

	5
	CHB
	345
	HOUSTON

	6
	DPW
	345
	HOUSTON

	7
	DOW
	345
	HOUSTON

	8
	RNS
	345
	HOUSTON

	9
	GBY
	345
	HOUSTON

	10
	_JN
	345
	HOUSTON

	11
	_KG
	345
	HOUSTON

	12
	KDL
	345
	HOUSTON

	13
	_NB
	345
	HOUSTON

	14
	_OB
	345
	HOUSTON

	15
	PHR
	345
	HOUSTON

	16
	SDN
	345
	HOUSTON

	17
	SMITHERS
	345
	HOUSTON

	18
	THW
	345
	HOUSTON

	19
	WAP
	345
	HOUSTON

	20
	_WO
	345
	HOUSTON


(2)
The Houston 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)
The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows: 

DASPP Houston345
=

[image: image33.wmf]hb

S

(HUBDF hb, Houston345 * DAHBP hb, Houston345), if HB Houston345≠0

DASPP Houston345
=
DASPPERCOT345Bus, if HB Houston345=0

Where:

DAHBP hb, Houston345
=

[image: image34.wmf]b

S

(HBDF b, hb, Houston345 * DALMP b, hb, Houston345)
HUBDF hb, Houston345
=
IF(HB Houston345=0, 0, 1 / HB Houston345)

HBDF b, hb, Houston345
=
IF(B hb, Houston345=0, 0, 1 / B hb, Houston345)

The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP Houston345
	$/MWh
	Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour.

	DAHBP hb, Houston345
	$/MWh
	Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour.

	DALMP b, hb, Houston345
	$/MWh
	Day-Ahead Locational Marginal Price at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour.

	HUBDF hb, Houston345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, Houston345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, Houston345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB Houston345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP Houston345
=

[image: image35.wmf]hb

S

(HUBDF hb, Houston345 * (
[image: image36.wmf]y

S

(RTHBP hb, Houston345, y * TLMP y) / (
[image: image37.wmf]y

S

TLMP y))), if HB Houston345≠0

RTSPP Houston345
=
RTSPPERCOT345Bus, if HB Houston345=0

Where:

RTHBP hb, Houston345, y
=

[image: image38.wmf]b

S

(HBDF b, hb, Houston345 * RTLMP b, hb, Houston345, y)

HUBDF hb, Houston345
=
IF(HB Houston345=0, 0, 1 / HB Houston345)

HBDF b, hb, Houston345
=
IF(B hb, Houston345=0, 0, 1 / B hb, Houston345)

The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP Houston345
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

	RTHBP hb, Houston345, y
	$/MWh
	Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.

	RTLMP b, hb, Houston345, y
	$/MWh
	Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval

	HUBDF hb, Houston345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, Houston345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, Houston345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB Houston345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


	[NPRR568: Replace paragraph (4) above with the following upon system implementation:]
(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP Houston345
=
Max [-$251, (RTRSVPOR + RTRDP + 
[image: image39.wmf]hb

S

(HUBDF hb, Houston345 * (
[image: image40.wmf]y

S

(RTHBP hb, Houston345, y * TLMP y) / (
[image: image41.wmf]y

S

TLMP y))))], if HB Houston345≠0

RTSPP Houston345
=
RTSPPERCOT345Bus, if HB Houston345=0

Where:

RTRSVPOR 

=

[image: image42.wmf]y

S

(RNWF  y * RTORPA y)
RTRDP                       =           
[image: image43.wmf]y

S

(RNWFy  * RTORDPAy)
RNWF y

=
TLMP y / 
[image: image44.wmf]y

S

TLMP y
RTHBP hb, Houston345, y
=

[image: image45.wmf]b

S

(HBDF b, hb, Houston345 * RTLMP b, hb, Houston345, y)

HUBDF hb, Houston345
=
IF(HB Houston345=0, 0, 1 / HB Houston345)

HBDF b, hb, Houston345
=
IF(B hb, Houston345=0, 0, 1 / B hb, Houston345)

The above variables are defined as follows:

Variable

Unit

Description

RTSPP Houston345
$/MWh

Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

RTHBP hb, Houston345, y
$/MWh

Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.
RTRSVPOR

$/MWh

Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
RTORPA y
$/MWh

Real-Time On-Line Reserve Price Adder per interval(The Real-Time On-Line Reserve Price Adder for the SCED interval y.
RTRDP

$/MWh

Real-Time On-Line Reliability Deployment Price----The Real-Time price for the 15-minute Settlement Interval, reflecting the impact of reliability deployments on energy prices that are calculated from the Real-Time On-Line Reliability Deployment Price Adder.  

RTORDPAy
$/MWh

Real-Time On-Line Reliability Deployment Price Adder(The Real-Time Price Adder that captures the impact of reliability deployments on energy prices for the SCED interval y. 

RNWF y
none

Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the Settlement Interval.
RTLMP b, hb, Houston345, y
$/MWh

Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

TLMP y
second
Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval
HUBDF hb, Houston345
none

Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

HBDF b, hb, Houston345
none

Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

y

none

A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

b

none

An energized Electrical Bus that is a component of a Hub Bus.

B hb, Houston345
none

The total number of energized Electrical Buses in Hub Bus hb.

hb

none

A Hub Bus that is a component of the Hub.

HB Houston345
none

The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.




3.5.2.4
West 345 kV Hub (West 345)

(1)
The West 345 kV Hub is composed of the following listed Hub Buses:

	
	ERCOT Operations
	

	No.
	Hub Bus
	kV
	Hub

	1
	ABMB
	345
	WEST

	2
	BOMSW
	345
	WEST

	3
	OECCS
	345
	WEST

	4
	BTRCK
	345
	WEST

	5
	FSHSW
	345
	WEST

	6
	FLCNS
	345
	WEST

	7
	GRSES
	345
	WEST

	8
	JCKSW
	345
	WEST

	9
	MDLNE
	345
	WEST

	10
	MOSSW
	345
	WEST

	11
	MGSES
	345
	WEST

	12
	DCTM
	345
	WEST

	13
	ODEHV
	345
	WEST

	14
	OKLA
	345
	WEST

	15
	SARC
	345
	WEST

	16
	SWESW
	345
	WEST

	17
	TWINBUTE
	345
	WEST


(2)
The West 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)
The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows: 

DASPP West345
=

[image: image46.wmf]hb

S

(HUBDF hb, West345 * DAHBP hb, West345), if HB West345≠0

DASPP West345
=
DASPPERCOT345Bus, if HB West345=0

Where:

DAHBP hb, West345
=

[image: image47.wmf]b

S

(HBDF b, hb, West345 * DALMP b, hb, West345)
HUBDF hb, West345
=
IF(HB West345=0, 0, 1 / HB West345)

HBDF b, hb, West345
=
IF(B hb, West345=0, 0, 1 / B hb, West345)

The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP West345
	$/MWh
	Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour.

	DAHBP hb, West345
	$/MWh
	Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour.

	DALMP b, hb, West345
	$/MWh
	Day-Ahead Locational Marginal Price at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour.

	HUBDF hb, West345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, West345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, West345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB West345
	none
	The total number of Hub Buses in the Hub.


(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP West345
=

[image: image48.wmf]hb

S

(HUBDF hb, West345 * (
[image: image49.wmf]y

S

(RTHBP hb, West345, y * TLMP y) / (
[image: image50.wmf]y

S

TLMP y))), if HB West345≠0

RTSPP West345
=
RTSPPERCOT345Bus, if HB West345=0

Where:

RTHBP hb, West345, y
=

[image: image51.wmf]b

S

(HBDF b, hb, West345 * RTLMP b, hb, West345, y)

HUBDF hb, West345
=
IF(HB West345=0, 0, 1 / HB West345)

HBDF b, hb, West345
=
IF(B hb, West345=0, 0, 1 / B hb, West345)

The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP West345
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

	RTHBP hb, West345, y
	$/MWh
	Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.

	RTLMP b, hb, West345, y
	$/MWh
	Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval

	HUBDF hb, West345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, West345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, West345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB West345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


	[NPRR568: Replace paragraph (4) above with the following upon system implementation:]
(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP West345
=
Max [-$251, (RTRSVPOR + RTRDP + 
[image: image52.wmf]hb

S

(HUBDF hb, West345 * (
[image: image53.wmf]y

S

(RTHBP hb, West345, y * TLMP y) / (
[image: image54.wmf]y

S

TLMP y))))], if HB West345≠0

RTSPP West345
=
RTSPPERCOT345Bus, if HB West345=0

Where:

RTRSVPOR 

=

[image: image55.wmf]y

S

(RNWF  y * RTORPA y)
RTRDP                       =           
[image: image56.wmf]y

S

(RNWFy  * RTORDPAy)
RNWF y

=
TLMP y / 
[image: image57.wmf]y

S

TLMP y
RTHBP hb, West345, y
=

[image: image58.wmf]b

S

(HBDF b, hb, West345 * RTLMP b, hb, West345, y)

HUBDF hb, West345
=
IF(HB West345=0, 0, 1 / HB West345)

HBDF b, hb, West345
=
IF(B hb, West345=0, 0, 1 / B hb, West345)

The above variables are defined as follows:

Variable

Unit

Description

RTSPP West345
$/MWh

Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

RTRSVPOR

$/MWh

Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
RTORPA y
$/MWh

Real-Time On-Line Reserve Price Adder per interval(The Real-Time On-Line Reserve Price Adder for the SCED interval y.
RTRDP
$/MWh
Real-Time On-Line Reliability Deployment Price----The Real-Time price for the 15-minute Settlement Interval, reflecting the impact of reliability deployments on energy prices that are calculated from the Real-Time On-Line Reliability Deployment Price Adder.  
RTORDPAy
$/MWh
Real-Time On-Line Reliability Deployment Price Adder (The Real-Time Price Adder that captures the impact of reliability deployments on energy prices for the SCED interval y. 
RNWF y
none

Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the Settlement Interval.
RTHBP hb, West345, y
$/MWh

Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.
RTLMP b, hb, West345, y
$/MWh

Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

TLMP y
second
Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval
HUBDF hb, West345
none

Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

HBDF b, hb, West345
none

Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

y

none

A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

b

none

An energized Electrical Bus that is a component of a Hub Bus.

B hb, West345
none

The total number of energized Electrical Buses in Hub Bus hb.

hb

none

A Hub Bus that is a component of the Hub.

HB West345
none

The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.




3.5.2.5
ERCOT Hub Average 345 kV Hub (ERCOT 345)

(1)
The ERCOT Hub Average 345 kV Hub price, for both Day-Ahead and Real-Time, is the simple average of four prices from the applicable time period: the North 345 kV Hub price, the South 345 kV Hub price, the Houston 345 kV Hub price, and the West 345 kV Hub price.

(2)
The Day-Ahead Settlement Point Price for the Hub “ERCOT 345” for a given Operating Hour is calculated as follows: 

DASPP ERCOT345
=
(DASPP North345 + DASPP South345 + DASPP Houston345 + DASPP West345) / 4

The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP ERCOT345
	$/MWh
	Day-Ahead Settlement Point Price at ERCOT 345(The DAM Settlement Point Price at ERCOT 345 Hub for the hour.

	DASPP North345
	$/MWh
	Day-Ahead Settlement Point Price at North 345(The DAM Settlement Point Price at the North 345 Hub for the hour.

	DASPP South345
	$/MWh
	Day-Ahead Settlement Point Price at South 345(The DAM Settlement Point Price at the South 345 Hub for the hour.

	DASPP Houston345
	$/MWh
	Day-Ahead Settlement Point Price at Houston 345(The DAM Settlement Point Price at the Houston 345 Hub for the hour.

	DASPP West345
	$/MWh
	Day-Ahead Settlement Point Price at West 345(The DAM Settlement Point Price at the West 345 Hub for the hour.


(3)
The Real-Time Settlement Point Price for the Hub “ERCOT 345” for a given 15-minute Settlement Interval is calculated as follows: 

RTSPP ERCOT345
=
(RTSPP North345 + RTSPP South345 + RTSPP Houston345 + RTSPP West345) / 4

The above variables are defined as follows:

	Variable
	Unit
	Definition

	RTSPP ERCOT345
	$/MWh
	Real-Time Settlement Point Price at ERCOT 345(The Real-Time Settlement Point Price at ERCOT 345 Hub for the 15-minute Settlement Interval.

	RTSPP North345
	$/MWh
	Real-Time Settlement Point Price at North 345(The Real-Time Settlement Point Price at the North 345 Hub for the 15-minute Settlement Interval.

	RTSPP South345
	$/MWh
	Real-Time Settlement Point Price at South 345(The Real-Time Settlement Point Price at the South 345 Hub for the 15-minute Settlement Interval.

	RTSPP Houston345
	$/MWh
	Real-Time Settlement Point Price at Houston 345(The Real-Time Settlement Point Price at the Houston 345 Hub for the 15-minute Settlement Interval.

	RTSPP West345
	$/MWh
	Real-Time Settlement Point Price at West 345(The Real-Time Settlement Point Price at the West 345 Hub for the 15-minute Settlement Interval.


3.5.2.6
ERCOT Bus Average 345 kV Hub (ERCOT 345 Bus)

(1)
The ERCOT Bus Average 345 kV Hub is composed of the Hub Buses listed in Section 3.5.2.1, North 345 kV Hub (North 345); Section 3.5.2.2, South 345 kV Hub (South 345); Section 3.5.2.3, Houston 345 kV Hub (Houston 345); and Section 3.5.2.4,West 345 kV Hub (West 345).

(2)
The ERCOT Bus Average 345 kV Hub is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)
The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows: 

DASPP ERCOT345Bus
=

[image: image59.wmf]hb

S

(HUBDF hb, ERCOT345Bus * DAHBP hb, ERCOT345Bus), if HB ERCOT345Bus ≠0

DASPP ERCOT345Bus
=
0, if HB ERCOT345Bus =0

Where:

DAHBP hb, ERCOT345Bus
=

[image: image60.wmf]b

S

(HBDF b, hb, ERCOT345Bus * DALMP b, hb, ERCOT345Bus)
HUBDF hb, ERCOT345Bus
=
1 / (HB North345 + HB South345 + HB Houston345 + HB West345)

If Electrical Bus b is a component of “North 345”



HBDF b, hb, ERCOT345Bus
=
IF(B hb, North345=0, 0, 1 / B hb, North345)

Otherwise



If Electrical Bus b is a component of “South 345”




HBDF b, hb, ERCOT345Bus
=
IF(B hb, South345=0, 0, 1 / B hb, South345)

Otherwise




If Electrical Bus b is a component of “Houston 345”





HBDF b, hb, ERCOT345Bus
=
IF(B hb, Houston345=0, 0, 1 / B hb, Houston345)

Otherwise





HBDF b, hb, ERCOT345Bus
=
IF(B hb, West345=0, 0, 1 / B hb, West345)

The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP ERCOT345Bus
	$/MWh
	Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour.

	DAHBP hb, ERCOT345Bus
	$/MWh
	Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour.

	DALMP b, hb, ERCOT345Bus
	$/MWh
	Day-Ahead Locational Marginal Price at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour.

	HUBDF hb, ERCOT345Bus
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, ERCOT345Bus
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, North345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “North 345.”

	B hb, South345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “South 345.”

	B hb, Houston345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “Houston 345.”

	B hb, West345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “West 345.”

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB North345
	none
	The total number of Hub Buses in “North 345.”

	HB South345
	none
	The total number of Hub Buses in “South 345.”

	HB Houston345
	none
	The total number of Hub Buses in “Houston 345.”

	HB West345
	none
	The total number of Hub Buses in “West 345.”


(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP ERCOT345Bus
=

[image: image61.wmf]hb

S

(HUBDF hb, ERCOT345Bus * (
[image: image62.wmf]y

S

(RTHBP hb, ERCOT345Bus, y * TLMP y) / (
[image: image63.wmf]y

S

TLMP y))), if HB ERCOT345Bus ≠0

RTSPP ERCOT345Bus
=
0, if HB ERCOT345Bus =0

Where:

RTHBP hb, ERCOT345Bus, y
=

[image: image64.wmf]b

S

(HBDF b, hb, ERCOT345Bus * RTLMP b, hb, ERCOT345Bus, y)

HUBDF hb, ERCOT345Bus
=
1 / (HB North345 + HB South345 + HB Houston345 + HB West345)

If Electrical Bus b is a component of “North 345”



HBDF b, hb, ERCOT345Bus
=
IF(B hb, North345=0, 0, 1 / B hb, North345)

Otherwise



If Electrical Bus b is a component of “South 345”




HBDF b, hb, ERCOT345Bus
=
IF(B hb, South345=0, 0, 1 / B hb, South345)

Otherwise




If Electrical Bus b is a component of “Houston 345”





HBDF b, hb, ERCOT345Bus
=
IF(B hb, Houston345=0, 0, 1 / B hb, Houston345)

Otherwise





HBDF b, hb, ERCOT345Bus
=
IF(B hb, West345=0, 0, 1 / B hb, West345)

The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP ERCOT345Bus
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

	RTHBP hb, ERCOT345Bus, y
	$/MWh
	Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.

	RTLMP b, hb, ERCOT345Bus, y
	$/MWh
	Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval

	HUBDF hb, ERCOT345Bus
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, ERCOT345Bus
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, North345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “North 345.”

	B hb, South345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “South 345.”

	B hb, Houston345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “Houston 345.”

	B hb, West345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “West 345.”

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB North345
	none
	The total number of Hub Buses in “North 345.”

	HB South345
	none
	The total number of Hub Buses in “South 345.”

	HB Houston345
	none
	The total number of Hub Buses in “Houston 345.”

	HB West345
	none
	The total number of Hub Buses in “West 345.”


	[NPRR568: Replace paragraph (4) above with the following upon system implementation:]
(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP ERCOT345Bus
=
Max [-$251, (RTRSVPOR + RTRDP + 
[image: image65.wmf]hb

S

(HUBDF hb, ERCOT345Bus * (
[image: image66.wmf]y

S

(RTHBP hb, ERCOT345Bus, y * TLMP y) / (
[image: image67.wmf]y

S

TLMP y))))], if HB ERCOT345Bus ≠0

RTSPP ERCOT345Bus
=
0, if HB ERCOT345Bus =0

Where:

RTRSVPOR 
=

[image: image68.wmf]y

S

(RNWF  y * RTORPA y)
RTRDP                       =           
[image: image69.wmf]y

S

(RNWFy  * RTORDPAy)
RNWF y
=
TLMP y / 
[image: image70.wmf]y

S

TLMP y
RTHBP hb, ERCOT345Bus, y
=

[image: image71.wmf]b

S

(HBDF b, hb, ERCOT345Bus * RTLMP b, hb, ERCOT345Bus, y)

HUBDF hb, ERCOT345Bus
=
1 / (HB North345 + HB South345 + HB Houston345 + HB West345)

If Electrical Bus b is a component of “North 345”



HBDF b, hb, ERCOT345Bus
=
IF(B hb, North345=0, 0, 1 / B hb, North345)

Otherwise



If Electrical Bus b is a component of “South 345”




HBDF b, hb, ERCOT345Bus
=
IF(B hb, South345=0, 0, 1 / B hb, South345)

Otherwise




If Electrical Bus b is a component of “Houston 345”





HBDF b, hb, ERCOT345Bus
=
IF(B hb, Houston345=0, 0, 1 / B hb, Houston345)

Otherwise





HBDF b, hb, ERCOT345Bus
=
IF(B hb, West345=0, 0, 1 / B hb, West345)

The above variables are defined as follows:

Variable

Unit

Description

RTSPP ERCOT345Bus
$/MWh

Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

RTRSVPOR

$/MWh

Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
RTORPA y
$/MWh

Real-Time On-Line Reserve Price Adder per interval(The Real-Time On-Line Reserve Price Adder for the SCED interval y.
RTRDP

$/MWh

Real-Time On-Line Reliability Deployment Price----The Real-Time price for the 15-minute Settlement Interval, reflecting the impact of reliability deployments on energy prices that are calculated from the Real-Time On-Line Reliability Deployment Price Adder.  

RTORDPAy
$/MWh

Real-Time On-Line Reliability Deployment Price Adder (The Real-Time Price Adder that captures the impact of reliability deployments on energy prices for the SCED interval y. 

RNWF y
none

Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the Settlement Interval.
RTHBP hb, ERCOT345Bus, y
$/MWh

Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.
RTLMP b, hb, ERCOT345Bus, y
$/MWh

Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

TLMP y
second
Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval
HUBDF hb, ERCOT345Bus
none

Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

HBDF b, hb, ERCOT345Bus
none

Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

y

none

A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

b

none

An energized Electrical Bus that is a component of a Hub Bus.

B hb, North345
none

The total number of energized Electrical Buses in Hub Bus hb that is a component of “North 345.”

B hb, South345
none

The total number of energized Electrical Buses in Hub Bus hb that is a component of “South 345.”

B hb, Houston345
none

The total number of energized Electrical Buses in Hub Bus hb that is a component of “Houston 345.”

B hb, West345
none

The total number of energized Electrical Buses in Hub Bus hb that is a component of “West 345.”

hb

none

A Hub Bus that is a component of the Hub.

HB North345
none

The total number of Hub Buses in “North 345.”

HB South345
none

The total number of Hub Buses in “South 345.”

HB Houston345
none

The total number of Hub Buses in “Houston 345.”

HB West345
none

The total number of Hub Buses in “West 345.”




6.3
Adjustment Period and Real-Time Operations Timeline

(1)
The figure below highlights the major activities that occur in the Adjustment Period and Real-Time operations: 

[image: image196.emf]Preparation for

Real-Time Ops

Adj Period

18:00

(D – 1)

60 Minutes

Prior to

Op Hour

QSE Deadline:

Update Energy Offers

Submit HRUC Offers

Update Output Schedules

Update Inc/Dec Offers for DSRs

ERCOT Activity:

LFC Process every 4 secs

Execute SCED every 5 mins

Communicate Instructions

& Prices

ERCOT Activity:

Snapshot Inputs & 

Execute HRUC

Operating Period

Operating Hour

Clock

Hour

T

Adjustment Period & Real-Time Operations

Real-Time 

Operations

QSE Deadline:

Update Output Schedules for DSRs

Provide SCADA Telemetry

ERCOT Activity:

Communicate

HRUC Commitments


	[NPRR555:  Replace paragraph (1) above with the following upon system implementation:]

(1)
The figure below highlights the major activities that occur in the Adjustment Period and Real-Time operations: 




(2)
Activities for the Adjustment Period begin at 1800 in the Day-Ahead and end one full hour before the start of the Operating Hour.  The figure above is intended to be only a general guide and not controlling language, and any conflict between this figure and another section of the Protocols is controlled by the other section.

(3)
ERCOT shall monitor Real-Time Locational Marginal Prices (LMPs), Supplemental Ancillary Services Market (SASM) Market Clearing Prices for Capacity (MCPCs), and Real-Time Settlement Point Prices, including Real-Time prices for energy metered, for errors and if there are conditions that cause the price to be questionable, ERCOT shall notify all Market Participants that the Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices are under investigation as soon as practicable.  

	[NPRR568:  Replace paragraph (3) above with the following upon system implementation and renumber accordingly:]

(3)
ERCOT shall monitor Real-Time Locational Marginal Prices (LMPs), Supplemental Ancillary Services Market (SASM) Market Clearing Prices for Capacity (MCPCs), and Real-Time Settlement Point Prices, including Real-Time prices for energy metered, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reliability Deployment Prices, Real-Time Off-Line Reserve Price Adders, Real-Time On-Line Reserve Price Adders, Real-Time Reserve Prices for On-Line Reserves and Real-Time Reserve Prices for Off-Line Reserves, for errors and if there are conditions that cause the price to be questionable, ERCOT shall notify all Market Participants that the Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices are under investigation as soon as practicable.


(4)
ERCOT shall correct prices when: (i) a market solution is determined to be invalid, (ii) invalid prices are identified in an otherwise valid market solution, or (iii) the Base Points received by Market Participants are inconsistent with the Base Points of a valid market solution, unless accurate prices cannot be determined.  The following are some reasons that may cause these conditions.

(a)
Data Input error:  Missing, incomplete, stale, or incorrect versions of one or more data elements input to the market applications may result in an invalid market solution and/or prices.

(b)
Data Output error:  These include: (i) incorrect or incomplete data transfer, (ii) price recalculation error in post-processing, and (iii) Base Points inconsistent with prices due to the Emergency Base Point flag remaining activated even when the Security-Constrained Economic Dispatch (SCED) solution is valid.

(c)
Hardware/Software error: These include unpredicted hardware or software failures, planned market system or database outages, planned application or database upgrades, software implementation errors, and failure of the market run to complete.

(d)
Inconsistency with the Protocols or Public Utility Commission of Texas (PUCT) Substantive Rules:  Pricing errors may occur when specific circumstances result in prices that are in conflict with such Protocol language or the PUCT Substantive Rules.

(5)
If it is determined that any Real-Time Settlement Point Prices, Settlement Point LMPs, Electrical Bus LMPs, Real-Time prices for energy metered, and/or constraint Shadow Prices are erroneous, ERCOT shall correct the prices before the prices are considered final in paragraph (6) below.  Specifically:
(a)
If it is determined that correcting the Real-Time Settlement Point Prices will not affect the Base Points that were received by Qualified Scheduling Entities (QSEs), then ERCOT shall correct the prices before the prices are considered final in paragraph (6) below.

(b)
If it is determined that correcting the Real-Time Settlement Point Prices will affect the Base Points that were received by QSEs, then ERCOT shall correct the prices before the prices are considered final and settle the SCED executions as failed in accordance with Section 6.5.9.2, Failure of the SCED Process.  
(c)
If the Base Points received by QSEs are inconsistent with the Real-Time Settlement Point Prices, then ERCOT shall consider those Base Points as due to manual override from the ERCOT Operator and settle the relevant Settlement Interval(s) in accordance with Section 6.6.9, Emergency Operations Settlement.
	[NPRR568:  Replace paragraph (5) above with the following upon system implementation and renumber accordingly:]

(5)
If it is determined that any Real-Time Settlement Point Prices, Settlement Point LMPs, Electrical Bus LMPs, Real-Time prices for energy metered, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reliability Deployment Prices, Real-Time On-Line Reserve Price Adders, Real-Time Off-Line Reserve Price Adders, Real-Time Reserve Prices for On-Line Reserves, Real-Time Reserve Prices for Off-Line Reserves, and/or constraint Shadow Prices are erroneous, ERCOT shall correct the prices before the prices are considered final in paragraph (6) below.  Specifically:

(a)
If it is determined that correcting the Real-Time Settlement Point Prices will not affect the Base Points that were received by Qualified Scheduling Entities (QSEs), then ERCOT shall correct the prices before the prices are considered final in paragraph (6) below.

(b)
If it is determined that correcting the Real-Time Settlement Point Prices will affect the Base Points that were received by QSEs, then ERCOT shall correct the prices before the prices are considered final and settle the SCED executions as failed in accordance with Section 6.5.9.2, Failure of the SCED Process.  

(c)
If the Base Points received by QSEs are inconsistent with the Real-Time Settlement Point Prices reduced by the sum of the Real-Time On-Line Reliability Deployment Prices and the Real-Time Reserve Prices for On-Line Reserves averaged over the 15-minute Settlement Interval, then ERCOT shall consider those Base Points as due to manual override from the ERCOT Operator and settle the relevant Settlement Interval(s) in accordance with Section 6.6.9, Emergency Operations Settlement.


(6)
All Real-Time LMPs, Real-Time Settlement Point Prices, Real-Time prices for energy metered, and SASM MCPCs are final at 1600 of the second Business Day after the Operating Day.  

(a)
However, after Real-Time LMPs, Real Time Settlement Point Prices, Real-Time prices for energy metered, and SASM MCPCs are final, if ERCOT determines that prices are in need of correction and seeks ERCOT Board review of such prices, it shall notify Market Participants and describe the need for such correction as soon as practicable but no later than 30 days after the Operating Day.  Failure to notify Market Participants within this timeline precludes the ERCOT Board from reviewing such prices.  However, nothing in this section shall be understood to limit or otherwise inhibit any of the following:

(i)
ERCOT’s duty to inform the PUCT of potential or actual violations of the ERCOT Protocols or PUCT Rules and its right to request that the PUCT authorize correction of any prices that may have been affected by such potential or actual violations; 

(ii)
The PUCT’s authority to order price corrections when permitted to do so under other law; or

(iii)
ERCOT’s authority to grant relief to a Market Participant pursuant to the timelines specified in Section 20, Alternative Dispute Resolution Procedure.  
(b)
The ERCOT Board may review and change Real-Time LMPs, Real-Time Settlement Point Prices, Real-Time prices for energy metered, and SASM MCPCs if ERCOT gave timely notice to Market Participants and the ERCOT Board finds that such prices are significantly affected by an error.

(c)
In review of Real-Time LMPs, Real Time Settlement Point Prices, Real-Time prices for energy metered, and SASM MCPCs, the ERCOT Board may rely on the same reasons identified in paragraph (4) above to find that the prices are significantly affected by an error.
	[NPRR568:  Replace paragraph (6) above with the following upon system implementation:]

(6)
All Real-Time LMPs, Real-Time Settlement Point Prices, Real-Time prices for energy metered, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reliability Deployment Prices, Real-Time Reserve Prices for On-Line Reserves, Real-Time Reserve Prices for Off-Line Reserves, Real-Time On-Line Reserve Price Adders, Real-Time Off-Line Reserve Price Adders and SASM MCPCs are final at 1600 of the second Business Day after the Operating Day.  

(a)
However, after Real-Time LMPs, Real Time Settlement Point Prices, Real-Time prices for energy metered, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On- Line Reliability Deployment Prices,  Real-Time Reserve Prices for On-Line Reserves, Real-Time Reserve Prices for Off-Line Reserves, Real-Time On-Line Reserve Price Adders, Real-Time Off-Line Reserve Price Adders and SASM MCPCs are final, if ERCOT determines that prices are in need of correction and seeks ERCOT Board review of such prices, it shall notify Market Participants and describe the need for such correction as soon as practicable but no later than 30 days after the Operating Day.  Failure to notify Market Participants within this timeline precludes the ERCOT Board from reviewing such prices.  However, nothing in this section shall be understood to limit or otherwise inhibit any of the following:

(i)
ERCOT’s duty to inform the PUCT of potential or actual violations of the ERCOT Protocols or PUCT Rules and its right to request that the PUCT authorize correction of any prices that may have been affected by such potential or actual violations; 

(ii)
The PUCT’s authority to order price corrections when permitted to do so under other law; or

(iii)
ERCOT’s authority to grant relief to a Market Participant pursuant to the timelines specified in Section 20, Alternative Dispute Resolution Procedure.  

(b)
The ERCOT Board may review and change Real-Time LMPs, Real-Time Settlement Point Prices, Real-Time prices for energy metered, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reliability Deployment Prices,  Real-Time Reserve Prices for On-Line Reserves, Real-Time Reserve Prices for Off-Line Reserves, Real-Time On-Line Reserve Price Adders, Real-Time Off-Line Reserve Price Adders and SASM MCPCs if ERCOT gave timely notice to Market Participants and the ERCOT Board finds that such prices are significantly affected by an error.

(c)
In review of Real-Time LMPs, Real Time Settlement Point Prices, Real-Time prices for energy metered, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reliability Deployment Prices,  Real-Time Reserve Prices for On-Line Reserves, Real-Time Reserve Prices for Off-Line Reserves, Real-Time On-Line Reserve Price Adders, Real-Time Off-Line Reserve Price Adders and SASM MCPCs, the ERCOT Board may rely on the same reasons identified in paragraph (4) above to find that the prices are significantly affected by an error.


6.3.2
Activities for Real-Time Operations

(1)
Activities for Real-Time operations begin at the end of the Adjustment Period and conclude at the close of the Operating Hour.

(2)
The following table summarizes the timeline for the Operating Period and the activities of QSEs and ERCOT during Real-Time operations where “T” represents any instant within the Operating Hour.  The table is intended to be only a general guide and not controlling language, and any conflict between this table and another section of the Protocols is controlled by the other section:

	Operating Period
	QSE Activities
	ERCOT Activities

	During the first hour of the Operating Period 
	
	Execute the Hour-Ahead Sequence, including HRUC, beginning with the second hour of the Operating Period

Review and communicate HRUC commitments and Direct Current Tie (DC Tie) Schedule curtailments

Snapshot the Scheduled Power Consumption for Controllable Load Resources

	Before the start of each SCED run
	Update Output Schedules for DSRs


	Validate Output Schedules for DSRs

Execute Real-Time Sequence

	SCED run
	
	Execute SCED

	During the Operating Hour
	Telemeter the Ancillary Service Resource Responsibility for each Resource

Acknowledge receipt of Dispatch Instructions

Comply with Dispatch Instruction

Review Resource Status to assure current state of the Resources is properly telemetered

Update COP with actual Resource Status and limits and Ancillary Service Schedules 

Communicate Resource Forced Outages to ERCOT 

Communicate to ERCOT Resource changes to Ancillary Service Resource Responsibility via telemetry in the time window beginning 30 seconds prior to the five-minute clock interval and ending ten seconds prior to that five-minute clock interval
	Communicate all binding Base Points, Dispatch Instructions and LMPs for energy and Ancillary Services using Inter-Control Center Communications Protocol (ICCP) or Verbal Dispatch Instructions (VDIs)

Monitor Resource Status and identify discrepancies between COP and telemetered Resource Status

Restart Real-Time Sequence on major change of Resource or Transmission Element Status

Monitor ERCOT total system capacity providing Ancillary Services 

Validate COP information

Monitor ERCOT control performance

Distribute by ICCP, and post on the MIS Public Area, System Lambda and the LMPs for each Resource Node, Load Zone and Hub created by each SCED process; and post on the MIS Public Area, the sum of each type of available reserves, including total Real-Time reserve amount for On-Line reserves, total Real-Time reserve amount for Off-Line reserves, Real-Time Reserve Price Adders for On-Line Reserves and Real-Time Reserve Price Adders for Off-Line Reserves.  These prices shall be posted immediately subsequent to deployment of Base Points from SCED with the time stamp the prices are effective

Post LMPs for each Electrical Bus on the MIS Public Area.  These prices shall be posted immediately subsequent to deployment of Base Points from each binding SCED with the time stamp the prices are effective

Post on the MIS Public Area the projected non-binding LMPs created by each SCED process for each Resource Node, the projected Hub LMPs and Load Zone LMPs.  These projected prices shall be posted at a frequency of every five minutes from SCED for at least 15 minutes in the future with the time stamp of the SCED process that produced the projections 

Post on the MIS Certified Area the projected non-binding Base Points for each Resource created by each SCED process.  These projected non-binding Base Points shall be posted at a frequency of every five minutes from SCED for at least 15 minutes in the future with the time stamp of the SCED process that produced the projections

Post each hour on the MIS Public Area binding SCED Shadow Prices and active binding transmission constraints by Transmission Element name (contingency /overloaded element pairs) 

Post the Settlement Point Prices for each Settlement Point immediately following the end of each Settlement Interval  

Post parameters as required by Section 6.4.8, Ancillary Services Capacity During the Adjustment Period and in Real-Time, on the MIS Public Area


	[NPRR568:  Replace paragraph (2) above with the following upon system implementation:]

(2)
The following table summarizes the timeline for the Operating Period and the activities of QSEs and ERCOT during Real-Time operations where “T” represents any instant within the Operating Hour.  The table is intended to be only a general guide and not controlling language, and any conflict between this table and another section of the Protocols is controlled by the other section:

Operating Period

QSE Activities

ERCOT Activities

During the first hour of the Operating Period 

Execute the Hour-Ahead Sequence, including HRUC, beginning with the second hour of the Operating Period

Review and communicate HRUC commitments and Direct Current Tie (DC Tie) Schedule curtailments

Snapshot the Scheduled Power Consumption for Controllable Load Resources

Before the start of each SCED run

Update Output Schedules for DSRs

Validate Output Schedules for DSRs

Execute Real-Time Sequence

SCED run

Execute SCED and pricing run to determine impact of reliability deployments on energy prices
During the Operating Hour

Telemeter the Ancillary Service Resource Responsibility for each Resource

Acknowledge receipt of Dispatch Instructions

Comply with Dispatch Instruction

Review Resource Status to assure current state of the Resources is properly telemetered

Update COP with actual Resource Status and limits and Ancillary Service Schedules 

Communicate Resource Forced Outages to ERCOT 

Communicate to ERCOT Resource changes to Ancillary Service Resource Responsibility via telemetry in the time window beginning 30 seconds prior to the five-minute clock interval and ending ten seconds prior to that five-minute clock interval

Communicate all binding Base Points, Dispatch Instructions, and the sum of each type of available reserves, including total Real-Time reserve amount for On-Line reserves, total Real-Time reserve amount for Off-Line reserves, Real-Time Reserve Price Adders for On-Line Reserves, and Real-Time Reserve Price Adders for Off-Line Reserves and LMPs for energy and Ancillary Services, and for the pricing run the total RUC/Reliability Must-Run (RMR) Low Dispatch Limit (LDL) relaxed, total Load Resource MW deployed that is added to the Demand, total Emergency Response Service (ERS) MW deployed that is added to the Demand, total Low Ancillary Service Limit (LASL), total High Ancillary Service Limit (HASL), Real-Time On-Line Reliability Deployment Price Adder using Inter-Control Center Communications Protocol (ICCP) or Verbal Dispatch Instructions (VDIs)

Monitor Resource Status and identify discrepancies between COP and telemetered Resource Status

Restart Real-Time Sequence on major change of Resource or Transmission Element Status

Monitor ERCOT total system capacity providing Ancillary Services 

Validate COP information

Monitor ERCOT control performance

Distribute by ICCP, and post on the MIS Public Area, System Lambda and the LMPs for each Resource Node, Load Zone and Hub, and the sum of each type of available reserves, including total Real-Time reserve amount for On-Line reserves, total Real-Time reserve amount for Off-Line reserves, Real-Time Reserve Price Adders for On-Line Reserves and Real-Time Reserve Price Adders for Off-Line Reserves, and for the pricing run the total RUC/RMR LSL relaxed, total Load Resource MW deployed that is added to the Demand, total ERS MW deployed that is added to the Demand, total LASL, total HASL, Real-Time On-Line Reliability Deployment Price Adder created for each SCED process.  These prices shall be posted immediately subsequent to deployment of Base Points from SCED with the time stamp the prices are effective

Post LMPs for each Electrical Bus on the MIS Public Area.  These prices shall be posted immediately subsequent to deployment of Base Points from each binding SCED with the time stamp the prices are effective

Post on the MIS Public Area the projected non-binding LMPs created by each SCED process for each Resource Node, the projected total Real-Time reserve amount for On-Line reserves and Off-Line reserves, the projected Real-Time On-Line Reserve Price Adders and Real-Time Off-Line Reserve Price Adders, and for the projected non-binding pricing runs the total RUC/RMR LSL relaxed, total Load Resource MW deployed that is added to Demand, total ERS MW deployed that are deployed that is added to the Demand, total LASL, total HASL, Real-Time On-Line Reliability Deployment Price Adder and the projected Hub LMPs and Load Zone LMPs.  These projected prices shall be posted at a frequency of every five minutes from SCED for at least 15 minutes in the future with the time stamp of the SCED process that produced the projections 

Post on the MIS Certified Area the projected non-binding Base Points for each Resource created by each SCED process.  These projected non-binding Base Points shall be posted at a frequency of every five minutes from SCED for at least 15 minutes in the future with the time stamp of the SCED process that produced the projections

Post each hour on the MIS Public Area binding SCED Shadow Prices and active binding transmission constraints by Transmission Element name (contingency /overloaded element pairs) 

Post the Settlement Point Prices for each Settlement Point immediately following the end of each Settlement Interval  

Post the Real-Time On-Line Reliability Deployment Price, Real-Time Reserve Price for On-Line Reserves and  the Real-Time Reserve Price for Off-Line Reserves immediately following the end of each Settlement Interval  

Post parameters as required by Section 6.4.8, Ancillary Services Capacity During the Adjustment Period and in Real-Time, on the MIS Public Area




(3)
At the beginning of each hour, ERCOT shall post on the MIS Public Area the following information:

(a)
Changes in ERCOT System conditions that could affect the security and dynamic transmission limits of the ERCOT System, including:

(i)
Changes or expected changes, in the status of Transmission Facilities as recorded in the Outage Scheduler for the remaining hours of the current Operating Day and all hours of the next Operating Day; and

(ii)
Any conditions such as adverse weather conditions as determined from the ERCOT-designated weather service;

(b)
Updated system-wide Load forecasts;

(c)
The quantities of Reliability Must-Run (RMR) Services deployed by ERCOT for each previous hour of the current Operating Day;

(d)
Total ERCOT System Demand, from Real-Time operations, integrated over each Settlement Interval; and 

(e)
Updated Electrical Bus Load distribution factors and other information necessary to forecast Electrical Bus Loads for each hour of the current Operating Day and all hours of the next Operating Day.

(4)
No later than 0600, ERCOT shall post on the MIS Public Area the actual system Load by Weather Zone for each hour of the previous Operating Day.
6.5.7.3
Security Constrained Economic Dispatch

(1)
The SCED process is designed to simultaneously manage energy, the system power balance and network congestion through Resource Base Points and calculation of LMPs every five minutes.  The SCED process uses a two-step methodology that applies mitigation prospectively to resolve network Non-Competitive Constraints for the current Operating Hour.  The SCED process evaluates Energy Offer Curves and Output Schedules to produce a least cost dispatch of On-Line Generation Resources to the total current generation requirement determined by LFC, subject to power balance and network constraints.  The SCED process uses the Resource Status provided by SCADA telemetry under Section 6.5.5.2, Operational Data Requirements, and validated by the Real-Time Sequence, instead of the Resource Status provided by the COP. 
	[NPRR257 & NPRR555:  Replace applicable portions of paragraph (1) above with the following upon system implementation:]

(1)
The SCED process is designed to simultaneously manage energy, the system power balance and network congestion through Resource Base Points and calculation of LMPs every five minutes.  The SCED process uses a two-step methodology that applies mitigation prospectively to resolve Non-Competitive Constraints for the current Operating Hour.  The SCED process evaluates Energy Offer Curves, Output Schedules and Real-Time Market (RTM) Energy Bids to determine Resource Dispatch Instructions by maximizing bid-based revenues minus offer-based costs, subject to power balance and network constraints.  The SCED process uses the Resource Status provided by SCADA telemetry under Section 6.5.5.2, Operational Data Requirements, and validated by the Real-Time Sequence, instead of the Resource Status provided by the COP.  An RTM Energy Bid represents the bid for energy distributed across all nodes in the Load Zone in which the Controllable Load Resource is located.


(2)
The SCED solution must monitor cumulative deployment of Regulation Services and ensure that Regulation Services deployment is minimized over time.

	[NPRR555:  Insert paragraph (3) below upon system implementation and renumber accordingly:]

(3)
In the generation-to-be-dispatched determined by LFC, ERCOT shall subtract the sum of the telemetered net real power consumption from all Controllable Load Resources available to SCED.


(3)
For use as SCED inputs, ERCOT shall use the available capacity of all committed Generation Resources by creating proxy Energy Offer Curves for certain Resources as follows: 

(a)
Non-WGRs and Dynamically Scheduled Resources (DSRs) without Energy Offer Curves

ERCOT shall create a monotonically increasing proxy Energy Offer Curve as described below for:

(i)
Each non-WGR for which its QSE has submitted an Output Schedule instead of an Energy Offer Curve; and

(ii)
Each DSR that has not submitted Incremental and Decremental Energy Offer Curves.

	MW
	Price (per MWh)

	HSL
	SWCAP

	Output Schedule MW plus 1 MW
	SWCAP minus $0.01

	Output Schedule MW
	-$249.99

	LSL
	-$250.00


(b)
DSRs with Energy Offer Curves

For each DSR that has submitted incremental and decremental Energy Offer Curves, ERCOT shall create a monotonically increasing proxy Energy Offer Curve.  That curve must consist of the incremental Energy Offer Curve that reflects the available capacity above the Resource’s Output Schedule to its HSL and the decremental Energy Offer Curve that reflects the available capacity below the Resource’s Output Schedule to the LSL.  The curve must be created as described below:

	MW
	Price (per MWh)

	Output Schedule MW plus 1 MW to HSL
	Incremental Energy Offer Curve

	LSL to Output Schedule MW 
	Decremental Energy Offer Curve


(c)
Non-WGRs without full-range Energy Offer Curves 

For each non-WGR for which its QSE has submitted an Energy Offer Curve that does not cover the full range of the Resource’s available capacity, ERCOT shall create a proxy Energy Offer Curve that extends the submitted Energy Offer Curve to use the entire available capacity of the Resource using the SWCAP above the highest point on the Energy Offer Curve to the Resource’s HSL and the offer floor from the lowest point on the Energy Offer Curve to its LSL, using these points:

	MW
	Price (per MWh)

	HSL (if more than highest MW in Energy Offer Curve)
	SWCAP

	1 MW above highest MW in Energy Offer Curve (if less than HSL)
	SWCAP minus $0.01

	Energy Offer Curve
	Energy Offer Curve

	1 MW below lowest MW in Energy Offer Curve (if more than LSL)
	-$249.99

	LSL (if less than lowest MW in Energy Offer Curve)
	-$250.00


(d)
WGRs

(i)
For each WGR that has not submitted an Energy Offer Curve, ERCOT shall create a monotonically increasing proxy Energy Offer Curve as described below:

	MW
	Price (per MWh)

	HSL
	SWCAP

	HSL minus 1 MW
	-$249.99

	LSL
	-$250.00


(ii)
For each WGR for which its QSE has submitted an Energy Offer Curve, ERCOT shall create a monotonically increasing proxy Energy Offer Curve as described below:

	MW
	Price (per MWh)

	HSL (if more than highest MW in Energy Offer Curve)
	SWCAP

	1 MW above highest MW in Energy Offer Curve (if less than HSL)
	SWCAP minus $0.01

	Energy Offer Curve
	Energy Offer Curve

	1 MW below lowest MW in Energy Offer Curve (if more than LSL)
	-$249.99

	LSL (if less than lowest MW in Energy Offer Curve)
	-$250.00


(4)
The Entity with decision making authority, as more fully described in Section 3.19.1, Constraint Competitiveness Test Definitions, over how a Resource or Split Generation Resource is offered or scheduled, shall be responsible for all offers associated with each Resource, including offers represented by a proxy Energy Offer Curve. 
	[NPRR555:  Insert paragraphs (5) – (7) below upon system implementation and renumber accordingly:]

(5)
For a Controllable Load Resource whose QSE has submitted an RTM Energy Bid that does not cover the full range of the Resource’s available Demand response capability, consistent with the Controllable Load Resource’s telemetered quantities, ERCOT shall create a proxy energy bid as described below:
MW

Price (per MWh)

LPC to MPC minus maximum MW of RTM Energy Bid

SWCAP

MPC minus maximum MW of RTM Energy Bid to MPC

RTM Energy Bid curve

MPC

Right-most point (lowest price) on RTM Energy Bid curve

(6)
ERCOT shall ensure that any RTM Energy Bid is monotonically non-increasing.  The QSE representing the Controllable Load Resource shall be responsible for all RTM Energy Bids, including bids updated by ERCOT as described above.
(7)
A Controllable Load Resource with a telemetered status of OUTL is not considered as dispatchable capacity by SCED.  A QSE may use this function to inform ERCOT of instances when the Controllable Load Resource is unable to follow SCED Dispatch Instructions.  Under all telemetered statuses including OUTL, the remaining telemetry quantities submitted by the QSE shall represent the operating conditions of the Controllable Load Resource that can be verified by ERCOT.  A QSE representing a Controllable Load Resource with a telemetered status of OUTL is still obligated to provide any applicable Ancillary Service Resource Responsibilities previously awarded to that Controllable Load Resource.


(5)
Energy Offer Curves that were constructed in whole or in part with proxy Energy Offer Curves shall be so marked in all ERCOT postings or references to the energy offer.
(6)
The two-step SCED methodology referenced in paragraph (1) above is:

(a)
The first step is to execute the SCED process to determine Reference LMPs.  In this step, ERCOT executes SCED using the full Network Operations Model while only observing limits of Competitive Constraints.  Energy Offer Curves for all On-Line Generation Resources, whether submitted by QSEs or created by ERCOT under this Section, are used in the SCED to determine “Reference LMPs.”

	[NPRR555:  Replace item (6)(a) above with the following upon system implementation:]

(a)
The first step is to execute the SCED process to determine Reference LMPs.  In this step, ERCOT executes SCED using the full Network Operations Model while only observing limits of Competitive Constraints.  Energy Offer Curves for all On-Line Generation Resources and RTM Energy Bids from available Controllable Load Resources, whether submitted by QSEs or created by ERCOT under this Section, are used in the SCED to determine “Reference LMPs.”


(b)
The second step is to execute the SCED process to produce Base Points, Shadow Prices, and LMPs, subject to security constraints (including Competitive and Non-Competitive Constraints) and other Resource constraints.  The second step must:

(i)
Use Energy Offer Curves for all On-Line Generation Resources, whether submitted by QSEs or created by ERCOT.  Each Energy Offer Curve must be bounded at the lesser of the Reference LMP (from Step 1) at the Resource Node or the appropriate Mitigated Offer Floor.  In addition, each Energy Offer Curve subject to mitigation under the criteria described in Section 3.19.4, Security-Constrained Economic Dispatch Constraint Competitiveness Test, must be capped at the greater of the Reference LMP (from Step 1) at the Resource Node plus a variable not to exceed 0.01 multiplied by the value of the Resource’s Mitigated Offer Cap curve at the LSL or the appropriate Mitigated Offer Cap; and

	[NPRR555:  Insert item (6)(b)(ii) below upon system implementation and renumber accordingly:]

(ii)
Use RTM Energy Bid curves for all available Controllable Load Resources, whether submitted by QSEs or created by ERCOT.  There is no mitigation of RTM Energy Bids;


(ii)
Observe all Competitive and Non-Competitive Constraints.

(c)
ERCOT shall archive information and provide monthly summaries of security violations and any binding transmission constraints identified in Step 2 of the SCED process.  The summary must describe the limiting element (or identified operator-entered constraint with operator’s comments describing the reason and the Resource-specific impacts for any manual overrides).  ERCOT shall provide the summary to Market Participants on the MIS Secure Area and to the Independent Market Monitor (IMM).

(7)
For each SCED process, in addition to the binding Base Points and LMPs, ERCOT shall calculate a non-binding projection of the Base Points and Resource Node LMPs, Hub LMPs and Load Zone LMPs at a frequency of every five minutes for at least 15 minutes into the future based on the same inputs to the SCED process as described in this Section, except that the Resource’s HDL and LDL and the total generation requirement will be as estimated at future intervals.  The Resource’s HDL and LDL will be calculated for each interval of the projection based on the ramp rate capability over the study period.  ERCOT shall estimate the projected total generation requirement by calculating a Load forecast for the study period.  ERCOT shall post the projected non-binding Base Points for each Resource for each interval study period on the MIS Certified Area and the projected non-binding LMPs for Resource Nodes, Hub LMPs and Load Zone LMPs on the MIS Public Area pursuant to Section 6.3.2, Activities for Real-Time Operations.
	[NPRR568:  Replace paragraph (7) above with the following upon system implementation:]

(7)
For each SCED process, in addition to the binding Base Points and LMPs, ERCOT shall calculate a non-binding projection of the Base Points and Resource Node LMPs, Real-Time Reliability Deployment Price Adders,  Real-Time On-Line Reserve Price Adders, Real-Time Off-Line Reserve Price Adders, Hub LMPs and Load Zone LMPs at a frequency of every five minutes for at least 15 minutes into the future based on the same inputs to the SCED process as described in this Section, except that the Resource’s HDL and LDL and the total generation requirement will be as estimated at future intervals.  The Resource’s HDL and LDL will be calculated for each interval of the projection based on the ramp rate capability over the study period.  ERCOT shall estimate the projected total generation requirement by calculating a Load forecast for the study period.  ERCOT shall post the projected non-binding Base Points for each Resource for each interval study period on the MIS Certified Area and the projected non-binding LMPs for Resource Nodes, Real-Time Reliability Deployment Price Adders, Real-Time On-Line Reserve Price Adders, Real-Time Off-Line Reserve Price Adders, Hub LMPs and Load Zone LMPs on the MIS Public Area pursuant to Section 6.3.2, Activities for Real-Time Operations.


	[NPRR568:  Insert paragraphs (8), (9), and (10) below upon system implementation:]

(8)
For each SCED process, ERCOT shall calculate a Real-Time On-Line Reserve Price Adder and a Real-Time Off-Line Reserve Price Adder based on the On-Line and Off-Line available reserves in the ERCOT System and the Operating Reserve Demand Curve (ORDC).  The Real-Time Off-Line available reserves shall be administratively set to zero when the SCED snapshot of the Physical Responsive Capability (PRC) is equal to or below the PRC MW at which Energy Emergency Alert (EEA) Level 1 is initiated.  In addition, for each SCED process, ERCOT shall calculate a Real-Time On-Line Reliability Deployment Price Adder.  The sum of the Real-Time Reliability Deployment Price Adder and the Real-Time On-Line Reserve Price Adder shall be averaged over the 15-minute Settlement Interval and added to the Real-Time LMPs to determine the Real-Time Settlement Point Prices.  The price after the addition of the sum of the Real-Time On-Line Reliability Deployment Price Adder and the Real-Time On-Line Reserve Price Adder to LMPs approximates the pricing outcome of the impact to energy prices from reliability deployments and the Real-Time energy and Ancillary Service co-optimization since the Real-Time On-Line Reserve Price Adder captures the value of the opportunity cost of reserves based on the defined ORDC.  An Ancillary Service imbalance Settlement shall be performed pursuant to Section 6.7.4, Real-Time Ancillary Service Imbalance Payment or Charge, to make Resources indifferent to the utilization of their capacity for energy or Ancillary Service reserves.

(9)
ERCOT shall determine the methodology for implementing the ORDC to calculate the Real-Time On-Line Reserve Price Adder and Real-Time Off-Line Reserve Price Adder.  Following review by TAC, the ERCOT Board shall review the recommendation and approve a final methodology.  Within two Business Days following approval by the ERCOT Board, ERCOT shall post the methodology on the MIS Public Area.

(10)
At the end of each season, ERCOT shall determine the ORDC for the same season in the upcoming year, based on historic data using the ERCOT Board-approved methodology for implementing the ORDC.  Annually, ERCOT shall verify that the ORDC is adequately representative of the loss of Load probability for varying levels of reserves.  Twenty days after the end of the quarter, ERCOT shall post the ORDC for the same season of the upcoming year on the MIS Public Area.


	[NPRR555:  Insert paragraph (11) below upon system implementation:]

(11)
ERCOT may override one or more of a Controllable Load Resource’s parameters in SCED if ERCOT determines that the Controllable Load Resource’s participation is having an adverse impact on the reliability of the ERCOT System.


6.5.7.3.1
Determination of Real-Time On-Line Reliability Deployment Price Adder
(1)
The following categories of reliability deployments are considered in the determination of the Real-Time On-Line Reliability Deployment Price Adder:

(a)
RUC committed Resources with a telemetry Resource Status of ONRUC

(b)
RMR Resources that are On-Line

 (c)
Deployed Load Resources other than Controllable Load Resources 

(d)
Deployed Emergency Response Service (ERS); and
(e)
Firm Load Shed

(2)
The Real-Time On-Line Reliability Deployment Price Adder is an estimation of the impact to energy prices due to the above categories of reliability deployments. After the two step SCED process and also after the Real-Time On-Line Price Adder and Real-Time Off-Line Price Adder have been determined, the Real-Time On-Line Reliability Deployment Price adder is determined as follows:

(a)
For every SCED execution that includes reliability deployments (as determined by the last telemetered Resource Status), including RUC committed Resources with a telemetry Resource Status of ONRUC and RMR Resources that are On-Line shall

(i)  
Set the LSL and LDL to zero, and
(ii.) 
Have an extension of their offer curve from the first point (above LSL) back to zero megawatts.  The extension should be horizontal from the original system back to 0 MW, establishing the first point on the curve at zero megawatts.
(b) 
For all other Generation Resources that are not RUC committed Resources with a telemetry Resource Status of ONRUC or RMR Resources that are On-Line shall have :
(i)  
LDL set to the greater of Aggregated Resource Output - (60 minutes * Normal Down Ramp Rate); or LASL , and

(ii)       HDL set to the lesser of Aggregated Resource Output + (60 minutes*Normal Up Ramp Rate), or HASL

 (c)
Add the deployed MW from Load Resources other than Controllable Load Resources to generation-to-be-Dispatched. The amount of deployed MW is calculated from the Resource telemetry. After recall instruction, the amount of MW added to generation-to-be-Dispatched during the restoration period will be determined by applicable telemetry.
(d) 
Add the deployed MW from ERS to generation-to-be-Dispatched. The amount of deployed MW is determined from the Extensible Markup Language (XML) messages and ERS contracts. After recall, an approximation of the amount of un-restored ERS shall be used. After ERCOT recalls the EEA Level 1, generation-to-be-Dispatched shall be adjusted to reflect the restoration of load.  The restoration adjustment to generation-to-be-Dispatched shall initially be set to subtract from generation-to-be-Dispatched, 10% of the contracted amount of ERS each hour for ten hours.  The restoration adjustment factor shall be reviewed by TAC at least annually, and ERCOT may recommend a new restoration adjustment factor to reflect observed historical restoration patterns.

(e)
Add the firm Load Shed MWs to generation-to-be-Dispatched. The amount of firm Load Shed MW is determined by the ERCOT instructions to TSPs. Upon recall, the recalled firm Load Shed MW shall be subtracted from generation-to-be-Dispatched.

(f)
Perform a SCED with  changes to the inputs in items (a), (b), (c), (d), and (e) above, considering only Competitive Constraints and the non-mitigated Energy Offer Curves.

(g)
Perform mitigation on the submitted Energy Offer Curves using the LMPs from the previous step as the reference LMP.
(h)
Perform a SCED with the changes to the inputs in items (a), (b), (c), (d), and (e)  above, considering both Competitive and Non-Competitive Constraints and the mitigated Energy offer Curves

 (i)
Determine the positive difference between the System Lambda from item (g) above and the System Lambda of the second step in the two step SCED process described in paragraph (6)(b) of Section 6.5.7.3, Security Constrained Economic Dispatch.

(j)
Determine the amount given by the Value of Lost Load (VOLL) minus the sum of the System Lambda of the second step in the two step SCED process described in paragraph (6)(b) of Section 6.5.7.3 and the Real-Time On-Line Reserve Price Adder.

(k)
The Real-Time On-Line Reliability Deployment Price Adder is the minimum of items (i) and (j) above.

6.5.9.2
Failure of the SCED Process

(1)
When the SCED process is not able to reach a solution, ERCOT shall issue a Watch.

(2)
For intervals that the SCED process fails to reach a solution, then the LMPs for the interval for which no solution was reached are equal to the LMPs in the most recently solved interval.  For Settlement Intervals that the Real-Time Settlement Point Prices are identified as erroneous and ERCOT sets the SCED intervals as failed in accordance with Section 6.3, Adjustment Period and Real-Time Operations Timeline, then the LMPs for the failed SCED intervals are equal to the LMPs in the most recently solved SCED interval that is not set as failed.  ERCOT shall notify the market of the failure by posting on the MIS Public Area.

	[NPRR568:  Replace paragraph (2) above with the following upon system implementation:]

(2)
For intervals that the SCED process fails to reach a solution, then the LMPs, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reserve Price Adders and Real-Time Off-Line Reserve Price Adders for the interval for which no solution was reached are equal to the LMPs, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reserve Price Adders and Real-Time Off-Line Reserve Price Adders in the most recently solved interval.  For Settlement Intervals that the Real-Time Settlement Point Prices are identified as erroneous and ERCOT sets the SCED intervals as failed in accordance with Section 6.3, Adjustment Period and Real-Time Operations Timeline, then the LMPs, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reserve Price Adders and Real-Time Off-Line Reserve Price Adders for the failed SCED intervals are equal to the LMPs, Real-Time On-Line Reliability Deployment Price Adders Real-Time On-Line Reserve Price Adders and Real-Time Off-Line Reserve Price Adders in the most recently solved SCED interval that is not set as failed.  ERCOT shall notify the market of the failure by posting on the MIS Public Area.


(3)
Once ERCOT issues a Watch for a SCED process failure, ERCOT may use any of the following measures:

(a)
ERCOT may direct the SCED process to relax the active transmission constraints and/or the HASLs and LASLs for specific Resources and resume calculation of LMPs by reducing the Ancillary Service Schedules for the affected Resource, if sufficient supply exists to manage total system needs.  LMPs calculated for the affected interval must be used for Settlement;

	[NPRR568:  Replace paragraph (3)(a) above with the following upon system implementation:]

(a)
ERCOT may direct the SCED process to relax the active transmission constraints and/or the HASLs and LASLs for specific Resources and resume calculation of LMPs, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reserve Price Adders and Real-Time Off-Line Reserve Price Adders by reducing the Ancillary Service Schedules for the affected Resource, if sufficient supply exists to manage total system needs.  LMPs, Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reserve Price Adders and Real-Time Off-Line Reserve Price Adders calculated for the affected interval must be used for Settlement;


(b)
ERCOT may issue Emergency Base Points for Resources;

(c)
ERCOT may manually issue Emergency Base Points for a Resource and must communicate the Resource name, MW output requested, and start time and duration of the Dispatch Instruction to the QSE representing the Resource;

(d)
ERCOT may issue an instruction to hold the previous interval; and

(e)
A QF, a hydro Generation Resource, or a nuclear-powered Resource may be instructed by ERCOT to operate below its LSL only after all other Resource options have been exhausted.

(4)
The Watch continues until the SCED process can reach a solution without using the measures in paragraph (3) above.
6.6.1
Real-Time Settlement Point Prices

Real-Time energy Settlements use Real-Time Settlement Point Prices that are calculated for Resource Nodes, Load Zones, and Hubs.  For each Security-Constrained Economic Dispatch (SCED) Locational Marginal Price (LMP) calculated at each Settlement Point in the SCED process, there shall be an administrative price floor of -$251/MWh.  ERCOT shall assign an LMP to de-energized Electrical Buses for use in the calculation of the Real-Time Settlement Point Prices by using heuristic rules applied in the following order:

(a)
Use an appropriate LMP predetermined by ERCOT as applicable to a specific Electrical Bus; or if not so specified

(b)
Use the following rules in order:
(i)
Use average LMP for Electrical Buses within the same station having the same voltage level as the de-energized Electrical Bus, if any exist.

(ii)
Use average LMP for all Electrical Buses within the same station, if any exist.

(iii)
Use System Lambda.

	[NPRR568:  Replace Section 6.6.1 above with the following upon system implementation:]

6.6.1
Real-Time Settlement Point Prices

Real-Time energy Settlements use Real-Time Settlement Point Prices that are calculated for Resource Nodes, Load Zones, and Hubs.  For each Security-Constrained Economic Dispatch (SCED) Locational Marginal Price (LMP) calculated at each Settlement Point in the SCED process, an administrative price floor of -$251/MWh will be applied to Real-Time Settlement Point Prices after adding the sum of the Real-Time On-Line Reliability Deployment Price Adders and the Real-Time On-Line Reserve Price Adder.  ERCOT shall assign an LMP to de-energized Electrical Buses for use in the calculation of the Real-Time Settlement Point Prices by using heuristic rules applied in the following order:

(a)
Use an appropriate LMP predetermined by ERCOT as applicable to a specific Electrical Bus; or if not so specified

(b)
Use the following rules in order:

(i)
Use average LMP for Electrical Buses within the same station having the same voltage level as the de-energized Electrical Bus, if any exist.

(ii)
Use average LMP for all Electrical Buses within the same station, if any exist.

(iii)
Use System Lambda.


6.6.1.1
Real-Time Settlement Point Price for a Resource Node

(1)
Except for a logical Resource Node for a Combined Cycle Train, the Real-Time Settlement Point Price for a Resource Node Settlement Point is the time-weighted average of the Real-Time LMPs.  The Real-Time Settlement Point Price for a 15-minute Settlement Interval is calculated as follows:

RTSPP
=

[image: image72.wmf]y

S

(RNWFy * RTLMPy)

Where the Resource Node weighting factor is:

RNWFy
=
TLMPy / 
[image: image73.wmf]y

S

TLMPy
The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Settlement Point for the 15-minute Settlement Interval.

	RTLMPy
	$/MWh
	Real-Time Locational Marginal Price per interval(The Real-Time LMP at the Settlement Point for the SCED interval y.

	RNWFy
	none
	Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the Settlement Interval.

	TLMPy
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the Settlement Interval.

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.  


	[NPRR568:  Replace paragraph (1) above with the following upon system implementation:]
(1)
Except for a logical Resource Node for a Combined Cycle Train, the Real-Time Settlement Point Price for a Resource Node Settlement Point is the time-weighted average of the sum of the Real-Time LMPs, Real-Time On-Line Reliability Deployment Price Adders, and the Real-Time On-Line Reserve Price Adders.  The Real-Time Settlement Point Price for a 15-minute Settlement Interval is calculated as follows:
RTSPP
=
Max (-$251, ((
[image: image74.wmf]y

S

(RNWFy * (RTLMPy + RTORPA y+ RTORDPA y))))

Where the Resource Node weighting factor is:

RNWFy
=
TLMPy / 
[image: image75.wmf]y

S

TLMPy
The above variables are defined as follows:

Variable

Unit

Description

RTSPP

$/MWh

Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Settlement Point for the 15-minute Settlement Interval.

RTORPAy
$/MWh

Real-Time On-Line Reserve Price Adder per interval(The Real-Time On-Line Reserve Price Adder for the SCED interval y.
RTLMPy
$/MWh

Real-Time Locational Marginal Price per interval(The Real-Time LMP at the Settlement Point for the SCED interval y.

RTORDPA y
$/MWh
Real-Time On-Line Reliability Deployment Price Adder (The Real-Time Price Adder that captures the impact of reliability deployments on energy prices for the SCED interval y.
RNWFy
none

Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the Settlement Interval.

TLMPy
second
Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the Settlement Interval.

y

none

A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.  




(2)
The Real-Time Settlement Point Price at the logical Resource Node for the On-Line Combined Cycle Generation Resource shall be determined in accordance with paragraph (1) above using a Real-Time LMP calculated for the logical Resource Node in each SCED Interval as follows:
(a)
The Real-Time LMP for the logical Resource Node for each SCED interval shall be the sum of the Real-Time LMP in each SCED interval at each of the Resource Nodes of the generation units registered in the On-Line (as determined by Real-Time telemetry) Combined Cycle Generation Resource times a weight factor determined as set forth in paragraph (b) below.

Where:


RTLMP = ∑CCGR_PhyR RTLMPCCGR_PhyR * RTCCGRWFCCGR_PhyR
The above variables are defined as follows:
	Variable
	Unit
	Definition

	RTLMP
	$/MWh
	Real-Time Locational Marginal Price at a logical Resource Node for a Combined Cycle Train(The Real-Time LMP at the Combined Cycle Generation Resource logical Resource Node for a SCED Interval.

	RTLMPCCGR_PhyR
	$/MWh
	Real-Time Locational Marginal Price at a generation unit Resource Node registered to the Combined Cycle Generation Resource(The Real-Time LMP at the Resource Node of an On-Line generation unit designated in a Combined Cycle Train registration for the Combine Cycle Generation Resource for each SCED interval.

	RTCCGRWFCCGR_PhyR
	none
	Real-Time Combined Cycle Generation Resource Weighting Factor(The Real Time Combined Cycle Generation Resource weighting factor for a generation unit designated in a Combined Cycle Train registration for the Combined Cycle Generation Resource.

	CCGR_PhyR
	none
	A generation unit designated in a Combine Cycle Train registration for a Combined Cycle Generation Resource.


(b)
The weight factor for each generation unit registered in a Combined Cycle Generation Resource shall be the Real-Time net power output telemetry in each SCED interval for each generation unit registered in the Combined Cycle Generation Resource divided by the total Real-Time net power output telemetry for all of the generation units registered in the Combined Cycle Generation Resource.
Where:
RTCCGRWFCCGR_PhyR = TGCCGR_PhyR / ∑CCGR_PhyR TGCCGR_PhyR
The above variables are defined as follows:
	Variable
	Unit
	Definition

	RTCCGRWFCCGR_PhyR
	none
	Real-Time Combined Cycle Generation Resource Weighting Factor(The Real Time Combined Cycle Generation Resource weighting factor for a generation unit designated in a Combined Cycle Train registration for the Combined Cycle Generation Resource.

	TGCCGR_PhyR
	MW
	Telemetered Generation for a Combined Cycle Generation Resource generation unit(The telemetered generation of a generation unit designated in a Combined Cycle Train registration for the Combined Cycle Generation Resource at the time of each SCED run.

	CCGR_PhyR
	none
	A generation unit designated in a Combine Cycle Train registration for a Combined Cycle Generation Resource.


6.6.1.2
Real-Time Settlement Point Price for a Load Zone

The Real-Time Settlement Point Price for a Load Zone Settlement Point is based on the state-estimated Load in MW and the time-weighted average Real-Time LMPs at Electrical Buses that are included in the Load Zone.  The Real-Time Settlement Point Price for a Load Zone Settlement Point for a 15-minute Settlement Interval is calculated as follows:

RTSPP
=
(
[image: image76.wmf]y

S

 TLMP y * LZLMPy) / 
[image: image77.wmf]y

S

TLMP y 

For all Load Zones except Direct Current Tie (DC Tie) Load Zones: 

LZLMPy
=

[image: image78.wmf]b

S

 (RTLMP b, y * SEL b, y) / 
[image: image79.wmf]b

S

SEL b, y
For a DC Tie Load Zone: 

LZLMPy
=
RTLMP b, y 

For all Settlement calculations in which a 15-minute Real-Time Settlement Point Price for a Load Zone is required in order to perform Settlement for a 15-minute quantity that is represented as one value (the integrated value for the 15-minute interval) but varies with each SCED interval within the 15-minute Settlement Interval, an energy-weighted Real-Time Settlement Point Price shall be used and is calculated as follows: 


RTSPPEW
=

[image: image80.wmf]y

S



 EMBED Equation.3 [image: image81.wmf]b

S

(RTLMP b, y * LZWF b, y)

For all Load Zones except DC Tie Load Zones:

LZWF b, y 
=
(SEL b, y * TLMP y) / [
[image: image82.wmf]y

S



 EMBED Equation.3 [image: image83.wmf]b

S

(SEL b, y * TLMP y)]

For a DC Tie Load Zone: 

LZWF b, y 
=
(SEL b, y * TLMP y) / [
[image: image84.wmf]y

S



 EMBED Equation.3 [image: image85.wmf]b

S

(SEL b, y * TLMP y)]

SEL b, y
=
1

The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Settlement Point, for the 15-minute Settlement Interval.

	RTSPPEW
	$/MWh
	Real-Time Settlement Point Price Energy-Weighted(The Real-Time Settlement Point Price at the Settlement Point p, for the 15-minute Settlement Interval that is weighted by the state-estimated Load of the Load Zone of each SCED interval within the 15-minute Settlement Interval.

	RTLMP b, y
	$/MWh
	Real-Time Locational Marginal Price at bus per interval(The Real-Time LMP at Electrical Bus b in the Load Zone, for the SCED interval y.

	LZWF b, y
	none
	Load Zone Weighting Factor per bus per interval(The weight used in the Load Zone Settlement Point Price calculation for Electrical Bus b, for the portion of the SCED interval y within the 15-minute Settlement Interval.

	LZLMP y
	$/MWh
	Load Zone Locational Marginal Price(The Load Zone LMP for the Load Zone for the SCED Interval y.

	SEL b, y
	MW
	State Estimator Load at bus per interval(The Load from State Estimator excluding Wholesale Storage Load (WSL) for Electrical Bus b in the Load Zone, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the Settlement Interval.

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An Electrical Bus in the Load Zone.  The summation is over all of the Electrical Buses in the Load Zone.


	[NPRR568:  Replace Section 6.6.1.2 above with the following upon system implementation:]
6.6.1.2
Real-Time Settlement Point Price for a Load Zone
The Real-Time Settlement Point Price for a Load Zone Settlement Point is based on the state-estimated Load in MW and the time-weighted average Real-Time LMPs at Electrical Buses that are included in the Load Zone.  The Real-Time Settlement Point Price for a Load Zone Settlement Point for a 15-minute Settlement Interval is calculated as follows:

RTSPP
=
Max (-$251, ((
[image: image86.wmf]y

S

TLMP y * LZLMPy) / 
[image: image87.wmf]y

S

TLMP y) + RTRSVPOR+ RTRDP) 

For all Load Zones except Direct Current Tie (DC Tie) Load Zones: 

LZLMPy
=

[image: image88.wmf]b

S

 (RTLMP b, y * SEL b, y) / 
[image: image89.wmf]b

S

SEL b, y
For a DC Tie Load Zone: 

LZLMPy
=
RTLMP b, y 

Where:

RTRSVPOR =

[image: image90.png]


(RNWF  y * RTORPA y)
RTRDP =

[image: image91.wmf]y

S

(RNWF  y * RTORDPA y) 
RNWF y=

TLMP y / 
[image: image92.wmf]y

S

TLMP y
For all Settlement calculations in which a 15-minute Real-Time Settlement Point Price for a Load Zone is required in order to perform Settlement for a 15-minute quantity that is represented as one value (the integrated value for the 15-minute interval) but varies with each SCED interval within the 15-minute Settlement Interval, an energy-weighted Real-Time Settlement Point Price shall be used and is calculated as follows: 


RTSPPEW
=
Max [-$251, (
[image: image93.wmf]y

S



 EMBED Equation.3 [image: image94.wmf]b

S

(RTLMP b, y * LZWF b, y) + RTRSVPOR +RTRDP)]
For all Load Zones except DC Tie Load Zones:

LZWF b, y 
=
(SEL b, y * TLMP y) / [
[image: image95.wmf]y

S



 EMBED Equation.3 [image: image96.wmf]b

S

(SEL b, y * TLMP y)]

For a DC Tie Load Zone: 

LZWF b, y 
=
(SEL b, y * TLMP y) / [
[image: image97.wmf]y

S



 EMBED Equation.3 [image: image98.wmf]b

S

(SEL b, y * TLMP y)]

SEL b, y
=
1

Where:

RTRSVPOR =

[image: image99.png]


(RNWF  y * RTORPA y)
RTRDP =

[image: image100.wmf]y

S

(RNWF  y * RTORDPA y) 

RNWF y
=
TLMP y /
[image: image101.wmf]y

S

TLMP y
The above variables are defined as follows:

Variable

Unit

Description

RTSPP

$/MWh
Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Settlement Point, for the 15-minute Settlement Interval.

RTSPPEW

$/MWh

Real-Time Settlement Point Price Energy-Weighted(The Real-Time Settlement Point Price at the Settlement Point p, for the 15-minute Settlement Interval that is weighted by the state-estimated Load of the Load Zone of each SCED interval within the 15-minute Settlement Interval.
RTLMP b, y
$/MWh

Real-Time Locational Marginal Price at bus per interval(The Real-Time LMP at Electrical Bus b in the Load Zone, for the SCED interval y.

RTRSVPOR

$/MWh

Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
RTORPA y
$/MWh

Real-Time On-Line Reserve Price Adder per interval(The Real-Time Price Adder for On-Line Reserves for the SCED interval y.
RTRDP

$/MWh

Real-Time On-Line Reliability Deployment Price (The Real-Time price for the 15-minute Settlement Interval, reflecting the impact of reliability deployments on energy prices that is calculated from the Real-time On-Line Reliability Deployment Price Adder.
RTORDPA y
$/MWh
Real-Time On-Line Reliability Deployment Price Adder (The Real-Time Price Adder that captures the impact of reliability deployments on energy prices for the SCED interval y.
RNWF y
none

Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the Settlement Interval.
LZWF b, y
none

Load Zone Weighting Factor per bus per interval(The weight used in the Load Zone Settlement Point Price calculation for Electrical Bus b, for the portion of the SCED interval y within the 15-minute Settlement Interval.
LZLMP y
$/MWh

Load Zone Locational Marginal Price(The Load Zone LMP for the Load Zone for the SCED Interval y.
SEL b, y
MW

State Estimator Load at bus per interval(The Load from State Estimator excluding Wholesale Storage Load (WSL) for Electrical Bus b in the Load Zone, for the SCED interval y.

TLMP y
second
Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the Settlement Interval.

y

none

A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

b

none

An Electrical Bus in the Load Zone.  The summation is over all of the Electrical Buses in the Load Zone.




6.6.3.1
Real-Time Energy Imbalance Payment or Charge at a Resource Node

(1)
The payment or charge to each QSE for Energy Imbalance Service is calculated based on the Real-Time Settlement Point Price for the following amounts at a particular Resource Node Settlement Point:

(a)
The energy produced by all its Generation Resources or consumed as WSL at the Settlement Point; plus

(b)
The amount of its Self-Schedules with sink specified at the Settlement Point; plus

(c)
The amount of its Day-Ahead Market (DAM) Energy Bids cleared in the DAM at the Settlement Point; plus

(d)
The amount of its Energy Trades at the Settlement Point where the QSE is the buyer; minus

(e)
The amount of its Self-Schedules with source specified at the Settlement Point; minus

(f)
The amount of its energy offers cleared in the DAM at the Settlement Point; minus 

(g)
The amount of its Energy Trades at the Settlement Point where the QSE is the seller. 

(2)
The payment or charge to each QSE for Energy Imbalance Service at a Resource Node Settlement Point for a given 15-minute Settlement Interval is calculated as follows:
RTEIAMT q, p
=
(-1) * {
[image: image102.wmf]gsc

S

(
[image: image103.wmf]r

S

(GSPLITPER q, r, gsc, p * NMSAMTTOT gsc) + (
[image: image104.wmf]r

S

WSLAMTTOT q, r, p) + RTSPP p * [(SSSK q, p * ¼) + (DAEP q, p * ¼) + (RTQQEP q, p * ¼) – (SSSR q, p * ¼) – (DAES q, p * ¼) – (RTQQES q, p * ¼)]}
The above variables are defined as follows:

	Variable
	Unit
	Description

	RTEIAMT q, p
	$
	Real-Time Energy Imbalance Amount per QSE per Settlement Point—The payment or charge to QSE q for Real-Time Energy Imbalance Service at Settlement Point p, for the 15-minute Settlement Interval.

	RTSPP p
	$/MWh
	Real-Time Settlement Point Price per Settlement Point—The Real-Time Settlement Point Price at Settlement Point p, for the 15-minute Settlement Interval.

	SSSK q, p
	MW
	Self-Schedule with Sink at Settlement Point per QSE per Settlement Point—The QSE q’s Self-Schedule with sink at Settlement Point p, for the 15-minute Settlement Interval.

	DAEP q, p
	MW
	Day-Ahead Energy Purchase per QSE per Settlement Point—The QSE q’s DAM Energy Bids at Settlement Point p cleared in the DAM, for the hour that includes the 15-minute Settlement Interval.

	RTQQEP q, p 
	MW
	Real-Time QSE-to-QSE Energy Purchase per QSE per Settlement Point(The amount of MW bought by QSE q through Energy Trades at Settlement Point p, for the 15-minute Settlement Interval.

	SSSR q, p
	MW
	Self-Schedule with Source at Settlement Point per QSE per Settlement Point—The QSE q’s Self-Schedule with source at Settlement Point p, for the 15-minute Settlement Interval.

	DAES q, p
	MW
	Day-Ahead Energy Sale per QSE per Settlement Point—The QSE q’s energy offers at Settlement Point p cleared in the DAM, for the hour that includes the 15-minute Settlement Interval.

	RTQQES q, p 
	MW
	Real-Time QSE-to-QSE Energy Sale per QSE per Settlement Point(The amount of MW sold by QSE q through Energy Trades at Settlement Point p, for the 15-minute Settlement Interval.

	NMSAMTTOT gsc
	$
	Net Metering Settlement—The total payment or charge to a generation site with a net metering arrangement.

	WSLAMTTOT q, r, p  
	$
	Wholesale Storage Load Settlement—The total payment or charge to QSE q, Resource r, at Settlement Point p, for WSL for each 15-minute Settlement Interval.

	GSPLITPER q, r, gsc, p
	none
	Generation Resource SCADA Splitting Percentage—The generation allocation percentage for Resource r that is part of a net metering arrangement.  GSPLITPER is calculated by taking the Supervisory Control and Data Acquisition (SCADA) values (GSSPLITSCA) for a particular Generation Resource r that is part of a net metering configuration and dividing by the sum of all SCADA values for all Resources that are included in the net metering configuration for each interval.  Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train.

	q
	none
	A QSE.

	p
	none
	A Resource Node Settlement Point.

	r
	none
	A Generation Resource or an energy storage Load Resource that is located at the Facility with net metering.

	gsc
	none
	A generation site code.


	[NPRR419:  Replace paragraph (2) above with the following upon system implementation:]
(2)
The payment or charge to each QSE for Energy Imbalance Service at a Resource Node Settlement Point for a given 15-minute Settlement Interval is calculated as follows:

RTEIAMT q, p

= (-1) * {
[image: image105.wmf]gsc

S

(
[image: image106.wmf]r

S

(RESREV q, r, gsc, p)) + (
[image: image107.wmf]r

S

WSLAMTTOT q, r, p) + RTSPP p * [(SSSK q, p * ¼) + (DAEP q, p * ¼) + (RTQQEP q, p * ¼) – (SSSR q, p * ¼) – (DAES q, p * ¼) – (RTQQES q, p * ¼)]}

Where:

RESREV q, r, gsc, p
= GSPLITPER q, r, gsc, p * NMSAMTTOT gsc
RESMEB q, r, gsc, p
= GSPLITPER q, r, gsc, p * NMRTETOT gsc

WSLTOT q, p

= 
[image: image108.wmf]r

S

 (
[image: image109.wmf]b

S

 MEBL q,r,b)
RNIMBAL q, p

= 
[image: image110.wmf]gsc

S

(
[image: image111.wmf]r

S

RESMEB q, r, gsc, p) + WSLTOT q, p + (SSSK q, p * ¼) + (DAEP q, p * ¼) + (RTQQEP q, p * ¼) – (SSSR q, p * ¼) – (DAES q, p * ¼) – (RTQQES q, p * ¼)
The above variables are defined as follows:

Variable

Unit

Description

RTEIAMT q, p
$

Real-Time Energy Imbalance Amount per QSE per Settlement Point—The payment or charge to QSE q for Real-Time Energy Imbalance Service at Settlement Point p, for the 15-minute Settlement Interval.

RNIMBAL q, p
MWh

Resource Node Energy Imbalance per QSE per Settlement Point—The Resource Node volumetric imbalance for QSE q for Real-Time Energy Imbalance Service at Settlement Point p, for the 15-minute Settlement Interval.
RTSPP p
$/MWh

Real-Time Settlement Point Price per Settlement Point—The Real-Time Settlement Point Price at Settlement Point p, for the 15-minute Settlement Interval.

SSSK q, p
MW

Self-Schedule with Sink at Settlement Point per QSE per Settlement Point—The QSE q’s Self-Schedule with sink at Settlement Point p, for the 15-minute Settlement Interval.
DAEP q, p
MW

Day-Ahead Energy Purchase per QSE per Settlement Point—The QSE q’s DAM Energy Bids at Settlement Point p cleared in the DAM, for the hour that includes the 15-minute Settlement Interval.

RTQQEP q, p 

MW

Real-Time QSE-to-QSE Energy Purchase per QSE per Settlement Point(The amount of MW bought by QSE q through Energy Trades at Settlement Point p, for the 15-minute Settlement Interval.

SSSR q, p
MW

Self-Schedule with Source at Settlement Point per QSE per Settlement Point—The QSE q’s Self-Schedule with source at Settlement Point p, for the 15-minute Settlement Interval.

DAES q, p
MW

Day-Ahead Energy Sale per QSE per Settlement Point—The QSE q’s energy offers at Settlement Point p cleared in the DAM, for the hour that includes the 15-minute Settlement Interval.

RTQQES q, p 

MW

Real-Time QSE-to-QSE Energy Sale per QSE per Settlement Point(The amount of MW sold by QSE q through Energy Trades at Settlement Point p, for the 15-minute Settlement Interval.

RESREV q, r, gsc, p
$

Resource Share Revenue Settlement Payment—The Resource share of the total payment to the entire Facility with a net metering arrangement attributed to Resource r that is part of a generation site code gsc for the QSE q at Settlement Point p.
RESMEB q, r, gsc, p
MWh

Resource Share Net Meter Real-Time Energy Total—The Resource share of the net sum for all Settlement Meters attributed to Resource r that is part of a generation site code gsc for the QSE q at Settlement Point p.  
WSLTOT q, p
MWh

WSL Total—The total WSL energy metered by the Settlement Meters which measure WSL for the QSE q at Settlement Point p.  
MEBL q,r,b
MWh

Metered Energy for Wholesale Storage Load at bus(The WSL energy metered by the Settlement Meter which measures WSL for the 15-minute Settlement Interval represented as a negative value, for the QSE q, Resource r, at bus b.  
NMSAMTTOT gsc
$

Net Metering Settlement—The total payment or charge to a generation site with a net metering arrangement.

WSLAMTTOT q, r, p  
$

Wholesale Storage Load Settlement—The total payment or charge to QSE q, Resource r, at Settlement Point p, for WSL for each 15-minute Settlement Interval.
NMRTETOT gsc
MWh

Net Meter Real-Time Energy Total—The net sum for all Settlement Meters included in generation site code gsc.  A positive value indicates an injection of power to the ERCOT System.
GSPLITPER q, r, gsc, p
none

Generation Resource SCADA Splitting Percentage—The generation allocation percentage for Resource r that is part of a net metering arrangement.  GSPLITPER is calculated by taking the Supervisory Control and Data Acquisition (SCADA) values (GSSPLITSCA) for a particular Generation Resource r that is part of a net metering configuration and dividing by the sum of all SCADA values for all Resources that are included in the net metering configuration for each interval.  Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train.

q

none

A QSE.

p

none

A Resource Node Settlement Point.

r

none

A Generation Resource or an energy storage Load Resource that is located at the Facility with net metering.

gsc

none

A generation site code.

b

none

An Electrical Bus.




(3)
For a facility with Settlement Meters that measure WSL, the total payment or charge for WSL is calculated for a QSE, energy storage Load Resource, and Settlement Point for each 15-minute Settlement Interval.

The WSL is settled as follows: 
WSLAMTTOT q, r, p
= 
[image: image112.wmf]b

S

 (RTRMPRWSL b * MEBL q, r, b)
Where the price for Settlement Meter is determined as follows:
RTRMPRWSL b 
= [image: image113.png]


(RNWFL b, y * RTLMP b, y)
Where the weighting factor for the Electrical Bus associated with the meter is:
RNWFL b, y 

= [Max (0.001, [image: image114.png]


 TL r, y)) * TLMP y] / 




[[image: image115.png]


Max (0.001, [image: image116.png]


 TL r, y)) * TLMP y]
For every SCED LMP calculated at each Settlement Meter, there shall be an administrative price floor of -$251/MWh.
The summation is over all WSL r associated to the individual meter.  The determination of which Resources are associated to an individual meter is static and based on the normal system configuration of the generation site code, gsc.

The above variables are defined as follows:

	Variable
	Unit
	Description

	RTLMP b, y
	$/MWh
	Real-Time Locational Marginal Price at bus per interval(The Real-Time LMP for the meter at Electrical Bus b, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the SCED interval y.

	MEBL q,r,b
	MWh
	Metered Energy for Wholesale Storage Load at bus(The WSL energy metered by the Settlement Meter which measures WSL for the 15-minute Settlement Interval represented as a negative value, for the QSE q, Resource r, at bus b.  

	WSLAMTTOT q, r, p
	$
	Wholesale Storage Load Settlement—The total payment or charge to QSE q, Resource r, at Settlement Point p, for WSL for each 15-minute Settlement Interval.

	RNWFL b, y
	none
	Net meter Weighting Factor per interval for the Energy Metered as Wholesale Storage LoadThe weight factor used in net meter price calculation for meters in Electrical Bus b, for the SCED interval y, for the WSL associated with an energy storage Load Resource.  The weighting factor used in the net meter price calculation shall not be recalculated after the fact due to revisions in the association of Resources to Settlement Meters.

	RTRMPRWSL b
	$/MWh
	Real-Time Price for the Energy Metered as Wholesale Storage Load at bus(The Real-Time price for the Settlement Meter which measures WSL at Electrical Bus b, for the 15-minute Settlement Interval.

	TL r, y
	MW
	Telemetered WSL charging per interval(The telemetered Load associated with the energy storage Load Resource r for the SCED interval y.

	gsc
	none
	A generation site code.

	r
	none
	An energy storage Load Resource.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An Electrical Bus.


	[NPRR568:  Replace paragraph (3) above with the following upon system implementation:]
(3)
For a facility with Settlement Meters that measure WSL, the total payment or charge for WSL is calculated for a QSE, energy storage Load Resource, and Settlement Point for each 15-minute Settlement Interval.
The WSL is settled as follows: 
WSLAMTTOT q, r, p
= 
[image: image117.wmf]b

S

 (RTRMPRWSL b * MEBL q, r, b)
Where the price for Settlement Meter is determined as follows:
RTRMPRWSL b 
= Max [-$251, ([image: image118.png]


(RNWFL b, y * RTLMP b, y) + RTRSVPOR+RTRDP)]
Where the weighting factor for the Electrical Bus associated with the meter is:
RNWFL b, y 

= [Max (0.001, [image: image119.png]


 TL r, y)) * TLMP y] / 




[[image: image120.png]


Max (0.001, [image: image121.png]


 TL r, y)) * TLMP y]
Where:

RTRSVPOR =

[image: image122.png]


(RNWF  y * RTORPA y)
RTRDP =

[image: image123.wmf]y

S

(RNWF  y * RTORDPA y) 
RNWF y=

TLMP y / 
[image: image124.wmf]y

S

TLMP y
The summation is over all WSL r associated to the individual meter.  The determination of which Resources are associated to an individual meter is static and based on the normal system configuration of the generation site code, gsc.

The above variables are defined as follows:

Variable

Unit

Description

RTLMP b, y
$/MWh

Real-Time Locational Marginal Price at bus per interval(The Real-Time LMP for the meter at Electrical Bus b, for the SCED interval y.

TLMP y
second
Duration of SCED interval per interval(The duration of the SCED interval y.

RTRSVPOR
$/MWh
Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
RTORPA y
$/MWh
Real-Time On-Line Reserve Price Adder per interval(The Real-Time On-Line Reserve Price Adder for the SCED interval y.
RTRDP
$/MWh
Real-Time On-Line Reliability Deployment Price (The Real-Time price for the 15-minute Settlement Interval, reflecting the impact of reliability deployments on energy prices that is calculated from the Real-time On-Line Reliability Deployment Price Adder.
RTORDPA y
$/MWh
Real-Time On-Line Reliability Deployment Price Adder (The Real-Time Price Adder that captures the impact of reliability deployments on energy prices for the SCED interval y.
RNWF y
none
Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the Settlement Interval.
MEBL q,r,b
MWh
Metered Energy for Wholesale Storage Load at bus(The WSL energy metered by the Settlement Meter which measures WSL for the 15-minute Settlement Interval represented as a negative value, for the QSE q, Resource r, at bus b.  
WSLAMTTOT q, r, p
$
Wholesale Storage Load Settlement—The total payment or charge to QSE q, Resource r, at Settlement Point p, for WSL for each 15-minute Settlement Interval.
RNWFL b, y
none
Net meter Weighting Factor per interval for the Energy Metered as Wholesale Storage LoadThe weight factor used in net meter price calculation for meters in Electrical Bus b, for the SCED interval y, for the WSL associated with an energy storage Load Resource.  The weighting factor used in the net meter price calculation shall not be recalculated after the fact due to revisions in the association of Resources to Settlement Meters.
RTRMPRWSL b
$/MWh
Real-Time Price for the Energy Metered as Wholesale Storage Load at bus(The Real-Time price for the Settlement Meter which measures WSL at Electrical Bus b, for the 15-minute Settlement Interval.
TL r, y
MW
Telemetered WSL charging per interval(The telemetered Load associated with the energy storage Load Resource r for the SCED interval y.
gsc
none

A generation site code.

r
none

An energy storage Load Resource.  

y
none

A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

b
none

An Electrical Bus.




(4)
The total payment or charge to a Facility with a net metering arrangement for each 15-minute Settlement Interval shall be calculated as follows:

NMRTETOT gsc 
= 
Max (0, (
[image: image125.wmf]b

S

 (MEB gsc, b + MEBC gsc, b)))
If NMRTETOT gsc = 0 for a 15-minute Settlement Interval, then

The Load that is not WSL is included in the Real-Time AML per QSE and is included in the Real-Time energy imbalance payment or charge at a Load Zone.

Otherwise, when NMRTETOT gsc > 0 for a 15-minute Settlement Interval, then
NMSAMTTOT gsc
=

[image: image126.wmf]b

S

 [(RTRMPR b * MEB gsc, b) + (RTRMPR b * MEBC gsc, b)]  

Where the price for Settlement Meter is determined as follows:
RTRMPR b 

=
[image: image127.png]


(RNWF b, y * RTLMP b, y)

Where the weighting factor for the Electrical Bus associated with the meter is:

RNWF b, y 

= [Max (0.001, 
[image: image128.wmf]r

S

BP r, y) * TLMP y] / 



[[image: image129.png]


Max (0.001, 
[image: image130.wmf]r

S

BP r, y) * TLMP y]
For every SCED LMP calculated at each Settlement Meter, there shall be an administrative price floor of -$251/MWh.
The summation is over all Resources r associated to the individual meter.  The determination of which Resources are associated to an individual meter is static and based on the normal system configuration of the generation site code, gsc.
The above variables are defined as follows:

	Variable
	Unit
	Description

	NMRTETOT gsc
	MWh
	Net Meter Real-Time Energy Total—The net sum for all Settlement Meters included in generation site code gsc.  A positive value indicates an injection of power to the ERCOT System. 

	NMSAMTTOT gsc
	$
	Net Metering Settlement—The total payment or charge to a generation site with a net metering arrangement.

	RTRMPR  b
	$/MWh
	Real-Time Price for the Energy Metered for each Resource meter at bus(The Real-Time price for the Settlement Meter at Electrical Bus b, for the 15-minute Settlement Interval.

	MEB gsc, b
	MWh
	Metered Energy at bus(The metered energy by the Settlement Meter which is not upstream from another Settlement Meter which measures WSL for the 15-minute Settlement Interval.  A positive value represents energy produced, and a negative value represents energy consumed.

	RTLMP b, y
	$/MWh
	Real-Time Locational Marginal Price at bus per interval(The Real-Time LMP for the meter at Electrical Bus b, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the SCED interval y.

	RNWF b, y
	none
	Net meter Weighting Factor per intervalThe weight factor used in net meter price calculation for meters in Electrical Bus b, for the SCED interval y.  The weighting factor used in the net meter price calculation shall not be recalculated after the fact due to revisions in the association of Resources to Settlement Meters.

	BP r, y
	MW
	Base Point per Resource per intervalThe Base Point of Resource r, for the SCED interval y.  Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train.

	MEBC gsc, b
	MWh
	Metered Energy at bus (Calculated)(The calculated energy for the 15-minute Settlement Interval for a Settlement Meter which is upstream from another Settlement Meter which measures WSL.  A positive value represents energy produced, and a negative value represents energy consumed.

	gsc
	none
	A generation site code.

	r
	none
	A Generation Resource that is located at the Facility with net metering.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An Electrical Bus.


	[NPRR568:  Replace paragraph (4) above with the following upon system implementation:]
(4)
The total payment or charge to a Facility with a net metering arrangement for each 15-minute Settlement Interval shall be calculated as follows:

NMRTETOT gsc 
= 
Max (0, (
[image: image131.wmf]b

S

 (MEB gsc, b + MEBC gsc, b)))

If NMRTETOT gsc = 0 for a 15-minute Settlement Interval, then

The Load that is not WSL is included in the Real-Time AML per QSE and is included in the Real-Time energy imbalance payment or charge at a Load Zone.

Otherwise, when NMRTETOT gsc > 0 for a 15-minute Settlement Interval, then

NMSAMTTOT gsc
=

[image: image132.wmf]b

S

 [(RTRMPR b * MEB gsc, b) + (RTRMPR b * MEBC gsc, b)]  

Where the price for Settlement Meter is determined as follows:
RTRMPR b 

=
Max [-$251, ([image: image133.png]


(RNWF b, y * RTLMP b, y) + RTRSVPOR +RTRDP)]

Where the weighting factor for the Electrical Bus associated with the meter is:

RNWF b, y 

= [Max (0.001, 
[image: image134.wmf]r

S

BP r, y) * TLMP y] / 



[[image: image135.png]


Max (0.001, 
[image: image136.wmf]r

S

BP r, y) * TLMP y]
Where:

RTRSVPOR 

=

[image: image137.png]


(RNWF  y * RTORPA y)
            RTRDP 

=

[image: image138.wmf]y

S

(RNWF  y * RTORDPA y) 


RNWF y

=

TLMP y / 
[image: image139.wmf]y

S

TLMP y
The summation is over all Resources r associated to the individual meter.  The determination of which Resources are associated to an individual meter is static and based on the normal system configuration of the generation site code, gsc.
The above variables are defined as follows:

Variable

Unit

Description

NMRTETOT gsc
MWh

Net Meter Real-Time Energy Total—The net sum for all Settlement Meters included in generation site code gsc.  A positive value indicates an injection of power to the ERCOT System. 

NMSAMTTOT gsc
$

Net Metering Settlement—The total payment or charge to a generation site with a net metering arrangement.
RTRMPR  b
$/MWh
Real-Time Price for the Energy Metered for each Resource meter at bus(The Real-Time price for the Settlement Meter at Electrical Bus b, for the 15-minute Settlement Interval.

MEB gsc, b
MWh

Metered Energy at bus(The metered energy by the Settlement Meter which is not upstream from another Settlement Meter which measures WSL for the 15-minute Settlement Interval.  A positive value represents energy produced, and a negative value represents energy consumed.
RTRSVPOR
$/MWh
Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
RTORPA y
$/MWh
Real-Time On-Line Reserve Price Adder per interval(The Real-Time On-Line Reserve Price Adder for the SCED interval y.
RTRDP
$/MWh
Real-Time On-Line Reliability Deployment Price (The Real-Time price for the 15-minute Settlement Interval, reflecting the impact of reliability deployments on energy prices that is calculated from the Real-time On-Line Reliability Deployment Price Adder.
RTORDPA y
$/MWh
Real-Time On-Line Reliability Deployment Price Adder (The Real-Time Price Adder that captures the impact of reliability deployments on energy prices for the SCED interval y.
RNWF y
none
Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the Settlement Interval.
RTLMP b, y
$/MWh

Real-Time Locational Marginal Price at bus per interval(The Real-Time LMP for the meter at Electrical Bus b, for the SCED interval y.

TLMP y
second
Duration of SCED interval per interval(The duration of the SCED interval y.

RNWF b, y
none

Net meter Weighting Factor per intervalThe weight factor used in net meter price calculation for meters in Electrical Bus b, for the SCED interval y.  The weighting factor used in the net meter price calculation shall not be recalculated after the fact due to revisions in the association of Resources to Settlement Meters.
BP r, y
MW

Base Point per Resource per intervalThe Base Point of Resource r, for the SCED interval y.  Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train.
MEBC gsc, b
MWh
Metered Energy at bus (Calculated)(The calculated energy for the 15-minute Settlement Interval for a Settlement Meter which is upstream from another Settlement Meter which measures WSL.  A positive value represents energy produced, and a negative value represents energy consumed.

gsc
none

A generation site code.

r
none

A Generation Resource that is located at the Facility with net metering.  

y
none

A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

b
none

An Electrical Bus.




(5)
The Generation Resource SCADA Splitting Percentage for each Resource within a net metering arrangement for the 15-minute Settlement Interval is calculated as follows:

GSPLITPER q,  r, gsc, p 
= GSSPLITSCA r / 
[image: image140.wmf]r

S

GSSPLITSCA r
The above variables are defined as follows:

	Variable
	Unit
	Definition

	GSPLITPER q, r, gsc, p
	none
	Generation Resource SCADA Splitting Percentage—The generation allocation percentage for Resource r that is part of a generation site code gsc for the QSE q at Settlement Point p.  GSPLITPER is calculated by taking the SCADA values (GSSPLITSCA) for a particular Generation Resource r that is part of a net metering configuration and dividing by the sum of all SCADA values for all Resources that are included in the net metering configuration for each interval.  Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train.

	GSSPLITSCA r
	MWh
	Generation Resource SCADA Net Real Power provided via Telemetry—The net real power provided via telemetry per Resource within the net metering arrangement, integrated for the 15-minute Settlement Interval.  Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train.

	gsc
	none
	A generation site code.

	r
	none
	A Generation Resource that is located at the Facility with net metering.  

	q
	none
	A QSE.

	p
	none
	A Resource Node Settlement Point.


(6)
The total net payments and charges to each QSE for Energy Imbalance Service at all Resource Node Settlement Points for the 15-minute Settlement Interval is calculated as follows:

RTEIAMTQSETOT q
=

[image: image141.wmf]p

S

 RTEIAMT q, p
The above variables are defined as follows:

	Variable
	Unit
	Definition

	RTEIAMTQSETOT q
	$
	Real-Time Energy Imbalance Amount QSE Total per QSE(The total net payments and charges to QSE q for Real-Time Energy Imbalance Service at all Resource Node Settlement Points for the 15-minute Settlement Interval.

	RTEIAMT q, p
	$
	Real-Time Energy Imbalance Amount per QSE per Settlement Point—The payment or charge to QSE q for Real-Time Energy Imbalance Service at Settlement Point p, for the 15-minute Settlement Interval.

	q
	none
	A QSE.

	p
	none
	A Resource Node Settlement Point.


	[NPRR568:  Pending implementation of NPRR555, insert Section 6.7.4 below upon system implementation and renumber accordingly:]

6.7.4
Real-Time Ancillary Service Imbalance Payment or Charge

(1)
Based on the Real-Time On-Line Reserve Price Adders and a Real-Time Off-Line Reserve Price Adders, ERCOT shall calculate Ancillary Service imbalance Settlement, which will make Resources indifferent to the utilization of their capacity for energy or Ancillary Service reserves, as set forth in this Section.
(2)
The payment or charge to each QSE for Ancillary Service imbalance is calculated based on the price calculation set forth in paragraph (7) of Section 6.5.7.3, Security Constrained Economic Dispatch, and applied to the following amounts for each QSE:

(a)
The amount of Real-Time Metered Generation from all Generation Resources, represented by the QSE for the 15-minute Settlement Interval;
(b)
The amount of On-Line capacity based on the telemetered High Sustained Limit (HSL) for all On-Line Generation Resources, the Ancillary Service Schedule for RRS from Load Resources controlled by high-set under-frequency relay, the Reg-Up and RRS schedule from Controllable Load Resources, and the amount of OFF10 capacity telemetered for all Resources;
(c)
The amount of Off-Line capacity based on the OFF30 capacity telemetered for all  Resources and the telemetered Ancillary Service Schedule for Non-Spin available from all Load Resources; and
(d)
The amount of Ancillary Service Resource Responsibility for Reg-Up, RRS and Non-Spin for all Generation and Load Resources represented by the QSE for the 15-minute Settlement Interval. 
(3)
Intermittent Renewable Resources (IRRs) with the exception of Wind-powered Generation Resources (WGRs), Resources with a telemetered ONTEST, STARTUP, OR SHUTDOWN Resource Status, Resources with a telemetered net real power (in MW) less than 95% of their telemetered Low Sustained Limit (LSL), and nuclear Resources will be excluded from the amounts calculated pursuant to paragraphs (2)(a) and (b) above.

(4)
Reliability Must-Run (RMR) Units and Reliability Unit Commitment (RUC) Resources On-Line during the hour due to an ERCOT instruction, except RUC Resources that were issued a RUC Dispatch Instruction to provide Ancillary Services pursuant to paragraph (10) of Section 5.5.2, Reliability Unit Commitment (RUC) Process, and that the QSE subsequently self-committed pursuant to paragraph (11) of Section 5.5.2, will be excluded from the amounts calculated for the 15-minute Settlement Interval pursuant to paragraphs (2)(a), (b) and (d) above.

(5)
The Real-Time Off-Line Reserve Capacity for the QSE (RTOFFCAP) shall be administratively set to zero when the SCED snapshot of the Physical Responsive Capability (PRC) is less than or equal to the PRC MW at which Energy Emergency Alert (EEA) Level 1 is initiated.

(6)
The payment or charge to each QSE for the Ancillary Service Imbalance for a given 15 minute Settlement Interval is calculated as follows:

RTASIAMT q
=
(-1) *
(RTASOLIMB q * RTRSVPOR) + (RTASOFFIMB q * RTRSVPOFF)

Where:

RTASOLIMB q  =
RTOLCAP q – [(RTASRESP q * ¼) – RTASOFF q– RTRUCNBBRESP q – (RTNCLRNSRESP q + RTCLRNSRESP q) – RTRMRRESP q]

Where:

RTASOFF q =



[image: image142.wmf]r

S



 EMBED Equation.3 [image: image143.wmf]p

S

RTASOFFR q, r, p
RTRUCNBBRESP q =


[image: image144.wmf]r

S

 RTRUCASA q, r * ¼

RTNCLRNSRESP q=


[image: image145.wmf]r

S



 EMBED Equation.3 [image: image146.wmf]p

S

HNSADJ q, r, p* ¼

RTCLRNSRESP q=


[image: image147.wmf]r

S



 EMBED Equation.3 [image: image148.wmf]p

S

 HNSADJ q, r, p* ¼

RTRMRRESP q=

[image: image149.wmf]r

S



 EMBED Equation.3 [image: image150.wmf]p

S

((HRRADJ q, r, p + HRUADJ q, r, p + HNSADJ q, r, p) *¼)

RTOLCAP q =
(RTOLHSL q, – RTMGQ q) + RTCLRCAP q + RTNCLRRRS q

[NPRR568:  Replace the above equation RTOLCAP q with the following upon Phase 2 implementation:]

RTOLCAP q =

(RTOLHSL q –RTMGQ q) + RTCLRCAP q + RTNCLRRRS q + RTOFF10 q
Where:

RTNCLRRRS q =


[image: image151.wmf]r

S



 EMBED Equation.3 [image: image152.wmf]p

S

 RTNCLRRRSR q, r, p
And, adjusted pursuant to paragraphs (3) and (4) above:

RTOLHSL q =

[image: image153.wmf]r

S



 EMBED Equation.3 [image: image154.wmf]p

S

RTOLHSLR q, r, p
RTMGQ q =

[image: image155.wmf]r

S



 EMBED Equation.3 [image: image156.wmf]p

S

RTMG q, r, p
RTCLRCAP q =
RTCLRREG q+ RTCLRRRS q
Where:

RTCLRREG q= 

[image: image157.wmf]r

S



 EMBED Equation.3 [image: image158.wmf]p

S

 RTCLRREGR q, r, p
RTCLRRRS q =

[image: image159.wmf]r

S



 EMBED Equation.3 [image: image160.wmf]p

S

 RTCLRRRSR q, r, p
RTRSVPOR =

[image: image161.png]


(RNWF  y * RTORPA y)

RTASOFFIMB q =
RTOFFCAP q – (RTASOFF q + 





RTNCLRNSRESP q + RTCLRNSRESP q)

RTOFFCAP q
=
RTCST30HSL q + RTOFFNSHSL q + RTNCLRNS q + 



RTCLRNS q 
[NPRR568:  Replace the above equation RTOFFCAP q with the following upon Phase 2 implementation:]

RTOFFCAP q,=
RTOFF30 q + RTNCLRNS q + RTCLRNS q  
Where:
RTNCLRNS q_=

[image: image162.wmf]r

S



 EMBED Equation.3 [image: image163.wmf]p

S

RTNCLRNSR q, r, p
RTCLRNS q =


[image: image164.wmf]r

S



 EMBED Equation.3 [image: image165.wmf]p

S

 RTCLRNSR q, r, p
RTRSVPOFF =
[image: image166.png]


(RNWF  y * RTOFFPA y)

RNWF y=
TLMP y / 
[image: image167.wmf]y

S

TLMP y
The above variables are defined as follows:

Variable

Unit

Description

RTASIAMT q
$
Real-Time Ancillary Service Imbalance Amount—The total payment or charge to QSE q for the Real-Time Ancillary Service imbalance for each 15-minute Settlement Interval.
RTASOLIMB q
MWh
Real Time Ancillary Service On-Line Reserve Imbalance for the QSE —The Real-Time Ancillary Service On-Line reserve imbalance for the QSE q, for each 15-minute Settlement Interval.  
RTORPA y
$/MWh

Real-Time On-Line Reserve Price Adder per interval(The Real-Time Price Adder for On-Line Reserves for the SCED interval y.

RTOFFPA y
$/MWh

Real-Time Off-Line Reserve Price Adder per interval(The Real-Time Price Adder for Off-Line Reserves for the SCED interval y.
TLMP y
second
Duration of SCED interval per interval(The duration of the SCED interval y.

RNWF y
none

Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the 15-minute Settlement Interval.

RTRSVPOR
$/MWh
Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
RTRSVPOFF

$/MWh
Real-Time Reserve Price for Off-Line Reserves(The Real-Time Reserve Price for Off-Line Reserves for the 15-minute Settlement Interval.
RTOLCAP q  

MWh
Real-Time On-Line Reserve Capacity for the QSE(The Real-Time reserve capacity of On-Line Resources available for the QSE q, for the 15-minute Settlement Interval.
RTOLHSLR q, r, p
MWh
Real-Time On-Line High Sustained Limit for the Resource(The Real-Time telemetered HSL for the Resource that is available to SCED, integrated over the 15-minute Settlement Interval, discounted by the system-wide discount factor.
RTOLHSL q
MWh

Real-Time On-Line High Sustained Limit for the QSE(The Real-Time telemetered HSL for all Generation Resources available to SCED, integrated over the 15-minute Settlement Interval, for the QSE q.
RTASRESP q
MW
Real-Time Ancillary Service Supply Responsibility for the QSE(The Real-Time Ancillary Service Supply Responsibility for Reg-Up, RRS, and Non-Spin pursuant to Section 4.4.7.4, Ancillary Service Supply Responsibility, for all Generation and Load Resources discounted by the system-wide discount factor for the QSE q, for the 15-minute Settlement Interval
[NPRR568: Insert the following variable RTOFF10 q upon Phase 2 implementation:]

RTOFF10 q
MWh
Real-Time  Reserve Capacity Available in Ten Minutes for the QSE(The Real-Time telemetered OFF10 reserve capacity at the time of the SCED snapshot validated pursuant to paragraph (11) of Section 6.5.5.2, Operational Data Requirements, and discounted by the system-wide discount factor for the QSE q, time-weighted over the 15-minute Settlement Interval.
RTCLRCAP q
MWh

Real-Time Capacity from Controllable Load Resources for the QSE—The Real-Time Reg-Up and RRS Ancillary Service Schedule from all Controllable Load Resources for the QSE q, integrated over the 15-minute Settlement Interval.
RTNCLRRRSR q, r, p
MWh
Real-Time Non-Controllable Load Resource Responsive Reserve Schedule—The validated Real-Time RRS Ancillary Service Schedule for the Load Resource r that is not a Controllable Load Resource, discounted by the system-wide discount factor integrated over the 15-minute Settlement Interval.
RTNCLRRRS q
MWh
Real-Time Non-Controllable Load Resources Responsive Reserve Schedule for the QSE—The Real-Time RRS Ancillary Service Schedule from all Load Resources other than Controllable Load Resources for the QSE q, integrated over the 15-minute Settlement Interval.
RTCLRRRSR q, r, p
MWh
Real-Time Controllable Load Resource Responsive Reserve Schedule for the Resource—The validated Real-Time RRS Ancillary Service Schedule for the Controllable Load Resource r discounted by the system-wide discount factor, integrated over the 15-minute Settlement Interval.
RTCLRRRS q
MWh
Real-Time Controllable Load Resources Responsive Reserve Schedule for the QSE—The Real-Time RRS Ancillary Service Schedule from all Controllable Load Resources for the QSE q, integrated over the 15-minute Settlement Interval.
RTCLRREGR q, r, p
MWh
Real-Time Controllable Load Resource Regulation-Up Schedule for the Resource—The validated Real-Time Reg-Up Ancillary Service Schedule for the Controllable Load Resource r discounted by the system-wide discount factor, integrated over the 15-minute Settlement Interval.
RTCLRREG q
MWh
Real-Time Controllable Load Resource Regulation-Up Schedule for the QSE—The Real-Time Reg-Up Ancillary Service Schedule from all Controllable Load Resources for the QSE q, integrated over the 15-minute Settlement Interval.
RTMG q, r, p
MWh
Real-Time Metered Generation per QSE per Settlement Point per Resource—The metered generation of Generation Resource r at Resource Node p represented by QSE q in Real-Time for the 15-minute Settlement Interval.  Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train.
RTMGQ q
MWh
Real-Time Metered Generation per QSE—The metered generation, discounted by the system-wide discount factor, of all Generation Resources represented by QSE q in Real-Time for the 15-minute Settlement Interval, pursuant to paragraphs (3) and (4) above.
RTASOFFIMB q
MWh
Real-Time Ancillary Service Off-Line Reserve Imbalance for the QSE(The Real-Time Ancillary Service Off-Line reserve imbalance for the QSE q, for each 15-minute Settlement Interval.  
RTOFFCAP q  
MWh

Real-Time Off-Line Reserve Capacity for the QSE(The Real-Time reserve capacity of Off-Line Resources available for the QSE q, for the 15-minute Settlement Interval.

RTCST30HSL q
MWh
Real-Time Generation Resources with Cold Start Available in 30 Minutes(The Real-Time telemetered HSLs of Generation Resources that have telemetered an OFF Resource Status and can be started from a cold temperature state in 30 minutes and discounted by the system-wide discount factor for the QSE q, time-weighted over the 15-minute Settlement Interval.
RTOFFNSHSL q
MWh
Real-Time Generation Resources with Off-Line Non-Spin Schedule(The Real-Time telemetered HSLs of Generation Resources that have telemetered an OFFNS Resource Status and discounted by the system-wide discount factor for the QSE q, time-weighted over the 15-minute Settlement Interval.
[NPRR568: Delete the above two variables RTCST30HSL q and RTOFFNSHSL q and Insert the following variable RTOFF30 q upon Phase 2 implementation:]

RTOFF30 q 
MWh
Real-Time  Reserve Capacity Available in 30 Minutes for the QSE(The Real-Time telemetered OFF30 reserve capacity at the time of the SCED snapshot validated pursuant to paragraph (12) of Section 6.5.5.2 and discounted by the appropriate Resource type discount factor for the QSE q, time-weighted over the 15-minute Settlement Interval.
RTASOFFR q, r, p
MWh
Real-Time Ancillary Service Schedule for the Off-Line Generation Resource(The validated Real-Time telemetered Ancillary Service Schedule for the Off-Line Generation Resource r discounted by the system-wide discount factor, integrated over the 15-minute Settlement Interval.
RTASOFF q
MWh

Real-Time Ancillary Service Schedule for Off-Line Generation Resources for the QSE(The Real-Time telemetered Ancillary Service Schedule for all Off-Line Generation Resources for the QSE q, integrated over the 15-minute Settlement Interval.

RTCLRNSRESP q
MW

Real-Time Controllable Load Resource Non-Spin Responsibility for the QSE(The Real Time Non-Spin Ancillary Service Supply Responsibility as set forth in the end of the Adjustment Period Current Operating Plan (COP) for all Controllable Load Resources discounted by system-wide discount factor for the QSE q, for the 15-minute Settlement Interval
RTRMRRESP q
MW
Real-Time Ancillary Service Supply Responsibility for RMR Units represented by the QSE(The Real-Time Ancillary Service Supply Responsibility for Reg-Up, RRS and Non-Spin as set forth in the end of the Adjustment Period COP for all RMR Units discounted by the system-wide discount factor for the QSE q, integrated over the 15-minute Settlement Interval.
RTCLRNSR q, r, p
MWh
Real-Time Non-Spin Schedule for the Controllable Load Resource (The validated Real Time telemetered Non-Spin Ancillary Service Schedule for the Controllable Load Resource r, discounted by the system-wide discount factor, integrated over the 15-minute Settlement Interval.
RTCLRNS q
MWh
Real-Time Non-Spin Schedule for Controllable Load Resources for the QSE(The Real Time telemetered Non-Spin Ancillary Service Schedule for all Controllable Load Resources for the QSE q, integrated over the 15-minute Settlement Interval.
HRRADJ q, r, p
MW 
Ancillary Service Resource Responsibility Capacity for Responsive Reserve at Adjustment Period—The RRS Ancillary Service Resource Responsibility for the Resource r as seen in the last COP and Trades Snapshot at the end of the Adjustment Period, for the hour that includes the 15-minute Settlement Interval.
HRUADJ q, r, p
MW
Ancillary Service Resource Responsibility Capacity for Reg-Up at Adjustment Period—The Reg-Up Ancillary Service Resource Responsibility for the Resource r as seen in the last COP and Trades Snapshot at the end of the Adjustment Period, for the hour that includes the 15-minute Settlement Interval.
HNSADJ q, r, p
MW
Ancillary Service Resource Responsibility Capacity for Non-Spin at Adjustment Period—The Non-Spin Ancillary Service Resource Responsibility for the Resource r as seen in the last COP and Trades Snapshot at the end of the Adjustment Period, for the hour that includes the 15-minute Settlement Interval.
RTRUCNBBRESP q
MW
Real-Time RUC Ancillary Service Supply Responsibility for the QSE in Non-Buy-Back hours(The Real-Time Ancillary Service Supply Responsibility for Reg-Up, RRS and Non-Spin pursuant to the Ancillary Service awards, for the 15-minute Settlement Interval that falls within a RUC-Committed Hour, discounted by the system-wide discount factor for the QSE q
RTRUCASA q, r
MW
Real-Time RUC Ancillary Service Awards(The Real-Time Ancillary Service award for Reg-Up, RRS and Non-Spin to the RUC Resource r for the 15-minute Settlement Interval that falls within a RUC-Committed Hour for the QSE q.
RTNCLRNSRESP q
MW

Real-Time Non-Controllable Load Resource Non-Spin Responsibility for the QSE(The Real Time Non-Spin Ancillary Service Supply Responsibility as set forth in the end of the Adjustment Period COP  for all non-Controllable Load Resources available to SCED discounted by the system-wide discount factor for the QSE q, for the 15-minute Settlement Interval
RTNCLRNSR q, r, p
MWh
Real-Time Non-Spin Schedule for the Non-Controllable Load Resource(The validated Real Time telemetered Non-Spin Ancillary Service Schedule for the non-Controllable Load Resource discounted by the system-wide discount factor, integrated over the 15-minute Settlement Interval.
RTNCLRNS q
MWh
Real-Time Non-Spin Schedule for Non-Controllable Load Resources for the QSE(The Real Time telemetered Non-Spin Ancillary Service Schedule for all Load Resources other than Controllable Load Resources for the QSE q, integrated over the 15-minute Settlement Interval.
r
none
A Generation or Load Resource.
y
none
A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.
q

none

A QSE.

(7)
The payment to each QSE for the Ancillary Service reserves associated with RUC Resources that have received a RUC Dispatch to provide Ancillary Services in which the 15-minute Settlement Interval is part of a RUC Buy-Back Hour based on the RUC opt out provision set forth in paragraph (11) of Section 5.5.2 for a given 15-minute Settlement Interval is calculated as follows:

RTRUCRSVAMT q =
(-1) *(RTRUCRESP q * RTRSVPOR)
Where:

RTRUCRESP q=

[image: image168.wmf]r

S

 RTRUCASA q, r * ¼
The above variables are defined as follows:

Variable

Unit

Description

RTRUCRSVAMT q
$

Real-Time RUC Ancillary Service Reserve Amount—The total payment to QSE q for the Real-Time RUC Ancillary Service reserve payment for each 15-minute Settlement Interval.
RTRUCRESP q
MWh
Real-Time RUC Ancillary Service Supply Responsibility for the QSE(The Real-Time Ancillary Service Supply Responsibility pursuant to the Ancillary Service awards for Reg-Up, RRS and Non-Spin for all RUC Resources that have opted out pursuant to paragraph (11) of Section 5.5.2 discounted by the system-wide discount factor for the QSE q, for the 15-minute Settlement Interval.
RTRUCASA q, r
MW
Real-Time RUC Ancillary Service Awards(The Real-Time Ancillary Service award to the RUC Resource r for Reg-Up, RRS and Non-Spin for the 15-minute Settlement Interval that falls within a RUC-Committed Hour for the QSE q.

RTRSVPOR
$/MWh
Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
q
none

A QSE.



	[NPRR568:  Replace Section 6.7.4 above with the following upon system implementation of NPRR568 and NPRR555:]

6.7.4
Real-Time Ancillary Service Imbalance Payment or Charge

(1)
Based on the Real-Time On-Line Reliability Deployment Price Adders, Real-Time On-Line Reserve Price Adders and a Real-Time Off-Line Reserve Price Adders, ERCOT shall calculate Ancillary Service imbalance Settlement, which will make Resources indifferent to the utilization of their capacity for energy or Ancillary Service reserves, as set forth in this Section.
(2)
The payment or charge to each QSE for Ancillary Service imbalance is calculated based on the price calculation set forth in paragraph (7) of Section 6.5.7.3, Security Constrained Economic Dispatch, and applied to the following amounts for each QSE:

(a)
The amount of Real-Time Metered Generation from all Generation Resources, represented by the QSE for the 15-minute Settlement Interval;

(b)
The amount of On-Line capacity based on the telemetered High Sustained Limit (HSL) for all On-Line Generation Resources, the Ancillary Service Schedule for RRS from Load Resources controlled by high-set under-frequency relay, and the capacity from Controllable Load Resources available to Security-Constrained Economic Dispatch (SCED), and the amount of OFF10 capacity telemetered for all Resources;

(c)
The amount of Off-Line capacity based on the OFF30 capacity telemetered for all Resources and the telemetered Ancillary Service Schedule for Non-Spin available from Controllable Load Resources; and

(d)
The amount of Ancillary Service Resource Responsibility for Reg-Up, RRS and Non-Spin for all Generation and Load Resources represented by the QSE for the 15-minute Settlement Interval. 

(3)
Intermittent Renewable Resources (IRRs) with the exception of Wind-powered Generation Resources (WGRs), Resources with a telemetered ONTEST, STARTUP, or SHUTDOWN Resource Status, Resources with a telemetered net real power (in MW) less than 95% of their telemetered Low Sustained Limit (LSL), and nuclear Resources will be excluded from the amounts calculated pursuant to paragraphs (2)(a) and (b) above.

(4)
Reliability Must-Run (RMR) Units and Reliability Unit Commitment (RUC) Resources On-Line during the hour due to an ERCOT instruction, except RUC Resources that were issued a RUC Dispatch Instruction to provide Ancillary Services pursuant to paragraph (10) of Section 5.5.2, Reliability Unit Commitment (RUC) Process, and that the QSE subsequently self-committed pursuant to paragraph (11) of Section 5.5.2, will be excluded from the amounts calculated for the 15-minute Settlement Interval pursuant to paragraphs (2)(a), (b) and (d) above.

(5)
The Real-Time Off-Line Reserve Capacity for the QSE (RTOFFCAP) shall be administratively set to zero when the SCED snapshot of the Physical Responsive Capability (PRC) is less than or equal to the PRC MW at which Energy Emergency Alert (EEA) Level 1 is initiated.

(6)
The payment or charge to each QSE for the Ancillary Service Imbalance for a given 15 minute Settlement Interval is calculated as follows:

RTASIAMT q
=

(-1) * (RTASOLIMB q * (RTRSVPOR+RTRDP)) + (RTASOFFIMB q * RTRSVPOFF)

Where:

RTASOLIMB q=

RTOLCAP q – [(RTASRESP q * ¼) – RTASOFF q – 


RTRUCNBBRESP q – RTCLRNSRESP q – TRMRRESP q]

Where:

RTASOFF q =



[image: image169.wmf]r

S



 EMBED Equation.3 [image: image170.wmf]p

S

RTASOFFR q, r, p

RTRUCNBBRESP q  =

[image: image171.wmf]r

S

 RTRUCASA q, r *  ¼


RTCLRNSRESP q =


[image: image172.wmf]r

S



 EMBED Equation.3 [image: image173.wmf]p

S

 HNSADJ q, r, p *  ¼

RTRMRRESP q =

[image: image174.wmf]q

S



 EMBED Equation.3 [image: image175.wmf]r

S



 EMBED Equation.3 [image: image176.wmf]p

S

(HRRADJ q, r, p + HRUADJ q, r, p + HNSADJ q, r, p) *  ¼

RTOLCAP q =
(RTOLHSL q – RTMGQ q) + RTCLRCAP q + RTNCLRRRS q 

[NPRR568:  Replace the above equation RTOLCAP q with the following upon Phase 2 implementation:]

RTOLCAP q
 =
(RTOLHSL q –RTMGQ q) + RTCLRCAP q + RTNCLRRRS q + RTOFF10 q
Where:

RTNCLRRRS q =

[image: image177.wmf]r

S



 EMBED Equation.3 [image: image178.wmf]p

S

 RTNCLRRRSR q, r, p
And, adjusted pursuant to paragraphs (3) and (4) above:

RTOLHSL q =


[image: image179.wmf]r

S



 EMBED Equation.3 [image: image180.wmf]p

S

RTOLHSLR q, r, p
RTMGQ q =


[image: image181.wmf]r

S



 EMBED Equation.3 [image: image182.wmf]p

S

RTMG q, r, p 
RTCLRCAP q=
RTCLRNPF q – RTCLRLSL q – RTCLRNS q + RTCLRREG q
Where:

RTCLRNPF q=


[image: image183.wmf]r

S



 EMBED Equation.3 [image: image184.wmf]p

S

RTCLRNPFR q, r, p
RTCLRLSL q =


[image: image185.wmf]r

S



 EMBED Equation.3 [image: image186.wmf]p

S

RTCLRLSLR q, r, p
RTCLRNS q =


[image: image187.wmf]r

S



 EMBED Equation.3 [image: image188.wmf]p

S

 RTCLRNSR q, r, p
RTCLRREG  q=

[image: image189.wmf]r

S



 EMBED Equation.3 [image: image190.wmf]p

S

 RTCLRREGR q, r, p
RTRSVPOR=
[image: image191.png]


(RNWF  y * RTORPA y)

RTASOFFIMB q =
RTOFFCAP q – (RTASOFF q + (RTCLRNSRESP q)

RTOFFCAP q =
RTCST30HSL q + RTOFFNSHSL q + RTCLRNS q 

[NPRR568:  Replace the above equation RTOFFCAP q with the following upon Phase 2 implementation:]

RTOFFCAP q =
RTOFF30 q + RTCLRNS q 

RTRSVPOFF=
[image: image192.png]


(RNWF  y * RTOFFPA y)
      RTRDP =

[image: image193.wmf]y

S

(RNWF  y * RTORDPA y)
RNWF y=
TLMP y / 
[image: image194.wmf]y

S

TLMP y
The above variables are defined as follows:

Variable

Unit

Description

RTASIAMT q
$

Real-Time Ancillary Service Imbalance Amount—The total payment or charge to QSE q for the Real-Time Ancillary Service imbalance for each 15-minute Settlement Interval.
RTASOLIMB q
MWh

Real Time Ancillary Service On-Line Reserve Imbalance for the QSE (The Real-Time Ancillary Service On-Line reserve imbalance for the QSE q, for each 15-minute Settlement Interval.  
RTORPA y
$/MWh

Real-Time On-Line Reserve Price Adder per interval(The Real-Time Price Adder for On-Line Reserves for the SCED interval y.

RTOFFPA y
$/MWh

Real-Time Off-Line Reserve Price Adder per interval(The Real-Time Price Adder for Off-Line Reserves for the SCED interval y.
TLMP y
second
Duration of SCED interval per interval(The duration of the SCED interval y.

RTRDP
$/MWh
Real-Time On-Line Reliability Deployment Price (The Real-Time price for the 15-minute Settlement Interval, reflecting the impact of reliability deployments on energy prices that is calculated from the Real-time On-Line Reliability Deployment Price Adder.
RTORDPA y
$/MWh
Real-Time On-Line Reliability Deployment Price Adder (The Real-Time Price Adder that captures the impact of reliability deployments on energy prices for the SCED interval y.
RNWF y
none

Resource Node Weighting Factor per interval(The weight used in the Resource Node Settlement Point Price calculation for the portion of the SCED interval y within the 15-minute Settlement Interval.

RTRSVPOR
$/MWh

Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.

RTRSVPOFF

$/MWh

Real-Time Reserve Price for Off-Line Reserves(The Real-Time Reserve Price for Off-Line Reserves for the 15-minute Settlement Interval.
RTOLCAP q  

MWh

Real-Time On-Line Reserve Capacity for the QSE(The Real-Time reserve capacity of On-Line Resources available for the QSE q, for the 15-minute Settlement Interval.
RTOLHSLR q, r, p
MWh

Real-Time On-Line High Sustained Limit for the Resource(The Real-Time telemetered HSL for the Resource that is available to SCED, integrated over the 15-minute Settlement Interval, discounted by the system-wide discount factor.
RTOLHSL q
MWh

Real-Time On-Line High Sustained Limit for the QSE(The Real-Time telemetered HSL for all Generation Resources available to SCED, pursuant to paragraphs (3) and (4) above, integrated over the 15-minute Settlement Interval for the QSE q.
RTASRESP q
MW

Real-Time Ancillary Service Supply Responsibility for the QSE(The Real-Time Ancillary Service Supply Responsibility for Reg-Up, RRS and Non-Spin pursuant to Section 4.4.7.4, Ancillary Service Supply Responsibility, for all Generation and Load Resources discounted by the system-wide discount factor for the QSE q, for the 15-minute Settlement Interval.
[NPRR568: Insert the following variable RTOFF10 q upon Phase 2 implementation:]

RTOFF10 q
MWh`

Real-Time  Reserve Capacity Available in Ten Minutes for the QSE(The Real-Time telemetered OFF10 reserve capacity at the time of the SCED snapshot and validated pursuant to paragraph (11) of Section 6.5.5.2, Operational Data Requirements, and discounted by the system-wide discount factor for the QSE q, time-weighted over the 15-minute Settlement Interval.
RTCLRCAP q
MWh

Real-Time Capacity from Controllable Load Resources for the QSE—The Real-Time capacity available from all Controllable Load Resources providing Reg-Up and RRS available to SCED for the QSE q, integrated over the 15-minute Settlement Interval.
RTNCLRRRSR q
MWh

Real-Time Non-Controllable Load Resources Responsive Reserve Schedule for the QSE—The validated Real-Time RRS Ancillary Service Schedule from all Load Resources other than Controllable Load Resources available to SCED discounted by the system-wide discount factor, integrated over the 15-minute Settlement Interval.
RTNCLRRRS q
MWh

Real-Time Non-Controllable Load Resources Responsive Reserve Schedule for the QSE—The Real-Time RRS Ancillary Service Schedule from all Load Resources other than Controllable Load Resources available to SCED for the QSE q, integrated over the 15-minute Settlement Interval.
RTCLRNPFR q, r, p
MWh

Real-Time Net Power Flow from the Controllable Load Resource—The Real-Time net power flow from the Controllable Load Resource r available to SCED integrated over the 15-minute Settlement Interval discounted by the system-wide discount factor.
RTCLRNPF q
MWh

Real-Time Net Power Flow from Controllable Load Resources for the QSE—The Real-Time net power flow from all Controllable Load Resources available to SCED integrated over the 15-minute Settlement Interval for the QSE q.
RTCLRLSLR q, r, p
MWh

Real-Time Low Sustained Limit for the Controllable Load Resource—The Real-Time LSL from the Controllable Load Resource r available to SCED integrated over the 15-minute Settlement Interval discounted by the system-wide discount factor.
RTCLRLSL q
MWh

Real-Time Low Sustained Limit from Controllable Load Resources for the QSE—The Real-Time LSL from Controllable Load Resources available to SCED integrated over the 15-minute Settlement Interval for the QSE q.
RTCLRREG q
MWh
Real-Time Controllable Load Resources Regulation-Up Schedule for the QSE—The Real-Time Reg-Up Ancillary Service Schedule from all Controllable Load Resources with Primary Frequency Response for the QSE q, integrated over the 15-minute Settlement Interval.
RTCLRREGR q, r, p
MWh
Real-Time Controllable Load Resource Regulation-Up Schedule for the Resource—The validated Real-Time Reg-Up Ancillary Service Schedule for the Controllable Load Resource r with Primary Frequency Response discounted by the system-wide discount factor, integrated over the 15-minute Settlement Interval.
RTMG q, r, p
MWh

Real-Time Metered Generation per QSE per Settlement Point per Resource—The metered generation of Generation Resource r at Resource Node p represented by QSE q in Real-Time for the 15-minute Settlement Interval.  Where for a Combined Cycle Train, the Resource r is the Combined Cycle Train.
RTMGQ q
MWh

Real-Time Metered Generation per QSE—The metered generation, discounted by the system-wide discount factor, of all generation Resources represented by QSE q in Real-Time for the 15-minute Settlement Interval, pursuant to paragraphs (3) and (4) above.
RTASOFFIMB q
MWh

Real-Time Ancillary Service Off-Line Reserve Imbalance for the QSE(The Real-Time Ancillary Service Off-Line reserve imbalance for the QSE q, for each 15-minute Settlement Interval.  

RTOFFCAP q  
MWh

Real-Time Off-Line Reserve Capacity for the QSE(The Real-Time reserve capacity of Off-Line Resources available for the QSE q, for the 15-minute Settlement Interval.

RTCST30HSL q
MWh
Real-Time Generation Resources with Cold Start Available in 30 Minutes(The Real-Time telemetered HSLs of Generation Resources that have telemetered an OFF Resource Status and can be started from a cold temperature state in 30 minutes and discounted by the system-wide discount factor for the QSE q, time-weighted over the 15-minute Settlement Interval.
RTOFFNSHSL q
MWh
Real-Time Generation Resources with Off-Line Non-Spin Schedule(The Real-Time telemetered HSLs of Generation Resources that have telemetered an OFFNS Resource Status and discounted by the system-wide discount factor for the QSE q, time-weighted over the 15-minute Settlement Interval.
[NPRR568: Delete the above two variables RTCST30HSL q and RTOFFNSHSL q and insert the following variable RTOFF30 q upon Phase 2 implementation:]

RTOFF30 q 
MWh
Real-Time Reserve Capacity Available in 30 Minutes for the QSE(The Real-Time telemetered OFF30 reserve capacity at the time of the SCED snapshot validated pursuant to paragraph (12) of Section 6.5.5.2 and discounted by the system-wide discount factor for the QSE q, time-weighted over the 15-minute Settlement Interval.
RTASOFFR q, r, p
MWh

Real-Time Ancillary Service Schedule for the Off-Line Generation Resource(The validated Real-Time telemetered Ancillary Service Schedule for the Off-Line Generation Resource r discounted by the system-wide discount factor, integrated over the 15-minute Settlement Interval.
RTASOFF q
MWh

Real-Time Ancillary Service Schedule for Off-Line Generation Resources for the QSE(The Real-Time telemetered Ancillary Service Schedule for all Off-Line Generation Resources for the QSE q, integrated over the 15-minute Settlement Interval. 
HRRADJ q, r, p
MW 

Ancillary Service Resource Responsibility Capacity for Responsive Reserve at Adjustment Period—The Responsive Reserve Ancillary Service Resource Responsibility for the Resource r as seen in the last Current Operating Plan (COP) and Trades Snapshot at the end of the Adjustment Period, for the hour that includes the 15-minute Settlement Interval.
HRUADJ q, r, p
MW

Ancillary Service Resource Responsibility Capacity for Reg-Up at Adjustment Period—The Regulation Up Ancillary Service Resource Responsibility for the Resource r as seen in the last COP and Trades Snapshot at the end of the Adjustment Period, for the hour that includes the 15-minute Settlement Interval.
HNSADJ q, r, p
MW

Ancillary Service Resource Responsibility Capacity for Non-Spin at Adjustment Period—The Non-Spin Ancillary Service Resource Responsibility for the Resource r as seen in the last COP and Trades Snapshot at the end of the Adjustment Period, for the hour that includes the 15-minute Settlement Interval.
RTRUCNBBRESP q
MW

Real-Time RUC Ancillary Service Supply Responsibility for the QSE in Non-Buy-Back hours(The Real-Time Ancillary Service Supply Responsibility for Reg-Up, RRS and Non-Spin pursuant to the Ancillary Service awards, for the 15-minute Settlement Interval that falls within a RUC-Committed Hour, discounted by the system-wide discount factor for the QSE q.
RTRUCASA q, r
MW

Real-Time RUC Ancillary Service Awards(The Real-Time Ancillary Service award to the RUC Resource r for Reg-Up, RRS and Non-Spin for the 15-minute Settlement Interval that falls within a RUC-Committed Hour for the QSE q.
RTCLRNSRESP q
MW

Real-Time Controllable Load Resource Non-Spin Responsibility for the QSE(The Real Time Non-Spin Ancillary Service Supply Responsibility as set forth in the end of the Adjustment Period COP for all Controllable Load Resources available to SCED discounted by the system-wide discount factor for the QSE q, for the 15-minute Settlement Interval.
RTRMRRESP q
MW

Real-Time Ancillary Service Supply Responsibility for RMR Units represented by the QSE(The Real-Time Ancillary Service Supply Responsibility as set forth in the end of the Adjustment Period COP for Reg-Up, RRS and Non-Spin for all RMR Units discounted by the system-wide discount factor for the QSE q, integrated over the 15-minute Settlement Interval.
RTCLRNSR q, r, p
MWh

Real-Time Non-Spin Schedule for the Controllable Load Resource (The validated Real Time telemetered Non-Spin Ancillary Service Schedule for the Controllable Load Resource r, discounted by the system-wide discount factor, integrated over the 15-minute Settlement Interval.
RTCLRNS q
MWh

Real-Time Non-Spin Schedule for Controllable Load Resources for the QSE(The Real Time telemetered Non-Spin Ancillary Service Schedule for all Controllable Load Resources for the QSE q, integrated over the 15-minute Settlement Interval.
r
none

A Generation or Load Resource.
y
none

A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.
q
none

A QSE.

(7) 
The payment to each QSE for the Ancillary Service reserves associated with RUC Resources that have received a RUC Dispatch to provide Ancillary Services in which the 15-minute Settlement Interval is part of a RUC Buy-Back Hour based on the RUC opt out provision set forth in paragraph (11) of Section 5.5.2 for a given 15-minute Settlement Interval is calculated as follows:
RTRUCRSVAMT q =
(-1) * (RTRUCRESP q * (RTRSVPOR+RTRDP))
Where:

RTRUCRESP q= 
[image: image195.wmf]r

S

 RTRUCASA q, r * ¼
The above variables are defined as follows:

Variable

Unit

Description

RTRUCRSVAMT q
$

Real-Time RUC Ancillary Service Reserve Amount—The total payment |to QSE q for the Real-Time RUC Ancillary Service Reserve payment for each 15-minute Settlement Interval.
RTRUCRESP q
MW
Real-Time RUC Ancillary Service Supply Responsibility for the QSE(The Real-Time Ancillary Service Supply Responsibility pursuant to the Ancillary Service awards for Reg-Up, RRS and Non-Spin for all RUC Resources that have opted out per paragraph (11) of Section 5.5.2 discounted by the system-wide discount factor for the QSE q, for the 15-minute Settlement Interval.
RTRUCASA q, r
MW
Real-Time RUC Ancillary Service Awards(The Real-Time Ancillary Service award to the RUC Resource r for Reg-Up, RRS and Non-Spin for the 15-minute Settlement Interval that falls within a RUC-Committed Hour for the QSE q.
RTRSVPOR
$/MWh
Real-Time Reserve Price for On-Line Reserves(The Real-Time Reserve Price for On-Line Reserves for the 15-minute Settlement Interval.
RTRDP
$/MWh
Real-Time On-Line Reliability Deployment Price (The Real-Time price for the 15-minute Settlement Interval, reflecting the impact of reliability deployments on energy prices that is calculated from the Real-time On-Line Reliability Deployment Price Adder.
q
none
A QSE.



Preparation for





Real





-





Time Ops





Adj Period





18:00





(D 





–





1)





60 Minutes





Prior to





Op Hour





QSE Deadline:





Update Energy Bids and Offers





Submit HRUC Offers





Update Output Schedules





Update Inc/Dec Offers for 





DSRs





ERCOT Activity:





LFC Process every 4 secs





Execute SCED every 5 





mins





Communicate Instructions





& Prices





ERCOT Activity:





Snapshot Inputs & 





Execute HRUC





Operating Period





Operating Hour





Clock





Hour





T





Adjustment Period & Real





-





Time Operations





Real





-





Time 





Operations





QSE Deadline:





Update Output Schedules for 





DSRs





Provide SCADA Telemetry





ERCOT Activity:





Communicate





HRUC Commitments








626NPRR-01 ORDC Price Reversal Mitigation Enhancements 051614
Page 1 of 80
PUBLIC


_1461737265.unknown

_1461737298.unknown

_1461737331.unknown

_1461737348.unknown

_1461737356.unknown

_1461737364.unknown

_1461754638.unknown

_1461754640.unknown

_1461754641.unknown

_1461754639.unknown

_1461737368.unknown

_1461754636.unknown

_1461754637.unknown

_1461737370.unknown

_1461737372.unknown

_1461737373.unknown

_1461737371.unknown

_1461737369.unknown

_1461737366.unknown

_1461737367.unknown

_1461737365.unknown

_1461737360.unknown

_1461737362.unknown

_1461737363.unknown

_1461737361.unknown

_1461737358.unknown

_1461737359.unknown

_1461737357.unknown

_1461737352.unknown

_1461737354.unknown

_1461737355.unknown

_1461737353.unknown

_1461737350.unknown

_1461737351.unknown

_1461737349.unknown

_1461737339.unknown

_1461737343.unknown

_1461737346.unknown

_1461737347.unknown

_1461737344.unknown

_1461737341.unknown

_1461737342.unknown

_1461737340.unknown

_1461737335.unknown

_1461737337.unknown

_1461737338.unknown

_1461737336.unknown

_1461737333.unknown

_1461737334.unknown

_1461737332.unknown

_1461737315.unknown

_1461737323.unknown

_1461737327.unknown

_1461737329.unknown

_1461737330.unknown

_1461737328.unknown

_1461737325.unknown

_1461737326.unknown

_1461737324.unknown

_1461737319.unknown

_1461737321.unknown

_1461737322.unknown

_1461737320.unknown

_1461737317.unknown

_1461737318.unknown

_1461737316.unknown

_1461737307.unknown

_1461737311.unknown

_1461737313.unknown

_1461737314.unknown

_1461737312.unknown

_1461737309.unknown

_1461737310.unknown

_1461737308.unknown

_1461737302.unknown

_1461737304.unknown

_1461737305.unknown

_1461737303.unknown

_1461737300.unknown

_1461737301.unknown

_1461737299.unknown

_1461737282.unknown

_1461737290.unknown

_1461737294.unknown

_1461737296.unknown

_1461737297.unknown

_1461737295.unknown

_1461737292.unknown

_1461737293.unknown

_1461737291.unknown

_1461737286.unknown

_1461737288.unknown

_1461737289.unknown

_1461737287.unknown

_1461737284.unknown

_1461737285.unknown

_1461737283.unknown

_1461737274.unknown

_1461737278.unknown

_1461737280.unknown

_1461737281.unknown

_1461737279.unknown

_1461737276.unknown

_1461737277.unknown

_1461737275.unknown

_1461737270.unknown

_1461737272.unknown

_1461737273.unknown

_1461737271.unknown

_1461737267.unknown

_1461737269.unknown

_1461737266.unknown

_1461737232.unknown

_1461737249.unknown

_1461737257.unknown

_1461737261.unknown

_1461737263.unknown

_1461737264.unknown

_1461737262.unknown

_1461737259.unknown

_1461737260.unknown

_1461737258.unknown

_1461737253.unknown

_1461737255.unknown

_1461737256.unknown

_1461737254.unknown

_1461737251.unknown

_1461737252.unknown

_1461737250.unknown

_1461737241.unknown

_1461737245.unknown

_1461737247.unknown

_1461737248.unknown

_1461737246.unknown

_1461737243.unknown

_1461737244.unknown

_1461737242.unknown

_1461737236.unknown

_1461737239.unknown

_1461737240.unknown

_1461737238.unknown

_1461737234.unknown

_1461737235.unknown

_1461737233.unknown

_1461737216.unknown

_1461737224.unknown

_1461737228.unknown

_1461737230.unknown

_1461737231.unknown

_1461737229.unknown

_1461737226.unknown

_1461737227.unknown

_1461737225.unknown

_1461737220.unknown

_1461737222.unknown

_1461737223.unknown

_1461737221.unknown

_1461737218.unknown

_1461737219.unknown

_1461737217.unknown

_1461737208.unknown

_1461737212.unknown

_1461737214.unknown

_1461737215.unknown

_1461737213.unknown

_1461737210.unknown

_1461737211.unknown

_1461737209.unknown

_1461737204.unknown

_1461737206.unknown

_1461737207.unknown

_1461737205.unknown

_1461737202.unknown

_1461737203.unknown

_1461737201.unknown

