Operations Working Group Meeting

Wednesday, 4/23/14

Austin - MET Center

In Attendance:

| Frank Owens – Cross Texas Transmission | David Penney – Texas RE |
| --- | --- |
| Michael Cruz-Montes – Centerpoint Energy | John Warren – LCRA |
| Sherry Looney – Luminant | Robert Bailey – NRG |
| Laura Zotter – Austin Energy | Jerry Williams – Lone Star |
| Kevin Morley – Centerpoint Energy | David Turner – Lone Star |
| Robert Avila – Brownsville – P.U.B. | Mark Henry – Texas RE |
| Tip Tipton – Brazos Electric Coop. | Karl Tammar – Sharyland Utilities |
| Paul Rocha – Centerpoint Energy | Stan Morris – TNMP |
| John Abel – Oncor | Stephen Solis – ERCOT |
| Rick Gillean – Cross Texas Transmission | Agee Springer – ERCOT |
| Hugo Mena – Electric Power Engineers, Inc. Chad Thompson – ERCOT Colleen Frosch – ERCOT Kelly Landry – ERCOT Louis Kubala – AEP | Billy Reid – Austin Energy Curtis Graves – Austin Energy Lei Ye – Austin Energy Jeff Healy – ERCOT |

Dial-In Attendees:

| Greg Froehling – Rayburn Electric Don Blackburn – Luminant | Clayton Greer – Morgan Stanley |
| --- | --- |

- Antitrust Admonition

Meeting scheduled to open at 9:00 but was delayed due to issues with conference call. Meeting opened at 9:15 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting

ROS Meeting Report new assignment OWG to evaluate concerns that ERCOT has to bring RUC units earlier than required because of unit start-up failures; review need for ERCOT Operating procedures for RUCing units. Joint discussions with CMWG was scheduled to start at 10:45 but did not begin until 10:55. Discussion of RUC procedures were discussed with a focus on RUC reasoning.

- March OWG Meeting Notes

Reviewed notes, no changes identified.

- NOGRR Reviews

- 129NOGRR Implement Operational Preparedness for Geomagnetic Disturbances. This NOGRR sets up a process through which ERCOT and Transmission Service Providers (TSPs) will develop Geomagnetic Disturbance (GMD) Operating Plans that will be coordinated across the ERCOT Region and provides for communication of information regarding those Plans. (GMDTF) Language Review. History and motivation behind NOGRR was detailed. NOGRR language reviewed by OWG and several points were discussed. OWG recommended approval of the NOGRR with ERCOT comments.

- Monthly Operations Report

Reviewed the report; comments/questions were answered by ERCOT personnel.

- Operations Task Force

No items on this month’s agenda.

- Texas RE Update Report

Standards updates including CIP 14 were presented and questions were answered.

- System Operations Report

Reviewed the TCEQ process of enforcement discretion on air permitting requirements during EEA as noted in the Market Notice that was sent out on April 11, 2014.

- Seminar Task Force Report

No item this month.

- Other

Group Discussion regarding ERCOT tool outages.  Discussed how to adequately monitor the system when one or all the ERCOT tools are outaged (RTCA, State Estimator, VSAT, TSAT or the entire EMS). Procedure changes detailed and several questions fielded by ERCOT.

ROS directive - Voltage support requirement for all Generation Resources greater than 20 MVA. (See Protocol Section 3.15, paragraph 2) Update on offline discussions. ERCOT Isabell is reviewing language submitted by Walter.  Was not discussed at this month’s meeting.

ERCOT personnel gave a short presentation on UFLS surveys for TDSPs.

ERCOT personnel gave a presentation on managing constraints in Energy Emergency Alert (EEA) conditions. Several questions were answered. No actions were taken by OWG.

- Future Meeting Date

Monday May 19th, 2014

- Voltage Control Workshop

Meeting transitioned into voltage control workshop at 14:05.