| NPRR Number | 607 | NPRR Title | Short-Term System Adequacy Report Posting Modification |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | May 15, 2014 |  |  |
| Proposed Effective Date |  | July 1, 2014 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section(s) Requiring Revision |  | 3.2.3, System Adequacy Reports |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |  |
| Revision Description |  | Following system implementation of Nodal Protocol Revision Request (NPRR) 479, Hourly Reporting of Resource Outaged Capacity, ERCOT Staff observed that Short-Term Adequacy Reports related to aggregate Resource Outage levels were posted hourly but without the capability to post intra-hour reports based on “detection of a change in status” as currently required by Section 3.2.3. The current hourly implementation exceeds the parameters of subsection (d) (2) of P.U.C Subst. R. 25.505, Resource Adequacy in the ERCOT Region, which requires daily postings. This NPRR aligns the Protocols with current ERCOT business practice for posting the Short-Term System Adequacy Report by removing language requiring ERCOT to post the report upon detection of a change to Resource Status that changes the availability of a Resource. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: Aligns Protocols with current business practice. |  |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR6070 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 3/27/14, NPRR607 and an associated Impact Analysis were posted. - On 4/10/14, PRS considered NPRR607. - On 5/15/14, PRS considered the 4/10/14 PRS Report and Impact Analysis for NPRR607. |  |  |
| PRS Decision |  | On 4/10/14, PRS unanimously voted to recommend approval of NPRR607 as submitted. All Market Segments were present for the vote. On 5/15/14, PRS unanimously voted to endorse and forward the 4/10/14 PRS Report and Impact Analysis for NPRR607 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 4/10/14, ERCOT Staff stated that the Short-Term Adequacy Report currently updates on an hourly basis; instances in which the report must be updated more frequently are rare, which would not justify the expense of adding that functionality. On 5/15/14, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Qualitative Benefits | Current Protocol language could require the existing reports to be updated multiple times an hour, triggered by changes in submissions internal to the Outage Scheduler and Market Management System Resource Current Operating Plans for the next seven days. The report is currently updated every hour. |  |
| Quantitative Benefits |  |  |
| Impact to Market Segments | None. |  |
| Credit Implications | None. |  |
| Other |  |  |

| Sponsor |  |
| --- | --- |
| Name | Trish Miller |
| E-mail Address | Patricia.miller@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6028 |
| Cell Number | 512-751-2552 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lisa Trow |
| E-Mail Address | ltrow@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

3.2.3	System Adequacy Reports

(1)	ERCOT shall publish system adequacy reports to assess the adequacy of Resources and Transmission Facilities to meet the projected Demand.  ERCOT shall provide reports on a system-wide basis and by Forecast Zone, where applicable.

(2)	ERCOT shall generate and post a “Medium-Term System Adequacy Report” on the MIS Secure Area.  ERCOT shall update the report monthly using the latest aggregate Generation Resource capacity and Load Resource capacity.  The data will be provided for each week, starting with the second week, of a rolling 36-month period.  The Medium-Term System Adequacy Report will provide:

(a)	Generation Resource capacity at the time of forecasted weekly peak Demand;

(b)	Load Resource capacity at the time of the forecasted weekly peak Demand;

(c)	Weekly peak forecast Demand described in Section 3.2.2, Demand Forecasts;

(d)	Calculated system reserve, highlighting any deficiency hours, that excludes Load Resource capacity;

(e)	Calculated system reserve, highlighting any deficiency hours, that includes Load Resource capacity shown as a reduction in forecast Demand;

(f)	Ancillary Service requirements; and

(g)	Transmission constraints that have a high probability of being binding in the Security-Constrained Economic Dispatch (SCED) or Day-Ahead Market (DAM) given the forecasted system conditions for each week excluding the effects of any transmission or Resource Outages.

(3)	ERCOT shall generate and post a “Short-Term System Adequacy Report” on the MIS Public Area.  ERCOT shall update this report hourly following updates to the Seven-Day Load Forecast..  The Short-Term System Adequacy Report will provide:

(a)	For Generation Resources, the available On-Line Resource capacity for each hour, using the COP for the first seven days;

(b)	ERCOT shall post a total system-wide capacity of Resource Outages as reflected in the Outage Scheduler that are accepted or approved.  The Resource Outage capacity amount shall be based from each Resource’s current Seasonal High Sustained Limit (HSL) and posted each hour for the top of each Operating Hour for the next 168 hours.  The information provided by ERCOT shall be aggregated on a system-wide basis separating IRRs from other Resources, and shall include no specific Resource information, and will exclude Outages related to Mothballed Generation Resources;

(c)	For Load Resources, the available capacity for each hour using the COP;

(d)	Forecast Demand for each hour described in Section 3.2.2;

(e)	Ancillary Service requirements for the Operating Day and subsequent days; and

(f)	Transmission constraints that have a high probability of being binding in SCED or DAM given the forecasted system conditions for each week including the effects of any transmission or Resource Outages.  The binding constraints may not be updated every hour.

[NPRR500: Insert paragraph (3)(g) below upon system implementation:] (g) For Generation Resources, the available Off-Line Resource capacity that can be started for each hour, using the COP for the first seven days.