## Slide 1: TDTWG Update to RMS
<number>
Wednesday
May 6, 2014
Notes: <number>

## Slide 2: Primary Activities
<number>
Reviewed ERCOT System Outages and Failures
Reviewed Service Availability
Reviewed 2014 SLA
Discussed NPRR555
Discussed NAESB Updates
TDTWG Implementation Guide
Additional ad hoc items
Notes: <number>

## Slide 3
2. Reviewed ERCOT System Outages and failures
  ERCOT presented the monthly Incident Report
    Unplanned outages
    3/11/14 to 3/12/14
      Duration - 1688 minutes
      Due to Storage failure with infrastructure which occurred during maintenance window
      Resolution - Systems were restored to the alternate data center (Disaster Recovery)
      SLA Impacted - Retail Market
      Applications Impacted - Retail processing
<number>
Notes: <number>

## Slide 4
    Unplanned outages
    3/23/14 to 3/27/14
      Duration - 6090 minutes
      Configuration issue with ERCOT was unable process transactions created via the MIS where 154 transaction impacted
      Resolution - implemented configuration changes
      SLA Impacted - Retail Market
      Applications Impacted - Retail processing
<number>
Notes: <number>

## Slide 5
3. ERCOT presented Service Availability
  ERCOT presented SLO for the month of December
    March System Availability Report showed Retail Processing missed SLA targets due to unplanned outages
    MarkeTrak
      Application availability impacted due to unplanned outages with percentage below 98%
<number>

## Slide 6
4. Reviewed 2014 SLA
  TDTWG/ERCOT continue to review and add language regarding market call notices and draft language to the SLA to include System Degradation
  Draft process on notification to market
  1. Did market receive enough time prior to call
  2. Will a pre-notification or post notification be sent
  Market participants would like to receive the notice at least one hour prior to call
<number>

## Slide 7
5. Discussed NPRR555
  ERCOT shared new file types addressed with DSWG with SCED to be implemented in June 2014. ERCOT scheduled to meet with WMS on 4/9/14.
  TDTWG to obtain feedback in next May meeting to provide recommendation to RMS.
<number>

## Slide 8
6. Discussed NAESB Updates
  TDTWG to follow up with NAESB group regarding what next steps to take for NAESB approval to determine if current SCR 776 will need to be withdrawn or amended to include NPR555 changes.
  ERCOT (Vikram Gupta) shared “Request for Enhancement of NAESB Business Practice” document to update the examples in Internet Electronic Transport guide to conform to existing standards. TDTWG will review the document.
  TDTWG to follow up with NAESB group regarding "Request for Enhancement of NAESB Business Practice"
<number>

## Slide 9
7. Review TDTWG Implementation Guide
  . TDTWG/ERCOT continue to review v1.6 and v2.2.
    - Determine if NPRR555 changes to be included in v1.6
<number>

## Slide 10
8. Additional Ad Hoc Items
    NPRR608 - Aligns the Protocols with the PUCT Performance Measures.
    TDTWG to review further and respond to RMS by May meeting.
<number>

## Slide 11: Thank You
<number>
Notes: <number>