## Slide 1: The Wholesale Market Subcommittee Update
Prepared for the May 29-30th TAC meeting

## Slide 2: Voting Item
Other Binding Document, Requirements for Aggregate Load Resource Participation in the ERCOT Markets

## Slide 3: TAC Assignment List Update
WMS Assignments From The TAC |  | 
Date | Assignment | Status
7/9/12 | Consider long-term solution for credit requirements in light of revisions to System Wide Offer Cap | The Market Credit Working Group is looking into insurance that would absorb uncollected market defaults. Insurance brokers attended the last MCWG. The next step is for them to gain a better understanding of the ERCOT market and its risks.
9/5/13 | Review steps ERCOT utilizes in the CDR load forecasts | GATF met on 5/19 and review is ongoing. The treatment of ERS, Load Resources providing RRS, energy efficiency, and distributive generation are being reviewed.
2/27/14 | Review Operating Procedure that ERCOT uses to determine when they need RUC (specifically RUC for bad weather) | QMWG consensus was for ERCOT to only RUC units for the hours needed. Also, procuring more NSRS was looked into. The WMS discussion evolved into the potential need for a full review of the RUC operating procedure with the focus on making RUC more efficient. At our next meeting we discuss the potential need for a task force to take a deeper review of the RUC procedures.
2/27/14 | Related to NPRR582, Refinements to Testing ERS – address testing requirements for all Resources. | QMWG review ongoing
2/27/14 | Related to NPRR598, Clarify Inputs to PRC and ORDC – address additional ORDC enhancements including addressing bandwidth oscillations | QMWG review ongoing
3/27/14 | Review SASM liquidity issue-high prices clearing in the SASM | ERCOT is planning to implement the portions of NPRR589 Ancillary Service Offers in the Supplemental Ancillary Services Market that do not require a system change (June 1, 2014). This should improve liquidity in the SASM and address the issues which were raised at TAC.
Notes: 589 implementation-
-removed option of sending a market notice for replacement of AS related to the undeliverability or failure to provide
-add language to the Supplemental Ancillary Services Market (SASM) timeline to allow Qualified Scheduling Entities (QSEs) to submit Ancillary Service Offers after notification of the need to run a SASM.
GATF
Changes to ERS: awaiting ERCOT Draft NPRR - -
1) ERCOT wants more flexibility in coming up with the ERS load forecast - estimate to account for proposed modifications to the program including expense limit. -- Some concern about whether this is too unbounded and may need review.
2) What happens when there is a call for ERS and how does that influence load forecast? ERCOT still wanting to come up with an analysis and proposal later this year (before September). (This is the crux of the assignment from WMS). (No protocol needed) Adding Load providing RRS to that analysis.
Energy Efficiency : ERCOT Proposal - Include the line item back into the CDR. There is a chance that EIA data could be included for the next CDR, though ERCOT is concerned about double dipping by removing Energy Efficiency forecasts from the load forecast
Distributed Generation: ERCOT doing more analysis on how to handle the DG, currently they would prefer to keep it embedded in the load forecast.

## Slide 4: Other Item
QMWG is reviewing the ERCOT proposed changes to the Nodal Non-Spinning and Responsive Reserve Service Deployment document
  The revisions are designed to address the HASL release issue post ORDC implementation when regulation and RRS floors are removed
  ERCOT indicated that they were going to revise the document again and move the RRS release to a separate Business Practice document.
  Possible design changes to the ERCOT Operator displays to help them assess if they have adequate reserves which are primary frequency responsive
Notes: Post ORDC we could reach the upper bands of the PBPC and then release the RRS HASL and see a price reversal due to no AS floor for RRS
Responsive Reserve for capacity: The capacity may be released, under any of the following conditions::
When HASL – (Gen + 5 minute load ramp) < =200 MW, deploy 500MWs of the available RRS capacity from Generation and Controllable Load Resources (CLRs) after all the available Non-Spin has been deployed;
When PRC <= 2000 MW release all remaining RRS capacity from Generation and Controllable Load Resources (CLRs) after all the available Non-Spin has been deployed;
ERCOT indicated that they were going to revise the document again and move the RRS release to a separate Business Practice document. They are going to have to design changes to the ERCOT Operator displays to help them assess if they have adequate reserves which are primary frequency responsive. One of the concerns expressed was that some of the price reversal could be caused by extending unoffered MW at the SWOC instead of extending the curve at the last price offered. Another issue which causes price reversal is the requirement to offer Reg Up and RRS capacity at SWOC which will go away on June 1. The concern I see from a reliability perspective is in releasing more MW than the 500 MW of NS that was moved to RRS. Bottom line, QMWG is still working on it. Waiting on the new revisions from ERCOT.
ERCOT may deploy Non-Spin, which has not been deployed as part of a standing On-Line Non-Spin deployment, under the following conditions:
When (HASL –Gen) – (30-minute load ramp) < 0 MW, deploy the available Non-Spin capacity.
When PRC < 2500 MW deploy all of the available Non-Spin capacity