## Slide 1: RATF Policy Decisions
Progress Report of RATF
May 29, 2014

## Slide 2: RATF Policy Decisions
PUC Directive
Look at price reversal and impacts on ORDC from ERS Deployments, Load RRS Deployments, and RUC (0 – LSL)

## Slide 3: RATF Policy Decisions
Goal for Today
Endorse principles related to price reversal and impacts on ORDC from Load (ERS and Load RRS), and determine policy direction for RUC
All NPRR language will still need stakeholder approval

## Slide 4: Resource Adequacy Task Force
Meetings Held:
  March 3, 19, 20, 24, April 4 and 16
Due Date:
  Today
  PUC meets May 30 and June 20
TAC Action Needed:
  Vote on policy (not language) re: ERS, Load RRS and RUC

## Slide 5: ERS Proposals
Three Proposals
  Subtract out ERS from Rs when ERS is deployed in order to remove effect of deployment from reserve calculation
  Add estimated ERS deployment to demand and then perform pricing run (Three-Step SCED)
  Both of the Proposals above

## Slide 6: Details on ERS Proposal One
ERS*
  Subtract out ERS from Rs when ERS is deployed in order to remove effect of deployment from reserve calculation.
  Market Impact - Prevents price reduction to ORDC due to deployment of ERS.
  Implementation Schedule
*does not subject ERS to clawback or pay ERS the adder, not in the AS Imbalance

## Slide 7: Load RRS
Load RRS- Three Options include
  Do nothing option: ORDC already addresses the effect of Load RRS deployments in reserve calculation.
  Subtract out Load RRS from Rs when deployed for price formation
  Add estimated Load RRS deployment to demand and then perform pricing run (Three-Step SCED)

## Slide 8: RUC Discussions
Option Description | Description | Language
Shifting mu by a factor of standard deviation (Augmented ORDC) | Shifts the ORDC curve by a standard deviation under set parameters | Draft OBD available
Shifting mu by fixed MW amount | Shifts the ORDC curve by a fixed MW amount under set parameters | Draft OBD available
Removing RUC HSL from Rs | Subtract out RUC HSL from Rs when it is on line to remove impact in the ORDC adder. | Developed as Luminant Comments on NPRR598 would need updating to OBD language
SCED pricing run | Relaxing LSL down to zero, figuring out what system lambda would have been | Draft NPRR developed
Increasing AS procurement during risk periods | Changing AS procurement amounts during pre-defined high risk periods | AS procurement methodology change would be needed