## Slide 1
ROS Report
Bill Hatfield
2014 ROS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
May 29, 2014 TAC Meeting
Notes: <number>

## Slide 2: Summary of ROS Recommended Voting Items
Last ROS meeting
April 3, 2014; The May 8th ROS meeting was cancelled
Next ROS meeting
Jun 5, 2014
Revision Requests Recommended for Approval (TAC Action required)
None
Other Items Recommending Approval (TAC Action Required)
None
May 29, 2014 TAC Meeting

## Slide 3: Summary of ROS Open Action Items to TAC
ROS Board Assignment: Review ERCOT planning process--related to Houston Import Project
Agenda topic for June5th ROS meeting
Evaluate the early release of HASL to SCED under ORDC and coordinate solutions with ERCOT & WMS
April 8th: ERCOT provided DRAFT Procedure to facilitate review and resolution
Discussions occurring at WMS, PDCWG, and QMWG
ERCOT to lead discussion at June 5th ROS meeting.
Coordinate with ERCOT the need to add/clarify resource temperature limits in RARF to improve forecasting of Wind Resources during icing and cold weather events
RDWG/ERCOT discussions underway
ERCOT to discuss at June 5th ROS meeting.
Evaluate concerns that ERCOT is having to bring RUC units earlier than required because of unit start-up failures; Need to review ERCOT Operating Procedures for RUCing units
CMWG/WMS reviewing the RUCing issue
Joint Workshop – March 23, 2014; ERCOT fielded questions
ERCOT to provide ROS information for reviewing unit start-up failures/de-ratings surrounding Jan 6th EEA event
May 29, 2014 TAC Meeting