## Slide 1: QMWG Update to WMS
S. Looney
June 4, 2014

## Slide 2: NPRRs Assigned by WMS
NPRR595, RRS Load Treatment in ORDC
  Tabled and assigned to QMWG at WMS last month
  ERCOT’s concerns:
    Providing a financial incentive for over-deployment
    Operator awareness of actual reserves from Loads
    Additional reserves should be separately deployable
    Deployment of blocky loads should be handled in Phase 2 Loads in SCED
  No viable solution presented at QMWG

## Slide 3: WMS General Assignments, RUC for AS
AS RUC Process and concerns post-NPRR568 implementation
  AS insufficiency in the DAM
    ERCOT shall determine if there are insufficient AS offers prior to executing the DAM, 4.5.2 (1)
    ERCOT shall declare a Watch for AS insufficient offers
    ERCOT shall request additional AS offers, 4.5.2 (1)(b)
    If offers are still insufficient, ERCOT shall reduce the AS requirements, run the DAM and procure the required AS through the DRUC, 4.5.2 (2)

## Slide 4: WMS General Assignments, RUC for AS
If ERCOT aborts all or part of the DAM, ERCOT shall issue a Watch and use the SASM process to purchase AS for the next Operating Day and the HRUC process in lieu of the DRUC process, 5.2.2.2
The HRUC process described in Section 5.2.2.2 may commit Resources to supply AS if the AS offers submitted in the SASM are insufficient to meet the requirements of the AS Plan in the Operating Day affected by the aborted DAM
Current language in Section 6.5.9.3.3 (4):
  If the actions in paragraph (3) above do not relieve the insufficiency described in paragraph (2)(a) above, then ERCOT may issue Dispatch Instructions to Resources certified to provide the insufficient service, even though there is not an existing Ancillary Service Offer for that Resource.

## Slide 5: WMS General Assignments, RUC for AS
NPRR605 revises Section 6.5.9.3.3 (4)
  If ERCOT issues a Watch because insufficient Ancillary Service Offers were received in the DAM or SASM, and if the Watch does not result in sufficient offers and the DAM or SASM is executed with insufficient offers, then ERCOT may acquire the insufficient amount of Ancillary Services as follows:
  (a) The SASM process shall be conducted in accordance with Section 6.4.8.2.2, SASM Clearing Process. If SASM process is not sufficient, then;
  (b) The Hourly Reliability Unit Commitment (HRUC) process shall be conducted. If HRUC process is not sufficient, then;
  (c) ERCOT may issue an Ancillary Service Assignment to Resources certified to provide the insufficient service, even though there is not an existing Ancillary Service Offer for that Resource.

## Slide 6: WMS General Assignments, RUC for AS
NPRR605 proposes settlement of assigned AS
No provision in the Protocols for payment of AS supplied by RUC Resources
Possible solution, pay AS at the SWOC
Small group from QMWG will work with ERCOT to discuss after June 1. Need to investigate the market affects of paying AS at the SWOC. Is OPTOUT an option?
  Another concern about assignments of AS to Resources regards CC Resources with power augmentation

## Slide 7: WMS General Assignments
ORDC oscillation bandwidth for RTOFFCAP set to zero
  The setting of RTOFFCAP set to zero is hardcoded at 2300 MW in MMS.
  Any revision will be a system change.
  Will monitor the market outcomes after June 1 to determine if action is required

## Slide 8: WMS General Assignments
Releasing HASL MW by manual deployment
  ERCOT indicated that the RRS deployments will be put in a separate Business Practice document from the Non-Spin
  Release of HASL is going to require a system change to the LFC process in EMS
  Impossible to really predict the price effect due to changed market behaviors after June 1
  ERCOT is building new displays for the Operators to be able to assess the nature of the Reserves on the system with regard to Primary Frequency Response
  One reason for price reversal is due to extending offer curves for unoffered quantities at the SWOC instead of extending the curves at the last price offered.
  Will no longer have price floors at SWOC for Regulation and RRS
  QMWG continues work on this issue