## Slide 1: RCWG Update to WMS
June 4, 2014
<number>

## Slide 2: Real-Time Mitigation during Exceptional Fuel Cost Events
Some Resources were mitigated in real-time to below their actual cost due to large differences between FIP and their actual gas price on certain days in February and March 2014.
Thursday February 6th - West Texas gas prices were much higher than the Houston Ship Channel daily index price used for FIP.
  HSC index price appx. $10/MMBtu; Waha index price appx. $20/MMBtu.
  MOC’s using $10 FIP, while West Texas gas prices >$20.
Monday March 3rd - Intra-day gas prices were significantly higher than FIP.
  HSC and Waha index prices < $5/MMBtu for the weekend, based on Friday gas trading activity.
  Colder than forecasted cold front moved in over the weekend.
  Intra-day gas prices > $20/MMBtu on Monday. MOC’s using FIP<$5.
  No index price reference available for intra-day gas.
<number>

## Slide 3: Real-Time Mitigation during Exceptional Fuel Cost Events
Prior WMS Guidance – prefer market-based solution that minimizes the need for any settlement adjustment and resulting uplift.
RCWG developed 3 options for changes to FIP
  Would provide a market-based solution for Feb 6th type events (i.e. Waha index price >> HSC index price).
  May still need a make-whole mechanism for Mar 3rd type events (i.e. intra-day gas price >> FIP).
<number>

## Slide 4: Real-Time Mitigation during Exceptional Fuel Cost Events
Option 1 – Use current FIP(HSC) unless Waha price is greater than HSC by a threshold “F”, then use Waha price for FIP.
IF(Waha-HSC)>F, then FIP= Waha, else HSC
Advantages
  Uses current “market-accepted” FIP, unless the Waha price is materially higher than HSC.
  System changes are required but initial indications are changes could be minor (depending on impact analysis).
Disadvantages
  May result in inflated MOC’s for some Resources during exceptional events.
  Doesn’t address intra-day gas purchases that are higher than FIP.
Need to define threshold “F”.
<number>

## Slide 5: Real-Time Mitigation during Exceptional Fuel Cost Events
  Option 2 – Change FIP to the higher of HSC or Waha daily index price.
  Advantages
    Addresses events when the Waha price is higher than HSC.
    May better reflect ERCOT-wide marginal cost of gas in current gas market.
    System changes are required and would be similar to Option 1.
  Disadvantages
    May result in inflated MOC’s for some Resources, more so than Option 1
    Doesn’t address intra-day gas purchases that are higher than FIP.
<number>

## Slide 6: Real-Time Mitigation during Exceptional Fuel Cost Events
  Option 3 – Resource specific FIP (designate HSC or Waha) with higher of HSC or Waha during exceptional events (similar to Option 1).
  IF ABS(Waha-HSC)>F, then FIP=Max(Waha, HSC)
Advantages
  May provide more accurate MOC’s for Resources with access to only HSC or Waha gas markets during normal conditions.
  Addresses exceptional events when the HSC or Waha price is materially higher than the resource specific FIP.
Disadvantages
  May result in inflated MOC’s for some Resources during exceptional events
  Doesn’t address intra-day gas purchases that are higher than FIP.
  Probably a higher system implementation cost than the other options.
Need to define threshold “F”.
<number>

## Slide 7: Real-Time Mitigation during Exceptional Fuel Cost Events
Proposed FIP options cover events where the Waha index price >> HSC index price.
May need a make-whole mechanism for events not covered by FIP options, such as intra-day gas purchases >> FIP.
  Cost Recovery
    Utilize the dispute process and provide evidence of actual cost.
    ERCOT would require a settlement mechanism to allocate payments.
      Manual Settlement
  Uplift Allocation Options
    Load Ratio Share – costs may be allocated to Loads that were not impacted by the congestion.
    Zonal Load Ratio Share – May provide a more appropriate allocation of costs to Loads, but difficult to identify which zone is being impacted.
<number>

## Slide 8: Real-Time Mitigation during Exceptional Fuel Cost Events
Direction from WMS, possible vote?
Which FIP option, if any, should RCWG use to develop protocol language?
  Option 1 – Use current FIP(HSC) unless Waha price is greater than HSC by a threshold “F”. Establish value for “F”.
  Option 2 – Change FIP to the higher of HSC or Waha daily index price.
  Option 3 – Resource specific FIP with higher of HSC or Waha during exceptional events. Establish value for “F”.
Should a make-whole mechanism be implemented?
  If yes, how should the costs be allocated? LRS or Zonal LRS?
Proceed with developing protocol and verifiable cost manual revisions?
<number>