## Slide 1: Emerging Technologies Working Group Update to WMS
June 04, 2014
<number>
Contents
Update on NPRR 615
Data Privacy for PVGRs (“X Value”)
PV Forecasting
Next ETWG Meeting

## Slide 2: I. Update on NPRR 615
On 4/16/13, NPRR615 was posted.
On 5/15/14, PRS considered NPRR615.
PRS unanimously voted to table NPRR615 and refer the issue to WMS. All Market Segments were present for the vote.
Participants requested that WMS recommend a value for X in Section 4.2.3.
On 5/28/14, ETWG met to discuss section 4.2.3.
<number>

## Slide 3: II. Data Privacy for PVGRs (“X Value”)
SEE DRAFT NPRR DOCUMENT
(5) After the aggregated ERCOT PVGR capacity reaches 1GW and the maximum PVGR capacity ratio of a single PVGR over the total ERCOT installed PVGR capacity is at or below 60%, each hour ERCOT shall post to the MIS Public Area, on a system-wide basis the hourly actual PhotoVoltaic (PV) power production, STPPF, PVGRPP, and aggregate COP HSLs for On-Line PVGRs for a rolling historical 48-hour period. The system-wide STPPF, PVGRPP, and aggregate COP HSLs for On-Line PVGRs will also be posted for the rolling future 48-hour period. ERCOT shall retain the STPPF and PVGRPP for each hour.
<number>

## Slide 4: II. Data Privacy for PVGRs (“X Value”)
SEE DRAFT NPRR DOCUMENT
(6) After the aggregated ERCOT PVGR capacity reaches 1GW and the maximum PVGR capacity ratio of a single PVGR over the total ERCOT installed PVGR capacity is at or below 60%, every five minutes, ERCOT shall post to the MIS Public Area, on a system-wide basis, five-minute actual PV power production for a rolling historical 60-minute period.
<number>

## Slide 5: III. PV Forecasting
<number>
SEE FORECAST SLIDES
Short-Term PhotoVoltaic Power Forecast (STPPF)
An ERCOT produced hourly 50% probability of exceedance forecast of the generation in MWh per hour from each PhotoVoltaic Generation Resource (PVGR) that could be generated from all available units of that Resource.
Used in 3.9.1 Current Operating Plan Criteria, paragraph 8
  For the first 48 hours of the COP, QSE representing a PhotoVoltaic Generation Resource (PVGR) must enter an HSL value that is less than or equal to the amount for that Resource from the most recent Short-Term PhotoVoltaic Power Forecast (STPPF) provided by ERCOT.

## Slide 6: III. PV Forecasting
<number>
SEE FORECAST SLIDES
PhotoVoltaic Generation Resource Production Potential (PVGRPP)
The generation in MWh per hour from a PVGR that could be generated from all available units of that Resource allocated from the 80% probability of exceedance of the Total ERCOT PhotoVoltaic Power Forecast (TEPPF).
Used in 5.7.3 RUC Make-Whole Charges, paragraph (2)
  the PVGRPP used in the corresponding RUC is considered the available capacity of the PVGR when determining responsibility for the corresponding RUC charges, regardless of the Real-Time output of the PVGR.

## Slide 7: IV. Next ETWG Meeting June 25
Updates on NPRR 615
Update by ERCOT on PV Forecast RFP
Other items, TBD
<number>

## Slide 8: APPENDICES
<number>

## Slide 9: Requested WMS Motion
Motion to endorse NPRR615 with May 28 ETWG edits and June 4 WMS edits.
<number>