## Slide 1
Overview of Recommendations from Nexant Review of
ERCOT Black Start Program
Kelly Blackmer
Manager, Operations Readiness
ROS
June 5, 2014

## Slide 2: History
After the 2013 Black Start Training, ERCOT decided to undertake a comprehensive, third-party review of the black start program, in order to identify changes that would either:
  Reduce the likelihood of a blackout;
  Expedite the restoration of the system in the event of a blackout; or,
  Improve the black start unit procurement process in a way that would effectiveness of the black start plan
ERCOT issued an RFP and selected Nexant to perform this review
  Nexant staff on project had significant operational experience, primarily in WECC

## Slide 3: Background
Nexant reviewed aspects of ERCOT normal and emergency operations, and black start unit procurement and restoration plans, in order to develop recommendations
Detailed results and recommendations were provided by Nexant at the April 29 BSWG meeting (this meeting was open, and an invitation was sent to the ROS exploder)
We wanted to provide an overview to ROS of the recommendations, since ERCOT will likely be proposing changes to implement many of these

## Slide 4: Results
Nexant gave ERCOT recommendations in three areas:
  Preventative Assessment:
    These recommendations focus on the tools and processes needed to prevent a blackout from occurring
  Restorative Assessment:
    These recommendations focus on the tools and processes that would be needed for the restoration of the ERCOT System should a blackout occur
  Procurement Assessment:
    These focus on the tools and methodologies used in the procurement of contracted Black Start resources
The following slides summarize the key recommendations that are stakeholder-facing

## Slide 5
  Set performance criteria for frequency disturbances under emergency conditions
  Evaluate system performance for meeting above criteria
  Modify measure (PRC) used to assess emergency conditions to allow assessment against performance criteria
  Modify/document triggers for different levels of emergency operations
  Modify EEA actions to preserve / restore reserves during EEA in order to meet performance criteria
  Modify UFLS plan to include a larger number of smaller blocks
  Develop process/criteria for restoring UFLS-tripped load
Preventative Assessment Recommendations

## Slide 6
  Evaluate use of temporary external AC ties and switchable units during black start restoration to speed restoration
  Include the disabling of SPSs in black start procedures
  Determine and include appropriate procedures related to PUNs in black start plans
  Consider automation of more of restoration process within each TO’s black start plan
  Consider development of displays that would provide additional information (that might otherwise be confidential) to TOs and QSEs only during black start
  Test constant frequency operations on a periodic basis
  Enhance plans/procedures for partial blackout restoration
Restorative Assessment Recommendations

## Slide 7
  Consider alternative fuel capability, backup unit availability, and size of unit in current black start unit selection process
  Black start unit procurement and development of black start plans should consider natural gas pipeline infrastructure
  Modify black start plant procurement process to provide for focused selection (based on system restoration needs) including a longer contract period if necessary to allow recovery of investment needed to make additional/alternative units in specified areas black start capable
Procurement Assessment Recommendations

## Slide 8
ERCOT has already begun work to propose changes to implement several of these recommendations
  Many of the Preventative Recommendations, such as modifications to PRC and trigger levels for EEA, as well as restoration of reserves during EEA, will be discussed at the 2nd EEA Workshop on June 19
  Modifications to the process for restoring UFLS are included in NOGRR 132
  Inclusion of additional consideration, especially natural gas infrastructure dependencies, is underway through BSGCG
  Changes to the black start unit procurement process will be proposed by ERCOT in time for the next procurement cycle in 2015
The remaining recommendations will be evaluated further and implemented as appropriate
Implementation of Recommendations

## Slide 9
Questions?