## Slide 1
Update in NERC CIP Activities
June 5, 2014

## Slide 2: Agenda
Update on CIP-014-1
Update on Revisions to CIP Version 5
  BES Cyber Asset Survey
  Implementation Plan
Questions

## Slide 3: Key Dates: Project 2014-04 Physical Security (CIP-014-1)
FERC Directive March 7
Approved by Industry Final Ballot May 5
Adopted by NERC Board of Trustees May 13
NERC staff is preparing the FERC filing

## Slide 4: CIP-014-1 Implementation Plan
Standard Effective
  First day of the first calendar quarter that is six months beyond 3 months following govt. approval
  Initial Performance of Periodic Requirements
Requirement R1 | Must be completed on or before the effective date of the standard.
Requirement R2 shall be completed as follows: | 
Parts 2.1 | Shall be completed within 90 calendar days of the effective date of the proposed Reliability Standard.
Parts 2.2 | Shall be completed within 90 calendar days of the effective date of the proposed Reliability Standard.
Part 2.3 | Shall be completed within 60 calendar days of the completion of performance under Requirement R2 part 2.2.
Parts 2.4 | Shall be completed within 90 calendar days of the effective date of the proposed Reliability Standard.

## Slide 5: CIP-014-1 Implementation Plan
Requirement R3 | Shall be completed within 7 calendar days of completion of performance under Requirement R2.
Requirement R4 | Shall be completed within 120 calendar days of completion of performance under Requirement R2.
Requirement R5 | Shall be completed within 120 calendar days of completion of performance under Requirement R2.
Requirement R6 shall be completed as follows: | 
Part 6.1 | Shall be completed within 90 calendar days of completion of performance under Requirement R5.
Part 6.2 | Shall be completed within 90 calendar days of completion of performance under Requirement R5.
Part 6.3 | Shall be completed within 60 calendar days of Requirement R6 part 6.2.
Part 6.4 | Shall be completed within 90 calendar days of completion of performance under Requirement R5.

## Slide 6: Key Dates CIP-002 to CIP-011 Revisions
CIP Standards Revisions
  Ballot Pool Open June 2 – July 2
  45-day comment period June 2 – July 16
  Ballot July 7 – July 16
  Non-Binding Poll (VRF/VSL) July 7 – July 16
  RSAWs June 17
  Industry Webinar June 19
  SDT meeting, St. Paul, MN Week of July 28
  SDT meeting, San Francisco, CA Week of August 19
BES Cyber Asset Survey Comments May 30 – July 14
  NERC RAI Webinar June 19

## Slide 7: BES Cyber Asset Survey
To gain understanding of the term “BES Cyber Asset”
  NERC to conduct a survey of responsible entities during the implementation period for CIP Version 5
  Determine the types of Cyber Assets that are included in the definition of BES Cyber Asset due to the 15-minute parameter
  Determine the types of Cyber Assets that are excluded from the definition of BES Cyber Asset due to the 15-minute parameter

## Slide 8: BES Cyber Asset Survey
Based on the survey data, NERC is required to explain to FERC:
  Specific ways in which entities determine which Cyber Assets meet the 15-minute parameter;
  Types or functions of Cyber Assets that are excluded from being designated as BES Cyber Assets and the rationale as to why;
  Common problem areas with entities improperly designating BES Cyber Assets; and
  Feedback from each region participating in the implementation study on lessons learned with the application of the BES Cyber Asset definition.

## Slide 9: CIP-002 to CIP-011 Revision Implementation Plan
Builds from April 1, 2016 effective date of V5
While the standard has an effective date, a compliance date may differ for Requirements
Do not expect IAC language from V5 to go into effect
The following from V5 implementation remains the same:
  Initial performance of certain periodic requirements
  Previous identity verification
  Planned or unplanned changes resulting in a higher categorization

## Slide 10: CIP-002 to CIP-011 Implementation Plan
For those requirements and parts not listed below, compliance date would be effective date of standard, which is proposed to be later of April 1, 2016 or 3 months following govt. approval.
Standard | Requirement | Proposed Implementation Periods
CIP-003-6 | R2 (Low Impact) | Later of April 1, 2017 or 9 months following govt. approval
CIP-006-6 | R1 (Comm. Networks) | Part 1.10 – Effective date plus 9 months
CIP-007-6 | R1 (Comm. Networks) | Part 1.2 – Applicable non-programmable electronic equipment associated with new BES Cyber Systems - Effective date plus 6 months
CIP-010-2 | R4 (transient devices) | Effective date plus 9 months

## Slide 11
Questions and Answers

## Slide 12: References
Project 2014-02 CIP Standards Version 5 Revisions
  http://www.nerc.com/pa/Stand/Pages/Project-2014-XX-Critical-Infrastructure-Protection-Version-5-Revisions.aspx
BES Cyber Asset Survey
  http://www.nerc.com/pa/Stand/Pages/Project-2014-XX-Critical-Infrastructure-Protection-Version-5-Revisions.aspx
Project 2014-04 Physical Security
  http://www.nerc.com/pa/Stand/Pages/Project-2014-04-Physical-Security.aspx