DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, March 6, 2014 – 9:30 a.m.

Attendance

Members:

| Alvarez, Eli | Brownsville PUB |  |
| --- | --- | --- |
| Armke, James | Austin Energy |  |
| Bern, Alan | Oncor Electric Delivery |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Firestone, Joel | Topaz Power |  |
| Green, Bob | Garland Power and Light | Via Teleconference |
| Greer, Clayton | Morgan Stanley |  |
| Hatfield, Bill | LCRA |  |
| Horvath, Julius | Wind Energy Transmission Texas |  |
| John, Ebby | CenterPoint Energy |  |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kolb, Lloyd | Golden Spread |  |
| Kroskey, Tony | Brazos Electric Power | Alt. Rep. for R. Ryno |
| Kunkel, Dennis | AEP Service Corporation |  |
| Marsh, Tony | MAMO Enterprises |  |
| Moore, John | STEC |  |
| Reed, Cyrus | Sierra Club |  |
| Showalter, Dana | E.ON Climate and Renewables |  |
| Staples, Boone | Tenaska Power Services | Alt. Rep. for S. Helyer |
| Vo, Trieu | CPS Energy |  |
| Wagner, Marguerite | Edison Mission |  |

The following proxy was assigned:

- Bob Green to James Armke

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Beckman, Dwight | Brazos Electric Cooperative | Via Teleconference |
| Bevill, Jennifer | AEP |  |
| Brown, Jeff | Shell | Via Teleconference |
| Burks, Spencer | LCRA | Via Teleconference |
| Carlson, Trent | JP Morgan | Via Teleconference |
| Chessmore, Carol | Oncor |  |
| DeWitt, Charles | LCRA |  |
| Ee, Danny | Austin Energy |  |
| Hampton, Brenda | Luminant |  |
| Hernandez, Rene | GVEC | Via Teleconference |
| Holloway, Harry | GDF Suez |  |
| Jones, Liz | Oncor |  |
| Juricek, Michael | Oncor | Via Teleconference |
| Kidd, Lily | CPS Energy | Via Teleconference |
| Koellner, Kris | LCRA |  |
| Kremling, Barry | GVEC |  |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Lane, Rob | Luminant |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Mattei, Andrew | Brazos Electric Cooperative | Via Teleconference |
| Morris, Stan | TNMP |  |
| Ögelman, Kenan | CPS Energy |  |
| Owens, Frank | Cross Texas Transmission |  |
| Palen, John | NRG |  |
| Pieniazek, Adrian | NRG |  |
| Penney, David | Texas Reliability Entity |  |
| Reid, Walter | Wind Coalition |  |
| Rocha, Basileo | CPS Energy |  |
| Rocha, Paul | CenterPoint Energy | Via Teleconference |
| Roth, Werner | PUCT | Via Teleconference |
| Sandidge, Clint | Noble Solutions | Via Teleconference |
| Schwarz, Brad | Hunt Power | Via Teleconference |
| Stephenson, Randa | Lone Star Transmission |  |
| Thurnher, Greg | TXU Energy | Via Teleconference |
| Treichler, David | Encor Electric |  |
| Trout, Seth | CES | Via Teleconference |
| White, Laurie | AEP |  |
| Woodruff, Taylor | Oncor |  |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Azeredo Chris |  |  |
| Boswell, Bill |  | Via Teleconference |
| Chatlani, Varsha |  | Via Teleconference |
| Chen, Jian |  | Via Teleconference |
| Farley, Karen |  | Via Teleconference |
| Frosch, Colleen |  |  |
| Gnanam, Prabu |  |  |
| Hartmann, Jimmy |  | Via Teleconference |
| Landin, Yvette |  | Via Teleconference |
| Springer, Agee |  |  |
| Stout, Matt |  |  |
| Teixeira, Jay |  |  |
| Tindall, Sandra |  | Via Teleconference |
| Thompson, Chad |  | Via Teleconference |
| White, Camden |  | Via Teleconference |
| Williams, Leslie |  | Via Teleconference |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

Bill Hatfield called the March 6, 2014 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Hatfield directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

There were no changes to the agenda.

Approval of Minutes (see Key Documents)

January 9, 2014

David DeTullio moved to approve the January 9, 2014 ROS meeting minutes as posted.  Tony Kroskey seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) and ERCOT Board of Directors Update (see Key Documents)

Mr. Hatfield reviewed the disposition of Revision Requests considered at the January 28 and February 27, 2014 TAC meetings, and the February 11, 2014 ERCOT Board meeting, and reported the approval of the 2014 TAC Goals and the tabling of Planning Guide Revision Request (PGRR) 031, Implement 95% Facility Rating Limit in the Planning Criteria, at the ERCOT Board.

Assignments/Open Action Items

Mr. Hatfield conveyed TAC direction to ROS to evaluate Market Participant concerns that ERCOT is brining on Reliability Unit Commitment (RUC) units preemptively and in anticipation of unit start-up failures, and to review ERCOT Operating RUC procedures.  Mr. Hatfield noted related discussions are underway at the Congestion Management Working Group (CMWG), and directed the Operations Working Group (OWG) to hold a workshop in coordination with CMWG.  Marguerite Wagner expressed interest in understanding ERCOT’s RUC policy during Energy Emergency Alerts (EEAs), and developing more market-based solutions, while still maintaining reliability, before Summer 2014.

2014 ROS Goals (see Key Documents)

Mr. DeTullio moved to approve the 2014 ROS goals as posted.  Ms. Wagner seconded the motion.  The motion carried unanimously.

Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 593, Clarification of Generic Transmission Limit Posting

ERCOT Staff explained the purpose and need for NPRR593.  Market Participants requested that ERCOT, in addition to posting to the Market Information System (MIS), send a Market Notice when a generic transmission constraint is being added.

Ms. Wagner moved to endorse NPRR593 as submitted.  Clayton Greer seconded the motion.  The motion carried unanimously.

Confirmation of ROS Working Group Leadership (see Key Documents)

Randy Jones moved to confirm the 2014 working group and task force leadership.  Mr. Greer seconded the motion.  The motion carried unanimously.

Mr. Hatfield expressed his appreciation to Market Participants assuming leadership duties.

ERCOT Updates (see Key Documents) January 2014 Operations Report Agee Springer presented the January 2014 Operations report, and noted that in order to provide additional information, RUC hours are now expressed in a table format rather than in a graph. Mr. Hatfield reminded Market Participants that due to the new meeting schedule for TAC and TAC subcommittees, ERCOT Operations and Planning reports will be one month in arrears, but that ERCOT is working to have reports prepared by the seventh of each month, and will post reports to the prompt ROS meeting. January 6, 2014 EEA Event Chad Thompson provided a review of the January 6, 2014 EEA event. Market Participants discussed potential impacts of such items as Planned Outages, Seasonal Mothballed Generation Resources, and MWs unavailable due to transmission constraints. Market Participants also discussed the need to gather useful data from Generators regarding temperature limits, and to understand how the data affects forecasts; and that careful consideration should be given before using this year’s Outage rate in future Seasonal Assessments of Resource Adequacy (SARAs). Market Participants expressed concern for the use of RUC at certain temperatures as a precaution against start-up failures and the resultant impacts to the market; ERCOT Staff invited further discussion on the topic. Mr. Hatfield directed the Resource Data Working Group (RDWG) to consider issues regarding temperature-related data for the Resource Asset Registration Form (RARF). System Planning Reports Prabu Gnanam presented January 2014 System Planning Report. Market Participants discussion focused on Generation Interconnection Agreements and inconsistencies in the treatment of Generation, as highlighted by the Pondera King Power Project, in the Capacity, Demand, Reserves (CDR) Report versus treatment in planning studies; the necessity of dating planning reports so that stakeholders may determine the most current information; and requested that ERCOT report agreements that have met the requirements to be included in planning models. Voltage Reduction Task Force (VRTF) (see Key Documents) Spencer Burkes reviewed recent VRTF activities. Geomagnetic Disturbance Task Force (GMDTF) (see Key Documents) Paul Rocha presented draft Nodal Operating Guide Revision Request (NOGRR) language regarding the implementation of operational preparedness for Geomagnetic Disturbances (GMDs), and requested ROS to waive notice and grant GMDTF permission to file the NOGRR. Mr. R. Jones moved to waive notice of the draft NOGRR. Mr. Greer seconded the motion. The motion carried unanimously. Mr. R. Jones moved to direct GMDTF to submit the draft NOGRR, Implement Operational Preparedness for GMDs. Mr. Greer seconded the motion. The motion carried unanimously. Network Data Support Working Group (NDSWG) (see Key Documents) Mr. Kroskey reviewed recent NDSWG activities. NOGRR034, Rescind Telemetry Performance Calculation Exclusions Mr. Kroskey reported NDSWG review of NOGRR034 and its finding that no changes are needed at this time. Mr. Hatfield added that he would report the finding and that without further direction from ROS, no formal comments would be filed. ROS took no action on this item. OWG (see Key Documents) Frank Owens reported that OWG had no items requiring ROS consideration and called attention to upcoming workshops regarding voltage control, and EEA. Mr. Owens added that the EEA workshop would address how the Physical Responsive Capability (PRC) is derived and how it is used. Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents) Sydney Niemeyer reviewed recent PDCWG activities. NPRR576, Changing Non-Spin Service to an Off-Line Service ROS took no action on this item. Early Release of High Ancillary Service Limit (HASL) and the Operating Reserve Demand Curve (ORDC) Market Participants discussed reports that ERCOT will propose a solution regarding the early release of HASL; that the proposal, as well as whether to move the 500 MW back into Non-Spinning Reserve (Non-Spin), should be given vigorous discussion in a stakeholder forum such as PDCWG; and that consideration should be given to reversing NPRR524, Resource Limits in Providing Ancillary Service. Dynamics Working Group (DWG) (see Key Documents) Carol Chessmore reviewed recent DWG activities. Planning Working Group (PLWG) (see Key Documents) Current Transmission Planning and Constrained Generation Mr. Gnanam reviewed the 2017 Generation Deliverability Analysis, previously presented to the August 15, 2013 ROS meeting. Market Participants discussed that PLWG should review the details and assumptions of the analysis. Ms. Wagner expressed concern that a more rational assumption for wind output is not being made in the sixth year planning cases; Mr. Gnanam noted that wind assumptions would be discussed at the upcoming Regional Planning Group (RPG) meeting. Mr. R. Jones expressed concern that ERCOT’s Resource adequacy outlook may be driven by assumptions that do not consider units that are chronically constrained, and asked if ERCOT has a methodology for understanding which units are consistently Dispatched down. Transmission Planning - Generation Congestion Charles DeWitt reported on the PLWG February 19, 2014 work session regarding transmission planning and generation congestion. Market Participants discussed the need to focus on Revision Requests to address planning criteria, review of the interconnection study process, and review ERCOT’s methodology for calculating non-deliverable Generation; and to avoid activities and topics beyond the scope of the group, or pertaining to questions restricted to the purview of regulatory bodies. Mr. Hatfield requested that PLWG keep additional work sessions on the topic open to stakeholders, and provide notice to not only PLWG, but also ROS and RPG listservs. Brad Schwartz reviewed other recent PLWG activities. RDWG (see Key Documents) Taylor Woodruff reviewed recent RDWG activities and called attention to the MP Online Data Entry Project. Mr. Woodruff encouraged Market Participants to support the project and assist in the development of the Business Case. Walter Reid reiterated the importance of Resource Owner participation, and noted that the project is garnering particular scrutiny due to projected costs. Mr. R. Jones added that while the project is beneficial to Resource Owners, communications may be going to personnel that does not appreciate the import, and encouraged organizations to determine who is receiving requests for participation in building the Business Case. Harry Holloway requested that announcements regarding RARF Glossary review sessions be sent to the ROS listserv, rather than only to the RDWG listserv. Steady State Working Group (SSWG) (see Key Documents) Basileo Rocha reviewed recent SSWG activities. Synchrophasor Task Force (see Key Documents) Kristian Koellner reviewed recent Synchrophasor Task Force activities, and presented for ROS consideration the proposed name change for the group. Revised Name/Scope Documents – Phasor Measurement Task Force (PMTF) Mr. R. Jones moved to approve the revised name and scope document for the PMTF. Alan Bern seconded the motion. The motion carried unanimously. Black Start Working Group (BSWG) Stan Morris reviewed recent BSWG activities, including review of the Black Start Plan, and noted that BSWG is considering proposing Revision Requests language regarding Voltage Profiles during emergency conditions. No Reports Critical Infrastructure Protection Working Group (CIPWG) NERC Reliability Working Group (NRWG) System Protection Working Group (SPWG) Other Business (see Key Documents) Workshop /Voltage Control – March 19, 2014, ERCOT Austin Workshop/EEA – April 22, 2014, LCRA Workshop/NPRR562, Subsynchronous Resonance – March 12, 2014. Market Participants requested that the NPRR562 workshop be rescheduled, due to Spring Break. Adjournment Mr. Hatfield adjourned the March 6, 2014 ROS meeting at 12:36 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2014/03/20140306-ROS