| NPRR Number | 626 | NPRR Title | ORDC Price Reversal Mitigation Enhancements |
| --- | --- | --- | --- |
| Date |  | May 30, 2014 |  |
| Submitter’s Information |  |  |  |
| Name |  | Randa Stephenson, TAC Chair, on behalf of TAC |  |
| E-mail Address |  | randa.stephenson@lcra.org |  |
| Company |  | LCRA |  |
| Phone Number |  |  |  |
| Cell Number |  | 214-498-6661 |  |
| Market Segment |  | Cooperative |  |

Comments

On 5/29/14, a TAC Workshop was held to address the PUC directive to examine price reversal and impacts on ORDC from ERS Deployments, Load RRS Deployments, and RUC (0 – LSL).   A compromise solution related to NPRR626 was developed in the TAC Workshop.

On 5/29/14, TAC unanimously voted to endorse the compromise solution related to NPRR626 as follows:

Compromise Proposal to Adjust Pricing Through NPRR626 Type Methodology:

- Adjust Real-Time Settlement Point Price through adder that reflects the impact of (as filed in NPRR626):

(a)	0 to LSL RUC energy;

(b) 	Deployed ERS with a 10 hour return;

(c) 	On-Line RMR energy and emergency capacity acquisitions under paragraph (2) of Section 6.5.1.1, ERCOT Control Area Authority

(d) 	Deploy Load Resources other than Controllable Load Resources

- Adder calculated by adding a 3rd SCED run that considers (a), (b), (c), and (d) MWhs and comparing the difference in price to the 2nd SCED run.

- Adder paid to all available online Resources as proposed in NPRR626 as filed.

- For Load Resources other than Controllable Load Resources insert a proxy bid to buy to curtail at a linear curve starting at $300/MWh to $700/MWh.

- A Stakeholder review will occur using the best available data in the proxy bid to buy price points.

- Raise RUC Energy Offer Floor to $1,500/MWh.

TAC requests PRS review future comments submitted to PRS to conform to the policy decisions made in the TAC-approved compromised proposal. Additionally, TAC requests that NPRR626 move expeditiously through the process and be granted Urgent status.

Revised Cover Page Language

None at this time.

Revised Proposed Protocol Language

None at this time.