| NPRR Number | 629 | NPRR Title | Removal of Black Start Plan Posting Requirement |
| --- | --- | --- | --- |
| Date Posted |  | May 22, 2014 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 6.5.9.6, Black Start |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | NOGRR134, Posting Process for Black Start Plans |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes the Black Start plan posting requirement from the Protocols as this requirement is being relocated to the Nodal Operating Guides. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |

| Business Case |  |  |
| --- | --- | --- |
| Qualitative Benefits | - Removing the Black Start plan posting requirement from the Protocols avoids redundancy as this requirement is being added to the Nodal Operating Guides by NOGRR134. |  |
| Quantitative Benefits | - None. |  |
| Impact to Market Segments | - Market Participants benefit from Protocols that are clear and concise. |  |
| Credit Implications | - No. |  |
| Other | - None. |  |

| Sponsor |  |
| --- | --- |
| Name | Kelly Blackmer; Patrick Peters |
| E-mail Address | Kelly.Blackmer@ercot.com; Patrick.Peters@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4101; 512-275-7447 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

Proposed Protocol Language Revision

- 6.5.9.6	Black Start

(1)	Black Start Service (BSS) is obtained by ERCOT through Black Start Agreements with QSEs for Generation Resources capable of self-starting or Generation Resources within close proximity of a non-ERCOT Control Area that are capable of starting from that non-ERCOT Control Area under a firm standby power supply contract, without support from the ERCOT System, or transmission equipment in the ERCOT System.  Generation Resources that can be started with a minimum of pre-coordinated switching operations using ERCOT transmission equipment within the ERCOT System may be considered for BSS only where switching may be accomplished within one hour or less.

(2)	ERCOT may Dispatch BSS pursuant to an emergency restoration plan to begin restoration of the ERCOT System to a secure operating state after a Blackout.  General restoration actions for all Market Participants are described in the Operating Guides.