| SCR Number | 780 | SCR Title | Macomber Map System Operations Test Environment Enhancement |
| --- | --- | --- | --- |
| Date Posted |  | May 14, 2014 |  |

| Requested Resolution | Normal |
| --- | --- |
| Supporting Protocol or Guide Section(s) | None. |
| Other Document Reference/Source | Final Draft Report to NERC on the Follow-Up Actions for the September 8, 2011 Southwestern Blackout Recommendations |
| System Change Description | This System Change Request (SCR) provides Macomber Map display (view only) to ERCOT Transmission Operators (TOs) via the System Operations Test Environment (SOTE) system. |
| Reason for System Change | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) Per the recommended follow-up actions in the Texas Reliability Entity’s (Texas RE’s) “Final Draft Report to NERC on the Follow-Up Actions for the September 8, 2011 Southwestern Blackout Recommendations,” as presented to ROS on 8/16/12, this SCR will enhance the situational awareness of ERCOT TOs and allow for visibility of the Real-Time model and data that is provided by Transmission Service Providers (TSPs) and used by ERCOT. |

| Business Case |  |  |
| --- | --- | --- |
| Qualitative Benefits | The reliability of the ERCOT Transmission Grid operation will be improved. - The TOs will have a better view of their own and other TOs’ areas as well as increased situational awareness through use of this visualization tool. - Communication among ERCOT and TOs will be improved through joint use of the Macomber Map. - The Macomber Map has the potential to be the standard area-wide visualization tool for all TOs in the ERCOT Transmission Grid. With this map, TOs can work together with ERCOT by providing updated network topology and Geographic Information System (GIS) information accurately and quickly, improving overall efficiency. |  |
| Quantitative Benefits |  |  |
| Impact to Market Segments |  |  |
| Other |  |  |

| Sponsor |  |
| --- | --- |
| Names | Power Zhao; Alan Bern |
| E-mail Addresses | Qing.zhao@oncor.com; Alan.bern@oncor.com |
| Company | Oncor |
| Phone Number | 214-743-6589 (Zhao) |
| Cell Number | 214-549-1080 (Zhao) |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lisa Trow |
| E-Mail Address | ltrow@ercot.com |
| Phone Number | 512-248-6521 |

Business Case for Proposed System Change

Issue:

Since Transmission Operators (TOs) have their own system with which to compare to the ERCOT System, the System Operations Test Environment (SOTE) was delivered as part of Nodal Market conversion.  ERCOT TOs have requested to have the Macomber Map available in SOTE to facilitate coordination between ERCOT and the TOs.

Additionally, issues identified in North American Electric Reliability Corporation (NERC) events like the September 2011 Southwest blackout raised questions about how the TOs in the ERCOT Transmission Grid conduct next-day studies and freely share the status of planned generation and transmission outages, expected transactions, and study results with each other and the Texas Reliability Entity (Texas RE).

Resolution

SOTE access of the Macomber Map will help improve coordination between ERCOT and the TOs.  Local control centers have access to SOTE, through which ERCOT provides State Estimator (SE) case results every five minutes.

Some local control centers may use the SOTE studies and data to validate internal models and telemetry.  The SE shows the calculated phase angle for every bus in the ERCOT System.  ERCOT is aware of phase angle differences between busses at all times via the Macomber Map.  SOTE information contains phase angle information and is available to local control centers in the ERCOT Transmission Grid.  However, SOTE does not provide the Real-Time visibility of the Macomber Map to the local control centers.  This SCR seeks to provide that Real-Time access.

SOTE Macomber Map Features