## Slide 1
ERCOT Update on NOGRR034
Matt Mereness
Director, Standards and Protocol Compliance
PRS June 2014

## Slide 2: Agenda
Background
Current practice
Impact of NOGRR034 boxed language
Potentially 3 more efficient options than NOGRR034

## Slide 3: Background
Prior to nodal go-live in 2010
  Exceptions to telemetry performance were considered needed prior to Nodal go-live to allow for maintenance and other issues that will always reduce performance below 100% (i.e. 100% is impossible).
  ERCOT agreed that exceptions (such as those considered NOGRR034) were reasonable, so ERCOT agreed simply to lower the standard from 98% to 92%.

## Slide 4: Current practice
Telemetry performance currently at ERCOT
  Presently ERCOT is satisfied with telemetry performance
  The resulting State Estimator results has consistently exceeded its 97% target.
  As such, ERCOT does not believe implementing NOGRR034’s systematic exceptions are needed, in other words:
    Keep the 92% metric with no exceptions
      Versus
    Reverting back to 98% metric with exception handling
  It is of note that ERCOT uses the existing market-wide metrics report as a dashboard for resolving issues (example, new telemetry points).

## Slide 5: Impact of NOGRR034 boxed language
Implementing NOGRR034 as-is
  Assuming this implementation is to create RTU outages in the ERCOT Outage Scheduler, ERCOT has identified this as a large project of at least $1 million
  ERCOT also believes Protocol changes would be needed
  ERCOT needs to consider increasing the telemetry metric above 92% (possibly back to 98%)
  ERCOT can continue to work on this approach but the Cost Benefit does not seem effective

## Slide 6: Potentially 3 more efficient options than NOGRR034
Alternative #1- Delete NOGRR034 grey-boxed language.
  ERCOT can sponsor a new NOGRR to remove the NOGRR034 grey-boxed language and maintain current practices.
Alternative #2- Transition to individual telemetry performance reports
  If there is market concern with public disclosure of telemetry metrics at 92%, ERCOT could work with market to keep current MIS posting for ERCOT and TRE only, but create new reports that are privately posted for each company.
Alternative #3- Keep report but post exceptions
  ERCOT can sponsor a new NOGRR to keep the current market-wide list as is with 92%, but allow QSEs and TDSPs to submit exceptions. Upon receipt of exceptions, the original report would not be changed, but ERCOT would manually post the supporting exceptions submitted by the QSE or TDSP.

## Slide 7: Next Steps
At this point ERCOT is obligated to perform a full impact analysis for NOGRR034.
  ERCOT is estimating that this cost is greater than $1 million
ERCOT is gauging interest in more cost-effective options and seeking feedback on how to proceed going forward.

## Slide 8: Appendix- Operating Guide details
7.3.3 Data from QSEs and TSPs to ERCOT

## Slide 9: Appendix- Operating Guide details