| NPRR Number | 219 | NPRR Title | NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 |
| --- | --- | --- | --- |

| Date | November 12, 2012 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Blake Williams on behalf of the Reliability and Operations Subcommittee (ROS) |
| E-mail Address | BAWilliams@CPSEnergy.com |
| Company | CPS Energy |
| Phone Number | 210-353-3557 |
| Cell Number |  |
| Market Segment | Not applicable. |

Comments

At its 11/8/12 meeting, ROS reviewed Nodal Protocol Revision Request (NPRR) 219.  After discussion, ROS voted to direct the Network Data Support Working Group (NDSWG) to develop an NPRR to address the issues associated with NPRR219 (strike the grey-boxed language in 3.1.3.1, Transmission Facilities and paragraph (1)(c) of Section 8.3, TSP Performance Monitoring and Compliance).  ROS unanimously voted to recommend that a project associated with the grey-boxes in Section 3.1.5.1 and 3.3.2.1 be developed.  All Market Segments were present for the votes.

Proposed Guide Language Revision

None.