| NPRR Number | 600 | NPRR Title | Removal of Outdated Language to Scheduling and Operations of BLT Section |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | June 10, 2014 |  |  |
| Effective Date |  | July 1, 2014 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section(s) Requiring Revision |  | 6.5.9.5.2, Scheduling and Operation of BLTs |  |  |
| Other Binding Documents Requiring Revision or Related Revision Requests |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) proposes deleting paragraph (3) of Section 6.5.9.5.2, Scheduling and Operation of BLTs. Paragraph (3) describes the situation in which ERCOT generators could be isolated in the event of a Block Load Transfer (BLT) that transferred ERCOT Load to a Non-ERCOT Control Area. This event no longer can occur, and ERCOT offers this NPRR to remove the above-referenced language. |  |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR600 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 2/28/14, NPRR600 and an associated Impact Analysis were posted. - On 3/18/14, PRS considered NPRR600. - On 4/10/14, PRS considered the 3/18/14 PRS Report and Impact Analysis for NPRR600. - On 4/24/14, TAC considered NPRR600. - On 6/10/14, the ERCOT Board considered NPRR600. |  |  |
| PRS Decision |  | On 3/18/14, PRS unanimously voted to recommend approval of NPRR600 as submitted. All Market Segments were present for the vote. On 4/10/14, PRS unanimously voted to endorse and forward the 3/18/14 PRS Report and Impact Analysis for NPRR600 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 3/18/14, there was no discussion. On 4/10/14, there was no discussion. |  |  |
| TAC Decision |  | On 4/24/14, TAC unanimously voted to recommend approval of NPRR600 as recommended by PRS in the 4/10/14 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 4/24/14, there was no discussion. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR600. |  |  |
| Board Decision |  | On 6/10/14, the ERCOT Board approved NPRR600 as recommended in the 4/24/14 TAC Report. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Qualitative Benefits | Removes language that is no longer applicable to the Nodal Market. |  |
| Quantitative Benefits |  |  |
| Impact to Market Segments |  |  |
| Credit Implications |  |  |
| Other |  |  |

| Sponsor |  |
| --- | --- |
| Name | Matt Tozer |
| E-mail Address | mtozer@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6332 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lisa Trow |
| E-Mail Address | ltrow@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

6.5.9.5.2	Scheduling and Operation of BLTs

(1)	For BLTs that transfer Load to a non-ERCOT Control Area, a verbal instructed Base Point shall be issued to the QSE for Settlement purposes for any energy associated with BLTs modeled in the Network Operations Model and registered as a Resource in accordance with Section 6.5.9.5.1, Registration and Posting of BLT Points.  ERCOT shall confirm the BLT’s availability with the non-ERCOT Control Area before any BLT implementation.  For BLTs that are deployed in an emergency and are not modeled in the Network Operations Model, the responsible TSP shall notify ERCOT as soon as practicable after deployment.

(2)	Any energy associated with the non-ERCOT Control Area Load BLT Point is treated as a Load obligation of the QSE representing the LSE with the BLT ESI ID as registered for Settlement purposes in accordance with Section 6.5.9.5.1.

(3)

ERCOT shall continue to include the BLT Point Load in the Settlement of the LSE Load obligations.