Operations Working Group Meeting Agenda

June 25th, 2014

9:30 AM - 3:00 PM OWG Meeting

ERCOT Austin Room 168

7620 Metro Center Dr.

Austin, TX 78744

Agenda 								Dial-In: 512-874-5430

Dial-In Code: 5635

| 1. | Antitrust Admonition | Owens | 9:30 am |
| --- | --- | --- | --- |
| 2. | ROS Meeting Report – NOGRR129, Implement Operational Preparedness for Geomagnetic Disturbances (Vote) ROS Approved | Owens |  |
| 3. | OWG meeting notes approval: May meeting notes review and approval. | All |  |
| 4. | NOGRRs for review and language changes: - 131NOGRR Clarification for generation Resources During an EEA. This Nodal Operating Guide Revision Request (NOGRR) clarifies language that when ERCOT is in an Energy Emergency Alert (EEA), Qualified Scheduling Entities (QSEs) must receive authorization from ERCOT prior to manually removing an On-Line Resource. [ERCOT] IA Review - 132NOGRR Automatic Under-Voltage and Under-Frequency Load Shedding Protection Systems – Load Restoration. This NOGRR adds a requirement for Under-Frequency Load Shedding (UFLS) and Under-Voltage Load Shedding (UVLS) systems Load restoration coordination consistent with that of manually shed Load for EEA 3 or Constraint Management Plan. [ERCOT] Language Review - 134NOGRR Posting Process for Black Start Plans. This NOGRR clarifies the responsibility of ERCOT to post the ERCOT Black Start plan on the Market Information System (MIS) Certified Area for Transmission Operators (TO) and post TOs’ new or revised Black Start plans on the MIS Certified Area for specified Market Participants. [ERCOT] Language Review | All |  |
| 5. | Operations Report - Monthly Operations Report Summary/Questions | ERCOT |  |
| 6. | Operations Task Force Report - Action Items: | Tammar |  |
| 7. | Texas RE Update Report - Standards Updates | Penney |  |
| 8. | System Operations Report - Operating Procedure changes that impact market participants. | ERCOT |  |
| 9. | Seminar Task Force Report - OTS report | ERCOT/Allgower |  |
| 10. | Other: - ROS directive - Voltage support requirement for all Generation Resources greater than 20 MVA. (See Protocol Section 3.15, paragraph 2) Update on offline discussions. ERCOT – Isabell is reviewing language submitted by Walter! - Possible review of draft NPRR and NOGRR on Voltage Control Requirements. - Update on EEA Workshop – ERCOT will update next meeting. | Walter/ERCOT Small Group Warren/ERCOT |  |
| 11. | Future Meeting Date: July 22nd ERCOT Met Center room 168. | Owens |  |
| 12. | Adjourn – | Owens | 3:00 pm |

Antitrust Admonition

ERCOT strictly prohibits Market Participants and their employees who are participating in ERCOT activities from using their participation in ERCOT activities as a forum for engaging in practices or communications that violate the antitrust laws. The ERCOT Board has approved guidelines for members of ERCOT Committees, Subcommittees and Working Groups to be reviewed and followed by each Market Participant attending ERCOT meetings. If you have not received a copy of these Guidelines, copies are available at the Client Relations desk. Please remember your ongoing obligation to comply with all applicable laws, including the antitrust laws.

Disclaimer

All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

2014 Revised OWG Meeting Schedule

January 27 – offsite 8:30 – 12 Noon

Austin Marriott North

2600 La Frontera Blvd

Round Rock, TX 78681

February – December Met Center 9:30 am – 3:30 pm

- February 17  - Room 206B

- March 19 – Room 206A

- April 23 – Room 168

- May 19 – Room 206B

- June 25 - Room 168

- July 22 - Room 168

- August 19 - Room 168

- September 24 - Room 168

- October 22 - Room 168

- November 19 - Room 168

- December 17 – Room 206B