Operations Working Group Meeting

Monday, 5/19/14

Austin - MET Center

In Attendance:

| Frank Owens – Cross Texas Transmission | Isabel Flores – ERCOT |
| --- | --- |
| David Penney – Texas RE | Kelly Landry – ERCOT |
| Agee Springer – ERCOT | Brenda Hampton – Luminant |
| Colleen Frosch – ERCOT | Stan Morris – TNMP |
| Stephen Solis – ERCOT | Michael Cruz-Montes – CenterPoint Energy |
| John Abel – Oncor | Kevin Morley – CenterPoint Energy |
| Thomas Fox – Cross Texas Transmission | Jerry Willms – Lone Star Transmission |
| Lisa Trow – ERCOT Matt Carter – Garland Power & Light | John Warren – LCRA |

Dial-In Attendees:

| Linda Rodriguez – AEP Tony Kroskey – Brazos Jennifer Gannon – GEO Synergy Bruce Wertz – Wertz and Associates Liz Jones – Oncor Lauri White – AEP | Brad Collard – ERCOT Chad Thompson – ERCOT Dan Woodfin – ERCOT Robert Bailey - NRG Lisa Martin – Austin Energy Yvette Landin – ERCOT |
| --- | --- |

- Antitrust Admonition

Meeting opened as scheduled at 9:30 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting

No new assignments.

- April OWG Meeting Notes

Reviewed notes, minor changes made to correct list of attendees.

- NOGRR Reviews

- 129NOGRR Implement Operational Preparedness for Geomagnetic Disturbances. This NOGRR sets up a process through which ERCOT and Transmission Service Providers (TSPs) will develop Geomagnetic Disturbance (GMD) Operating Plans that will be coordinated across the ERCOT Region and provides for communication of information regarding those Plans. (GMDTF) IA Review. No new comments have been received. Discussions of deadline for annual plan updates (March 15) followed. There was additional discussion of GMD forecasting and risk to the ERCOT region. Finally, there was discussion of how ERCOT will communicate and coordinate GMD procedure revisions with market participants. OWG voted to endorse and forward 129NOGRR to ROS with ERCOT and Austin Energy comments.

- 131NOGRR Clarification for generation Resources During an EEA. This Nodal Operating Guide Revision Request (NOGRR) clarifies language that when ERCOT is in an Energy Emergency Alert (EEA), Qualified Scheduling Entities (QSEs) must receive authorization from ERCOT prior to manually removing an On-Line Resource. [ERCOT] Language Review. Reviewed  Luminant comments. OWG recommended approval of NOGRR131 as amended by the 5/19/14 Luminant comments. NOGRR will return next meeting with IA.

- Monthly Operations Report

Reviewed the report; no questions were asked.

- Operations Task Force

No items on this month’s agenda.

- Texas RE Update Report

Overview of standard updates was presented. No questions were asked.

- System Operations Report

No new items this month.

- Seminar Task Force Report

OTS completed, awaiting report from Seminar Task Force.

- Other

ROS directive - Voltage support requirement for all Generation Resources greater than 20 MVA. (See Protocol Section 3.15, paragraph 2) Update on offline discussions. ERCOT Isabell is reviewing language submitted by Walter! ERCOT personnel presented comments on proposed language.

Possible review of draft NPRR and NOGRR on Voltage Control Requirements. Delayed until Voltage Control Workshop in the afternoon session.

Update on EEA Workshop There was a brief discussion about material to be covered at the next EEA workshop.

- Future Meeting Date

Wednesday June 25th, 2014

- Voltage Control Workshop

Meeting broke for lunch at 11:00 and transitioned into voltage control workshop at 12:15.