Date: 	June 19, 2014

To:	Technical Advisory Committee (TAC) Representatives

From:	John Varnell, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs)

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR608, Alignment of Transaction Timing to the PUCT Performance Measures - NPRR614, Clarification of Telemetered Value of HSL for Combined Cycle Generation Resources providing RRS - NPRR616, Clarification of Notification for Undeliverable Ancillary Services - NPRR618, Market Notices for Resettlement Statements and True-up Settlement Timeline Changes - NPRR619, Minimum Quantity for DAM PTP Obligation Bids - NPRR620, Collateral Requirements for Counter-Parties with No Load or Generation - NPRR621, Counter-Party Specific Calculations for M1 Variable - NPRR622, Replace Planning and Operations Information Website References with MIS

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. NPRRs Recommended for Approval - NPRR608, Alignment of Transaction Timing to the PUCT Performance Measures [ERCOT]. Proposed Effective Date: September 1, 2014 ERCOT Impact Analysis: Minor costs (Operations & Maintenance (O&M)); no impacts to ERCOT staffing; impacts to Data Track Reporting (DTF); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR aligns ERCOT’s processing time with the transactional timing in the Public Utility Commission of Texas’ (PUCT’s) Performance Measures. PRS Decision: On 5/15/14, PRS unanimously voted to recommend approval of NPRR608 as revised by PRS. On 6/11/14, PRS unanimously voted to endorse and forward the 5/15/14 PRS Report and Impact Analysis for NPRR608 to TAC. - NPRR614, Clarification of Telemetered Value of HSL for Combined Cycle Generation Resources providing RRS [EDF Trading] Proposed Effective Date: Upon testing completion. ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices; requires that regression testing be executed. Revision Description: This NPRR clarifies that Combined Cycle Generation Resources providing Responsive Reserve (RRS) may adjust the telemetered High Sustained Limit (HSL) in compliance with Resource limits in providing Ancillary Services. PRS Decision: On 5/15/14, PRS voted to recommend approval of NPRR614 as submitted. There was one opposing vote from the Independent Retail Electric Provider (IREP) Market Segment and two abstentions from the Independent Generator and Independent Power Marketer (IPM) Market Segments. On 6/11/14, PRS voted to endorse and forward the 5/15/14 PRS Report as revised by PRS and the Impact Analysis for NPRR614 to TAC. There was one abstention from the Municipal Market Segment. - NPRR616, Clarification of Notification for Undeliverable Ancillary Services [ERCOT] Proposed Effective Date: September 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies that the ERCOT Operator has discretion as to when to send a notification to affected Qualified Scheduling Entities (QSEs) when an Ancillary Service is found to be undeliverable due to infeasibility during a RUC Study Period. PRS Decision: On 5/15/14, PRS unanimously voted to recommend approval of NPRR616 as submitted. On 6/11/14, PRS unanimously voted to endorse and forward the 5/15/14 PRS Report and Impact Analysis for NPRR616 to TAC. - NPRR618, Market Notices for Resettlement Statements and True-up Settlement Timeline Changes [ERCOT] Proposed Effective Date: September 1, 2014 ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to ERCOT.com; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR replaces requirements to post Notices on the Market Information System (MIS) for communication of Day-Ahead Market (DAM) and Real-Time Market (RTM) Resettlements and True-Up Settlement timeline changes with Market Notices. PRS Decision: On 5/15/14, PRS unanimously voted to recommend approval of NPRR618 as submitted. On 6/11/14, PRS unanimously voted to endorse and forward the 5/15/14 PRS Report and Impact Analysis for NPRR618 to TAC. - NPRR619, Minimum Quantity for DAM PTP Obligation Bids [ERCOT] Proposed Effective Date: September 1, 2014 ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Market Management System (MMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds a one-tenth of one Megawatt (MW) minimum quantity for Point-to-Point (PTP) Obligation bids into the DAM. PRS Decision: On 5/15/14, PRS voted to recommend approval of NPRR619 as submitted. There were two abstentions from the Municipal and IREP Market Segments. On 6/11/14, PRS unanimously voted to endorse and forward the 5/15/14 PRS Report and Impact Analysis for NPRR619 to TAC. - NPRR620, Reduction of Cure Period Subsequent to Event of Default [ERCOT] Proposed Effective Date: Upon System Implementation - Priority 2014; Rank 1160 ERCOT Impact Analysis: $80k - $100k; no impacts to ERCOT staffing; impacts to Credit Monitoring & Management (CMM) and Enterprise Information Services (EIS); impacts to credit calculations - reduction of the time allocated for Mass Transition risk should generally result in lower calculated exposure for affected Counter-Parties; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises the calculation of credit exposure for Counter-Parties that represent neither Load nor generation by adjusting the M1 factor for forward exposure risk to reflect the fact that these Counter-Parties do not have Mass Transition risk, reducing the 40-day “look back” period for certain exposure components to 20 days and specifying a Minimum Current Exposure (MCE) for these Counter-Parties that is also used as the Initial Estimated Liability (IEL). PRS Decision: On 5/15/14, PRS unanimously voted to recommend approval of NPRR620 as submitted. On 6/11/14, PRS unanimously voted to endorse and forward the 5/15/14 PRS Report as amended by the 5/21/14 ERCOT and 5/28/14 Credit WG comments and the Impact Analysis to TAC with a recommended priority of 2014 and rank of 1160. - NPRR621, Counter-Party Specific Calculations for M1 Variable [ERCOT] Proposed Effective Date: September 1, 2014 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the implementation of the fuel adder into the Mitigated Offer Cap as provided in NPRR485, Clarification for Fuel Adder Provisions, approved by the ERCOT Board of Directors on 11/13/2012, and as planned to take effect upon ERCOT’s implementation of the automated solution of NPRR485. PRS Decision: On 5/15/14, PRS voted to recommend approval of NPRR621 as revised by PRS. There was one abstention from the IREP Market Segment. On 6/11/14, PRS unanimously voted to endorse and forward the 5/15/14 PRS Report and Impact Analysis for NPRR621 to TAC. - NPRR622, Replace Planning and Operations Information Website References with MIS [ERCOT] Proposed Effective Date: Upon system implementation of Project PR066-01, Planning Site Transition to MIS ERCOT Impact Analysis: Associated impacts captured in Project PR066-01; No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR replaces references to the Planning and Operations Information website with the MIS location in preparation of the decommissioning of the Planning and Operations Information website. PRS Decision: On 5/15/14, PRS unanimously voted to recommend approval of NPRR622 as submitted. On 6/11/14, PRS unanimously voted to endorse and forward the 5/15/14 PRS Report and Impact Analysis for NPRR622 to TAC. Revision Requests Withdrawn None. Revision Requests Rejected None. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the July 17, 2014 PRS Meeting - NPRR560, Caps and Floors for Energy Storage Resources [ETWG] - NPRR593, Clarification of Generic Transmission Limit Posting Requirements [ERCOT] - NPRR604, Modification to Submission Timeline for Changes to Emergency Operations and Weatherization Plans [ERCOT] - NPRR615, PVGR Forecasting [ETWG] - NPRR624, Generation Resource Operational Designation Transparency [GATF] - NPRR626, ORDC Price Reversal Mitigation Enhancements [Luminant] - NPRR628, Notification of Financial Impact of Settlement Disputes [CSWG] - NPRR629, Removal of Black Start Plan Posting Requirement [ERCOT] - NPRR630, As-Built Clarifications to Settlements of ORDC [ERCOT] - SCR776, Retail Data Transport Upgrade to NAESB EDM v2.2 [TDTWG] - SCR780, Macomber Map System Operations Test Environment Enhancement [Oncor] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT] - NPRR535, Resource Status Startup – Shutdown [GDF Suez] - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR572, Asynchronous Tie Interconnection Process [Pattern Energy] - NPRR595, RRS Load Resource Treatment In ORDC [Tenaska] - NPRR611, Modifications to CDR Wind Capacity Value [ERCOT] - NPRR617, Energy Offer Flexibility [Calpine] - NPRR623, Measurement and Evaluation of ERS [Good Company] - NPRR625, Clarification of Non-Spin Requirements and Operational Procedures [Luminant] - NPRR627, Augmented ORDC to Include Reliability Factor Methodology [GDF] New Revision Requests Scheduled for Consideration at the July 17, 2014 PRS Meeting - NPRR631, Corrections to Definition of Credible Single Contingency [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/nprotocols/nprr http://www.ercot.com/mktrules/syschangereq/scrs.html