## Slide 1
ROS Report
Bill Hatfield
2014 ROS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
June 26, 2014 TAC Meeting
Notes: <number>

## Slide 2: ROS Recommended Voting Items
Last ROS meeting
  June 5, 2014
Next ROS meeting
  July 10, 2014
Revision Requests Recommended for Approval (TAC Action required)
  NOGRR 129 - Implement Operational Preparedness for Geomagnetic
    ROS Motion to Approve per OWG: Passed Unanimously
June 26, 2014 TAC Meeting

## Slide 3: ROS Action Items from TAC/BOD
Review of ERCOT planning reports and processes
  PLWG will draft a white paper describing the differences between the CDR and the Planning Models and why they exist. This paper will include, but not be limited to, reviewing generation assumptions, load forecast assumptions, and data sources and availability.
  In addition, PLWG will review load scaling methodologies used in Planning Models and make a recommendation to ROS on appropriateness of methodologies.
June 26, 2014 TAC Meeting

## Slide 4: ROS Action Items from TAC
Evaluate early release of HASL to SCED under ORDC
  ROS endorsed the business practice, “Manual Deployment and Recall of Responsive Reserve Service during Scarcity Conditions” proposed by ERCOT, to allow for quick implementation but expects a protocol/guide change to formally document this process.
  Motion to endorse also reflected ROS members concerns that future changes go through the normal stakeholder review process…not via updated ERCOT business processes
June 26, 2014 TAC Meeting

## Slide 5: ROS Action Items from TAC
Coordinate with ERCOT the need to add (verify) resource temperature limits in RARF to improve forecasting of Wind Resources during icing and cold weather events
  ERCOT’s forecast vendor is proposing to improve the wind forecast by including cold temperature trips. ROS has requested that this solution be reviewed at the next QMWG, as ROS does not have a subgroup with wind forecasting experience for a timely response. ERCOT will follow up with any data requirements through the RDWG.
June 26, 2014 TAC Meeting

## Slide 6: ROS Action Items from TAC
TAC asked ROS to evaluate concerns that ERCOT is having to bring RUC units earlier than required because of unit start-up failures; review need for ERCOT Operating procedures for RUCing units.
  Initial review from ERCOT indicates no increase in startup failures/trips/de-rates. Further focused review of cold weather timeframes where there is a higher likelihood of units failing to start is recommended. ERCOT is collecting data. OWG and ERCOT will review data.
  WMS will create a RUC taskforce to review the market impact of RUC commitments. ROS is encouraged to participate in the taskforce.
June 26, 2014 TAC Meeting

## Slide 7: Other ROS Action Items
NPRR576, Changing Non-Spin Service to be Dispatched by ERCOT (formerly “Changing Non-Spin Service to an Off-Line Service”)
  Complete - approved by BOD in April.
Review generation resources that are limited by transmission (resulting from similar efforts ongoing with Panhandle CREZ)
  No action
PGRR028, Evaluation of Compliance with Reactive Requirements
  Withdrawn
June 26, 2014 TAC Meeting

## Slide 8: FYI…
Continue to monitor NERC CIP standards
  CIP 014 is a physical security standard with an aggressive timeline
  CIP v6 defining low-impact cyber-security requirements is moving forward quickly and affects virtually all NERC-registered entities.
Black start changes
  A consultant provided a review of ERCOTs black start procedures and provided recommendations.
  Goal is to implement appropriate changes before the 2015 procurement cycle.
June 26, 2014 TAC Meeting