## Slide 1: GATF Update to WMS
July 9th, 2014
Brandon Whittle Pete Warnken

## Slide 2: Voting Item: NPRR 611
GATF requests WMS endorse a consensus recommendation to endorse NPRR 611 with the following modifications:
Peak Wind Average should be calculated separately for both the Summer & Winter seasons represented in the CDR
Peak Wind Average should be calculated separately for both Coastal & Non Coastal regions, with the regions defined clearly
Ultimately calculate average based on 10 years of data, starting with 5 years and increasing annually
Note: Currently, this methodology would result in an average of 11% for Non-Coastal Wind and 56% for wind with a POI in a county adjacent to the Coast.

## Slide 3: NERC Long Term Reliability Assessment
*Draft data as of 6/24

## Slide 4: Loss of Load Expectation Study
ERCOT has engaged Astrapé consulting
NERC requirement to submit LOLE study without target Reserve Margin
PUCT request to perform additional analysis with multiple standards to develop target Reserve Margin options
Estimated Completion by the end of 2014

## Slide 5: Next Meeting:
Unscheduled at this time, Expect Fall
Pending-
  ERCOT analysis of incorporating Demand & Efficiency in Load Forecast
  Updates to LOLE Studies
  Additional WMS assignments
Will likely split days with another group such as CMWG to improve efficiency for Stakeholder and ERCOT staff